## Sheet1
2001 Thermograph Audit
District | Inst. Serial # | Location | Date | Time | NIST Water Temp ºC | Instrument Temp ºC | Inst. Diff From NIST ºC | Instrument Time | Audit Type | Comments
Bend | 320384 | Bridge Cr @ mouth | 2001-04-24 | 946 | 11.8 | 11.8 | 0 | 946 | Low Temp Lab Calibration
Bend | 320384 | Bridge Cr @ mouth | 2001-04-24 | 1234 | 30.3 | 30.5 | 0.2 | 1234 | High Temp Lab Calibration
Bend | 320384 | Bridge Cr @ mouth | 2001-07-02 | 15:15 | 7.4 | 7.33 | -0.07 | 1500 | Field Audit | time an estimate - lost my watch
Bend | 320384 | Bridge Cr @ mouth | 2001-10-29 | 13:00 | 5.2 | 4.99 | -0.21 | 1300 | Field Audit
Bend | 320382 | Deschutes R @ Big Tree | 2001-04-10 | 1142 | 12.2 | 11.6 | -0.6 | 1142 | Low Temp Lab Calibration
Bend | 320382 | Deschutes R @ Big Tree | 2001-04-10 | 1506 | 25.3 | 25.4 | 0.1 | 1506 | High Temp Lab Calibration
Bend | 320382 | Deschutes R @ Big Tree | 2001-07-05 | 15:06 | 15.8 | 15.63 | -0.17 | 1500 | Field Audit
Bend | 320382 | Deschutes R @ Big Tree | 2001-10-15 | 1203 | 9.3 | 10.97 | 1.67 | 1200 | Field Audit
Bend | 192136 | Deschutes R @ Brown's Crossing | 2001-04-10 | 1142 | 12.2 | 12.7 | 0.5 | 1142 | Low Temp Lab Calibration
Bend | 192136 | Deschutes R @ Brown's Crossing | 2001-04-10 | 1506 | 25.3 | 25.6 | 0.3 | 1506 | High Temp Lab Calibration
Bend | 192136 | Deschutes R @ Brown's Crossing | 2001-07-03 | 16:10 | 21 | 20.97 | -0.03 | 1600 | Field Audit | u/s bridge
Bend | 192136 | Deschutes R @ Brown's Crossing | 2001-07-17 | 10:40 | 18 | 18.53 | 0.53 | 1000 | Field Audit | u/s bridge
Bend | 192136 | Deschutes R @ Brown's Crossing | 2001-07-18 | 15:00 | 18.5 | 18.86 | 0.36 | 1500 | Field Audit | u/s bridge
Bend | 192136 | Deschutes R @ Brown's Crossing | 2001-07-19 | 10:26 | 17.8 | 18.04 | 0.24 | 1000 | Field Audit
Bend | 192136 | Deschutes R @ Brown's Crossing | 2001-07-24 | 14:55 | 21.7 | 21.47 | -0.23 | 1400 | Field Audit
Bend | 192136 | Deschutes R @ Brown's Crossing | 2001-10-16 | 1000 | 10.1 | 10.21 | 0.11 | 1000 | Field Audit
Bend | 215265 | Deschutes R @ Cow Camp | 2001-04-24 | 946 | 11.8 | 12 | 0.2 | 946 | Low Temp Lab Calibration
Bend | 215265 | Deschutes R @ Cow Camp | 2001-04-24 | 1234 | 30.3 | 30.7 | 0.4 | 1234 | High Temp Lab Calibration
Bend | 215265 | Deschutes R @ Cow Camp | 2001-07-03 | 15:20 | 16.2 | 15.72 | -0.48 | 1500 | Field Audit
Bend | 215265 | Deschutes R @ Cow Camp | 2001-07-24 | 15:35 | 17.8 | 16.83 | -0.97 | 1500 | Field Audit
Bend | 215365 | Deschutes R @ Cow Camp | 2001-10-15 | 1440 | 7.9 | 7.64 | -0.26 | 1400 | Field Audit
Bend | 199013 | Deschutes R @ General Patch Bridge | 2001-04-10 | 1142 | 12.2 | 12.7 | 0.5 | 1142 | Low Temp Lab Calibration
Bend | 199013 | Deschutes R @ General Patch Bridge | 2001-04-10 | 1506 | 25.3 | 25.6 | 0.3 | 1506 | High Temp Lab Calibration
Bend | 199013 | Deschutes R @ General Patch Bridge | 2001-07-05 | 12:49 | 14.9 | 14.58 | -0.32 | 1200 | Field Audit
Bend | 199013 | Deschutes R @ General Patch Bridge | 2001-10-15 | 1128 | 7.8 | 8.08 | 0.28 | 1100 | Field Audit
Bend | 192039 | Deschutes R @ Harper Bridge | 2001-04-10 | 1142 | 12.2 | 12.7 | 0.5 | 1142 | Low Temp Lab Calibration
Bend | 192039 | Deschutes R @ Harper Bridge | 2001-04-10 | 1506 | 25.3 | 25.8 | 0.5 | 1506 | High Temp Lab Calibration
Bend | 192039 | Deschutes R @ Harper Bridge | 2001-07-05 | 11:55 | 16.3 | 16.14 | -0.16 | 1100 | Field Audit | u/s bridge
Bend | 192039 | Deschutes R @ Harper Bridge | 2001-07-17 | 15:34 | 15 | 15.03 | 0.03 | 1500 | Field Audit | u/s bridge
Bend | 192039 | Deschutes R @ Harper Bridge | 2001-07-18 | 9:40 | 14.3 | 14.56 | 0.26 | 900 | Field Audit | u/s bridge
Bend | 192039 | Deschutes R @ Harper Bridge | 2001-07-19 | 15:30 | 15.3 | 15.66 | 0.36 | 1500 | Field Audit
Bend | 182468 | Deschutes R @ Meadow Camp | 2001-04-10 | 1142 | 12.2 | 12.5 | 0.3 | 1142 | Low Temp Lab Calibration
Bend | 182468 | Deschutes R @ Meadow Camp | 2001-04-10 | 1506 | 25.3 | 25.5 | 0.2 | 1506 | High Temp Lab Calibration
Bend | 182468 | Deschutes R @ Meadow Camp | 2001-07-12 | 17:36 | 15.6 | 15.48 | -0.12 | 1700 | Field Audit | NB - did not see vemco
Bend | 182468 | Deschutes R @ Meadow Camp | 2001-10-15 | 941 | 8.9 | 8.95 | 0.05 | 900 | Field Audit
Bend | 199014 | Deschutes R @ Pringle Falls | 2001-04-10 | 1142 | 12.2 | 12.7 | 0.5 | 1142 | Low Temp Lab Calibration
Bend | 199014 | Deschutes R @ Pringle Falls | 2001-04-10 | 1506 | 25.3 | 25.6 | 0.3 | 1506 | High Temp Lab Calibration
Bend | 199014 | Deschutes R @ Pringle Falls | 2001-07-03 | 17:32 | 15 | 15.21 | 0.21 | 1700 | Field Audit | looked like may have been buried in sediment - tired to move up higher
Bend | 199014 | Deschutes R @ Pringle Falls | 2001-10-15 | 1345 | 10.5 | 10.39 | -0.11 | 1300 | Field Audit
Bend | 320380 | Fall R above Indian Cr | 2001-04-10 | 1142 | 12.2 | 12.7 | 0.5 | 1142 | Low Temp Lab Calibration
Bend | 320380 | Fall R above Indian Cr | 2001-04-10 | 1506 | 25.3 | 25.4 | 0.1 | 1506 | High Temp Lab Calibration
Bend | 320380 | Fall R above Indian Cr | 2001-10-16 | 1246 | 6.4 | 5.73 | -0.67 | 1200 | Field Audit
Bend | 320377 | Paulina Creek d/s Rd 21 | 2001-04-10 | 1142 | 12.2 | 12.4 | 0.2 | 1142 | Low Temp Lab Calibration
Bend | 320377 | Paulina Creek d/s Rd 21 | 2001-04-10 | 1506 | 25.3 | 25.4 | 0.1 | 1506 | High Temp Lab Calibration
Bend | 320377 | Paulina Creek d/s Rd 21 | 2001-07-12 | 15:49 | 20.5 | 20.34 | -0.16 | 1500 | Field Audit
Bend | 320377 | Paulina Creek d/s Rd 21 | 2001-07-23 | 16:55 | 21.5 | 21.16 | -0.34 | 1600 | Field Audit
Bend | 320377 | Paulina Creek d/s Rd 21 | 2001-10-16 | 1119 | 7.6 | 7.31 | -0.29 | 1100 | Field Audit
Bend | 215267 | Paulina Creek u/s McKay Crossing | 2001-04-10 | 1142 | 12.2 | 12.6 | 0.4 | 1142 | Low Temp Lab Calibration
Bend | 215267 | Paulina Creek u/s McKay Crossing | 2001-04-10 | 1506 | 25.3 | 25.8 | 0.5 | 1506 | High Temp Lab Calibration
Bend | 215267 | Paulina Creek u/s McKay Crossing | 2001-07-12 | 15:27 | 19.5 | 19.38 | -0.12 | 1500 | Field Audit
Bend | 215267 | Paulina Creek u/s McKay Crossing | 2001-07-23 | 17:35 | 20.4 | 20.68 | 0.28 | 1700 | Field Audit
Bend | 215267 | Paulina Creek u/s McKay Crossing | 2001-10-16 | 1147 | 8.6 | 7.95 | -0.65 | 1100 | Field Audit
Bend | 191949 | Snow Creek above Cow Camp | 2000-06-07 | 1643 | 29.6 | 30.18 | 0.58 | 1643 | High Temp Lab Calibration
Bend | 191949 | Snow Creek above Cow Camp | 2001-07-03 | 15:10 | 14.2 | 10.61 | -3.59 | 1500 | Field Audit | NIST Temperature may have been taken below side channel from the deschutes.
Bend | 191949 | Snow Creek above Cow Camp | 2001-07-24 | 15:55 | 12.1 | 11.53 | -0.57 | 1500 | Field Audit
Bend | 191949 | Snow Creek above Cow Camp | 2001-10-15 | 1450 | 5.5 | 5.48 | -0.02 | 1400 | Field Audit
Bend | 89746 | Soda Cr below highway | 2000-05-10 | 1244 | 14.3 | 14.27 | -0.03 | 1244 | Low Temp Lab Calibration
Bend | 89746 | Soda Cr below highway | 2000-05-10 | 1507 | 37.5 | 37.89 | 0.39 | 1507 | High Temp Lab Calibration
Bend | 89746 | Soda Cr below highway | 2001-10-15 | 1535 | 8.4 | 7.31 | -1.09 | 1500 | Field Audit
Bend | 320376 | Tumalo Creek below feed Canal | 2001-04-10 | 1142 | 12.2 | 12 | -0.2 | 1142 | Low Temp Lab Calibration
Bend | 320376 | Tumalo Creek below feed Canal | 2001-04-10 | 1506 | 25.3 | 25 | -0.3 | 1506 | High Temp Lab Calibration
Bend | 320376 | Tumalo Creek below feed Canal | 2001-06-28 | 16:34 | 13 | 12.5 | -0.5 | 1600 | Field Audit | time an estimate - lost my watch
Bend | 320376 | Tumalo Creek below feed Canal | 2001-10-29 | 15:00 | 5.8 | 5.99 | 0.19 | 1500 | Field Audit
Bend | 199019 | Tumalo Creek below Skyliner bridge | 2001-07-02 | 16:33 | 14.9 |  |  |  | Field Audit | Unit works but collected No Data
Bend | 215266 | Tumalo Creek u/s 4606 Rd | 2001-04-10 | 1142 | 12.2 | 12.7 | 0.5 | 1142 | Low Temp Lab Calibration
Bend | 215266 | Tumalo Creek u/s 4606 Rd | 2001-07-02 | 17:19 | 16.1 | 16.15 | 0.05 | 1700 | Field Audit
Bend | 215266 | Tumalo Creek u/s 4606 Rd | 2001-07-26 | 15:21 | 15.1 | 15.04 | -0.06 | 1500 | Field Audit
Bend | 215266 | Tumalo Creek u/s 4606 Rd | 2001-10-16 | 1441 | 5.9 | 6.7 | 0.8 | 1400 | Field Audit
Bend | 215266 | Tumalo Creek u/s 4606 Rd. | 2001-04-10 | 1506 | 25.3 | 25.6 | 0.3 | 1506 | High Temp Lab Calibration
Bend | 199026 | Tumalo Lake Creek near Skyliner Lodge | 2001-04-24 | 946 | 11.8 | 12 | 0.2 | 946 | Low Temp Lab Calibration
Bend | 199026 | Tumalo Lake Creek near Skyliner Lodge | 2001-04-24 | 1234 | 30.3 | 30.5 | 0.2 | 1234 | High Temp Lab Calibration
Bend | 199026 | Tumalo Lake Creek near Skyliner Lodge | 2001-07-02 | 16:56 | 13.3 | 13.26 | -0.04 | 1600 | Field Audit | NB/DG - never saw unit
Bend | 199026 | Tumalo Lake Creek near Skyliner Lodge | 2001-07-25 | 15:13 | 11.74 | 11.56 | -0.18 | 1500 | Field Audit | time an estimate - lost my watch
Bend | 199026 | Tumalo Lake Creek near Skyliner Lodge | 2001-10-29 | 13:45 | 5.8 | 5.81 | 0.01 | 1300 | Field Audit
Crescent | 199018 | Big Marsh Cr @ 6020 Rd | 2001-04-24 | 946 | 11.8 | 12 | 0.2 | 946 | Low Temp Lab Calibration
Crescent | 199018 | Big Marsh Cr @ 6020 Rd | 2001-04-24 | 1234 | 30.3 | 30.5 | 0.2 | 1234 | High Temp Lab Calibration
Crescent | 199018 | Big Marsh Cr @ 6020 RD | 2001-08-28 | 12:25 | 17.1 | 16.18 | -0.92 | 1200 | Field Audit
Crescent | 199018 | Big Marsh Cr @ 6020 RD | 2001-09-12 | 12:15 | 15.8 | 15.07 | -0.73 | 1200 | Field Audit
Crescent | 199018 | Big Marsh Cr @ 6020 RD | 2001-09-27 | 1405 | 11.7 | 12.58 | 0.88 | 1400 | Field Audit
Crescent | 320381 | Big Marsh Cr North End Below Ditches | 2001-04-24 | 946 | 11.8 | 11.8 | 0 | 946 | Low Temp Lab Calibration
Crescent | 320381 | Big Marsh Cr North End Below Ditches | 2001-04-24 | 1234 | 30.3 | 30.5 | 0.2 | 1234 | High Temp Lab Calibration
Crescent | 320381 | Big Marsh Cr North End Below Ditches | 2001-08-28 | 12:11 | 14.3 | 12.88 | -1.42 | 1200 | Field Audit
Crescent | 320381 | Big Marsh Cr North End Below Ditches | 2001-09-27 | 1345 | 10.3 | 9.47 | -0.83 | 1300 | Field Audit
Crescent | 192043 | Big Marsh south end above east ditch | 2001-04-24 | 946 | 11.8 | 11.9 | 0.1 | 946 | Low Temp Lab Calibration
Crescent | 192043 | Big Marsh south end above east ditch | 2001-04-24 | 1234 | 30.3 | 30.6 | 0.3 | 1234 | High Temp Lab Calibration
Crescent | 191930 | Cold Cr near mouth | 2001-04-24 | 946 | 11.8 | 12.1 | 0.3 | 946 | Low Temp Lab Calibration
Crescent | 191930 | Cold Cr near mouth | 2001-04-24 | 1234 | 30.3 | 30.7 | 0.4 | 1234 | High Temp Lab Calibration
Crescent | 191930 | Cold Cr near mouth | 2001-07-10 | 13:06 | 8.4 | 8.53 | 0.13 | 1300 | Field Audit
Crescent | 191930 | Cold Cr near mouth | 2001-07-24 | 15:18 | 11.7 | 11.47 | -0.23 | 1500 | Field Audit
Crescent | 191930 | Cold Cr near mouth | 2001-08-28 | 10:56 | 5.8 | 5.73 | -0.07 | 1100 | Field Audit
Crescent | 191930 | Cold Cr near mouth | 2001-09-12 | 11:49 | 6.6 | 6.67 | 0.07 | 1200 | Field Audit
Crescent | 191930 | Cold Cr near mouth | 2001-10-30 | 11:15 | 4.9 | 4.8 | -0.1 | 1100 | Field Audit
Crescent | 182466 | Crescent Creek @ Rd 62 | 2001-04-24 | 946 | 11.8 | 12 | 0.2 | 946 | Low Temp Lab Calibration
Crescent | 182466 | Crescent Creek @ Rd 62 | 2001-04-24 | 1234 | 30.3 | 30.5 | 0.2 | 1234 | High Temp Lab Calibration
Crescent | 182466 | Crescent Creek @ Rd 62 | 2001-07-10 | 11:11 | 20.5 | 20.35 | -0.15 | 1100 | Field Audit
Crescent | 182466 | Crescent Creek @ Rd 62 | 2001-07-17 | 11:20 | 15.9 | 15.54 | -0.36 | 1100 | Field Audit
Crescent | 182466 | Crescent Creek @ Rd 62 | 2001-07-18 | 13:00 | 17 | 16.81 | -0.19 | 1300 | Field Audit
Crescent | 182466 | Crescent Creek @ Rd 62 | 2001-07-19 | 10:50 | 15.8 | 15.54 | -0.26 | 1000 | Field Audit
Crescent | 182466 | Crescent Creek @ Rd 62 | 2001-07-25 | 10:59 | 18.3 | 17.77 | -0.53 | 1000 | Field Audit
Crescent | 182466 | Crescent Creek @ Rd 62 | 2001-09-12 | 13:13 | 17.1 | 16.97 | -0.13 | 1300 | Field Audit
Crescent | 182466 | Crescent Creek @ Rd 62 | 2001-10-01 | 1603 | 14.4 | 14.28 | -0.12 | 1600 | Field Audit
Crescent | 182510 | Crescent Creek u/s Hwy 58 bridge | 2001-04-10 | 1142 | 12.2 | 12.7 | 0.5 | 1142 | Low Temp Lab Calibration
Crescent | 182510 | Crescent Creek u/s Hwy 58 bridge | 2001-04-10 | 1506 | 25.3 | 25.7 | 0.4 | 1506 | High Temp Lab Calibration
Crescent | 182510 | Crescent Creek u/s Hwy 58 bridge | 2001-07-10 | 13:31 | 18.8 | 18.67 | -0.13 | 1300 | Field Audit
Crescent | 182510 | Crescent Creek u/s Hwy 58 bridge | 2001-07-12 | 13:39 | 18.5 | 18.67 | 0.17 | 1400 | Field Audit
Crescent | 182510 | Crescent Creek u/s Hwy 58 bridge | 2001-07-24 | 18:09 | 21.1 | 21.27 | 0.17 | 1800 | Field Audit
Crescent | 182510 | Crescent Creek u/s Hwy 58 bridge | 2001-08-28 | 11:40 | 17.2 | 17.38 | 0.18 | 1200 | Field Audit
Crescent | 182510 | Crescent Creek u/s Hwy 58 bridge | 2001-09-12 | 12:02 | 16.6 | 16.59 | -0.01 | 1200 | Field Audit
Crescent | 182510 | Crescent Creek u/s Hwy 58 bridge | 2001-10-01 | 11:10 | 8.3 | 10.04 | 1.74 | 1100 | Field Audit
Crescent | 182491 | Little Deschutes @ 090 spur u/s Hwy 58 | 2001-04-24 | 946 | 11.8 | 11.9 | 0.1 | 946 | Low Temp Lab Calibration
Crescent | 182491 | Little Deschutes @ 090 spur u/s Hwy 58 | 2001-04-24 | 1234 | 30.3 | 30.4 | 0.1 | 1234 | High Temp Lab Calibration
Crescent | 182491 | Little Deschutes @ 090 spur u/s Hwy 58 | 2001-07-10 | 17:37 | 17.9 | 17.88 | -0.02 | 1700 | Field Audit
Crescent | 182491 | Little Deschutes @ 090 spur u/s Hwy 58 | 2001-10-01 | 1352 | 9.6 | 8.66 | -0.94 | 1300 | Field Audit
Crescent | 198525 | Little Deschutes @ Rd 62 | 2000-05-10 | 1210 | 14.7 | 14.92 | 0.22 | 1210 | Low Temp Lab Calibration
Crescent | 198525 | Little Deschutes @ Rd 62 | 2000-05-10 | 1535 | 19.1 | 19.4 | 0.3 | 1535 | High Temp Lab Calibration
Crescent | 198525 | Little Deschutes @ Rd 62 | 2001-07-10 | 10:55 | 21.1 | 20.54 | -0.56 | 1000 | Field Audit
Crescent | 198525 | Little Deschutes @ Rd 62 | 2001-07-17 | 11:42 | 16.6 | 15.87 | -0.73 | 1100 | Field Audit
Crescent | 198525 | Little Deschutes @ Rd 62 | 2001-07-18 | 12:42 | 17.7 | 16.82 | -0.88 | 1200 | Field Audit
Crescent | 198525 | Little Deschutes @ Rd 62 | 2001-07-19 | 11:05 | 15.7 | 15.4 | -0.3 | 1100 | Field Audit
Crescent | 198525 | Little Deschutes @ Rd 62 | 2001-07-24 | 13:45 | 20.3 | 19.9 | -0.4 | 1300 | Field Audit
Crescent | 198525 | Little Deschutes @ Rd 62 | 2001-10-01 | 1625 | 10 | 8.24 | -1.76 | 1600 | Field Audit
Crescent | 320378 | Odell Cr below footbridge near Davis Lake | 2001-04-24 | 946 | 11.8 | 11.4 | -0.4 | 946 | Low Temp Lab Calibration
Crescent | 320378 | Odell Cr below footbridge near Davis Lake | 2001-04-24 | 1234 | 30.3 | 30.2 | -0.1 | 1234 | High Temp Lab Calibration
Crescent | 320378 | Odell Cr below footbridge near Davis Lake | 2001-07-10 | 11:49 | 12.6 | 11.91 | -0.69 | 1100 | Field Audit
Crescent | 320378 | Odell Cr below footbridge near Davis Lake | 2001-07-12 | 14:08 | 12.7 | 12.37 | -0.33 | 1400 | Field Audit
Crescent | 320378 | Odell Cr below footbridge near Davis Lake | 2001-07-24 | 10:34 | 9.8 | 8.96 | -0.84 | 1000 | Field Audit
Crescent | 320378 | Odell Cr below footbridge near Davis Lake | 2001-09-27 | 913 | 5.1 | 6.34 | 1.24 | 900 | Field Audit
Crescent | 191991 | Odell Creek at outlet near resort | 2001-04-24 | 946 | 11.8 | 12 | 0.2 | 946 | Low Temp Lab Calibration
Crescent | 191991 | Odell Creek at outlet near resort | 2001-04-24 | 1234 | 30.3 | 30.6 | 0.3 | 1234 | High Temp Lab Calibration
Crescent | 191991 | Odell Creek at outlet near resort | 2001-07-10 | 12:27 | 18.5 | 21.26 | 2.76 | 1200 | Field Audit
Crescent | 191991 | Odell Creek at outlet near resort | 2001-07-12 | 13:12 | 18.5 | 18.97 | 0.47 | 1300 | Field Audit
Crescent | 191991 | Odell Creek at outlet near resort | 2001-07-24 | 13:32 | 20.6 | 20.11 | -0.49 | 1300 | Field Audit
Crescent | 191991 | Odell Creek at outlet near resort | 2001-08-07 | 12:27 | 22 | 23.09 | 1.09 | 1300 | Field Audit
Crescent | 191991 | Odell Creek at outlet near resort | 2001-09-17 | 1445 | 19.2 | 19.13 | -0.07 | 1400 | Field Audit | Out of the water during mid season
Crescent | 79491 | Odell Lake @ pebble bay west side | 2001-07-12 | 1245 | 18 | 17.8 | -0.2 | 1224 | Field Audit
Crescent | 79491 | Odell Lake @ pebble bay west side | 2001-07-12 | 1245 | 18.1 | 17.8 | -0.3 | 1224 | Field Audit
Crescent | 79491 | Odell Lake @ pebble bay west side | 2001-07-12 | 1245 | 17.7 | 17.8 | 0.1 | 1224 | Field Audit
Crescent | 89744 | Odell Lake in Pebble Bay NE side | 2001-09-17 | 1145 | 16.4 | 15.82 | -0.58 | 1126 | Field Audit
Crescent | 198579 | Trapper Cr @ footbridge near mouth | 2001-04-24 | 946 | 11.8 | 12 | 0.2 | 946 | Low Temp Lab Calibration
Crescent | 198579 | Trapper Cr @ footbridge near mouth | 2001-04-24 | 1234 | 30.3 | 30.5 | 0.2 | 1234 | High Temp Lab Calibration
Crescent | 198579 | Trapper Cr @ footbridge near mouth | 2001-07-12 | 12:00 | 6.8 | 5.91 | -0.89 | 1200 | Field Audit
Crescent | 198579 | Trapper Cr @ footbridge near mouth | 2001-09-17 | 1415 | 6.3 | 5.76 | -0.54 | 1400 | Field Audit
None | 215268 | Unit not deployed in 2001 | 2001-04-10 | 1142 | 12.2 | 11.4 | -0.8 | 1142 | Low Temp Lab Calibration
None | 215268 | Unit not deployed in 2001 | 2001-04-10 | 1506 | 25.3 | 25.4 | 0.1 | 1506 | High Temp Lab Calibration
None | 407769 | Unit not deployed in 2001 | 2001-04-10 | 1142 | 12.2 | 12.5 | 0.3 | 1142 | Low Temp Lab Calibration
None | 407769 | Unit not deployed in 2001 | 2001-04-10 | 1506 | 25.3 | 25.6 | 0.3 | 1506 | High Temp Lab Calibration
None | 407770 | Unit not deployed in 2001 | 2001-04-10 | 1142 | 12.2 | 12.6 | 0.4 | 1142 | Low Temp Lab Calibration
None | 407770 | Unit not deployed in 2001 | 2001-04-10 | 1506 | 25.3 | 25.1 | -0.2 | 1506 | High Temp Lab Calibration
None | 199016 | Unit not deployed in 2001 | 2001-04-24 | 946 | 11.8 | 11.8 | 0 | 946 | Low Temp Lab Calibration
None | 199016 | Unit not deployed in 2001 | 2001-04-24 | 1234 | 30.3 | 30.5 | 0.2 | 1234 | High Temp Lab Calibration
None | 5328 | Unit not deployed in 2001 | 2001-05-09 | 1437 | 14.9 | 14.8 | -0.1 | 1437 | Low Temp Lab Calibration
None | 5328 | Unit not deployed in 2001 | 2001-05-09 | 1554 | 32.3 | 32.6 | 0.3 | 1554 | High Temp Lab Calibration
None | 5332 | Unit not deployed in 2001 | 2001-05-09 | 1437 | 14.9 | 14.9 | 0 | 1437 | Low Temp Lab Calibration
None | 5332 | Unit not deployed in 2001 | 2001-05-09 | 1554 | 32.3 | 32.3 | 0 | 1554 | High Temp Lab Calibration
Sisters | 215269 | Indian Ford Cr @ 2058 Rd | 2001-05-09 | 1437 | 14.9 | 15 | 0.1 | 1437 | Low Temp Lab Calibration
Sisters | 215269 | Indian Ford Cr @ 2058 Rd | 2001-05-09 | 1554 | 32.3 | 32.6 | 0.3 | 1554 | High Temp Lab Calibration
Sisters | 215269 | Indian Ford Cr @ 2058 Rd | 2001-07-23 | 1502 | 15.7 | 15.27 | -0.43 | 1500 | Field Audit | Could not find thermograph
Sisters | 215269 | Indian Ford Cr @ 2058 Rd | 2001-10-11 | 1655 | 6.5 | 6.57 | 0.07 | 1600 | Field Audit
Sisters | 320379 | Indian Ford Crk. @ Allotment 0.5 miles up 300 road | 2001-05-09 | 1437 | 14.9 | 14.9 | 0 | 1437 | Low Temp Lab Calibration
Sisters | 320379 | Indian Ford Crk. @ Allotment 0.5 miles up 300 road | 2001-05-09 | 1554 | 32.3 | 32.6 | 0.3 | 1554 | High Temp Lab Calibration
Sisters | 320379 | Indian Ford Crk. @ Allotment 0.5 miles up 300 road | 2001-07-23 | 1304 | 15.3 | 15.23 | -0.07 | 1300 | Field Audit
Sisters | 320379 | Indian Ford Crk. @ Allotment 0.5 miles up 300 road | 2001-10-11 | 1639 | 7.3 | 8.71 | 1.41 | 1600 | Field Audit
Sisters | 407766 | Jefferson Cr @ 1290 Rd | 2001-04-10 | 1142 | 12.2 | 12.4 | 0.2 | 1142 | Low Temp Lab Calibration
Sisters | 407766 | Jefferson Cr @ 1290 Rd | 2001-04-10 | 1506 | 25.3 | 25.4 | 0.1 | 1506 | High Temp Lab Calibration
Sisters | 407766 | Jefferson Cr @ 1290 Rd | 2001-07-26 | 1248 | 7.7 | 7.43 | -0.27 | 1200 | Field Audit | couldn't find thermo; trail didn't go to creek
Sisters | 407766 | Jefferson Cr @ 1290 Rd | 2001-10-11 | 1027 | 5.3 | 5.41 | 0.11 | 1000 | Field Audit
Sisters | 2771 | Lake Cr @ mouth | 2001-05-09 | 1437 | 14.9 | 15 | 0.1 | 1437 | Low Temp Lab Calibration
Sisters | 2771 | Lake Cr @ mouth | 2001-05-09 | 1554 | 32.3 | 32.5 | 0.2 | 1554 | High Temp Lab Calibration
Sisters | 2771 | Lake Cr @ mouth | 2001-07-25 | 1304 | 11.2 | 11.08 | -0.12 | 1300 | Field Audit
Sisters | 2771 | Lake Cr @ mouth | 2001-07-25 | 12:55 | 10.4 | 10.62 | 0.22 | 1200 | Field Audit
Sisters | 2771 | Lake Cr @ mouth | 2001-10-02 | 1453 | 9.8 | 9.68 | -0.12 | 1400 | Field Audit
Sisters | 320383 | Lake Cr @ Suttle Lake Outlet | 2001-04-10 | 1142 | 12.2 | 12.3 | 0.1 | 1142 | Low Temp Lab Calibration
Sisters | 320383 | Lake Cr @ Suttle Lake Outlet | 2001-04-10 | 1506 | 25.3 | 25.4 | 0.1 | 1506 | High Temp Lab Calibration
Sisters | 320383 | Lake Cr @ Suttle Lake outlet | 2001-07-26 | 1525 | 21.7 | 21.48 | -0.22 | 1500 | Field Audit
Sisters | 320383 | Lake Cr @ Suttle Lake outlet | 2001-10-03 | 1530 | 15.9 | 16.47 | 0.57 | 1500 | Field Audit
Sisters | 2781 | Lake Cr @ Trail 99 crossing | 2001-05-09 | 1437 | 14.9 | 14.8 | -0.1 | 1437 | Low Temp Lab Calibration
Sisters | 2781 | Lake Cr @ Trail 99 crossing | 2001-05-09 | 1554 | 32.3 | 32.5 | 0.2 | 1554 | High Temp Lab Calibration
Sisters | 2781 | Lake Cr @ Trail 99 crossing | 2001-07-25 | 1029 | 16.3 | 15.43 | -0.87 | 1000 | Field Audit
Sisters | 2781 | Lake Cr @ Trail 99 crossing | 2001-10-11 | 1609 | 12 | 11.85 | -0.15 | 1600 | Field Audit
Sisters | 2774 | Link Cr below 2076 Rd | 2001-05-09 | 1437 | 14.9 | 15 | 0.1 | 1437 | Low Temp Lab Calibration
Sisters | 2774 | Link Cr below 2076 Rd | 2001-05-09 | 1554 | 32.3 | 32.5 | 0.2 | 1554 | High Temp Lab Calibration
Sisters | 2774 | Link Cr below 2076 Rd | 2001-07-26 | 1540 | 14.8 | 14.8 | 0 | 1500 | Field Audit
Sisters | 2774 | Link Cr below 2076 Rd | 2001-10-12 | 1015 | 7.8 | 7.98 | 0.18 | 1000 | Field Audit
Sisters | 407765 | Metolius R @ Bridge 99 | 2001-04-10 | 1142 | 12.2 | 12.2 | 0 | 1142 | Low Temp Lab Calibration
Sisters | 407765 | Metolius R @ Bridge 99 | 2001-04-10 | 1506 | 25.3 | 25.3 | 0 | 1506 | High Temp Lab Calibration
Sisters | 407765 | Metolius R @ Bridge 99 | 2001-07-26 | 1116 | 7.6 | 7.2 | -0.4 | 1100 | Field Audit
Sisters | 407765 | Metolius R @ Bridge 99 | 2001-10-02 | 12:08 | 6.9 | 6.73 | -0.17 | 1200 | Field Audit
Sisters | 407768 | Metolius R @ Gorge Campground | 2001-04-10 | 1142 | 12.2 | 12.5 | 0.3 | 1142 | Low Temp Lab Calibration
Sisters | 407768 | Metolius R @ Gorge Campground | 2001-04-10 | 1506 | 25.3 | 25.4 | 0.1 | 1506 | High Temp Lab Calibration
Sisters | 407768 | Metolius R @ Gorge Campground | 2001-07-25 | 1442 | 11.7 | 11.46 | -0.24 | 1400 | Field Audit
Sisters | 407768 | Metolius R @ Gorge Campground | 2001-10-02 | 14:09 | 9.8 | 9.74 | -0.06 | 1400 | Field Audit
Sisters | 89743 | Metolius R @ Headwater Springs | 2001-05-09 | 1437 | 14.9 | 15.1 | 0.2 | 1437 | Low Temp Lab Calibration
Sisters | 89743 | Metolius R @ Headwater Springs | 2001-05-09 | 1554 | 32.3 | 32.5 | 0.2 | 1554 | High Temp Lab Calibration
Sisters | 89743 | Metolius R @ Headwater Springs | 2001-07-12 | 17:00 | 8.77 | 8.53 | -0.24 | 1700 | Field Audit
Sisters | 89743 | Metolius R @ Headwater Springs | 2001-07-26 | 950 | 8.7 | 8.69 | -0.01 | 900 | Field Audit
Sisters | 89743 | Metolius R @ Headwater Springs | 2001-10-11 | 1545 | 8.5 | 8.69 | 0.19 | 1500 | Field Audit
Sisters | 2775 | Metolius R @ tract C bridge | 2001-05-09 | 1437 | 14.9 | 15 | 0.1 | 1437 | Low Temp Lab Calibration
Sisters | 2775 | Metolius R @ tract C bridge | 2001-05-09 | 1554 | 32.3 | 32.6 | 0.3 | 1554 | High Temp Lab Calibration
Sisters | 2775 | Metolius R @ tract C bridge | 2001-07-25 | 12:10 | 10.9 | 10.46 | -0.44 | 1200 | Field Audit
Sisters | 2775 | Metolius R @ tract C bridge | 2001-07-25 | 1208 | 10.9 | 10.46 | -0.44 | 1200 | Field Audit
Sisters | 2775 | Metolius R @ tract C bridge | 2001-10-02 | 15:26 | 10.1 | 10.46 | 0.36 | 1500 | Field Audit
Sisters | 407767 | Roaring Cr near Sheep Springs C.G. | 2001-04-10 | 1142 | 12.2 | 12.7 | 0.5 | 1142 | Low Temp Lab Calibration
Sisters | 407767 | Roaring Cr near Sheep Springs C.G. | 2001-04-10 | 1506 | 25.3 | 25.4 | 0.1 | 1506 | High Temp Lab Calibration
Sisters | 407767 | Roaring Cr near Sheep Springs C.G. | 2001-07-26 | 1458 | 5 | 5.25 | 0.25 | 1400 | Field Audit
Sisters | 407767 | Roaring Cr near Sheep Springs C.G. | 2001-10-11 | 1102 | 4.3 | 4.47 | 0.17 | 1100 | Field Audit
Sisters | 199010 | Six Creek 0.5 miles up 850 spur | 2001-07-23 | 1402 | 12.1 | 11.81 | -0.29 | 1400 | Field Audit
Sisters | 199010 | Six Creek 0.5 miles up 850 spur | 2001-10-12 | 920 | 3.8 | 5.61 | 1.81 | 900 | Field Audit
Sisters |  | Squaw Cr. Below 1514 Rd. | 2001-07-23 | 1115 | 7.5 |  |  | 1100 | Field Audit | Water milky from glacier
Sisters |  | Squaw Cr. Below 1514 Rd. | 2001-10-12 | 1205 | 4.1 |  |  | 1200 | Field Audit
Sisters | 215275 | Squaw Cr. Below below Camp Polk Br | 2001-04-10 | 1142 | 12.2 | 12.7 | 0.5 | 1142 | Low Temp Lab Calibration
Sisters | 215275 | Squaw Cr. Below below Camp Polk Br | 2001-04-10 | 1506 | 25.3 | 25.6 | 0.3 | 1506 | High Temp Lab Calibration
Sisters | 215275 | Squaw Cr. Below below Camp Polk Br | 2001-06-28 | 11:55 | 13.8 | 12.27 | -1.53 | 1100 | Field Audit
Sisters | 215275 | Squaw Cr. Below below Camp Polk Br | 2001-07-23 | 1551 | 22.8 | 22.49 | -0.31 | 1500 | Field Audit
Sisters | 215275 | Squaw Cr. Below below Camp Polk Br | 2001-10-12 | 1305 | 9 | 8.87 | -0.13 | 1300 | Field Audit
Sisters | 215270 | Squaw Cr. Grasslands @ 6030 RD | 2001-04-10 | 1142 | 12.2 | 11.7 | -0.5 | 1142 | Low Temp Lab Calibration
Sisters | 215270 | Squaw Cr. Grasslands @ 6030 RD | 2001-04-10 | 1506 | 25.3 | 25.6 | 0.3 | 1506 | High Temp Lab Calibration
Sisters | 215270 | Squaw Cr. Grasslands @ 6030 RD | 2001-07-24 | 1455 | 26 | 21.02 | -4.98 | 1400 | Field Audit | Out of water, Audit not good
Sisters | 215270 | Squaw Cr. Grasslands @ 6030 RD | 2001-10-12 | 1405 | 9.3 | 9.04 | -0.26 | 1400 | Field Audit
Sisters | 192044 | Squaw Crk. Below City Park | 2001-04-10 | 1142 | 12.2 | 12.7 | 0.5 | 1142 | Low Temp Lab Calibration
Sisters | 192044 | Squaw Crk. Below City Park | 2001-04-10 | 1506 | 25.3 | 25.5 | 0.2 | 1506 | High Temp Lab Calibration
Sisters | 192044 | Squaw Crk. Below City Park | 2001-07-23 | 1200 | 16.6 | 16.56 | -0.04 | 1200 | Field Audit
Sisters | 192044 | Squaw Crk. Below City Park | 2001-10-12 | 1237 | 5.3 | 5.07 | -0.23 | 1200 | Field Audit
Sisters | 320385 | Trout Cr @ 1018 Rd | 2000-05-10 | 1210 | 14.7 | 14.64 | -0.06 | 1210 | Low Temp Lab Calibration
Sisters | 320385 | Trout Cr @ 1018 Rd | 2000-05-10 | 1419 | 34.3 | 34.62 | 0.32 | 1419 | High Temp Lab Calibration
Sisters | 320385 | Trout Cr @ 1018 Rd | 2001-07-23 | 1024 | 6.7 | 6.43 | -0.27 | 1000 | Field Audit | No case
Sisters | 320385 | Trout Cr @ 1018 Rd | 2001-10-12 | 1123 | 3.8 | 3.78 | -0.02 | 1100 | Field Audit
Sisters | 191920 | Trout Cr @ Whispering Pines C.G. | 2000-05-10 | 1210 | 14.7 | 14.73 | 0.03 | 1210 | Low Temp Lab Calibration
Sisters | 191920 | Trout Cr @ Whispering Pines C.G. | 2000-05-10 | 1419 | 34.3 | 34.78 | 0.48 | 1419 | High Temp Lab Calibration
Sisters | 191920 | Trout Cr @ Whispering Pines C.G. | 2001-07-23 | 952 | 7.3 | 7.31 | 0.01 | 900 | Field Audit
Sisters | 191920 | Trout Cr @ Whispering Pines C.G. | 2001-10-12 | 11:12 | 3.7 | 3.88 | 0.18 | 1100 | Field Audit