## Lookout Mtn
2006 Ochoco NF Thermograph Audit
District | Temp. Logger Serial # | Location | Date | NIST Time | NIST Water Temp ºC | Instrument Temp ºC | Temp. Logger Diff From NIST ºC | Temp. Logger Time | 1st prev. temps | 2nd prev. temps | 3rd prev. temps | 1st post temp | 2nd post temp | 3rd post temps | Audit Type | Comments
ONF LOM | 12933hi |  | 2005-11-30 | 13:40 | 25.9 | 26.17 | 0.27 | 13:40 | 26.17 | 26.17 | 26.17 | 26.17 | 26.17 | 25.99 | och | Hobo XT
ONF LOM | 12934lo |  | 2005-11-30 | 11:48 | 7.6 | 7.67 | 0.07 | 11:48 | 7.67 | 7.67 | 7.67 | 7.67 | 7.67 | 7.67 | och | Hobo XT
ONF LOM | 261203hi |  | 2005-11-30 | 13:40 | 25.9 | 25.92 | 0.02 | 13:40 | 25.92 | 25.92 | 25.92 | 25.92 | 25.92 | 25.92 | och | StowAway
ONF LOM | 261203lo |  | 2005-11-30 | 11:48 | 7.6 | 7.61 | 0.01 | 11:48 | 7.61 | 7.61 | 7.61 | 7.61 | 7.61 | 7.61 | och | StowAway
ONF LOM | 265421hi |  | 2005-11-30 | 13:40 | 25.9 | 25.99 | 0.09 | 13:40 | 25.99 | 25.99 | 25.99 | 25.99 | 25.99 | 25.99 | och | StowAway
ONF LOM | 265421lo |  | 2005-11-30 | 11:48 | 7.6 | 7.84 | 0.24 | 11:48 | 7.84 | 7.84 | 7.84 | 7.84 | 7.84 | 7.84 | och | StowAway
ONF LOM | 442hi |  | 2005-11-30 | 13:40 | 25.9 | 25.79 | -0.11 | 13:40 | 25.79 | 25.79 | 25.79 | 25.79 | 25.79 | 25.79 | och | StowAway
ONF LOM | 442lo |  | 2005-11-30 | 11:48 | 7.6 | 7.35 | -0.25 | 11:48 | 7.35 | 7.35 | 7.35 | 7.35 | 7.35 | 7.35 | och | StowAway