## SC 024.25
Organization | Upper Deschutes Watershed Council | [6 empty] | Equipment ID |  |  | YSI 556 MPS 05G1083AM and Hach 2100P #50828
Program Name | Water Quality Monitoring Program | [6 empty] | Station ID |  |  | SC 024.25
Contact Name | Lesley Jones | [6 empty] | Description |  |  | Whychus Creek city park gauge
Number | 541-382-6103 x34 | [6 empty] | Latitude | [5 empty] | Longitude
Pre-sampling Equipment Check | [9 empty] | Equipment Readings
Audit meters | Reference |  | Temp | pH | DO | %SAT | SpC | TDS | Turb | Temp | Grade | pH | Grade | DO | Grade | SpC | Grade | Turb | Grade
VWR NIST traceable # 51063402 | surface water |  | #N/A | [6 empty] | #N/A | #N/A
Orion 210A #51003 | pH 7 standard solution |  |  | #N/A | [7 empty] | #N/A | #N/A
Winkler titration | surface water |  |  |  | #N/A | [8 empty] | #N/A | #N/A
YSI 30 #51061 | 148.0 µS/mL | [5 empty] | #N/A | [8 empty] | #N/A | #N/A
Hach 2100P # 50828 | Gelex secondary 0-1000 NTU | [7 empty] | #N/A | [8 empty] | #N/A | #N/A
Hach 2100P # 50828 | Gelex secondary 0-500 NTU | [7 empty] | #N/A | [8 empty] | #N/A | #N/A
Hach 2100P # 50828 | Gelex secondary 0-5 NTU | [7 empty] | #N/A | [8 empty] | #N/A | #N/A
Audit date/time | 2006-06-09 17:00
Grab sampling results
Meter | Date | Time | Temp | pH | DO | %SAT | SpC | TDS | Turb
05G10803AM | 2006-06-10 15:18 |  | 11.61 | 6.78 | 10.39 | 95.6 | 27.3 | 17.8
50828 | [8 empty] | 4
Download date |  | Comp. time |  |  | Unit time |  |  |  | Grade | A
Post-sampling Equipment Check | [9 empty] | Equipment Readings
Audit meters | Reference |  | Temp | pH | DO | %SAT | SpC | TDS | Turb | Temp | Grade | pH | Grade | DO | Grade | SpC | Grade | Turb | Grade
VWR NIST traceable # 51063402 | surface water |  | #N/A | [6 empty] | #N/A | #N/A
Orion 210A #51003 | pH 7 standard solution |  |  | #N/A | [7 empty] | #N/A | #N/A
Winkler titration | surface water |  |  |  | #N/A | [8 empty] | #N/A | #N/A
YSI 30 #51061 | 148.0 uS/cm | [5 empty] | #N/A | [8 empty] | #N/A | #N/A
Hach 2100P # 50828 | Gelex secondary 0-1000 NTU | [7 empty] | #N/A | [8 empty] | #N/A | #N/A
Hach 2100P # 50828 | Gelex secondary 0-500 NTU | [7 empty] | #N/A | [8 empty] | #N/A | #N/A
Hach 2100P # 50828 | Gelex secondary 0-5 NTU | [7 empty] | #N/A | [8 empty] | #N/A | #N/A
Audit date/time | 2006-06-12 08:00
Comments: | [7 empty] | Grade |  | Temp |  | pH |  | DO |  | SpC |  | Turb
[10 empty] | C |  | SU |  | mg/L |  | µS/mL |  | NTU
[8 empty] | A |  | <1.50 |  | <=0.30 |  | <=0.3 |  | <=10% |  | <=1.0
[8 empty] | B |  | 1.51 to 2.00 |  | 0.31 to 0.50 |  | 0.31 to 1.0 |  | 10.1% to 15% |  | 1.1 to 2.0
[8 empty] | Fail |  | >2.01 |  | >0.51 |  | >1.1 |  | >15.1% |  | >2.1
Formulas:
Upper Deschutes Watershed Council = '[2]Jun 06'!D9

## WC 024.25
Organization | UDWC |  | Station ID |  | WC 024.25
Program Name | Water Quality Monitoring Program |  | System |  | Whychus Creek
Contact Name | Lesely Jones |  | Description |  | City Park Gauge
Number | 541-382-6103 ex 34 |  | Latitude / Longitude
Pre-sampling Field Equipment Check
Field equipment ID | YSI 556 MPS 05G1083AM and Hach 2100P #50828
Parameter | Audit reference |  | Audit value |  | Field equip. value |  | Grade
Date | Computer set to atomic time |  | 2006-06-09 |  |  |  | F
Time | Computer set to atomic time |  | 17:00 |  |  |  | F
Temp (°C) | VWR NIST traceable surface water |  | 20.7 |  | 20.4 |  | A
DO (mg/L) | Winkler titration of surface water |  | 9.1 |  | 8.2 |  | B
SpC (uS/ml) | 148 µS/mL |  | 161 |  | 149 |  | A
ph (SU) | pH 7 standard solution |  | 7 |  | 7.5 |  | B
Turb (NTU) | Gelex secondary 0-5 NTU |  | 5 |  | 5 |  | A
Turb (NTU) | Gelex secondary 0-500 NTU |  | 50 |  | 50 |  | A
Turb (NTU) | Gelex secondary 0-1000 NTU |  | 478 |  | 478 |  | A
Field Equipment Grab Sampling Results
| Date/time | Temp | pH | DO | %SAT | SpC | TDS | Turb
| 2006-06-10 | 11.6 | 6.8 | 10.4 | 95.6 | 27.3 | 18
4
Post-sampling Field Equipment Check
Parameter | Audit reference |  | Audit value |  | Field equip. value |  | Grade
Date | Computer set to atomic time |  | 16/12/06 |  |  |  | F
Time | Computer set to atomic time |  | 8:00 |  |  |  | F
Temp (°C) | VWR NIST traceable surface water |  | 21.4 |  | 21.2 |  | A
DO (mg/L) | Winkler titration of surface water |  | 8.7 |  | 8.6 |  | A
SpC (uS/ml) | 148 µS/mL |  | 154 |  | 153 |  | A
ph (SU) | pH 7 standard solution |  | 7.1 |  | 7.4 |  | A
Turb (NTU) | Gelex secondary 0-5 NTU |  | 5 |  | 5 |  | A
Turb (NTU) | Gelex secondary 0-500 NTU |  | 50 |  | 50 |  | A
Turb (NTU) | Gelex secondary 0-1000 NTU |  | 478 |  | 476 |  | B
Comments: |  |  | Grade | Temp | DO | SpC | pH | Turb
|  |  |  | C | mg/L | µS/mL | SU | NTU
|  |  | A | <1.50 | <=0.3 | <=10% | <=0.30 | <=1.0
|  |  | B | 1.51 to 2.00 | 0.31 to 1.0 | 10.1% to 15% | 0.31 to 0.50 | 1.1 to 2.0
|  |  | Fail | >2.01 | >1.1 | >15.1% | >0.51 | >2.1
Formulas:
Audit value = '[3]master equipment audit'!D9:E9