## Multiparameter_Audit
|  |  | Note: | All | Blue |  |  | cells are REQUIRED INFORMATION to grade data! | [12 empty] | SITE ELEVATION |  | 0
Project Name: |  | City of Bend Water Quality Monitoring | [18 empty] | ELEVATION CODE |  | 1
Site Name: |  | DR 160.00 Deschutes River - Downstream Tumalo Boulder Filed
Organization: |  | The City of Bend & the Upper Deschutes Watershed Council
LASAR#: | [7 empty] | Site Description: | [13 empty] | DO Sat Table
Site Latitude: |  |  | 44.1177 | [17 empty] | Elev
Site Longitude: |  |  | -121.3348 | [17 empty] | 0 | 500 | 750 | 1000 | 1250 | 1500 | 1750 | 2000 | 2250 | 2500 | 2750 | 3000 | 3250 | 3500 | 3750 | 4000 | 4250 | 4500 | 4750 | 5000 | Temp
Elevation: | [19 empty] | Temp | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Temperature Logger ID: |  |  | 04F11310AC |  |  |  |  | Contact Name: |  |  | Drexell Barnes - City of Bend Water Quality Laboratory
Depth (Meters): |  |  | 1 meter |  |  |  |  | Contact Number: |  |  | (541) 322-6368 | [8 empty] | 0 | 14.6 | 14.2 | 14.2 | 14 | 14 | 13.8 | 13.65 | 13.5 | 13.3 | 13.3 | 13.1 | 12.95 | 12.8 | 12.8 | 12.65 | 12.5 | 12.35 | 12.2 | 12.2 | 12.05 | 0
Data File Name: |  |  | 16000C08.dat | [16 empty] | 0.5 | 14.4 | 14 | 14 | 13.8 | 13.8 | 13.65 | 13.5 | 13.3 | 13.1 | 13.1 | 12.95 | 12.8 | 12.65 | 12.65 | 12.5 | 12.35 | 12.2 | 12.05 | 12.05 | 11.9 | 0.5
Audit Information: |  |  |  | Initials: | DB |  |  | Logger Values & Grading: --Do not fill in-- (Automated from logger) | [11 empty] | 1 | 14.2 | 13.8 | 13.8 | 13.65 | 13.65 | 13.5 | 13.3 | 13.1 | 12.95 | 12.95 | 12.8 | 12.65 | 12.5 | 12.5 | 12.35 | 12.2 | 12.05 | 11.9 | 11.9 | 11.75 | 1
(Fill in the BLUE section) | [7 empty] | Logger | Temp | Logger | pH | Logger | Sp.Cond. | Logger | DO | Logger | DO% | Logger | Turb. | 1.5 | 14 | 13.65 | 13.65 | 13.5 | 13.5 | 13.3 | 13.1 | 12.95 | 12.8 | 12.8 | 12.65 | 12.5 | 12.35 | 12.35 | 12.2 | 12.05 | 11.9 | 11.75 | 11.75 | 11.6 | 1.5
Date | Time | depth | Temp | pH | Sp.Cond. | DO | Turb. | Temp | Grade | pH | Grade | Sp.Cond. | Grade | DO | Grade | DO% | Grade | Turb. | Grade | 2 | 13.8 | 13.5 | 13.5 | 13.3 | 13.3 | 13.1 | 12.95 | 12.8 | 12.65 | 12.65 | 12.5 | 12.35 | 12.2 | 12.2 | 12.05 | 11.9 | 11.75 | 11.6 | 11.52 | 11.37 | 2
2008-03-18 | 12:00 | 1 m | 6.02 | NA | 71.9 | 12.87 | 1.74 | 6 | A | NA | #VALUE! | 73.4 | A | 12.13 | B | 97.4 | B | 1.4 | B | 2.5 | 13.65 | 13.3 | 13.3 | 13.1 | 13.1 | 12.95 | 12.8 | 12.65 | 12.5 | 12.5 | 12.35 | 12.2 | 12.05 | 11.9 | 11.9 | 11.75 | 11.6 | 11.45 | 11.3 | 11.2 | 2.5
2007-03-25 | 14:00 | 1 m | 5.94 | NA | 75.7 | 12.59 | 2.03 | 5.92 | A | NA | #VALUE! | 78.8 | A | 12.84 | A | 102.9 | A | 1.8 | B | 3 | 13.5 | 13.1 | 13.1 | 12.95 | 12.95 | 12.8 | 12.65 | 12.5 | 12.35 | 12.35 | 12.2 | 12.05 | 11.9 | 11.75 | 11.75 | 11.6 | 11.45 | 11.3 | 11.2 | 11.1 | 3
[20 empty] | 3.5 | 13.3 | 12.95 | 12.95 | 12.8 | 12.75 | 12.65 | 12.5 | 12.35 | 12.2 | 12.2 | 12.05 | 11.9 | 11.75 | 11.6 | 11.52 | 11.45 | 11.3 | 11.2 | 11.1 | 10.95 | 3.5
[20 empty] | 4 | 13.1 | 12.8 | 12.8 | 12.65 | 12.5 | 12.5 | 12.35 | 12.2 | 12.05 | 12.05 | 11.9 | 11.75 | 11.6 | 11.45 | 11.3 | 11.2 | 11.2 | 11.1 | 10.95 | 10.8 | 4
[20 empty] | 4.5 | 12.95 | 12.65 | 12.65 | 12.5 | 12.35 | 12.27 | 12.2 | 12.05 | 11.9 | 11.83 | 11.68 | 11.53 | 11.45 | 11.3 | 11.2 | 11.1 | 11.02 | 10.87 | 10.8 | 10.7 | 4.5
[20 empty] | 5 | 12.8 | 12.5 | 12.5 | 12.35 | 12.2 | 12.05 | 12.05 | 11.9 | 11.75 | 11.6 | 11.45 | 11.3 | 11.3 | 11.2 | 11.1 | 10.95 | 10.8 | 10.7 | 10.7 | 10.6 | 5
[20 empty] | 5.5 | 12.65 | 12.35 | 12.35 | 12.2 | 12.05 | 11.9 | 11.82 | 11.68 | 11.6 | 11.45 | 11.3 | 11.2 | 11.15 | 11.1 | 10.95 | 10.8 | 10.7 | 10.6 | 10.55 | 10.45 | 5.5
[20 empty] | 6 | 12.5 | 12.2 | 12.2 | 12.05 | 11.9 | 11.75 | 11.6 | 11.45 | 11.45 | 11.3 | 11.2 | 11.1 | 10.95 | 10.95 | 10.8 | 10.7 | 10.6 | 10.5 | 10.4 | 10.3 | 6
[20 empty] | 6.5 | 12.35 | 12.05 | 12.05 | 11.9 | 11.75 | 11.6 | 11.45 | 11.3 | 11.25 | 11.2 | 11.1 | 10.95 | 10.8 | 10.75 | 10.7 | 10.6 | 10.5 | 10.4 | 10.3 | 10.2 | 6.5
[20 empty] | 7 | 12.2 | 11.9 | 11.9 | 11.75 | 11.6 | 11.45 | 11.3 | 11.2 | 11.2 | 11.1 | 10.95 | 10.8 | 10.7 | 10.6 | 10.6 | 10.5 | 10.4 | 10.3 | 10.2 | 10.1 | 7
[20 empty] | 7.5 | 12.05 | 11.75 | 11.75 | 11.6 | 11.45 | 11.3 | 11.2 | 11.1 | 11.1 | 10.95 | 10.8 | 10.7 | 10.6 | 10.5 | 10.45 | 10.35 | 10.25 | 10.15 | 10.05 | 9.92 | 7.5
[20 empty] | 8 | 11.9 | 11.6 | 11.6 | 11.45 | 11.3 | 11.2 | 11.1 | 10.95 | 10.95 | 10.8 | 10.7 | 10.6 | 10.5 | 10.4 | 10.3 | 10.2 | 10.1 | 10 | 9.85 | 9.7 | 8
[20 empty] | 8.5 | 11.75 | 11.45 | 11.45 | 11.3 | 11.2 | 11.1 | 10.95 | 10.8 | 10.75 | 10.7 | 10.6 | 10.5 | 10.4 | 10.3 | 10.2 | 10.1 | 10 | 9.85 | 9.7 | 9.6 | 8.5
[20 empty] | 9 | 11.6 | 11.3 | 11.3 | 11.2 | 11.1 | 10.95 | 10.8 | 10.7 | 10.6 | 10.6 | 10.5 | 10.4 | 10.3 | 10.2 | 10.1 | 10 | 9.85 | 9.7 | 9.6 | 9.5 | 9
[20 empty] | 9.5 | 11.45 | 11.2 | 11.2 | 11.1 | 10.95 | 10.8 | 10.7 | 10.6 | 10.5 | 10.45 | 10.35 | 10.3 | 10.2 | 10.1 | 10 | 9.85 | 9.7 | 9.6 | 9.5 | 9.45 | 9.5
[20 empty] | 10 | 11.3 | 11.1 | 11.1 | 10.95 | 10.8 | 10.7 | 10.6 | 10.5 | 10.4 | 10.3 | 10.2 | 10.2 | 10.1 | 10 | 9.85 | 9.7 | 9.6 | 9.5 | 9.45 | 9.4 | 10
[20 empty] | 10.5 | 11.2 | 10.95 | 10.95 | 10.8 | 10.7 | 10.6 | 10.5 | 10.4 | 10.3 | 10.2 | 10.1 | 10.05 | 10 | 9.85 | 9.7 | 9.6 | 9.5 | 9.45 | 9.35 | 9.25 | 10.5
[20 empty] | 11 | 11.1 | 10.8 | 10.8 | 10.7 | 10.6 | 10.5 | 10.4 | 10.3 | 10.2 | 10.1 | 10 | 9.85 | 9.85 | 9.7 | 9.6 | 9.5 | 9.45 | 9.4 | 9.2 | 9.1 | 11
[20 empty] | 11.5 | 10.95 | 10.7 | 10.7 | 10.6 | 10.5 | 10.4 | 10.3 | 10.2 | 10.1 | 10 | 9.85 | 9.7 | 9.65 | 9.55 | 9.47 | 9.45 | 9.35 | 9.25 | 9.1 | 9 | 11.5
[20 empty] | 12 | 10.8 | 10.6 | 10.6 | 10.5 | 10.4 | 10.3 | 10.2 | 10.1 | 10 | 9.85 | 9.7 | 9.6 | 9.5 | 9.45 | 9.4 | 9.4 | 9.2 | 9.1 | 9 | 8.9 | 12
[20 empty] | 12.5 | 10.7 | 10.5 | 10.5 | 10.4 | 10.3 | 10.2 | 10.1 | 10 | 9.85 | 9.7 | 9.6 | 9.5 | 9.45 | 9.4 | 9.3 | 9.25 | 9.1 | 9 | 8.9 | 8.8 | 12.5
[20 empty] | 13 | 10.6 | 10.4 | 10.4 | 10.3 | 10.2 | 10.1 | 10 | 9.85 | 9.7 | 9.6 | 9.5 | 9.45 | 9.4 | 9.3 | 9.2 | 9.1 | 9 | 8.9 | 8.8 | 8.75 | 13
[20 empty] | 13.5 | 10.5 | 10.3 | 10.3 | 10.2 | 10.1 | 10 | 9.85 | 9.7 | 9.6 | 9.5 | 9.45 | 9.4 | 9.3 | 9.2 | 9.1 | 9 | 8.9 | 8.77 | 8.72 | 8.65 | 13.5
[20 empty] | 14 | 10.4 | 10.2 | 10.2 | 10.1 | 10 | 9.85 | 9.7 | 9.6 | 9.5 | 9.45 | 9.4 | 9.3 | 9.2 | 9.1 | 9 | 8.9 | 8.8 | 8.7 | 8.6 | 8.5 | 14
[20 empty] | 14.5 | 10.3 | 10.1 | 10.1 | 10 | 9.85 | 9.7 | 9.6 | 9.5 | 9.45 | 9.4 | 9.3 | 9.2 | 9.1 | 9 | 8.9 | 8.8 | 8.75 | 8.6 | 8.5 | 8.45 | 14.5
[20 empty] | 15 | 10.2 | 10 | 10 | 9.85 | 9.7 | 9.6 | 9.5 | 9.45 | 9.4 | 9.3 | 9.2 | 9.1 | 9 | 8.9 | 8.8 | 8.75 | 8.7 | 8.5 | 8.45 | 8.4 | 15
[20 empty] | 15.5 | 10.1 | 9.85 | 9.8 | 9.65 | 9.6 | 9.5 | 9.45 | 9.4 | 9.3 | 9.2 | 9.1 | 9 | 8.9 | 8.77 | 8.72 | 8.65 | 8.55 | 8.45 | 8.4 | 8.3 | 15.5
[20 empty] | 16 | 10 | 9.7 | 9.6 | 9.5 | 9.5 | 9.45 | 9.4 | 9.25 | 9.2 | 9.1 | 9 | 8.9 | 8.8 | 8.7 | 8.6 | 8.5 | 8.45 | 8.4 | 8.3 | 8.2 | 16
[20 empty] | 16.5 | 9.85 | 9.6 | 9.5 | 9.45 | 9.43 | 9.35 | 9.25 | 9.1 | 9.05 | 8.95 | 8.9 | 8.8 | 8.73 | 8.6 | 8.5 | 8.45 | 8.4 | 8.3 | 8.2 | 8.12 | 16.5
[20 empty] | 17 | 9.7 | 9.5 | 9.45 | 9.4 | 9.3 | 9.2 | 9.1 | 9 | 8.9 | 8.8 | 8.8 | 8.75 | 8.6 | 8.5 | 8.45 | 8.4 | 8.3 | 8.2 | 8.15 | 8 | 17
[20 empty] | 17.5 | 9.6 | 9.45 | 9.4 | 9.3 | 9.2 | 9.1 | 9 | 8.9 | 8.8 | 8.75 | 8.75 | 8.65 | 8.5 | 8.45 | 8.4 | 8.3 | 8.2 | 8.12 | 8.05 | 7.9 | 17.5
[20 empty] | 18 | 9.5 | 9.4 | 9.3 | 9.2 | 9.1 | 9 | 8.9 | 8.8 | 8.75 | 8.7 | 8.6 | 8.5 | 8.45 | 8.4 | 8.3 | 8.2 | 8.15 | 8.1 | 8 | 7.85 | 18
Date Downloaded: |  |  | Time: | 288:00 | Time: |  |  | 288:00 |  | Grade: | A |  |  | May not apply to multiloggers | [5 empty] | 18.5 | 9.45 | 9.3 | 9.2 | 9.1 | 9 | 8.9 | 8.8 | 8.75 | 8.7 | 8.6 | 8.5 | 8.45 | 8.4 | 8.3 | 8.2 | 8.15 | 8.05 | 7.9 | 7.85 | 7.8 | 18.5
(if stopped at download) |  |  | (Computer) |  | (Unit) | [8 empty] | Leave times blank if not in use. | [5 empty] | 19 | 9.4 | 9.2 | 9.1 | 9 | 8.9 | 8.8 | 8.75 | 8.7 | 8.6 | 8.5 | 8.45 | 8.4 | 8.3 | 8.2 | 8.15 | 8.1 | 7.9 | 7.85 | 7.85 | 7.7 | 19
General Comments: |  |  | pH meter reading erratically at calibration and deployment. pH data is not representative or reported. - DB | [16 empty] | 19.5 | 9.3 | 9.1 | 9 | 8.9 | 8.8 | 8.75 | 8.7 | 8.6 | 8.5 | 8.45 | 8.4 | 8.3 | 8.17 | 8.12 | 8.05 | 7.95 | 7.85 | 7.8 | 7.7 | 7.6 | 19.5
[20 empty] | 20 | 9.2 | 9 | 8.9 | 8.8 | 8.75 | 8.7 | 8.6 | 8.5 | 8.45 | 8.4 | 8.3 | 8.2 | 8.1 | 8.05 | 7.95 | 7.85 | 7.8 | 7.7 | 7.6 | 7.55 | 20
Codes: |  | Parameter | Code |  | Grade Values: |  |  | Temp |  | pH |  | Sp.Cond. |  | DO |  | DO% |  | Turbidity |  | 20.5 | 9.1 | 8.9 | 8.8 | 8.75 | 8.7 | 8.6 | 8.5 | 8.45 | 8.4 | 8.3 | 8.2 | 8.15 | 8 | 8 | 7.8 | 7.8 | 7.7 | 7.6 | 7.55 | 7.5 | 20.5
|  | pH | PH |  | A |  |  | <1.5 |  | <=0.30 |  | <=10% |  | <=0.3 |  | Graded |  | <=5% |  | 21 | 9 | 8.8 | 8.75 | 8.7 | 8.6 | 8.5 | 8.45 | 8.4 | 8.3 | 8.2 | 8.15 | 8.1 | 7.9 | 7.95 | 7.7 | 7.7 | 7.6 | 7.55 | 7.5 | 7.45 | 21
|  | Disolved Oxygen | DO |  | B |  |  | 1.51 to 2.00 |  | 0.31 to 0.50 |  | 10.1% to 15% |  | 0.31 to 1.0 |  | From |  | 5.1% to 30% |  | 21.5 | 8.9 | 8.75 | 8.7 | 8.6 | 8.5 | 8.45 | 8.4 | 8.3 | 8.2 | 8.15 | 8.1 | 8 | 7.85 | 7.8 | 7.65 | 7.6 | 7.55 | 7.5 | 7.45 | 7.4 | 21.5
|  | Spec. Conductivity | SC |  | C | [8 empty] | 1.1 to 2.0 |  | DO Values |  |  |  | 22 | 8.8 | 8.7 | 8.6 | 8.5 | 8.45 | 8.4 | 8.3 | 8.2 | 8.15 | 8.1 | 8 | 7.9 | 7.8 | 7.7 | 7.6 | 7.55 | 7.5 | 7.45 | 7.4 | 7.35 | 22
|  | Temperature | T |  | Fail |  |  | >2.00 |  | >0.50 |  | >15% |  | >2.00 |  |  |  | >30% |  | 22.5 | 8.75 | 8.6 | 8.5 | 8.45 | 8.4 | 8.3 | 8.2 | 8.15 | 8.1 | 8 | 7.9 | 7.85 | 7.7 | 7.6 | 7.55 | 7.5 | 7.42 | 7.4 | 7.35 | 7.3 | 22.5
Turbidity
Date From | Time From | Date To | Time To | Change | Code |  |  | Initials | Comment |  |  |  | CORRECTIONS: GRADING OVERRIDE CRITERIA | [6 empty] | 23 | 8.7 | 8.5 | 8.45 | 8.4 | 8.3 | 8.2 | 8.15 | 8.1 | 8 | 7.9 | 7.85 | 7.8 | 7.57 | 7.55 | 7.5 | 7.42 | 7.35 | 7.33 | 7.3 | 7.25 | 23
[20 empty] | 23.5 | 8.6 | 8.45 | 8.4 | 8.3 | 8.2 | 8.15 | 8.1 | 8 | 7.9 | 7.85 | 7.8 | 7.7 | 7.5 | 7.5 | 7.42 | 7.35 | 7.3 | 7.25 | 7.22 | 7.2 | 23.5
[20 empty] | 24 | 8.5 | 8.4 | 8.3 | 8.2 | 8.15 | 8.1 | 8 | 7.9 | 7.85 | 7.8 | 7.65 | 7.57 | 7.45 | 7.45 | 7.35 | 7.3 | 7.25 | 7.2 | 7.15 | 7.12 | 24
[20 empty] | 24.5 | 8.45 | 8.3 | 8.2 | 8.15 | 8.1 | 8 | 7.9 | 7.85 | 7.8 | 7.7 | 7.55 | 7.5 | 7.4 | 7.4 | 7.3 | 7.25 | 7.2 | 7.15 | 7.1 | 7.05 | 24.5
[20 empty] | 25 | 8.4 | 8.2 | 8.15 | 8.1 | 8 | 7.9 | 7.85 | 7.8 | 7.7 | 7.6 | 7.5 | 7.45 | 7.35 | 7.35 | 7.25 | 7.2 | 7.15 | 7.1 | 7.03 | 6.97 | 25
[20 empty] | 25.5 | 8.3 | 8.15 | 8.1 | 8 | 7.9 | 7.85 | 7.8 | 7.7 | 7.57 | 7.52 | 7.45 | 7.4 | 7.3 | 7.3 | 7.2 | 7.15 | 7.1 | 7.03 | 6.95 | 6.9 | 25.5
[20 empty] | 26 | 8.2 | 8.1 | 8 | 7.9 | 7.85 | 7.8 | 7.7 | 7.6 | 7.5 | 7.45 | 7.4 | 7.35 | 7.25 | 7.22 | 7.15 | 7.1 | 7.03 | 6.95 | 6.9 | 6.85 | 26
[20 empty] | 26.5 | 8.15 | 8 | 7.9 | 7.85 | 7.8 | 7.7 | 7.6 | 7.55 | 7.45 | 7.4 | 7.35 | 7.3 | 7.2 | 7.15 | 7.1 | 7.03 | 6.95 | 6.9 | 6.85 | 6.75 | 26.5
[20 empty] | 27 | 8.1 | 7.9 | 7.85 | 7.8 | 7.7 | 7.6 | 7.55 | 7.5 | 7.4 | 7.35 | 7.3 | 7.25 | 7.15 | 7.1 | 7.03 | 6.95 | 6.9 | 6.85 | 6.75 | 6.7 | 27
[20 empty] | 27.5 | 8 | 7.85 | 7.8 | 7.7 | 7.6 | 7.55 | 7.5 | 7.47 | 7.35 | 7.3 | 7.25 | 7.2 | 7.1 | 7.05 | 6.95 | 6.9 | 6.85 | 6.77 | 6.7 | 6.65 | 27.5
[20 empty] | 28 | 7.9 | 7.8 | 7.7 | 7.6 | 7.55 | 7.5 | 7.45 | 7.4 | 7.3 | 7.25 | 7.2 | 7.15 | 7.05 | 7 | 6.9 | 6.85 | 6.77 | 6.7 | 6.65 | 6.6 | 28
[20 empty] | 28.5 | 7.85 | 7.7 | 7.6 | 7.55 | 7.5 | 7.43 | 7.4 | 7.35 | 7.25 | 7.2 | 7.15 | 7.1 | 7 | 6.95 | 6.85 | 6.8 | 6.72 | 6.65 | 6.6 | 6.55 | 28.5
[20 empty] | 29 | 1: 7.8; 2: 7.6; 3: 7.55; 4: 7.5; 5: 7.45 | 29
[20 empty] | 29.5 | 1: 7.7; 2: 7.55; 3: 7.5; 4: 7.45; 5: 7.4 | 29.5
[20 empty] | 30 | 1: 7.6; 2: 7.5; 3: 7.45; 4: 7.4; 5: 7.35 | 30
[20 empty] | 30.5 | 1: 7.55; 2: 7.45; 3: 7.4; 4: 7.35; 5: 7.3 | 30.5
[20 empty] | 31 | 1: 7.5; 2: 7.4; 3: 7.35; 4: 7.3; 5: 7.25 | 31
[20 empty] | 31.5 | 1: 7.45; 2: 7.35; 3: 7.3; 4: 7.25; 5: 7.2 | 31.5
[20 empty] | 32 | 1: 7.4; 2: 7.3; 3: 7.25; 4: 7.2; 5: 7.15 | 32
[20 empty] | 32.5 | 1: 7.35; 2: 7.25; 3: 7.2; 4: 7.15; 5: 7.1 | 32.5
[20 empty] | 33 | 1: 7.3; 2: 7.2; 3: 7.15; 4: 7.1; 5: 7.05 | 33
[20 empty] | 33.5 | 1: 7.25; 2: 7.15; 3: 7.1; 4: 7.05 | 33.5
[20 empty] | 34 | 1: 7.2; 2: 7.1; 3: 7.05 | 34
[20 empty] | 34.5 | 1: 7.15; 2: 7.05 | 34.5
[20 empty] | 35 | 1: 7.1 | 35
[20 empty] | 35.5 | 1: 7.05 | 35.5
[20 empty] | 36 | [20 empty] | 36

## Data
Date | Time | DO% | Temp | SpCond | DO Conc | pH | Turbidity+ | TDS
M/D/Y |  | % | °C | uS/cm | mg/L |  | NTU | mg/L
2008-03-18 | 11:46 | 96.6 | 5.92 | 73 | 12.05 | 8.05 | 1.4 | 48
2008-03-18 | 12:01 | 97.4 | 6 | 73 | 12.13 | 8.02 | 1.4 | 48
2008-03-18 | 12:16 | 97.7 | 6.11 | 73 | 12.13 | 8.04 | 1.5 | 48
2008-03-18 | 12:31 | 97.8 | 6.24 | 73 | 12.1 | 8.05 | 1.4 | 48
2008-03-18 | 12:46 | 97.7 | 6.35 | 73 | 12.06 | 8.06 | 1.4 | 48
2008-03-18 | 13:00 | 97.4 | 6.4 | 73 | 12.01 | 8.06 | 1.5 | 48
2008-03-18 | 13:15 | 97.3 | 6.45 | 74 | 11.97 | 8.07 | 1.4 | 48
2008-03-18 | 13:30 | 97.2 | 6.47 | 74 | 11.95 | 8.07 | 1.4 | 48
2008-03-18 | 13:45 | 97.2 | 6.55 | 74 | 11.94 | 8.08 | 1.4 | 48
2008-03-18 | 14:00 | 97.1 | 6.61 | 74 | 11.9 | 8.08 | 1.5 | 48
2008-03-18 | 14:15 | 97.2 | 6.71 | 74 | 11.88 | 8.08 | 1.4 | 48
2008-03-18 | 14:30 | 97.2 | 6.76 | 74 | 11.86 | 8.08 | 1.4 | 48
2008-03-18 | 14:45 | 97.2 | 6.81 | 74 | 11.85 | 8.09 | 1.5 | 48
2008-03-18 | 15:00 | 97.2 | 6.86 | 74 | 11.84 | 8.1 | 1.7 | 48
2008-03-18 | 15:15 | 97.1 | 6.86 | 74 | 11.82 | 8.09 | 1.5 | 48
2008-03-18 | 15:30 | 97.2 | 6.91 | 73 | 11.82 | 8.09 | 1.4 | 48
2008-03-18 | 15:45 | 97.1 | 6.95 | 73 | 11.8 | 8.09 | 1.4 | 48
2008-03-18 | 16:00 | 97 | 7 | 73 | 11.78 | 8.08 | 1.4 | 48
2008-03-18 | 16:15 | 96.9 | 7.03 | 73 | 11.75 | 8.07 | 1.5 | 48
2008-03-18 | 16:30 | 96.6 | 7.03 | 73 | 11.72 | 8.05 | 1.5 | 48
2008-03-18 | 16:45 | 96.5 | 7.03 | 73 | 11.7 | 8.03 | 1.5 | 48
2008-03-18 | 17:00 | 96.4 | 7.04 | 73 | 11.69 | 8.03 | 1.4 | 48
2008-03-18 | 17:15 | 96.2 | 7.03 | 73 | 11.67 | 8.02 | 1.5 | 48
2008-03-18 | 17:30 | 96.1 | 7.03 | 73 | 11.65 | 8.01 | 1.5 | 48
2008-03-18 | 17:45 | 95.9 | 7.02 | 73 | 11.64 | 7.99 | 1.5 | 48
2008-03-18 | 18:00 | 95.9 | 7 | 73 | 11.63 | 7.98 | 1.5 | 48
2008-03-18 | 18:15 | 95.8 | 6.98 | 73 | 11.63 | 7.98 | 1.4 | 48
2008-03-18 | 18:30 | 95.7 | 6.96 | 73 | 11.62 | 7.94 | 1.5 | 48
2008-03-18 | 18:45 | 95.6 | 6.95 | 73 | 11.62 | 7.93 | 1.5 | 48
2008-03-18 | 19:00 | 95.5 | 6.94 | 73 | 11.61 | 7.92 | 1.5 | 48
2008-03-18 | 19:15 | 95.5 | 6.94 | 73 | 11.61 | 7.92 | 1.4 | 48
2008-03-18 | 19:30 | 95.4 | 6.93 | 73 | 11.6 | 7.91 | 1.5 | 48
2008-03-18 | 19:45 | 95.4 | 6.93 | 73 | 11.6 | 7.89 | 1.5 | 48
2008-03-18 | 20:00 | 95.4 | 6.91 | 73 | 11.61 | 7.88 | 1.6 | 48
2008-03-18 | 20:15 | 95.4 | 6.89 | 74 | 11.61 | 7.89 | 1.5 | 48
2008-03-18 | 20:30 | 95.4 | 6.88 | 74 | 11.62 | 7.87 | 1.5 | 48
2008-03-18 | 20:45 | 95.4 | 6.88 | 74 | 11.62 | 7.86 | 1.7 | 48
2008-03-18 | 21:00 | 95.5 | 6.89 | 74 | 11.62 | 7.86 | 1.7 | 48
2008-03-18 | 21:15 | 95.5 | 6.91 | 73 | 11.62 | 7.86 | 1.5 | 48
2008-03-18 | 21:30 | 95.5 | 6.93 | 74 | 11.61 | 7.85 | 1.5 | 48
2008-03-18 | 21:45 | 95.5 | 6.95 | 74 | 11.61 | 7.85 | 1.5 | 48
2008-03-18 | 22:00 | 95.5 | 6.96 | 73 | 11.61 | 7.84 | 1.7 | 48
2008-03-18 | 22:15 | 95.5 | 6.97 | 74 | 11.6 | 7.84 | 1.5 | 48
2008-03-18 | 22:30 | 95.6 | 6.97 | 74 | 11.61 | 7.84 | 1.8 | 48
2008-03-18 | 22:45 | 95.5 | 6.98 | 74 | 11.6 | 7.84 | 1.5 | 48
2008-03-18 | 23:00 | 95.6 | 6.98 | 73 | 11.6 | 7.83 | 1.6 | 48
2008-03-18 | 23:15 | 95.6 | 6.99 | 73 | 11.6 | 7.83 | 1.4 | 48
2008-03-18 | 23:30 | 95.6 | 7 | 73 | 11.6 | 7.84 | 1.5 | 48
2008-03-18 | 23:45 | 95.6 | 6.99 | 74 | 11.6 | 7.83 | 1.5 | 48
2008-03-19 | 0:00 | 95.6 | 6.99 | 73 | 11.6 | 7.83 | 1.5 | 48
2008-03-19 | 0:15 | 95.6 | 7.01 | 74 | 11.6 | 7.84 | 1.5 | 48
2008-03-19 | 0:30 | 95.6 | 7.02 | 74 | 11.6 | 7.83 | 1.4 | 48
2008-03-19 | 0:45 | 95.6 | 7.04 | 74 | 11.59 | 7.83 | 1.5 | 48
2008-03-19 | 1:01 | 95.6 | 7.06 | 74 | 11.59 | 7.84 | 1.5 | 48
2008-03-19 | 1:16 | 95.6 | 7.08 | 74 | 11.58 | 7.84 | 1.5 | 48
2008-03-19 | 1:31 | 95.6 | 7.1 | 74 | 11.58 | 7.83 | 1.6 | 48
2008-03-19 | 1:46 | 95.6 | 7.12 | 74 | 11.57 | 7.83 | 1.5 | 48
2008-03-19 | 2:01 | 95.6 | 7.13 | 74 | 11.57 | 7.83 | 1.4 | 48
2008-03-19 | 2:16 | 95.6 | 7.14 | 74 | 11.57 | 7.83 | 1.6 | 48
2008-03-19 | 2:31 | 95.7 | 7.14 | 74 | 11.57 | 7.83 | 1.5 | 48
2008-03-19 | 2:46 | 95.6 | 7.13 | 74 | 11.57 | 7.83 | 1.5 | 48
2008-03-19 | 3:01 | 95.6 | 7.11 | 74 | 11.58 | 7.83 | 1.5 | 48
2008-03-19 | 3:16 | 95.7 | 7.08 | 74 | 11.59 | 7.83 | 1.5 | 48
2008-03-19 | 3:31 | 95.7 | 7.04 | 74 | 11.6 | 7.81 | 1.7 | 48
2008-03-19 | 3:46 | 95.7 | 7 | 74 | 11.62 | 7.8 | 1.6 | 48
2008-03-19 | 4:01 | 95.7 | 6.95 | 74 | 11.63 | 7.83 | 1.5 | 48
2008-03-19 | 4:16 | 95.8 | 6.9 | 74 | 11.65 | 7.82 | 1.5 | 48
2008-03-19 | 4:31 | 95.8 | 6.84 | 74 | 11.68 | 7.81 | 1.5 | 48
2008-03-19 | 4:46 | 95.8 | 6.78 | 74 | 11.7 | 7.82 | 1.6 | 48
2008-03-19 | 5:01 | 95.9 | 6.72 | 74 | 11.72 | 7.81 | 1.5 | 48
2008-03-19 | 5:16 | 95.9 | 6.66 | 74 | 11.74 | 7.81 | 1.4 | 48
2008-03-19 | 5:31 | 95.9 | 6.6 | 74 | 11.76 | 7.8 | 1.5 | 48
2008-03-19 | 5:46 | 96 | 6.54 | 74 | 11.78 | 7.82 | 1.5 | 48
2008-03-19 | 6:01 | 96 | 6.48 | 74 | 11.8 | 7.81 | 1.5 | 48
2008-03-19 | 6:16 | 96 | 6.42 | 74 | 11.82 | 7.82 | 1.5 | 48
2008-03-19 | 6:31 | 96 | 6.35 | 74 | 11.84 | 7.82 | 1.6 | 48
2008-03-19 | 6:46 | 96.1 | 6.29 | 74 | 11.87 | 7.81 | 1.6 | 48
2008-03-19 | 7:01 | 96.1 | 6.22 | 74 | 11.9 | 7.8 | 1.5 | 48
2008-03-19 | 7:16 | 96.2 | 6.16 | 74 | 11.92 | 7.81 | 1.5 | 48
2008-03-19 | 7:31 | 96.2 | 6.09 | 74 | 11.95 | 7.81 | 1.7 | 48
2008-03-19 | 7:46 | 96.3 | 6.03 | 74 | 11.98 | 7.8 | 1.5 | 48
2008-03-19 | 8:01 | 96.4 | 5.99 | 74 | 12.01 | 7.82 | 1.6 | 48
2008-03-19 | 8:16 | 96.6 | 5.94 | 74 | 12.04 | 7.83 | 1.5 | 48
2008-03-19 | 8:31 | 96.9 | 5.92 | 74 | 12.09 | 7.83 | 1.6 | 48
2008-03-19 | 8:46 | 97.1 | 5.9 | 74 | 12.11 | 7.84 | 1.6 | 48
2008-03-19 | 9:01 | 97.1 | 5.88 | 74 | 12.12 | 7.86 | 1.6 | 48
2008-03-19 | 9:16 | 97.1 | 5.86 | 74 | 12.13 | 7.86 | 1.5 | 48
2008-03-19 | 9:31 | 97.2 | 5.84 | 74 | 12.15 | 7.87 | 1.5 | 48
2008-03-19 | 9:46 | 97.3 | 5.83 | 74 | 12.17 | 7.87 | 1.5 | 48
2008-03-19 | 10:01 | 97.3 | 5.81 | 74 | 12.17 | 7.89 | 1.7 | 48
2008-03-19 | 10:16 | 97.3 | 5.79 | 74 | 12.18 | 7.88 | 1.5 | 48
2008-03-19 | 10:31 | 97.4 | 5.78 | 74 | 12.19 | 7.89 | 1.5 | 48
2008-03-19 | 10:46 | 97.4 | 5.75 | 74 | 12.21 | 7.89 | 1.5 | 48
2008-03-19 | 11:01 | 97.5 | 5.71 | 73 | 12.22 | 7.9 | 1.6 | 48
2008-03-19 | 11:16 | 97.6 | 5.68 | 73 | 12.25 | 7.9 | 1.7 | 47
2008-03-19 | 11:31 | 97.6 | 5.68 | 73 | 12.25 | 7.91 | 1.8 | 47
2008-03-19 | 11:46 | 97.7 | 5.72 | 73 | 12.25 | 7.92 | 4.5 | 48
2008-03-19 | 12:01 | 97.7 | 5.75 | 74 | 12.24 | 7.93 | 2 | 48
2008-03-19 | 12:16 | 97.7 | 5.78 | 74 | 12.23 | 7.93 | 1.8 | 48
2008-03-19 | 12:31 | 97.8 | 5.81 | 74 | 12.23 | 7.94 | 2 | 48
2008-03-19 | 12:46 | 97.8 | 5.83 | 74 | 12.23 | 7.93 | 1.7 | 48
2008-03-19 | 13:00 | 97.7 | 5.83 | 74 | 12.22 | 7.95 | 1.7 | 48
2008-03-19 | 13:15 | 97.8 | 5.84 | 74 | 12.23 | 7.95 | 1.6 | 48
2008-03-19 | 13:30 | 98 | 5.87 | 74 | 12.23 | 7.97 | 2 | 48
2008-03-19 | 13:45 | 97.9 | 5.9 | 75 | 12.22 | 7.97 | 1.8 | 49
2008-03-19 | 14:00 | 98 | 5.93 | 75 | 12.21 | 7.98 | 1.9 | 49
2008-03-19 | 14:15 | 98 | 5.96 | 75 | 12.21 | 7.99 | 2.1 | 49
2008-03-19 | 14:30 | 98.1 | 6 | 75 | 12.22 | 7.99 | 2.3 | 49
2008-03-19 | 14:45 | 98.2 | 6.04 | 75 | 12.21 | 8 | 2.1 | 49
2008-03-19 | 15:00 | 98.2 | 6.07 | 75 | 12.2 | 8 | 2.1 | 49
2008-03-19 | 15:15 | 98.2 | 6.11 | 75 | 12.19 | 8.01 | 2.1 | 49
2008-03-19 | 15:30 | 98 | 6.13 | 75 | 12.16 | 8.01 | 2 | 49
2008-03-19 | 15:45 | 98.1 | 6.15 | 75 | 12.16 | 8.02 | 1.8 | 49
2008-03-19 | 16:00 | 98.2 | 6.2 | 75 | 12.16 | 8.02 | 1.8 | 48
2008-03-19 | 16:15 | 98.2 | 6.25 | 74 | 12.14 | 8.03 | 1.7 | 48
2008-03-19 | 16:30 | 98.2 | 6.31 | 74 | 12.12 | 8.04 | 1.7 | 48
2008-03-19 | 16:45 | 98 | 6.35 | 74 | 12.1 | 8.04 | 1.7 | 48
2008-03-19 | 17:00 | 97.8 | 6.37 | 74 | 12.06 | 8.03 | 1.7 | 48
2008-03-19 | 17:15 | 97.8 | 6.4 | 75 | 12.05 | 8.03 | 1.6 | 48
2008-03-19 | 17:30 | 97.5 | 6.41 | 75 | 12.01 | 8.02 | 1.6 | 48
2008-03-19 | 17:45 | 97.5 | 6.44 | 75 | 12 | 8.01 | 1.6 | 48
2008-03-19 | 18:00 | 97.4 | 6.46 | 75 | 11.99 | 8.01 | 1.6 | 49
2008-03-19 | 18:15 | 97.3 | 6.46 | 75 | 11.97 | 8 | 1.5 | 49
2008-03-19 | 18:30 | 97.1 | 6.46 | 75 | 11.95 | 7.98 | 1.5 | 49
2008-03-19 | 18:45 | 97 | 6.45 | 75 | 11.94 | 7.97 | 1.6 | 49
2008-03-19 | 19:00 | 96.8 | 6.44 | 75 | 11.92 | 7.95 | 1.5 | 49
2008-03-19 | 19:15 | 96.7 | 6.42 | 75 | 11.91 | 7.94 | 1.5 | 49
2008-03-19 | 19:30 | 96.7 | 6.4 | 75 | 11.91 | 7.93 | 1.5 | 49
2008-03-19 | 19:45 | 96.6 | 6.37 | 75 | 11.91 | 7.91 | 1.5 | 49
2008-03-19 | 20:00 | 96.6 | 6.34 | 75 | 11.92 | 7.89 | 1.6 | 49
2008-03-19 | 20:15 | 96.6 | 6.31 | 75 | 11.93 | 7.89 | 1.6 | 49
2008-03-19 | 20:30 | 96.6 | 6.29 | 76 | 11.94 | 7.88 | 1.6 | 49
2008-03-19 | 20:45 | 96.6 | 6.27 | 76 | 11.94 | 7.87 | 1.6 | 49
2008-03-19 | 21:00 | 96.7 | 6.27 | 76 | 11.95 | 7.88 | 1.6 | 49
2008-03-19 | 21:15 | 96.7 | 6.26 | 76 | 11.95 | 7.87 | 1.6 | 49
2008-03-19 | 21:30 | 96.7 | 6.25 | 76 | 11.96 | 7.86 | 1.6 | 49
2008-03-19 | 21:45 | 96.7 | 6.25 | 76 | 11.96 | 7.86 | 1.7 | 49
2008-03-19 | 22:00 | 96.7 | 6.24 | 76 | 11.96 | 7.86 | 1.5 | 49
2008-03-19 | 22:15 | 96.7 | 6.24 | 76 | 11.97 | 7.86 | 1.6 | 49
2008-03-19 | 22:30 | 96.7 | 6.24 | 76 | 11.97 | 7.85 | 1.6 | 49
2008-03-19 | 22:45 | 96.8 | 6.23 | 76 | 11.97 | 7.85 | 1.6 | 49
2008-03-19 | 23:00 | 96.8 | 6.21 | 76 | 11.98 | 7.85 | 1.7 | 49
2008-03-19 | 23:15 | 96.8 | 6.19 | 76 | 11.99 | 7.85 | 1.6 | 49
2008-03-19 | 23:30 | 96.8 | 6.17 | 76 | 12 | 7.85 | 1.5 | 49
2008-03-19 | 23:45 | 96.9 | 6.15 | 76 | 12.01 | 7.85 | 1.6 | 49
2008-03-20 | 0:00 | 96.9 | 6.12 | 76 | 12.02 | 7.84 | 1.5 | 50
2008-03-20 | 0:15 | 96.9 | 6.08 | 76 | 12.04 | 7.85 | 1.6 | 50
2008-03-20 | 0:30 | 96.9 | 6.05 | 76 | 12.05 | 7.84 | 1.5 | 50
2008-03-20 | 0:45 | 97 | 6.01 | 76 | 12.07 | 7.84 | 1.5 | 49
2008-03-20 | 1:01 | 97 | 5.97 | 76 | 12.09 | 7.84 | 1.6 | 50
2008-03-20 | 1:16 | 97.1 | 5.93 | 76 | 12.1 | 7.84 | 1.7 | 49
2008-03-20 | 1:31 | 97.1 | 5.89 | 76 | 12.12 | 7.84 | 1.5 | 49
2008-03-20 | 1:46 | 97.1 | 5.85 | 76 | 12.14 | 7.85 | 1.5 | 49
2008-03-20 | 2:01 | 97.2 | 5.81 | 76 | 12.15 | 7.85 | 1.5 | 50
2008-03-20 | 2:16 | 97.2 | 5.77 | 76 | 12.17 | 7.85 | 1.5 | 50
2008-03-20 | 2:31 | 97.2 | 5.73 | 76 | 12.19 | 7.85 | 1.6 | 50
2008-03-20 | 2:46 | 97.3 | 5.69 | 76 | 12.2 | 7.85 | 1.5 | 50
2008-03-20 | 3:01 | 97.3 | 5.66 | 76 | 12.22 | 7.84 | 1.5 | 50
2008-03-20 | 3:16 | 97.3 | 5.62 | 76 | 12.23 | 7.84 | 1.6 | 50
2008-03-20 | 3:31 | 97.3 | 5.59 | 76 | 12.24 | 7.83 | 1.6 | 50
2008-03-20 | 3:46 | 97.4 | 5.56 | 76 | 12.26 | 7.84 | 1.6 | 50
2008-03-20 | 4:01 | 97.4 | 5.53 | 76 | 12.27 | 7.84 | 1.5 | 50
2008-03-20 | 4:16 | 97.4 | 5.51 | 76 | 12.27 | 7.83 | 1.6 | 50
2008-03-20 | 4:31 | 97.4 | 5.5 | 76 | 12.28 | 7.84 | 1.5 | 50
2008-03-20 | 4:46 | 97.4 | 5.5 | 76 | 12.28 | 7.84 | 1.6 | 50
2008-03-20 | 5:01 | 97.5 | 5.49 | 76 | 12.29 | 7.84 | 1.5 | 50
2008-03-20 | 5:16 | 97.5 | 5.49 | 76 | 12.29 | 7.83 | 1.5 | 50
2008-03-20 | 5:31 | 97.5 | 5.49 | 77 | 12.29 | 7.83 | 1.6 | 50
2008-03-20 | 5:46 | 97.5 | 5.48 | 77 | 12.3 | 7.83 | 1.5 | 50
2008-03-20 | 6:01 | 97.5 | 5.47 | 77 | 12.3 | 7.83 | 1.6 | 50
2008-03-20 | 6:16 | 97.5 | 5.45 | 77 | 12.31 | 7.83 | 1.6 | 50
2008-03-20 | 6:31 | 97.6 | 5.43 | 77 | 12.32 | 7.83 | 1.7 | 50
2008-03-20 | 6:46 | 97.6 | 5.4 | 77 | 12.33 | 7.84 | 1.5 | 50
2008-03-20 | 7:01 | 97.6 | 5.37 | 77 | 12.35 | 7.83 | 1.6 | 50
2008-03-20 | 7:16 | 97.7 | 5.33 | 77 | 12.37 | 7.83 | 1.6 | 50
2008-03-20 | 7:31 | 97.8 | 5.3 | 77 | 12.39 | 7.83 | 1.5 | 50
2008-03-20 | 7:46 | 97.9 | 5.26 | 77 | 12.41 | 7.82 | 1.5 | 50
2008-03-20 | 8:01 | 98 | 5.23 | 77 | 12.44 | 7.84 | 1.5 | 50
2008-03-20 | 8:16 | 98.1 | 5.2 | 77 | 12.47 | 7.85 | 1.7 | 50
2008-03-20 | 8:31 | 98.3 | 5.16 | 76 | 12.5 | 7.86 | 1.7 | 50
2008-03-20 | 8:46 | 98.4 | 5.14 | 76 | 12.53 | 7.87 | 1.6 | 50
2008-03-20 | 9:01 | 98.7 | 5.12 | 76 | 12.56 | 7.88 | 1.7 | 50
2008-03-20 | 9:16 | 98.8 | 5.11 | 77 | 12.58 | 7.89 | 1.7 | 50
2008-03-20 | 9:31 | 98.9 | 5.1 | 77 | 12.6 | 7.9 | 1.5 | 50
2008-03-20 | 9:46 | 99.1 | 5.11 | 77 | 12.62 | 7.91 | 1.6 | 50
2008-03-20 | 10:01 | 99.2 | 5.12 | 77 | 12.63 | 7.93 | 1.6 | 50
2008-03-20 | 10:16 | 99.3 | 5.14 | 77 | 12.63 | 7.94 | 1.6 | 50
2008-03-20 | 10:31 | 99.5 | 5.18 | 77 | 12.64 | 7.95 | 1.5 | 50
2008-03-20 | 10:46 | 99.5 | 5.21 | 77 | 12.63 | 7.96 | 1.6 | 50
2008-03-20 | 11:01 | 99.5 | 5.23 | 77 | 12.63 | 7.97 | 1.7 | 50
2008-03-20 | 11:16 | 99.6 | 5.26 | 77 | 12.63 | 7.99 | 1.7 | 50
2008-03-20 | 11:31 | 99.7 | 5.33 | 77 | 12.62 | 8 | 1.5 | 50
2008-03-20 | 11:46 | 99.8 | 5.42 | 77 | 12.61 | 8.01 | 1.7 | 50
2008-03-20 | 12:01 | 99.9 | 5.51 | 77 | 12.58 | 8.02 | 1.5 | 50
2008-03-20 | 12:16 | 99.8 | 5.59 | 77 | 12.55 | 8.03 | 1.6 | 50
2008-03-20 | 12:31 | 99.6 | 5.61 | 77 | 12.51 | 8.03 | 1.6 | 50
2008-03-20 | 12:46 | 99.7 | 5.68 | 77 | 12.51 | 8.04 | 1.6 | 50
2008-03-20 | 13:00 | 99.8 | 5.77 | 77 | 12.5 | 8.04 | 1.5 | 50
2008-03-20 | 13:15 | 100 | 5.9 | 77 | 12.47 | 8.06 | 1.5 | 50
2008-03-20 | 13:30 | 99.9 | 6 | 77 | 12.44 | 8.08 | 1.5 | 50
2008-03-20 | 13:45 | 99.9 | 6.08 | 77 | 12.4 | 8.08 | 1.5 | 50
2008-03-20 | 14:00 | 99.8 | 6.13 | 77 | 12.38 | 8.09 | 1.5 | 50
2008-03-20 | 14:15 | 99.6 | 6.12 | 77 | 12.36 | 8.08 | 1.6 | 50
2008-03-20 | 14:30 | 99.7 | 6.18 | 77 | 12.35 | 8.09 | 1.6 | 50
2008-03-20 | 14:45 | 99.7 | 6.26 | 77 | 12.32 | 8.09 | 1.5 | 50
2008-03-20 | 15:00 | 99.5 | 6.28 | 77 | 12.3 | 8.09 | 1.5 | 50
2008-03-20 | 15:15 | 99.6 | 6.34 | 77 | 12.29 | 8.09 | 1.6 | 50
2008-03-20 | 15:30 | 99.6 | 6.37 | 77 | 12.28 | 8.09 | 1.5 | 50
2008-03-20 | 15:45 | 99.2 | 6.32 | 77 | 12.24 | 8.08 | 1.5 | 50
2008-03-20 | 16:00 | 99.3 | 6.34 | 77 | 12.26 | 8.08 | 1.6 | 50
2008-03-20 | 16:15 | 99.2 | 6.34 | 77 | 12.24 | 8.07 | 1.5 | 50
2008-03-20 | 16:30 | 99 | 6.34 | 77 | 12.22 | 8.06 | 1.6 | 50
2008-03-20 | 16:45 | 98.8 | 6.37 | 77 | 12.19 | 8.05 | 1.5 | 50
2008-03-20 | 17:00 | 98.6 | 6.38 | 77 | 12.16 | 8.04 | 1.6 | 50
2008-03-20 | 17:15 | 98.5 | 6.39 | 77 | 12.14 | 8.02 | 1.7 | 50
2008-03-20 | 17:30 | 98.4 | 6.41 | 77 | 12.12 | 8.01 | 1.6 | 50
2008-03-20 | 17:45 | 98.2 | 6.4 | 77 | 12.1 | 7.99 | 1.5 | 50
2008-03-20 | 18:00 | 98.1 | 6.41 | 77 | 12.08 | 7.98 | 1.6 | 50
2008-03-20 | 18:15 | 98 | 6.42 | 77 | 12.06 | 7.97 | 1.5 | 50
2008-03-20 | 18:30 | 97.9 | 6.43 | 77 | 12.05 | 7.96 | 1.6 | 50
2008-03-20 | 18:45 | 97.8 | 6.44 | 77 | 12.04 | 7.95 | 1.6 | 50
2008-03-20 | 19:00 | 97.8 | 6.45 | 77 | 12.03 | 7.94 | 1.6 | 50
2008-03-20 | 19:15 | 97.7 | 6.46 | 77 | 12.02 | 7.93 | 1.6 | 50
2008-03-20 | 19:30 | 97.7 | 6.46 | 77 | 12.02 | 7.91 | 1.6 | 50
2008-03-20 | 19:45 | 97.6 | 6.45 | 77 | 12.01 | 7.91 | 1.6 | 50
2008-03-20 | 20:00 | 97.6 | 6.44 | 77 | 12.02 | 7.9 | 1.8 | 50
2008-03-20 | 20:15 | 97.6 | 6.43 | 77 | 12.02 | 7.89 | 1.7 | 50
2008-03-20 | 20:30 | 97.6 | 6.43 | 77 | 12.02 | 7.88 | 1.7 | 50
2008-03-20 | 20:45 | 97.6 | 6.42 | 77 | 12.02 | 7.88 | 1.7 | 50
2008-03-20 | 21:00 | 97.6 | 6.42 | 77 | 12.02 | 7.88 | 1.6 | 50
2008-03-20 | 21:15 | 97.6 | 6.43 | 77 | 12.02 | 7.87 | 1.6 | 50
2008-03-20 | 21:30 | 97.6 | 6.43 | 77 | 12.02 | 7.87 | 1.5 | 50
2008-03-20 | 21:45 | 97.6 | 6.43 | 77 | 12.02 | 7.87 | 1.6 | 50
2008-03-20 | 22:00 | 97.7 | 6.42 | 77 | 12.03 | 7.87 | 1.6 | 50
2008-03-20 | 22:15 | 97.7 | 6.41 | 77 | 12.04 | 7.87 | 1.7 | 50
2008-03-20 | 22:30 | 97.7 | 6.37 | 77 | 12.05 | 7.86 | 1.6 | 50
2008-03-20 | 22:45 | 97.8 | 6.34 | 77 | 12.07 | 7.86 | 1.6 | 50
2008-03-20 | 23:00 | 97.9 | 6.32 | 77 | 12.09 | 7.86 | 1.7 | 50
2008-03-20 | 23:15 | 97.9 | 6.3 | 77 | 12.1 | 7.86 | 1.7 | 50
2008-03-20 | 23:30 | 98 | 6.27 | 78 | 12.12 | 7.86 | 1.7 | 50
2008-03-20 | 23:45 | 98 | 6.24 | 78 | 12.13 | 7.85 | 1.6 | 50
2008-03-21 | 0:00 | 98.1 | 6.22 | 78 | 12.15 | 7.86 | 1.6 | 50
2008-03-21 | 0:15 | 98.2 | 6.19 | 78 | 12.16 | 7.85 | 1.7 | 50
2008-03-21 | 0:30 | 98.2 | 6.14 | 78 | 12.18 | 7.86 | 2 | 51
2008-03-21 | 0:45 | 98.3 | 6.08 | 78 | 12.21 | 7.85 | 1.6 | 51
2008-03-21 | 1:01 | 98.3 | 6.03 | 78 | 12.23 | 7.85 | 1.5 | 51
2008-03-21 | 1:16 | 98.4 | 5.98 | 78 | 12.25 | 7.85 | 1.6 | 51
2008-03-21 | 1:31 | 98.4 | 5.93 | 78 | 12.27 | 7.85 | 1.7 | 51
2008-03-21 | 1:46 | 98.5 | 5.87 | 78 | 12.3 | 7.84 | 1.7 | 51
2008-03-21 | 2:01 | 98.5 | 5.81 | 78 | 12.32 | 7.84 | 1.6 | 51
2008-03-21 | 2:16 | 98.6 | 5.75 | 78 | 12.35 | 7.85 | 1.7 | 51
2008-03-21 | 2:31 | 98.7 | 5.69 | 78 | 12.38 | 7.84 | 1.7 | 51
2008-03-21 | 2:46 | 98.7 | 5.63 | 78 | 12.4 | 7.84 | 1.7 | 51
2008-03-21 | 3:01 | 98.8 | 5.56 | 78 | 12.43 | 7.84 | 1.5 | 51
2008-03-21 | 3:16 | 98.8 | 5.48 | 78 | 12.47 | 7.84 | 1.6 | 51
2008-03-21 | 3:31 | 98.9 | 5.4 | 78 | 12.5 | 7.84 | 1.7 | 51
2008-03-21 | 3:46 | 98.9 | 5.31 | 78 | 12.53 | 7.83 | 1.7 | 51
2008-03-21 | 4:01 | 99 | 5.24 | 78 | 12.57 | 7.84 | 1.5 | 51
2008-03-21 | 4:16 | 99.1 | 5.15 | 79 | 12.61 | 7.84 | 1.6 | 51
2008-03-21 | 4:31 | 99.1 | 5.07 | 79 | 12.64 | 7.84 | 1.5 | 51
2008-03-21 | 4:46 | 99.2 | 5 | 79 | 12.67 | 7.84 | 1.5 | 51
2008-03-21 | 5:01 | 99.3 | 4.92 | 79 | 12.71 | 7.84 | 1.7 | 51
2008-03-21 | 5:16 | 99.4 | 4.85 | 79 | 12.74 | 7.84 | 1.7 | 51
2008-03-21 | 5:31 | 99.4 | 4.77 | 79 | 12.77 | 7.83 | 1.6 | 51
2008-03-21 | 5:46 | 99.5 | 4.7 | 79 | 12.8 | 7.83 | 1.6 | 51
2008-03-21 | 6:01 | 99.5 | 4.63 | 79 | 12.83 | 7.83 | 1.7 | 51
2008-03-21 | 6:16 | 99.6 | 4.55 | 79 | 12.87 | 7.83 | 1.6 | 51
2008-03-21 | 6:31 | 99.7 | 4.48 | 79 | 12.9 | 7.83 | 1.6 | 51
2008-03-21 | 6:46 | 99.7 | 4.41 | 79 | 12.93 | 7.83 | 1.6 | 51
2008-03-21 | 7:01 | 99.8 | 4.34 | 79 | 12.96 | 7.82 | 1.7 | 51
2008-03-21 | 7:16 | 99.9 | 4.29 | 79 | 12.99 | 7.82 | 1.6 | 51
2008-03-21 | 7:31 | 100 | 4.23 | 79 | 13.03 | 7.82 | 1.7 | 51
2008-03-21 | 7:46 | 100.1 | 4.17 | 79 | 13.06 | 7.83 | 1.6 | 51
2008-03-21 | 8:01 | 100.2 | 4.11 | 79 | 13.1 | 7.83 | 1.6 | 51
2008-03-21 | 8:16 | 100.4 | 4.07 | 79 | 13.13 | 7.84 | 1.7 | 51
2008-03-21 | 8:31 | 100.5 | 4.05 | 80 | 13.16 | 7.84 | 2.1 | 52
2008-03-21 | 8:46 | 100.7 | 4.02 | 80 | 13.19 | 7.85 | 2.5 | 52
2008-03-21 | 9:01 | 100.8 | 3.99 | 80 | 13.22 | 7.85 | 2.8 | 52
2008-03-21 | 9:16 | 100.9 | 3.96 | 80 | 13.24 | 7.85 | 3.1 | 52
2008-03-21 | 9:31 | 101.1 | 3.94 | 80 | 13.27 | 7.85 | 3.2 | 52
2008-03-21 | 9:46 | 101.2 | 3.94 | 80 | 13.28 | 7.86 | 3.3 | 52
2008-03-21 | 10:01 | 101.3 | 3.95 | 80 | 13.3 | 7.86 | 3.1 | 52
2008-03-21 | 10:16 | 101.5 | 3.98 | 80 | 13.31 | 7.87 | 3.2 | 52
2008-03-21 | 10:31 | 101.6 | 4.02 | 80 | 13.31 | 7.88 | 2.9 | 52
2008-03-21 | 10:46 | 101.8 | 4.06 | 80 | 13.32 | 7.89 | 2.7 | 52
2008-03-21 | 11:01 | 101.9 | 4.11 | 79 | 13.31 | 7.91 | 2.5 | 52
2008-03-21 | 11:16 | 102 | 4.17 | 79 | 13.31 | 7.92 | 2.5 | 52
2008-03-21 | 11:31 | 102.1 | 4.24 | 79 | 13.29 | 7.93 | 2.4 | 52
2008-03-21 | 11:46 | 102.1 | 4.32 | 79 | 13.27 | 7.94 | 2.6 | 51
2008-03-21 | 12:01 | 102.2 | 4.39 | 79 | 13.25 | 7.95 | 2.3 | 51
2008-03-21 | 12:16 | 102.2 | 4.48 | 79 | 13.23 | 7.96 | 2.4 | 51
2008-03-21 | 12:31 | 102.2 | 4.56 | 79 | 13.21 | 7.97 | 2.3 | 51
2008-03-21 | 12:46 | 102.3 | 4.63 | 79 | 13.18 | 7.98 | 2.1 | 51
2008-03-21 | 13:00 | 102.3 | 4.72 | 79 | 13.16 | 7.99 | 2.1 | 51
2008-03-21 | 13:15 | 102.3 | 4.79 | 79 | 13.13 | 7.99 | 2.1 | 51
2008-03-21 | 13:30 | 102.2 | 4.87 | 79 | 13.1 | 8 | 2.1 | 51
2008-03-21 | 13:45 | 102.2 | 4.94 | 79 | 13.07 | 8 | 2.1 | 51
2008-03-21 | 14:00 | 102.2 | 5.02 | 79 | 13.04 | 8.01 | 2.1 | 51
2008-03-21 | 14:15 | 102.1 | 5.1 | 79 | 13 | 8.01 | 2.1 | 51
2008-03-21 | 14:30 | 102 | 5.17 | 79 | 12.97 | 8.02 | 2.3 | 51
2008-03-21 | 14:45 | 102 | 5.23 | 79 | 12.95 | 8.02 | 2 | 51
2008-03-21 | 15:00 | 101.9 | 5.28 | 78 | 12.92 | 8.02 | 2 | 51
2008-03-21 | 15:15 | 101.8 | 5.34 | 78 | 12.89 | 8.02 | 2 | 51
2008-03-21 | 15:30 | 101.7 | 5.37 | 78 | 12.86 | 8.01 | 2 | 51
2008-03-21 | 15:45 | 101.5 | 5.41 | 78 | 12.83 | 8 | 2 | 51
2008-03-21 | 16:00 | 101.5 | 5.46 | 78 | 12.8 | 8 | 2 | 51
2008-03-21 | 16:15 | 101.3 | 5.5 | 78 | 12.78 | 7.99 | 2 | 51
2008-03-21 | 16:30 | 101.2 | 5.54 | 78 | 12.74 | 7.98 | 2 | 51
2008-03-21 | 16:45 | 101 | 5.57 | 78 | 12.71 | 7.98 | 2.1 | 51
2008-03-21 | 17:00 | 100.9 | 5.62 | 78 | 12.68 | 7.97 | 2 | 51
2008-03-21 | 17:15 | 100.8 | 5.66 | 78 | 12.65 | 7.96 | 2.1 | 51
2008-03-21 | 17:30 | 100.6 | 5.7 | 78 | 12.62 | 7.95 | 2.1 | 51
2008-03-21 | 17:45 | 100.5 | 5.73 | 78 | 12.6 | 7.94 | 2.2 | 51
2008-03-21 | 18:00 | 100.4 | 5.76 | 78 | 12.58 | 7.93 | 2.1 | 51
2008-03-21 | 18:15 | 100.4 | 5.78 | 78 | 12.56 | 7.92 | 2.1 | 51
2008-03-21 | 18:30 | 100.3 | 5.8 | 78 | 12.55 | 7.92 | 2.2 | 51
2008-03-21 | 18:45 | 100.3 | 5.83 | 78 | 12.54 | 7.9 | 2.1 | 51
2008-03-21 | 19:00 | 100.2 | 5.87 | 78 | 12.52 | 7.9 | 2.1 | 50
2008-03-21 | 19:15 | 100.1 | 5.9 | 78 | 12.5 | 7.9 | 2.1 | 50
2008-03-21 | 19:30 | 100.1 | 5.93 | 78 | 12.48 | 7.89 | 2.3 | 50
2008-03-21 | 19:45 | 100.1 | 5.96 | 78 | 12.47 | 7.88 | 2.1 | 50
2008-03-21 | 20:00 | 100 | 5.99 | 78 | 12.46 | 7.88 | 2.1 | 50
2008-03-21 | 20:15 | 100 | 6 | 78 | 12.45 | 7.87 | 6.1 | 50
2008-03-21 | 20:30 | 100 | 6.03 | 78 | 12.44 | 7.87 | 2.1 | 50
2008-03-21 | 20:45 | 100 | 6.04 | 77 | 12.44 | 7.86 | 2.1 | 50
2008-03-21 | 21:00 | 100.1 | 6.05 | 77 | 12.44 | 7.86 | 2.2 | 50
2008-03-21 | 21:15 | 100 | 6.07 | 77 | 12.43 | 7.85 | 2.3 | 50
2008-03-21 | 21:30 | 100.1 | 6.08 | 77 | 12.43 | 7.85 | 2.1 | 50
2008-03-21 | 21:45 | 100.1 | 6.08 | 77 | 12.43 | 7.84 | 2.1 | 50
2008-03-21 | 22:00 | 100.1 | 6.08 | 77 | 12.43 | 7.85 | 2.3 | 50
2008-03-21 | 22:15 | 100.1 | 6.09 | 78 | 12.43 | 7.84 | 2.1 | 50
2008-03-21 | 22:30 | 100.1 | 6.1 | 78 | 12.43 | 7.84 | 2.3 | 50
2008-03-21 | 22:45 | 100.1 | 6.1 | 78 | 12.43 | 7.84 | 2.1 | 50
2008-03-21 | 23:00 | 100.1 | 6.09 | 78 | 12.43 | 7.83 | 2.1 | 50
2008-03-21 | 23:15 | 100.1 | 6.08 | 78 | 12.44 | 7.83 | 2.3 | 50
2008-03-21 | 23:30 | 100.1 | 6.07 | 78 | 12.44 | 7.83 | 2.2 | 50
2008-03-21 | 23:45 | 100.2 | 6.06 | 78 | 12.45 | 7.83 | 2.1 | 50
2008-03-22 | 0:00 | 100.2 | 6.05 | 78 | 12.45 | 7.84 | 2.1 | 50
2008-03-22 | 0:15 | 100.2 | 6.04 | 78 | 12.46 | 7.83 | 2.1 | 50
2008-03-22 | 0:30 | 100.2 | 6.03 | 78 | 12.46 | 7.83 | 2.1 | 51
2008-03-22 | 0:45 | 100.2 | 6.01 | 78 | 12.47 | 7.83 | 2 | 51
2008-03-22 | 1:01 | 100.2 | 5.98 | 78 | 12.48 | 7.83 | 2 | 51
2008-03-22 | 1:16 | 100.3 | 5.94 | 78 | 12.5 | 7.83 | 2 | 51
2008-03-22 | 1:31 | 100.3 | 5.9 | 78 | 12.51 | 7.83 | 2 | 51
2008-03-22 | 1:46 | 100.3 | 5.85 | 78 | 12.53 | 7.83 | 2.1 | 51
2008-03-22 | 2:01 | 100.3 | 5.79 | 78 | 12.55 | 7.83 | 2 | 51
2008-03-22 | 2:16 | 100.4 | 5.74 | 78 | 12.58 | 7.83 | 2.1 | 51
2008-03-22 | 2:31 | 100.4 | 5.67 | 78 | 12.6 | 7.83 | 2 | 51
2008-03-22 | 2:46 | 100.4 | 5.6 | 78 | 12.63 | 7.82 | 2 | 51
2008-03-22 | 3:01 | 100.5 | 5.53 | 78 | 12.66 | 7.82 | 2.1 | 51
2008-03-22 | 3:16 | 100.5 | 5.45 | 78 | 12.69 | 7.82 | 2 | 51
2008-03-22 | 3:31 | 100.5 | 5.37 | 78 | 12.72 | 7.82 | 2 | 51
2008-03-22 | 3:46 | 100.6 | 5.29 | 78 | 12.75 | 7.81 | 2 | 51
2008-03-22 | 4:01 | 100.6 | 5.21 | 78 | 12.78 | 7.82 | 1.9 | 51
2008-03-22 | 4:16 | 100.7 | 5.13 | 78 | 12.81 | 7.81 | 2.1 | 51
2008-03-22 | 4:31 | 100.7 | 5.05 | 78 | 12.84 | 7.81 | 2 | 51
2008-03-22 | 4:46 | 100.7 | 4.97 | 78 | 12.87 | 7.81 | 2 | 51
2008-03-22 | 5:01 | 100.8 | 4.88 | 78 | 12.91 | 7.82 | 2.1 | 51
2008-03-22 | 5:16 | 100.8 | 4.8 | 78 | 12.94 | 7.81 | 2.2 | 51
2008-03-22 | 5:31 | 100.9 | 4.72 | 78 | 12.97 | 7.81 | 2.1 | 51
2008-03-22 | 5:46 | 100.9 | 4.64 | 78 | 13.01 | 7.8 | 2 | 51
2008-03-22 | 6:01 | 101 | 4.56 | 78 | 13.04 | 7.81 | 2.1 | 51
2008-03-22 | 6:16 | 101 | 4.49 | 78 | 13.07 | 7.81 | 2 | 51
2008-03-22 | 6:31 | 101.1 | 4.41 | 78 | 13.11 | 7.8 | 2 | 51
2008-03-22 | 6:46 | 101.1 | 4.34 | 78 | 13.14 | 7.8 | 2 | 51
2008-03-22 | 7:01 | 101.2 | 4.26 | 78 | 13.17 | 7.8 | 2 | 51
2008-03-22 | 7:16 | 101.2 | 4.19 | 78 | 13.2 | 7.8 | 2 | 51
2008-03-22 | 7:31 | 101.3 | 4.13 | 78 | 13.23 | 7.8 | 2 | 51
2008-03-22 | 7:46 | 101.4 | 4.08 | 78 | 13.26 | 7.8 | 2 | 51
2008-03-22 | 8:01 | 101.5 | 4.02 | 78 | 13.29 | 7.81 | 2 | 51
2008-03-22 | 8:16 | 101.5 | 3.98 | 78 | 13.31 | 7.8 | 1.9 | 51
2008-03-22 | 8:31 | 101.6 | 3.94 | 78 | 13.34 | 7.81 | 2 | 51
2008-03-22 | 8:46 | 101.7 | 3.91 | 78 | 13.36 | 7.82 | 2 | 51
2008-03-22 | 9:01 | 101.8 | 3.9 | 78 | 13.38 | 7.82 | 2 | 51
2008-03-22 | 9:16 | 101.8 | 3.89 | 78 | 13.39 | 7.82 | 1.9 | 51
2008-03-22 | 9:31 | 101.9 | 3.89 | 78 | 13.39 | 7.83 | 2 | 51
2008-03-22 | 9:46 | 102 | 3.9 | 78 | 13.4 | 7.83 | 2 | 51
2008-03-22 | 10:01 | 102.1 | 3.92 | 78 | 13.41 | 7.84 | 2 | 51
2008-03-22 | 10:16 | 102.2 | 3.95 | 78 | 13.41 | 7.85 | 2 | 51
2008-03-22 | 10:31 | 102.3 | 4 | 78 | 13.41 | 7.86 | 2 | 51
2008-03-22 | 10:46 | 102.4 | 4.06 | 78 | 13.4 | 7.87 | 2 | 51
2008-03-22 | 11:01 | 102.5 | 4.12 | 78 | 13.39 | 7.88 | 1.9 | 51
2008-03-22 | 11:16 | 102.5 | 4.19 | 78 | 13.37 | 7.9 | 2 | 50
2008-03-22 | 11:31 | 102.6 | 4.27 | 78 | 13.35 | 7.91 | 2 | 50
2008-03-22 | 11:46 | 102.6 | 4.35 | 78 | 13.32 | 7.92 | 1.9 | 50
2008-03-22 | 12:01 | 102.6 | 4.45 | 78 | 13.29 | 7.93 | 2 | 50
2008-03-22 | 12:16 | 102.6 | 4.55 | 77 | 13.26 | 7.94 | 2 | 50
2008-03-22 | 12:31 | 102.6 | 4.65 | 77 | 13.22 | 7.95 | 1.8 | 50
2008-03-22 | 12:46 | 102.6 | 4.75 | 77 | 13.19 | 7.95 | 2 | 50
2008-03-22 | 13:00 | 102.6 | 4.85 | 77 | 13.15 | 7.97 | 1.9 | 50
2008-03-22 | 13:15 | 102.6 | 4.95 | 77 | 13.12 | 7.97 | 1.8 | 50
2008-03-22 | 13:30 | 102.5 | 5.04 | 77 | 13.08 | 7.98 | 1.9 | 50
2008-03-22 | 13:45 | 102.5 | 5.14 | 77 | 13.04 | 7.99 | 1.9 | 50
2008-03-22 | 14:00 | 102.4 | 5.23 | 77 | 13 | 8 | 1.9 | 50
2008-03-22 | 14:15 | 102.3 | 5.32 | 77 | 12.96 | 8 | 1.8 | 50
2008-03-22 | 14:30 | 102.2 | 5.41 | 77 | 12.91 | 8 | 2 | 50
2008-03-22 | 14:45 | 102.1 | 5.49 | 77 | 12.87 | 8.01 | 1.9 | 50
2008-03-22 | 15:00 | 102 | 5.58 | 77 | 12.84 | 8.01 | 1.9 | 50
2008-03-22 | 15:15 | 101.9 | 5.67 | 77 | 12.79 | 8.01 | 1.8 | 50
2008-03-22 | 15:30 | 101.8 | 5.74 | 77 | 12.75 | 8.01 | 2 | 50
2008-03-22 | 15:45 | 101.6 | 5.8 | 77 | 12.71 | 8 | 1.8 | 50
2008-03-22 | 16:00 | 101.5 | 5.86 | 77 | 12.68 | 8 | 1.9 | 50
2008-03-22 | 16:15 | 101.4 | 5.92 | 77 | 12.64 | 7.99 | 1.9 | 50
2008-03-22 | 16:30 | 101.2 | 5.99 | 77 | 12.6 | 7.99 | 2 | 50
2008-03-22 | 16:45 | 101.1 | 6.05 | 77 | 12.56 | 7.98 | 1.9 | 50
2008-03-22 | 17:00 | 100.9 | 6.11 | 76 | 12.53 | 7.97 | 1.9 | 50
2008-03-22 | 17:15 | 100.8 | 6.17 | 76 | 12.49 | 7.97 | 1.9 | 50
2008-03-22 | 17:30 | 100.6 | 6.23 | 76 | 12.45 | 7.95 | 1.9 | 50
2008-03-22 | 17:45 | 100.5 | 6.29 | 76 | 12.41 | 7.95 | 2 | 50
2008-03-22 | 18:00 | 100.4 | 6.34 | 76 | 12.39 | 7.93 | 1.9 | 50
2008-03-22 | 18:15 | 100.3 | 6.4 | 76 | 12.36 | 7.93 | 1.9 | 49
2008-03-22 | 18:30 | 100.2 | 6.44 | 76 | 12.33 | 7.92 | 2 | 49
2008-03-22 | 18:45 | 100.1 | 6.49 | 76 | 12.31 | 7.91 | 2 | 49
2008-03-22 | 19:00 | 100 | 6.53 | 76 | 12.28 | 7.9 | 1.9 | 49
2008-03-22 | 19:15 | 99.9 | 6.56 | 76 | 12.26 | 7.89 | 2 | 49
2008-03-22 | 19:30 | 99.8 | 6.59 | 76 | 12.24 | 7.88 | 2 | 49
2008-03-22 | 19:45 | 99.7 | 6.63 | 76 | 12.21 | 7.87 | 2 | 49
2008-03-22 | 20:00 | 99.6 | 6.66 | 76 | 12.2 | 7.87 | 1.9 | 49
2008-03-22 | 20:15 | 99.6 | 6.69 | 76 | 12.18 | 7.86 | 2.2 | 49
2008-03-22 | 20:30 | 99.6 | 6.71 | 76 | 12.17 | 7.85 | 1.9 | 49
2008-03-22 | 20:45 | 99.6 | 6.74 | 76 | 12.17 | 7.85 | 2 | 49
2008-03-22 | 21:00 | 99.6 | 6.76 | 76 | 12.16 | 7.84 | 1.9 | 49
2008-03-22 | 21:15 | 99.6 | 6.78 | 76 | 12.15 | 7.84 | 2 | 49
2008-03-22 | 21:30 | 99.6 | 6.8 | 76 | 12.14 | 7.84 | 2 | 49
2008-03-22 | 21:45 | 99.5 | 6.82 | 76 | 12.14 | 7.83 | 2 | 49
2008-03-22 | 22:00 | 99.5 | 6.84 | 76 | 12.13 | 7.84 | 2 | 49
2008-03-22 | 22:15 | 99.5 | 6.86 | 76 | 12.12 | 7.84 | 2 | 49
2008-03-22 | 22:30 | 99.5 | 6.88 | 76 | 12.11 | 7.83 | 2.4 | 49
2008-03-22 | 22:45 | 99.5 | 6.89 | 76 | 12.11 | 7.83 | 2 | 49
2008-03-22 | 23:00 | 99.5 | 6.9 | 76 | 12.11 | 7.83 | 2 | 50
2008-03-22 | 23:15 | 99.5 | 6.9 | 76 | 12.11 | 7.82 | 2 | 50
2008-03-22 | 23:30 | 99.5 | 6.9 | 76 | 12.11 | 7.83 | 2 | 50
2008-03-22 | 23:45 | 99.5 | 6.9 | 76 | 12.11 | 7.83 | 2 | 50
2008-03-23 | 0:00 | 99.5 | 6.88 | 76 | 12.11 | 7.82 | 2 | 50
2008-03-23 | 0:15 | 99.5 | 6.86 | 76 | 12.12 | 7.82 | 1.8 | 50
2008-03-23 | 0:30 | 99.5 | 6.84 | 76 | 12.13 | 7.82 | 2 | 50
2008-03-23 | 0:45 | 99.5 | 6.81 | 77 | 12.14 | 7.82 | 1.9 | 50
2008-03-23 | 1:01 | 99.6 | 6.78 | 77 | 12.15 | 7.82 | 1.8 | 50
2008-03-23 | 1:16 | 99.6 | 6.74 | 77 | 12.17 | 7.82 | 2 | 50
2008-03-23 | 1:31 | 99.6 | 6.7 | 77 | 12.18 | 7.81 | 1.9 | 50
2008-03-23 | 1:46 | 99.6 | 6.64 | 77 | 12.2 | 7.81 | 1.9 | 50
2008-03-23 | 2:01 | 99.6 | 6.6 | 77 | 12.22 | 7.81 | 1.8 | 50
2008-03-23 | 2:16 | 99.7 | 6.54 | 77 | 12.23 | 7.81 | 2 | 50
2008-03-23 | 2:31 | 99.7 | 6.49 | 77 | 12.25 | 7.81 | 2 | 50
2008-03-23 | 2:46 | 99.7 | 6.43 | 77 | 12.27 | 7.81 | 1.9 | 50
2008-03-23 | 3:01 | 99.7 | 6.37 | 77 | 12.3 | 7.81 | 2 | 50
2008-03-23 | 3:16 | 99.8 | 6.31 | 77 | 12.32 | 7.8 | 2 | 50
2008-03-23 | 3:31 | 99.8 | 6.26 | 77 | 12.34 | 7.8 | 2 | 50
2008-03-23 | 3:46 | 99.8 | 6.2 | 77 | 12.36 | 7.8 | 1.8 | 50
2008-03-23 | 4:01 | 99.8 | 6.14 | 77 | 12.38 | 7.8 | 1.9 | 50
2008-03-23 | 4:16 | 99.8 | 6.08 | 77 | 12.4 | 7.8 | 2 | 50
2008-03-23 | 4:31 | 99.8 | 6.03 | 77 | 12.42 | 7.81 | 2 | 50
2008-03-23 | 4:46 | 99.9 | 5.97 | 77 | 12.44 | 7.8 | 1.9 | 50
2008-03-23 | 5:01 | 99.9 | 5.92 | 77 | 12.46 | 7.8 | 1.9 | 50
2008-03-23 | 5:16 | 99.9 | 5.86 | 77 | 12.48 | 7.8 | 1.9 | 50
2008-03-23 | 5:31 | 100 | 5.8 | 77 | 12.5 | 7.8 | 1.8 | 50
2008-03-23 | 5:46 | 100 | 5.74 | 77 | 12.53 | 7.81 | 1.9 | 50
2008-03-23 | 6:01 | 100 | 5.68 | 77 | 12.55 | 7.8 | 1.9 | 50
2008-03-23 | 6:16 | 100.1 | 5.62 | 77 | 12.58 | 7.8 | 2 | 50
2008-03-23 | 6:31 | 100.2 | 5.57 | 77 | 12.6 | 7.8 | 1.8 | 50
2008-03-23 | 6:46 | 100.2 | 5.52 | 77 | 12.62 | 7.8 | 1.9 | 50
2008-03-23 | 7:01 | 100.2 | 5.47 | 77 | 12.64 | 7.8 | 2 | 50
2008-03-23 | 7:16 | 100.2 | 5.43 | 77 | 12.66 | 7.8 | 1.9 | 50
2008-03-23 | 7:31 | 100.3 | 5.38 | 77 | 12.68 | 7.8 | 1.9 | 50
2008-03-23 | 7:46 | 100.3 | 5.33 | 77 | 12.7 | 7.81 | 1.8 | 50
2008-03-23 | 8:01 | 100.4 | 5.3 | 77 | 12.72 | 7.81 | 2 | 50
2008-03-23 | 8:16 | 100.5 | 5.28 | 77 | 12.74 | 7.81 | 2 | 50
2008-03-23 | 8:31 | 100.7 | 5.28 | 77 | 12.76 | 7.83 | 1.8 | 50
2008-03-23 | 8:46 | 100.8 | 5.28 | 77 | 12.78 | 7.84 | 1.9 | 50
2008-03-23 | 9:01 | 100.9 | 5.27 | 77 | 12.79 | 7.84 | 1.8 | 50
2008-03-23 | 9:16 | 100.9 | 5.26 | 77 | 12.8 | 7.85 | 2 | 50
2008-03-23 | 9:31 | 101 | 5.26 | 77 | 12.81 | 7.86 | 1.9 | 50
2008-03-23 | 9:46 | 101 | 5.26 | 77 | 12.82 | 7.86 | 1.9 | 50
2008-03-23 | 10:01 | 101.1 | 5.26 | 77 | 12.83 | 7.87 | 1.8 | 50
2008-03-23 | 10:16 | 101.3 | 5.28 | 77 | 12.84 | 7.89 | 1.9 | 50
2008-03-23 | 10:31 | 101.4 | 5.3 | 76 | 12.85 | 7.89 | 1.8 | 50
2008-03-23 | 10:46 | 101.5 | 5.35 | 76 | 12.85 | 7.91 | 1.8 | 50
2008-03-23 | 11:01 | 101.6 | 5.4 | 76 | 12.84 | 7.92 | 1.9 | 50
2008-03-23 | 11:16 | 101.7 | 5.46 | 76 | 12.83 | 7.93 | 1.8 | 50
2008-03-23 | 11:31 | 101.8 | 5.53 | 76 | 12.82 | 7.94 | 1.8 | 50
2008-03-23 | 11:46 | 101.8 | 5.56 | 76 | 12.81 | 7.96 | 1.7 | 50
2008-03-23 | 12:01 | 101.8 | 5.61 | 76 | 12.8 | 7.95 | 1.8 | 50
2008-03-23 | 12:16 | 101.7 | 5.67 | 76 | 12.77 | 7.96 | 1.7 | 50
2008-03-23 | 12:31 | 101.5 | 5.71 | 76 | 12.73 | 7.96 | 1.8 | 50
2008-03-23 | 12:46 | 101.4 | 5.72 | 76 | 12.71 | 7.96 | 1.7 | 50
2008-03-23 | 13:00 | 101.2 | 5.72 | 76 | 12.68 | 7.94 | 1.8 | 50
2008-03-23 | 13:15 | 101.2 | 5.74 | 76 | 12.67 | 7.95 | 1.8 | 50
2008-03-23 | 13:30 | 101.2 | 5.77 | 76 | 12.66 | 7.95 | 1.8 | 49
2008-03-23 | 13:45 | 101 | 5.8 | 76 | 12.64 | 7.95 | 1.8 | 50
2008-03-23 | 14:00 | 101.1 | 5.82 | 76 | 12.64 | 7.95 | 1.8 | 50
2008-03-23 | 14:15 | 101.1 | 5.85 | 76 | 12.63 | 7.95 | 1.8 | 50
2008-03-23 | 14:30 | 101.2 | 5.89 | 76 | 12.63 | 7.95 | 1.8 | 50
2008-03-23 | 14:45 | 101.2 | 5.93 | 76 | 12.62 | 7.96 | 1.8 | 50
2008-03-23 | 15:00 | 101.3 | 5.99 | 76 | 12.61 | 7.96 | 1.8 | 50
2008-03-23 | 15:15 | 101.4 | 6.07 | 76 | 12.6 | 7.97 | 1.8 | 49
2008-03-23 | 15:30 | 101.4 | 6.16 | 76 | 12.57 | 7.99 | 1.8 | 49
2008-03-23 | 15:45 | 101.5 | 6.28 | 77 | 12.54 | 8 | 1.9 | 50
2008-03-23 | 16:00 | 101.5 | 6.41 | 77 | 12.5 | 8 | 1.8 | 50
2008-03-23 | 16:15 | 101.3 | 6.52 | 76 | 12.45 | 8.01 | 1.8 | 49
2008-03-23 | 16:30 | 101.2 | 6.61 | 76 | 12.4 | 8.01 | 2.1 | 49
2008-03-23 | 16:45 | 101 | 6.68 | 76 | 12.36 | 8 | 1.8 | 49
2008-03-23 | 17:00 | 100.8 | 6.75 | 76 | 12.31 | 7.99 | 1.8 | 49
2008-03-23 | 17:15 | 100.7 | 6.82 | 76 | 12.27 | 7.99 | 1.7 | 49
2008-03-23 | 17:30 | 100.5 | 6.89 | 76 | 12.23 | 7.99 | 1.9 | 49
2008-03-23 | 17:45 | 100.4 | 6.96 | 76 | 12.2 | 7.98 | 1.8 | 49
2008-03-23 | 18:00 | 100.2 | 7.01 | 76 | 12.16 | 7.97 | 1.8 | 49
2008-03-23 | 18:15 | 100.1 | 7.06 | 76 | 12.13 | 7.96 | 1.8 | 49
2008-03-23 | 18:30 | 100 | 7.1 | 76 | 12.1 | 7.95 | 1.8 | 49
2008-03-23 | 18:45 | 99.8 | 7.14 | 76 | 12.07 | 7.94 | 1.8 | 49
2008-03-23 | 19:00 | 99.7 | 7.18 | 76 | 12.05 | 7.93 | 1.9 | 49
2008-03-23 | 19:15 | 99.6 | 7.22 | 76 | 12.02 | 7.92 | 1.8 | 49
2008-03-23 | 19:30 | 99.5 | 7.26 | 76 | 11.99 | 7.91 | 1.9 | 49
2008-03-23 | 19:45 | 99.3 | 7.3 | 76 | 11.96 | 7.89 | 1.8 | 49
2008-03-23 | 20:00 | 99.3 | 7.34 | 76 | 11.95 | 7.89 | 2.3 | 49
2008-03-23 | 20:15 | 99.2 | 7.38 | 76 | 11.93 | 7.87 | 2 | 49
2008-03-23 | 20:30 | 99.2 | 7.42 | 76 | 11.92 | 7.87 | 1.8 | 49
2008-03-23 | 20:45 | 99.2 | 7.45 | 75 | 11.9 | 7.86 | 1.8 | 49
2008-03-23 | 21:00 | 99.2 | 7.48 | 76 | 11.9 | 7.86 | 1.8 | 49
2008-03-23 | 21:15 | 99.2 | 7.49 | 76 | 11.9 | 7.85 | 2 | 49
2008-03-23 | 21:30 | 99.2 | 7.51 | 75 | 11.89 | 7.85 | 2.3 | 49
2008-03-23 | 21:45 | 99.2 | 7.52 | 76 | 11.89 | 7.85 | 1.8 | 49
2008-03-23 | 22:00 | 99.2 | 7.53 | 76 | 11.89 | 7.85 | 1.9 | 49
2008-03-23 | 22:15 | 99.2 | 7.53 | 76 | 11.89 | 7.85 | 1.8 | 49
2008-03-23 | 22:30 | 99.2 | 7.54 | 76 | 11.88 | 7.84 | 2 | 49
2008-03-23 | 22:45 | 99.2 | 7.55 | 76 | 11.88 | 7.84 | 1.9 | 49
2008-03-23 | 23:00 | 99.2 | 7.56 | 76 | 11.88 | 7.84 | 2 | 49
2008-03-23 | 23:15 | 99.2 | 7.57 | 76 | 11.87 | 7.84 | 1.9 | 49
2008-03-23 | 23:30 | 99.2 | 7.58 | 76 | 11.87 | 7.84 | 1.8 | 49
2008-03-23 | 23:45 | 99.2 | 7.59 | 76 | 11.87 | 7.84 | 1.8 | 49
2008-03-24 | 0:00 | 99.3 | 7.6 | 76 | 11.87 | 7.83 | 1.9 | 49
2008-03-24 | 0:15 | 99.3 | 7.61 | 76 | 11.87 | 7.84 | 1.8 | 49
2008-03-24 | 0:30 | 99.3 | 7.61 | 76 | 11.87 | 7.84 | 2 | 49
2008-03-24 | 0:45 | 99.3 | 7.6 | 76 | 11.87 | 7.84 | 1.8 | 49
2008-03-24 | 1:01 | 99.3 | 7.59 | 76 | 11.88 | 7.83 | 2 | 49
2008-03-24 | 1:16 | 99.3 | 7.57 | 75 | 11.89 | 7.83 | 1.8 | 49
2008-03-24 | 1:31 | 99.3 | 7.55 | 76 | 11.9 | 7.83 | 1.8 | 49
2008-03-24 | 1:46 | 99.4 | 7.51 | 76 | 11.91 | 7.83 | 1.8 | 49
2008-03-24 | 2:01 | 99.4 | 7.46 | 76 | 11.93 | 7.83 | 1.8 | 49
2008-03-24 | 2:16 | 99.4 | 7.42 | 76 | 11.94 | 7.83 | 1.9 | 49
2008-03-24 | 2:31 | 99.5 | 7.36 | 76 | 11.96 | 7.83 | 1.8 | 49
2008-03-24 | 2:46 | 99.5 | 7.3 | 76 | 11.99 | 7.82 | 1.8 | 49
2008-03-24 | 3:01 | 99.5 | 7.24 | 76 | 12.01 | 7.82 | 1.8 | 49
2008-03-24 | 3:16 | 99.6 | 7.17 | 76 | 12.04 | 7.82 | 1.9 | 49
2008-03-24 | 3:31 | 99.6 | 7.09 | 76 | 12.06 | 7.83 | 1.8 | 49
2008-03-24 | 3:46 | 99.7 | 7.02 | 76 | 12.09 | 7.82 | 1.8 | 49
2008-03-24 | 4:01 | 99.7 | 6.95 | 76 | 12.12 | 7.82 | 1.9 | 49
2008-03-24 | 4:16 | 99.8 | 6.87 | 76 | 12.15 | 7.82 | 2 | 49
2008-03-24 | 4:31 | 99.9 | 6.79 | 76 | 12.18 | 7.82 | 1.8 | 49
2008-03-24 | 4:46 | 99.9 | 6.71 | 76 | 12.21 | 7.82 | 1.8 | 49
2008-03-24 | 5:01 | 100 | 6.64 | 76 | 12.24 | 7.82 | 2 | 49
2008-03-24 | 5:16 | 100 | 6.56 | 76 | 12.27 | 7.82 | 1.9 | 49
2008-03-24 | 5:31 | 100 | 6.48 | 76 | 12.3 | 7.81 | 1.9 | 49
2008-03-24 | 5:46 | 100.1 | 6.41 | 76 | 12.33 | 7.81 | 1.8 | 49
2008-03-24 | 6:01 | 100.2 | 6.34 | 76 | 12.36 | 7.82 | 1.9 | 49
2008-03-24 | 6:16 | 100.2 | 6.27 | 76 | 12.39 | 7.81 | 1.8 | 49
2008-03-24 | 6:31 | 100.3 | 6.2 | 76 | 12.42 | 7.81 | 2.1 | 49
2008-03-24 | 6:46 | 100.3 | 6.13 | 76 | 12.45 | 7.81 | 1.8 | 49
2008-03-24 | 7:01 | 100.4 | 6.07 | 76 | 12.47 | 7.81 | 1.8 | 49
2008-03-24 | 7:16 | 100.4 | 6.01 | 76 | 12.5 | 7.81 | 1.9 | 49
2008-03-24 | 7:31 | 100.6 | 5.95 | 76 | 12.53 | 7.81 | 2.1 | 49
2008-03-24 | 7:46 | 100.7 | 5.91 | 76 | 12.56 | 7.82 | 1.9 | 49
2008-03-24 | 8:01 | 100.8 | 5.88 | 76 | 12.59 | 7.82 | 1.8 | 49
2008-03-24 | 8:16 | 100.9 | 5.84 | 76 | 12.61 | 7.83 | 1.8 | 49
2008-03-24 | 8:31 | 101.1 | 5.82 | 76 | 12.64 | 7.83 | 1.8 | 49
2008-03-24 | 8:46 | 101.2 | 5.79 | 76 | 12.66 | 7.84 | 1.8 | 49
2008-03-24 | 9:01 | 101.4 | 5.77 | 76 | 12.69 | 7.85 | 2 | 49
2008-03-24 | 9:16 | 101.6 | 5.76 | 76 | 12.72 | 7.87 | 1.9 | 49
2008-03-24 | 9:31 | 101.7 | 5.76 | 76 | 12.73 | 7.87 | 1.8 | 49
2008-03-24 | 9:46 | 101.9 | 5.78 | 76 | 12.75 | 7.89 | 1.9 | 49
2008-03-24 | 10:01 | 102 | 5.8 | 76 | 12.77 | 7.91 | 1.8 | 49
2008-03-24 | 10:16 | 102.1 | 5.81 | 76 | 12.77 | 7.92 | 1.8 | 49
2008-03-24 | 10:31 | 102.2 | 5.84 | 76 | 12.77 | 7.93 | 1.8 | 49
2008-03-24 | 10:46 | 102.2 | 5.88 | 76 | 12.76 | 7.94 | 1.8 | 49
2008-03-24 | 11:01 | 102.2 | 5.91 | 76 | 12.75 | 7.94 | 1.8 | 49
2008-03-24 | 11:16 | 102.2 | 5.94 | 76 | 12.74 | 7.95 | 1.8 | 49
2008-03-24 | 11:31 | 102.2 | 5.95 | 76 | 12.73 | 7.96 | 1.8 | 49
2008-03-24 | 11:46 | 102.2 | 5.99 | 76 | 12.72 | 7.97 | 1.8 | 49
2008-03-24 | 12:01 | 102.2 | 6.05 | 76 | 12.71 | 7.97 | 1.9 | 49
2008-03-24 | 12:16 | 102.3 | 6.1 | 76 | 12.7 | 7.98 | 1.8 | 49
2008-03-24 | 12:31 | 102.4 | 6.16 | 76 | 12.69 | 7.99 | 1.8 | 49
2008-03-24 | 12:46 | 102.3 | 6.21 | 76 | 12.66 | 8 | 1.8 | 49
2008-03-24 | 13:00 | 102.3 | 6.28 | 76 | 12.64 | 8 | 1.8 | 49
2008-03-24 | 13:15 | 102.3 | 6.38 | 76 | 12.61 | 8.01 | 5.1 | 49
2008-03-24 | 13:30 | 102.3 | 6.46 | 76 | 12.58 | 8.03 | 1.8 | 49
2008-03-24 | 13:45 | 102.2 | 6.54 | 76 | 12.55 | 8.03 | 1.8 | 49
2008-03-24 | 14:00 | 102.1 | 6.6 | 77 | 12.51 | 8.04 | 1.7 | 50
2008-03-24 | 14:15 | 102 | 6.68 | 77 | 12.48 | 8.04 | 1.8 | 50
2008-03-24 | 14:30 | 101.9 | 6.73 | 77 | 12.46 | 8.04 | 1.8 | 50
2008-03-24 | 14:45 | 101.9 | 6.79 | 77 | 12.43 | 8.04 | 1.8 | 50
2008-03-24 | 15:00 | 101.8 | 6.84 | 76 | 12.4 | 8.04 | 1.7 | 50
2008-03-24 | 15:15 | 101.7 | 6.9 | 77 | 12.38 | 8.04 | 1.7 | 50
2008-03-24 | 15:30 | 101.6 | 6.96 | 77 | 12.34 | 8.04 | 1.7 | 50
2008-03-24 | 15:45 | 101.4 | 7.03 | 76 | 12.3 | 8.03 | 1.7 | 50
2008-03-24 | 16:00 | 101.5 | 7.13 | 76 | 12.28 | 8.04 | 1.8 | 50
2008-03-24 | 16:15 | 101.4 | 7.22 | 76 | 12.24 | 8.04 | 1.7 | 50
2008-03-24 | 16:30 | 101.2 | 7.3 | 76 | 12.2 | 8.03 | 1.8 | 50
2008-03-24 | 16:45 | 101 | 7.33 | 77 | 12.16 | 8.02 | 1.8 | 50
2008-03-24 | 17:00 | 100.9 | 7.35 | 76 | 12.14 | 8.01 | 1.7 | 50
2008-03-24 | 17:15 | 100.8 | 7.4 | 76 | 12.12 | 8 | 1.8 | 50
2008-03-24 | 17:30 | 100.7 | 7.45 | 76 | 12.09 | 8 | 1.8 | 50
2008-03-24 | 17:45 | 100.7 | 7.49 | 76 | 12.07 | 7.99 | 1.8 | 50
2008-03-24 | 18:00 | 100.6 | 7.53 | 76 | 12.06 | 7.99 | 1.8 | 50
2008-03-24 | 18:15 | 100.4 | 7.55 | 76 | 12.03 | 7.97 | 1.7 | 50
2008-03-24 | 18:30 | 100.3 | 7.57 | 76 | 12 | 7.96 | 1.8 | 50
2008-03-24 | 18:45 | 100.1 | 7.6 | 76 | 11.97 | 7.95 | 1.8 | 50
2008-03-24 | 19:00 | 100 | 7.63 | 76 | 11.95 | 7.94 | 1.8 | 50
2008-03-24 | 19:15 | 99.9 | 7.66 | 76 | 11.93 | 7.92 | 1.7 | 50
2008-03-24 | 19:30 | 99.8 | 7.68 | 76 | 11.91 | 7.91 | 1.7 | 50
2008-03-24 | 19:45 | 99.8 | 7.7 | 77 | 11.9 | 7.89 | 1.8 | 50
2008-03-24 | 20:00 | 99.7 | 7.71 | 77 | 11.9 | 7.89 | 1.8 | 50
2008-03-24 | 20:15 | 99.7 | 7.72 | 77 | 11.89 | 7.89 | 1.8 | 50
2008-03-24 | 20:30 | 99.7 | 7.73 | 77 | 11.89 | 7.87 | 1.7 | 50
2008-03-24 | 20:45 | 99.7 | 7.73 | 77 | 11.89 | 7.87 | 1.7 | 50
2008-03-24 | 21:00 | 99.8 | 7.72 | 77 | 11.9 | 7.86 | 1.8 | 50
2008-03-24 | 21:15 | 99.8 | 7.71 | 77 | 11.9 | 7.85 | 1.8 | 50
2008-03-24 | 21:30 | 99.8 | 7.69 | 77 | 11.91 | 7.84 | 1.8 | 50
2008-03-24 | 21:45 | 99.9 | 7.67 | 77 | 11.92 | 7.84 | 1.8 | 50
2008-03-24 | 22:00 | 99.9 | 7.64 | 77 | 11.93 | 7.83 | 1.7 | 50
2008-03-24 | 22:15 | 99.9 | 7.62 | 77 | 11.94 | 7.83 | 1.8 | 50
2008-03-24 | 22:30 | 99.9 | 7.59 | 77 | 11.95 | 7.83 | 1.8 | 50
2008-03-24 | 22:45 | 99.9 | 7.56 | 77 | 11.96 | 7.82 | 1.8 | 50
2008-03-24 | 23:00 | 99.9 | 7.53 | 77 | 11.97 | 7.82 | 1.8 | 50
2008-03-24 | 23:15 | 100 | 7.49 | 77 | 11.99 | 7.83 | 1.8 | 50
2008-03-24 | 23:30 | 100 | 7.45 | 77 | 12 | 7.82 | 1.9 | 50
2008-03-24 | 23:45 | 100 | 7.4 | 77 | 12.02 | 7.82 | 1.8 | 50
2008-03-25 | 0:00 | 100.1 | 7.35 | 77 | 12.04 | 7.83 | 1.8 | 50
2008-03-25 | 0:15 | 100.1 | 7.29 | 77 | 12.06 | 7.82 | 1.8 | 50
2008-03-25 | 0:30 | 100.1 | 7.22 | 77 | 12.09 | 7.82 | 1.7 | 50
2008-03-25 | 0:45 | 100.2 | 7.15 | 77 | 12.11 | 7.82 | 1.8 | 50
2008-03-25 | 1:01 | 100.2 | 7.08 | 77 | 12.14 | 7.82 | 1.7 | 50
2008-03-25 | 1:16 | 100.3 | 6.99 | 78 | 12.17 | 7.82 | 1.8 | 50
2008-03-25 | 1:31 | 100.3 | 6.91 | 78 | 12.2 | 7.81 | 1.9 | 50
2008-03-25 | 1:46 | 100.4 | 6.82 | 78 | 12.24 | 7.81 | 1.8 | 50
2008-03-25 | 2:01 | 100.4 | 6.73 | 78 | 12.27 | 7.81 | 1.7 | 50
2008-03-25 | 2:16 | 100.5 | 6.64 | 78 | 12.3 | 7.8 | 1.8 | 50
2008-03-25 | 2:31 | 100.5 | 6.56 | 78 | 12.34 | 7.8 | 1.7 | 51
2008-03-25 | 2:46 | 100.6 | 6.47 | 78 | 12.37 | 7.8 | 1.8 | 50
2008-03-25 | 3:01 | 100.6 | 6.39 | 78 | 12.4 | 7.8 | 1.8 | 50
2008-03-25 | 3:16 | 100.6 | 6.32 | 78 | 12.42 | 7.79 | 1.7 | 51
2008-03-25 | 3:31 | 100.7 | 6.25 | 78 | 12.45 | 7.79 | 1.7 | 51
2008-03-25 | 3:46 | 100.7 | 6.18 | 78 | 12.48 | 7.79 | 1.7 | 50
2008-03-25 | 4:01 | 100.8 | 6.1 | 78 | 12.51 | 7.79 | 1.8 | 51
2008-03-25 | 4:16 | 100.8 | 6.04 | 78 | 12.53 | 7.79 | 1.7 | 51
2008-03-25 | 4:31 | 100.8 | 5.97 | 78 | 12.56 | 7.78 | 1.9 | 51
2008-03-25 | 4:46 | 100.9 | 5.9 | 78 | 12.59 | 7.79 | 1.7 | 51
2008-03-25 | 5:01 | 100.9 | 5.83 | 78 | 12.61 | 7.79 | 1.8 | 51
2008-03-25 | 5:16 | 100.9 | 5.77 | 78 | 12.64 | 7.78 | 1.8 | 51
2008-03-25 | 5:31 | 101 | 5.69 | 78 | 12.67 | 7.78 | 1.8 | 51
2008-03-25 | 5:46 | 101 | 5.62 | 78 | 12.7 | 7.78 | 1.8 | 51
2008-03-25 | 6:01 | 101.1 | 5.56 | 78 | 12.72 | 7.78 | 1.8 | 51
2008-03-25 | 6:16 | 101.1 | 5.49 | 78 | 12.75 | 7.78 | 1.7 | 51
2008-03-25 | 6:31 | 101.2 | 5.42 | 78 | 12.78 | 7.78 | 1.8 | 51
2008-03-25 | 6:46 | 101.2 | 5.35 | 78 | 12.81 | 7.78 | 1.7 | 51
2008-03-25 | 7:01 | 101.3 | 5.29 | 78 | 12.84 | 7.78 | 1.8 | 51
2008-03-25 | 7:16 | 101.3 | 5.22 | 78 | 12.86 | 7.77 | 1.8 | 51
2008-03-25 | 7:31 | 101.4 | 5.16 | 78 | 12.9 | 7.77 | 1.8 | 51
2008-03-25 | 7:46 | 101.5 | 5.1 | 78 | 12.93 | 7.78 | 1.7 | 51
2008-03-25 | 8:01 | 101.6 | 5.06 | 78 | 12.96 | 7.78 | 1.8 | 51
2008-03-25 | 8:16 | 101.7 | 5.01 | 78 | 12.99 | 7.78 | 1.7 | 51
2008-03-25 | 8:31 | 101.8 | 4.98 | 78 | 13.01 | 7.78 | 1.9 | 51
2008-03-25 | 8:46 | 101.9 | 4.95 | 78 | 13.03 | 7.79 | 1.8 | 51
2008-03-25 | 9:01 | 102 | 4.93 | 78 | 13.04 | 7.8 | 1.9 | 51
2008-03-25 | 9:16 | 102.1 | 4.92 | 78 | 13.06 | 7.8 | 1.8 | 51
2008-03-25 | 9:31 | 102.1 | 4.92 | 78 | 13.07 | 7.81 | 1.8 | 51
2008-03-25 | 9:46 | 102.3 | 4.94 | 78 | 13.08 | 7.82 | 1.8 | 51
2008-03-25 | 10:01 | 102.4 | 4.96 | 78 | 13.09 | 7.83 | 1.8 | 51
2008-03-25 | 10:16 | 102.5 | 5 | 78 | 13.09 | 7.84 | 1.8 | 51
2008-03-25 | 10:31 | 102.6 | 5.04 | 78 | 13.09 | 7.85 | 1.8 | 51
2008-03-25 | 10:46 | 102.6 | 5.07 | 78 | 13.08 | 7.87 | 1.8 | 51
2008-03-25 | 11:01 | 102.5 | 5.05 | 78 | 13.07 | 7.87 | 1.8 | 51
2008-03-25 | 11:16 | 102.7 | 5.08 | 78 | 13.08 | 7.88 | 1.7 | 51
2008-03-25 | 11:31 | 102.8 | 5.18 | 78 | 13.07 | 7.89 | 1.7 | 51
2008-03-25 | 11:46 | 102.9 | 5.28 | 78 | 13.05 | 7.9 | 1.7 | 51
2008-03-25 | 12:01 | 103.1 | 5.38 | 78 | 13.03 | 7.92 | 1.7 | 51
2008-03-25 | 12:16 | 103.2 | 5.49 | 78 | 13.01 | 7.94 | 1.7 | 51
2008-03-25 | 12:31 | 103.2 | 5.54 | 78 | 12.99 | 7.95 | 1.7 | 51
2008-03-25 | 12:46 | 103.1 | 5.54 | 79 | 12.98 | 7.95 | 1.6 | 51
2008-03-25 | 13:00 | 103.1 | 5.56 | 79 | 12.98 | 7.95 | 1.6 | 51
2008-03-25 | 13:15 | 103.1 | 5.64 | 79 | 12.95 | 7.97 | 1.5 | 51
2008-03-25 | 13:30 | 103.1 | 5.77 | 78 | 12.91 | 7.98 | 1.6 | 51
2008-03-25 | 13:45 | 103.1 | 5.87 | 78 | 12.87 | 7.99 | 1.7 | 51
2008-03-25 | 14:00 | 102.9 | 5.92 | 79 | 12.84 | 7.99 | 1.8 | 51