## LETTER
December 11, 2008
Steve Prazak
City of Bend Water Quality Monitoring Program
575 NE 15th St.
Bend, OR 97701
RE: Deschutes River Ambient Water Quality Monitoring
Dear Steve Prazak
Enclosed are the results of analyses for sample(s) received by the laboratory on March 19, 2008. If you have any questions concerning this report, please feel free to contact me.
Sincerely,
Drexel Barnes
Analyst

## SUMMARY
City of Bend Water Quality Monitoring Program |  | Project: | Deschutes River Ambient Water Quality Monitoring |  | Sampled: | 3/18/08 to 3/19/08
575 NE 15th St. |  | Project Number: | [none] |  | Received: | 3/19/08
Bend, OR 97701 |  | Project Manager: | Steve Prazak |  | Reported: | 12/11/08 12:32
ANALYTICAL REPORT FOR SAMPLES:
Sample Description | Laboratory Sample Number |  |  | Sample Matrix |  |  | Date Sampled |  | Turbidity | Fecal Coliform as E. coli (QT2K) | Specific Conductance (EC) | pH | Temperature | Ammonia as N | Fluoride | Chloride | Nitrite as N | Nitrate as N | Orthophosphate as P | Sulfate as SO4 | Total Kjeldahl Nitrogen | Dissolved Oxygen | Phosphorus-Total
DR 160.00 DOWNSTREAM BOULDER FIELD | B8C1801-01 |  |  | Water |  |  | 3/18/08 |  | 1.7 | 1.00 | 71.9 | 8.07 | 6.02 | ND | 0.241 | 1.30 | ND | ND | 0.0560 | 0.739 | ND | 12.6 | 0.0640
DR 160.25 UPSTREAM TUMALO CREEK | B8C1801-02 |  |  | Water |  |  | 3/19/08 |  | 1.8 | 49.6 | 76.6 | 7.85 | 6.28 | ND | 0.281 | 1.55 | ND | 0.0120 | 0.0760 | 0.879 | ND | 12.2 | 0.0730
TC 000.25 MOUTH OF TUMALO CREEK | B8C1801-03 |  |  | Water |  |  | 3/19/08 |  | 0.67 | 6.30 | 23.0 | 7.76 | 3.08 | ND | 0.226 | 0.445 | ND | ND | ND | 0.444 | ND | 13.6 | 0.0520
DR 163.25 FIREROCK FOOTBRIDGE | B8C1801-06 |  |  | Water |  |  | 3/19/08 |  | 1.8 | 2.00 | 76.2 | 7.81 | 5.99 | ND | 0.251 | 1.47 | ND | 0.0130 | 0.0540 | 0.857 | ND | 12.2 | 0.0790
DR 164.75 UPSTREAM RIVERHOUSE MOTEL | B8C1801-07 |  |  | Water |  |  | 3/19/08 |  | 2.7 | 1.00 | 76.9 | 7.90 | 5.99 | ND | 0.216 | 1.47 | ND | 0.0150 | ND | 0.824 | ND | 12.2 | 0.0790
DR 165.75 FIRST STREET RAPIDS | B8C1801-08 |  |  | Water |  |  | 3/19/08 |  | 3.1 | 2.00 | 76.9 | 7.89 | 5.96 | ND | 0.244 | 1.48 | ND | 0.0190 | 0.0780 | 0.833 | ND | 12.0 | 0.0790
DR 166.75 DRAKE PARK FOOTBRIDGE | B8C1801-09 |  |  | Water |  |  | 3/18/08 |  | 1.9 | ND | 76.3 | 8.11 | 6.86 | ND | 0.217 | 1.45 | ND | 0.0160 | 0.0740 | 0.842 | ND | 12.6 | 0.0780
DR 166.75 DRAKE PARK FOOTBRIDGE DUPL. | B8C1801-10 |  |  | Water |  |  | 3/18/08 |  | 2.1 | ND | 76.1 | 8.17 | 6.85 | ND | 0.249 | 1.46 | ND | 0.0150 | 0.0710 | 0.836 | ND | 12.6 | 0.0790
DR 167.25 COLUMBIA PARK FOOTBRIDGE | B8C1801-11 |  |  | Water |  |  | 3/19/08 |  | 2.2 | 3.10 | 77.6 | 7.90 | 6.19 | ND | 0.245 | 1.51 | ND | 0.0230 | 0.0780 | 0.868 | ND | 12.1 | 0.0800
DR 168.00 COLUMBIA ST. BRIDGE | B8C1801-12 |  |  | Water |  |  | 3/19/08 |  | 2.1 | 2.00 | 77.6 | 7.91 | 6.28 | ND | 0.233 | 1.48 | ND | 0.0230 | 0.0680 | 0.927 | ND | 12.0 | 0.0850
DR 169.00 UPSTREAM END MILL LOG POND | B8C1801-13 |  |  | Water |  |  | 3/19/08 |  | 3.3 | ND | 78.0 | 7.95 | 6.39 | ND | 0.247 | 1.48 | ND | 0.0210 | 0.0710 | 0.849 | ND | 11.8 | 0.0800
DR 172.00 SOUTHERN UGB | B8C1801-14 |  |  | Water |  |  | 3/19/08 |  | 2.1 | ND | 77.9 | 7.93 | 6.47 | ND | 0.272 | 1.60 | ND | 0.0230 | 0.0730 | 0.851 | ND | 11.7 | 0.0920
FB FIELD BLANK | B8C1801-15 |  |  | Water |  |  | 3/19/08
City of Bend Water Quality Laboratory | [7 empty] | The results in this report apply to the samples
analyzed in accordance with the chain of custody document.
This analytical report must be reproduced in its entirety.
Drexel Barnes, Analyst | [7 empty] | Page 1 of 25

## SAMPLES
City of Bend Water Quality Monitoring Program |  |  | Project: | Deschutes River Ambient Water Quality Monitoring |  |  |  | Sampled: | 3/18/08 to 3/19/08
575 NE 15th St. |  |  | Project Number: | [none] |  |  |  | Received: | 3/19/08
Bend, OR 97701 |  |  | Project Manager: | Steve Prazak |  |  |  | Reported: | 12/11/08 12:32
Wet Chemistry
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 160.00 DOWNSTREAM BOULDER FIELD |  |  |  |  | B8C1801-01 |  |  |  | Water
Turbidity | 8032401 | 3/18/08 |  | 3/18/08 | EPA 180.1 | 0.40 | 1.7 |  | NTU
DR 160.25 UPSTREAM TUMALO CREEK |  |  |  |  | B8C1801-02 |  |  |  | Water
Turbidity | 8032401 | 3/19/08 |  | 3/19/08 | EPA 180.1 | 0.40 | 1.8 |  | NTU
TC 000.25 MOUTH OF TUMALO CREEK |  |  |  |  | B8C1801-03 |  |  |  | Water
Turbidity | 8032401 | 3/19/08 |  | 3/19/08 | EPA 180.1 | 0.40 | 0.67 |  | NTU
DR 163.25 FIREROCK FOOTBRIDGE |  |  |  |  | B8C1801-06 |  |  |  | Water
Turbidity | 8032401 | 3/19/08 |  | 3/19/08 | EPA 180.1 | 0.40 | 1.8 |  | NTU
DR 164.75 UPSTREAM RIVERHOUSE MOTEL |  |  |  |  | B8C1801-07 |  |  |  | Water
Turbidity | 8032401 | 3/19/08 |  | 3/19/08 | EPA 180.1 | 0.40 | 2.7 |  | NTU
DR 165.75 FIRST STREET RAPIDS |  |  |  |  | B8C1801-08 |  |  |  | Water
Turbidity | 8032401 | 3/19/08 |  | 3/19/08 | EPA 180.1 | 0.40 | 3.1 |  | NTU
DR 166.75 DRAKE PARK FOOTBRIDGE |  |  |  |  | B8C1801-09 |  |  |  | Water
Turbidity | 8032401 | 3/18/08 |  | 3/18/08 | EPA 180.1 | 0.40 | 1.9 |  | NTU
DR 166.75 DRAKE PARK FOOTBRIDGE DUPL. |  |  |  |  | B8C1801-10 |  |  |  | Water
Turbidity | 8032401 | 3/18/08 |  | 3/18/08 | EPA 180.1 | 0.40 | 2.1 |  | NTU
DR 167.25 COLUMBIA PARK FOOTBRIDGE |  |  |  |  | B8C1801-11 |  |  |  | Water
Turbidity | 8032401 | 3/19/08 |  | 3/19/08 | EPA 180.1 | 0.40 | 2.2 |  | NTU
DR 168.00 COLUMBIA ST. BRIDGE |  |  |  |  | B8C1801-12 |  |  |  | Water
Turbidity | 8032401 | 3/19/08 |  | 3/19/08 | EPA 180.1 | 0.40 | 2.1 |  | NTU
DR 169.00 UPSTREAM END MILL LOG POND |  |  |  |  | B8C1801-13 |  |  |  | Water
Turbidity | 8032401 | 3/19/08 |  | 3/19/08 | EPA 180.1 | 0.40 | 3.3 |  | NTU
DR 172.00 SOUTHERN UGB |  |  |  |  | B8C1801-14 |  |  |  | Water
Turbidity | 8032401 | 3/19/08 |  | 3/19/08 | EPA 180.1 | 0.40 | 2.1 |  | NTU
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 2 of 25
Microbiological Parameters by APHA Standard Methods
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 160.00 DOWNSTREAM BOULDER FIELD |  |  |  |  | B8C1801-01 |  |  |  | Water
Coliform, total | 8120302 | 3/18/08 |  | 3/19/08 | SM 9223B | 1.00 | 81.6 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 1.00 |  | "
DR 160.25 UPSTREAM TUMALO CREEK |  |  |  |  | B8C1801-02 |  |  |  | Water
Coliform, total | 8120303 | 3/19/08 |  | 3/20/08 | SM 9223B | 1.00 | 308 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 49.6 |  | "
TC 000.25 MOUTH OF TUMALO CREEK |  |  |  |  | B8C1801-03 |  |  |  | Water
Coliform, total | 8120303 | 3/19/08 |  | 3/20/08 | SM 9223B | 1.00 | 18.7 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 6.30 |  | "
DR 163.25 FIREROCK FOOTBRIDGE |  |  |  |  | B8C1801-06 |  |  |  | Water
Coliform, total | 8120303 | 3/19/08 |  | 3/20/08 | SM 9223B | 1.00 | 194 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 2.00 |  | "
DR 164.75 UPSTREAM RIVERHOUSE MOTEL |  |  |  |  | B8C1801-07 |  |  |  | Water
Coliform, total | 8120303 | 3/19/08 |  | 3/20/08 | SM 9223B | 1.00 | 196 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 1.00 |  | "
DR 165.75 FIRST STREET RAPIDS |  |  |  |  | B8C1801-08 |  |  |  | Water
Coliform, total | 8120303 | 3/19/08 |  | 3/20/08 | SM 9223B | 1.00 | 214 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 2.00 |  | "
DR 166.75 DRAKE PARK FOOTBRIDGE |  |  |  |  | B8C1801-09 |  |  |  | Water
Coliform, total | 8120302 | 3/18/08 |  | 3/19/08 | SM 9223B | 1.00 | 54.5 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | ND |  | "
DR 166.75 DRAKE PARK FOOTBRIDGE DUPL. |  |  |  |  | B8C1801-10 |  |  |  | Water
Coliform, total | 8120302 | 3/18/08 |  | 3/19/08 | SM 9223B | 1.00 | 45.7 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | ND |  | "
DR 167.25 COLUMBIA PARK FOOTBRIDGE |  |  |  |  | B8C1801-11 |  |  |  | Water
Coliform, total | 8120303 | 3/19/08 |  | 3/20/08 | SM 9223B | 1.00 | 135 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 3.10 |  | "
DR 168.00 COLUMBIA ST. BRIDGE |  |  |  |  | B8C1801-12 |  |  |  | Water
Coliform, total | 8120303 | 3/19/08 |  | 3/20/08 | SM 9223B | 1.00 | 95.9 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 2.00 |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 3 of 25
Microbiological Parameters by APHA Standard Methods
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 169.00 UPSTREAM END MILL LOG POND |  |  |  |  | B8C1801-13 |  |  |  | Water
Coliform, total | 8120303 | 3/19/08 |  | 3/20/08 | SM 9223B | 1.00 | 102 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | ND |  | "
DR 172.00 SOUTHERN UGB |  |  |  |  | B8C1801-14 |  |  |  | Water
Coliform, total | 8120303 | 3/19/08 |  | 3/20/08 | SM 9223B | 1.00 | 122 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | ND |  | "
FB FIELD BLANK |  |  |  |  | B8C1801-15 |  |  |  | Water
Coliform, total | 8120303 | 3/19/08 |  | 3/20/08 | SM 9223B | 1.00 | ND |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | ND |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 4 of 25
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 160.00 DOWNSTREAM BOULDER FIELD |  |  |  |  | B8C1801-01 |  |  |  | Water
Specific Conductance (EC) | 8032401 | 3/18/08 |  | 3/18/08 | EPA 120.1 | 0.500 | 71.9 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 8.07 |  | pH Units | A-01
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 6.02 |  | °C
Ammonia as N | 8033101 | " |  | 4/1/08 | EPA 300 | 0.0220 | ND |  | mg/L
Fluoride | 8031903 | " |  | 3/19/08 | EPA 300.0 | 0.0960 | 0.241 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.188 | 1.30 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0220 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.104 | 0.0560 |  | " | J
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.140 | 0.739 |  | "
Total Kjeldahl Nitrogen | 8040301 | 4/1/08 |  | 4/10/08 | EPA 351.2 | 0.250 | ND |  | "
Dissolved Oxygen | 8032401 | 3/18/08 |  | 3/18/08 | EPA 360.1 | 1.00 | 12.6 |  | "
Phosphorus-Total | 8041504 | 4/3/08 |  | 4/4/08 | EPA 365.3 | 0.0200 | 0.0640 |  | "
DR 160.25 UPSTREAM TUMALO CREEK |  |  |  |  | B8C1801-02 |  |  |  | Water
Specific Conductance (EC) | 8032401 | 3/19/08 |  | 3/19/08 | EPA 120.1 | 0.500 | 76.6 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.85 |  | pH Units | A-01
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 6.28 |  | °C
Ammonia as N | 8033101 | " |  | 4/1/08 | EPA 300 | 0.0220 | ND |  | mg/L
Fluoride | 8031903 | " |  | 3/19/08 | EPA 300.0 | 0.0960 | 0.281 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.188 | 1.55 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0220 | 0.0120 |  | " | J
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.104 | 0.0760 |  | " | J
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.140 | 0.879 |  | "
Total Kjeldahl Nitrogen | 8040301 | 4/1/08 |  | 4/10/08 | EPA 351.2 | 0.250 | ND |  | "
Dissolved Oxygen | 8032401 | 3/19/08 |  | 3/19/08 | EPA 360.1 | 1.00 | 12.2 |  | "
Phosphorus-Total | 8041504 | 4/3/08 |  | 4/4/08 | EPA 365.3 | 0.0200 | 0.0730 |  | "
TC 000.25 MOUTH OF TUMALO CREEK |  |  |  |  | B8C1801-03 |  |  |  | Water
Specific Conductance (EC) | 8032401 | 3/19/08 |  | 3/19/08 | EPA 120.1 | 0.500 | 23.0 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.76 |  | pH Units | A-01
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 3.08 |  | °C
Ammonia as N | 8033101 | " |  | 4/1/08 | EPA 300 | 0.0220 | ND |  | mg/L
Fluoride | 8031903 | " |  | 3/19/08 | EPA 300.0 | 0.0960 | 0.226 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.188 | 0.445 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0220 | ND |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 5 of 25
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
TC 000.25 MOUTH OF TUMALO CREEK (continued) |  |  |  |  | B8C1801-03 |  |  |  | Water
Orthophosphate as P | 8031903 | 3/19/08 |  | 3/19/08 | EPA 300.0 | 0.104 | ND |  | mg/L
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.140 | 0.444 |  | "
Total Kjeldahl Nitrogen | 8040301 | 4/1/08 |  | 4/10/08 | EPA 351.2 | 0.250 | ND |  | "
Dissolved Oxygen | 8032401 | 3/19/08 |  | 3/19/08 | EPA 360.1 | 1.00 | 13.6 |  | "
Phosphorus-Total | 8041504 | 4/3/08 |  | 4/4/08 | EPA 365.3 | 0.0200 | 0.0520 |  | "
DR 163.25 FIREROCK FOOTBRIDGE |  |  |  |  | B8C1801-06 |  |  |  | Water
Specific Conductance (EC) | 8032401 | 3/19/08 |  | 3/19/08 | EPA 120.1 | 0.500 | 76.2 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.81 |  | pH Units | A-01
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 5.99 |  | °C
Ammonia as N | 8033101 | " |  | 4/1/08 | EPA 300 | 0.0220 | ND |  | mg/L
Fluoride | 8031903 | " |  | 3/20/08 | EPA 300.0 | 0.0960 | 0.251 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.188 | 1.47 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0220 | 0.0130 |  | " | J
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.104 | 0.0540 |  | " | J
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.140 | 0.857 |  | "
Total Kjeldahl Nitrogen | 8040301 | 4/1/08 |  | 4/10/08 | EPA 351.2 | 0.250 | ND |  | "
Dissolved Oxygen | 8032401 | 3/19/08 |  | 3/19/08 | EPA 360.1 | 1.00 | 12.2 |  | "
Phosphorus-Total | 8041504 | 4/3/08 |  | 4/4/08 | EPA 365.3 | 0.0200 | 0.0790 |  | "
DR 164.75 UPSTREAM RIVERHOUSE MOTEL |  |  |  |  | B8C1801-07 |  |  |  | Water
Specific Conductance (EC) | 8032401 | 3/19/08 |  | 3/19/08 | EPA 120.1 | 0.500 | 76.9 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.90 |  | pH Units | A-01
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 5.99 |  | °C
Ammonia as N | 8033101 | " |  | 4/1/08 | EPA 300 | 0.0220 | ND |  | mg/L
Fluoride | 8031903 | " |  | 3/20/08 | EPA 300.0 | 0.0960 | 0.216 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.188 | 1.47 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0220 | 0.0150 |  | " | J
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.104 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.140 | 0.824 |  | "
Total Kjeldahl Nitrogen | 8040301 | 4/1/08 |  | 4/10/08 | EPA 351.2 | 0.250 | ND |  | "
Dissolved Oxygen | 8032401 | 3/19/08 |  | 3/19/08 | EPA 360.1 | 1.00 | 12.2 |  | "
Phosphorus-Total | 8041504 | 4/3/08 |  | 4/4/08 | EPA 365.3 | 0.0200 | 0.0790 |  | "
DR 165.75 FIRST STREET RAPIDS |  |  |  |  | B8C1801-08 |  |  |  | Water
Specific Conductance (EC) | 8032401 | 3/19/08 |  | 3/19/08 | EPA 120.1 | 0.500 | 76.9 |  | umhos/cm
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 6 of 25
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 165.75 FIRST STREET RAPIDS (continued) |  |  |  |  | B8C1801-08 |  |  |  | Water
pH | 8032401 | 3/19/08 |  | 3/19/08 | EPA 150.1 |  | 7.89 |  | pH Units | A-01
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 5.96 |  | °C
Ammonia as N | 8033101 | " |  | 4/1/08 | EPA 300 | 0.0220 | ND |  | mg/L
Fluoride | 8031903 | " |  | 3/20/08 | EPA 300.0 | 0.0960 | 0.244 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.188 | 1.48 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0220 | 0.0190 |  | " | J
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.104 | 0.0780 |  | " | J
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.140 | 0.833 |  | "
Total Kjeldahl Nitrogen | 8040301 | 4/1/08 |  | 4/10/08 | EPA 351.2 | 0.250 | ND |  | "
Dissolved Oxygen | 8032401 | 3/19/08 |  | 3/19/08 | EPA 360.1 | 1.00 | 12.0 |  | "
Phosphorus-Total | 8041504 | 4/3/08 |  | 4/4/08 | EPA 365.3 | 0.0200 | 0.0790 |  | "
DR 166.75 DRAKE PARK FOOTBRIDGE |  |  |  |  | B8C1801-09 |  |  |  | Water
Specific Conductance (EC) | 8032401 | 3/18/08 |  | 3/18/08 | EPA 120.1 | 0.500 | 76.3 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 8.11 |  | pH Units | A-01
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 6.86 |  | °C
Ammonia as N | 8033101 | " |  | 4/1/08 | EPA 300 | 0.0220 | ND |  | mg/L
Fluoride | 8031903 | " |  | 3/20/08 | EPA 300.0 | 0.0960 | 0.217 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.188 | 1.45 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0220 | 0.0160 |  | " | J
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.104 | 0.0740 |  | " | J
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.140 | 0.842 |  | "
Total Kjeldahl Nitrogen | 8040301 | 4/1/08 |  | 4/10/08 | EPA 351.2 | 0.250 | ND |  | "
Dissolved Oxygen | 8032401 | 3/18/08 |  | 3/18/08 | EPA 360.1 | 1.00 | 12.6 |  | "
Phosphorus-Total | 8041504 | 4/3/08 |  | 4/4/08 | EPA 365.3 | 0.0200 | 0.0780 |  | "
DR 166.75 DRAKE PARK FOOTBRIDGE DUPL. |  |  |  |  | B8C1801-10 |  |  |  | Water
Specific Conductance (EC) | 8032401 | 3/18/08 |  | 3/18/08 | EPA 120.1 | 0.500 | 76.1 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 8.17 |  | pH Units | A-01
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 6.85 |  | °C
Ammonia as N | 8033101 | " |  | 4/1/08 | EPA 300 | 0.0220 | ND |  | mg/L
Fluoride | 8031903 | " |  | 3/20/08 | EPA 300.0 | 0.0960 | 0.249 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.188 | 1.46 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0220 | 0.0150 |  | " | J
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.104 | 0.0710 |  | " | J
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 7 of 25
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 166.75 DRAKE PARK FOOTBRIDGE DUPL. (continued) |  |  |  |  | B8C1801-10 |  |  |  | Water
Sulfate as SO4 | 8031903 | 3/18/08 |  | 3/20/08 | EPA 300.0 | 0.140 | 0.836 |  | mg/L
Total Kjeldahl Nitrogen | 8040301 | 4/1/08 |  | 4/10/08 | EPA 351.2 | 0.250 | ND |  | "
Dissolved Oxygen | 8032401 | 3/18/08 |  | 3/18/08 | EPA 360.1 | 1.00 | 12.6 |  | "
Phosphorus-Total | 8041504 | 4/3/08 |  | 4/4/08 | EPA 365.3 | 0.0200 | 0.0790 |  | "
DR 167.25 COLUMBIA PARK FOOTBRIDGE |  |  |  |  | B8C1801-11 |  |  |  | Water
Specific Conductance (EC) | 8032401 | 3/19/08 |  | 3/19/08 | EPA 120.1 | 0.500 | 77.6 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.90 |  | pH Units | A-01
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 6.19 |  | °C
Ammonia as N | 8033101 | " |  | 4/1/08 | EPA 300 | 0.0220 | ND |  | mg/L
Fluoride | 8031903 | " |  | 3/20/08 | EPA 300.0 | 0.0960 | 0.245 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.188 | 1.51 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0220 | 0.0230 |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.104 | 0.0780 |  | " | J
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.140 | 0.868 |  | "
Total Kjeldahl Nitrogen | 8040301 | 4/1/08 |  | 4/10/08 | EPA 351.2 | 0.250 | ND |  | "
Dissolved Oxygen | 8032401 | 3/19/08 |  | 3/19/08 | EPA 360.1 | 1.00 | 12.1 |  | "
Phosphorus-Total | 8041504 | 4/3/08 |  | 4/4/08 | EPA 365.3 | 0.0200 | 0.0800 |  | "
DR 168.00 COLUMBIA ST. BRIDGE |  |  |  |  | B8C1801-12 |  |  |  | Water
Specific Conductance (EC) | 8032401 | 3/19/08 |  | 3/19/08 | EPA 120.1 | 0.500 | 77.6 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.91 |  | pH Units | A-01
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 6.28 |  | °C
Ammonia as N | 8033101 | " |  | 4/1/08 | EPA 300 | 0.0220 | ND |  | mg/L
Fluoride | 8031903 | " |  | 3/20/08 | EPA 300.0 | 0.0960 | 0.233 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.188 | 1.48 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0220 | 0.0230 |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.104 | 0.0680 |  | " | J
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.140 | 0.927 |  | "
Total Kjeldahl Nitrogen | 8040301 | 4/1/08 |  | 4/10/08 | EPA 351.2 | 0.250 | ND |  | "
Dissolved Oxygen | 8032401 | 3/19/08 |  | 3/19/08 | EPA 360.1 | 1.00 | 12.0 |  | "
Phosphorus-Total | 8041504 | 4/3/08 |  | 4/4/08 | EPA 365.3 | 0.0200 | 0.0850 |  | "
DR 169.00 UPSTREAM END MILL LOG POND |  |  |  |  | B8C1801-13 |  |  |  | Water
Specific Conductance (EC) | 8032401 | 3/19/08 |  | 3/19/08 | EPA 120.1 | 0.500 | 78.0 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.95 |  | pH Units | A-01
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 8 of 25
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 169.00 UPSTREAM END MILL LOG POND (continued) |  |  |  |  | B8C1801-13 |  |  |  | Water
Temperature | 8032401 | 3/19/08 |  | 3/19/08 | EPA 170.1 | 0.0500 | 6.39 |  | °C
Ammonia as N | 8033101 | " |  | 4/1/08 | EPA 300 | 0.0220 | ND |  | mg/L
Fluoride | 8031903 | " |  | 3/20/08 | EPA 300.0 | 0.0960 | 0.247 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.188 | 1.48 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0220 | 0.0210 |  | " | J
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.104 | 0.0710 |  | " | J
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.140 | 0.849 |  | "
Total Kjeldahl Nitrogen | 8040301 | 4/1/08 |  | 4/10/08 | EPA 351.2 | 0.250 | ND |  | "
Dissolved Oxygen | 8032401 | 3/19/08 |  | 3/19/08 | EPA 360.1 | 1.00 | 11.8 |  | "
Phosphorus-Total | 8041504 | 4/3/08 |  | 4/4/08 | EPA 365.3 | 0.0200 | 0.0800 |  | "
DR 172.00 SOUTHERN UGB |  |  |  |  | B8C1801-14 |  |  |  | Water
Specific Conductance (EC) | 8032401 | 3/19/08 |  | 3/19/08 | EPA 120.1 | 0.500 | 77.9 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.93 |  | pH Units | A-01
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 6.47 |  | °C
Ammonia as N | 8033101 | " |  | 4/1/08 | EPA 300 | 0.0220 | ND |  | mg/L
Fluoride | 8031903 | " |  | 3/20/08 | EPA 300.0 | 0.0960 | 0.272 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.188 | 1.60 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0220 | 0.0230 |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.104 | 0.0730 |  | " | J
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.140 | 0.851 |  | "
Total Kjeldahl Nitrogen | 8040301 | 4/1/08 |  | 4/10/08 | EPA 351.2 | 0.250 | ND |  | "
Dissolved Oxygen | 8032401 | 3/19/08 |  | 3/19/08 | EPA 360.1 | 1.00 | 11.7 |  | "
Phosphorus-Total | 8041504 | 4/3/08 |  | 4/4/08 | EPA 365.3 | 0.0200 | 0.0920 |  | "
FB FIELD BLANK |  |  |  |  | B8C1801-15 |  |  |  | Water
Ammonia as N | 8033101 | 3/19/08 |  | 4/1/08 | EPA 300 | 0.0220 | ND |  | mg/L
Fluoride | 8031903 | " |  | 3/20/08 | EPA 300.0 | 0.0960 | ND |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.188 | ND |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0220 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.104 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.140 | ND |  | "
Total Kjeldahl Nitrogen | 8040301 | 4/1/08 |  | 4/10/08 | EPA 351.2 | 0.250 | ND |  | "
Phosphorus-Total | 8041504 | 4/3/08 |  | 4/4/08 | EPA 365.3 | 0.0200 | 0.00700 |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 9 of 25

## QC
City of Bend Water Quality Monitoring Program |  |  | Project: | Deschutes River Ambient Water Quality Monitoring |  |  |  |  | Sampled: | 3/18/08 to 3/19/08
575 NE 15th St. |  |  | Project Number: | [none] |  |  |  |  | Received: | 3/19/08
Bend, OR 97701 |  |  | Project Manager: | Steve Prazak |  |  |  |  | Reported: | 12/11/08 12:32
Wet Chemistry/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Batch: 8032401 | Date Prepared: 2/7/08 | [5 empty] | Extraction Method: NO PREP
Reference | 8032401-SRM4
Turbidity | 2/7/08 | 5.85 |  |  |  | 5.85 | NTU | 80-120 | 100
Reference | 8032401-SRM5
Turbidity | 2/7/08 | 51.8 |  |  |  | 52.1 | NTU | 80-120 | 101
Reference | 8032401-SRM6
Turbidity | 2/7/08 | 503 |  |  |  | 503 | NTU | 80-120 | 100
Reference | 8032401-SRMA
Turbidity | 3/4/08 | 5.85 |  |  |  | 5.82 | NTU | 80-120 | 99.5
Reference | 8032401-SRMB
Turbidity | 3/4/08 | 51.8 |  |  |  | 52.2 | NTU | 80-120 | 101
Reference | 8032401-SRMC
Turbidity | 3/4/08 | 503 |  |  |  | 502 | NTU | 80-120 | 99.8
Reference | 8032401-SRMG
Turbidity | 3/27/08 | 5.85 |  |  |  | 5.86 | NTU | 80-120 | 100
Reference | 8032401-SRMH
Turbidity | 3/27/08 | 51.8 |  |  |  | 52.7 | NTU | 80-120 | 102
Reference | 8032401-SRMI
Turbidity | 3/27/08 | 503 |  |  |  | 507 | NTU | 80-120 | 101
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 10 of 25
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Batch: 8031903 | Date Prepared: 3/19/08 | [5 empty] | Extraction Method: NO PREP
Blank | 8031903-BLK1
Fluoride | 3/19/08 |  |  |  |  | ND | mg/L | 0.0960
Chloride | " |  |  |  |  | ND | " | 0.188
Nitrite as N | " |  |  |  |  | ND | " | 0.0320
Nitrate as N | " |  |  |  |  | ND | " | 0.0220
Orthophosphate as P | " |  |  |  |  | ND | " | 0.104
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.140
Blank | 8031903-BLK2
Fluoride | 3/19/08 |  |  |  |  | ND | mg/L | 0.0960
Chloride | " |  |  |  |  | ND | " | 0.188
Nitrite as N | " |  |  |  |  | ND | " | 0.0320
Nitrate as N | " |  |  |  |  | ND | " | 0.0220
Orthophosphate as P | " |  |  |  |  | ND | " | 0.104
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.140
Blank | 8031903-BLK3
Fluoride | 3/20/08 |  |  |  |  | ND | mg/L | 0.0960
Chloride | " |  |  |  |  | ND | " | 0.188
Nitrite as N | " |  |  |  |  | ND | " | 0.0320
Nitrate as N | " |  |  |  |  | ND | " | 0.0220
Orthophosphate as P | " |  |  |  |  | ND | " | 0.104
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.140
Blank | 8031903-BLK4
Fluoride | 3/20/08 |  |  |  |  | ND | mg/L | 0.0960
Chloride | " |  |  |  |  | ND | " | 0.188
Nitrite as N | " |  |  |  |  | ND | " | 0.0320
Nitrate as N | " |  |  |  |  | ND | " | 0.0220
Orthophosphate as P | " |  |  |  |  | ND | " | 0.104
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.140
Blank | 8031903-BLK5
Fluoride | 3/20/08 |  |  |  |  | ND | mg/L | 0.0960
Chloride | " |  |  |  |  | ND | " | 0.188
Nitrite as N | " |  |  |  |  | ND | " | 0.0320
Nitrate as N | " |  |  |  |  | ND | " | 0.0220
Orthophosphate as P | " |  |  |  |  | ND | " | 0.104
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 11 of 25
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Blank (continued) | 8031903-BLK5
Sulfate as SO4 | 3/20/08 |  |  |  |  | ND | mg/L | 0.140
Blank | 8031903-BLK6
Fluoride | 3/20/08 |  |  |  |  | ND | mg/L | 0.0960
Chloride | " |  |  |  |  | ND | " | 0.188
Nitrite as N | " |  |  |  |  | ND | " | 0.0320
Nitrate as N | " |  |  |  |  | ND | " | 0.0220
Orthophosphate as P | " |  |  |  |  | ND | " | 0.104
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.140
Blank | 8031903-BLK7
Fluoride | 3/20/08 |  |  |  |  | ND | mg/L | 0.0960
Chloride | " |  |  |  |  | ND | " | 0.188
Nitrite as N | " |  |  |  |  | ND | " | 0.0320
Nitrate as N | " |  |  |  |  | ND | " | 0.0220
Orthophosphate as P | " |  |  |  |  | ND | " | 0.104
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.140
Blank | 8031903-BLK8
Fluoride | 3/20/08 |  |  |  |  | ND | mg/L | 0.0960
Chloride | " |  |  |  |  | ND | " | 0.188
Nitrite as N | " |  |  |  |  | ND | " | 0.0320
Nitrate as N | " |  |  |  |  | ND | " | 0.0220
Orthophosphate as P | " |  |  |  |  | ND | " | 0.104
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.140
Blank | 8031903-BLK9
Fluoride | 3/20/08 |  |  |  |  | ND | mg/L | 0.0960
Chloride | " |  |  |  |  | ND | " | 0.188
Nitrite as N | " |  |  |  |  | ND | " | 0.0320
Nitrate as N | " |  |  |  |  | ND | " | 0.0220
Orthophosphate as P | " |  |  |  |  | ND | " | 0.104
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.140
Blank | 8031903-BLKA
Fluoride | 3/20/08 |  |  |  |  | ND | mg/L | 0.0960
Chloride | " |  |  |  |  | ND | " | 0.188
Nitrite as N | " |  |  |  |  | ND | " | 0.0320
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 12 of 25
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Blank (continued) | 8031903-BLKA
Nitrate as N | 3/20/08 |  |  |  |  | ND | mg/L | 0.0220
Orthophosphate as P | " |  |  |  |  | ND | " | 0.104
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.140
Blank | 8031903-BLKB
Fluoride | 3/21/08 |  |  |  |  | ND | mg/L | 0.0960
Chloride | " |  |  |  |  | ND | " | 0.188
Nitrite as N | " |  |  |  |  | ND | " | 0.0320
Nitrate as N | " |  |  |  |  | ND | " | 0.0220
Orthophosphate as P | " |  |  |  |  | ND | " | 0.104
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.140
Blank | 8031903-BLKC
Fluoride | 3/21/08 |  |  |  |  | ND | mg/L | 0.0960
Chloride | " |  |  |  |  | ND | " | 0.188
Nitrite as N | " |  |  |  |  | ND | " | 0.0320
Nitrate as N | " |  |  |  |  | ND | " | 0.0220
Orthophosphate as P | " |  |  |  |  | ND | " | 0.104
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.140
LCS | 8031903-BS1
Fluoride | 3/19/08 | 1.00 |  |  |  | 1.12 | mg/L | 80-120 | 112
Chloride | " | 1.00 |  |  |  | 1.00 | " | 80-120 | 100
Nitrite as N | " | 1.00 |  |  |  | 1.03 | " | 80-120 | 103
Nitrate as N | " | 1.00 |  |  |  | 0.910 | " | 80-120 | 91.0
Orthophosphate as P | " | 1.00 |  |  |  | 1.00 | " | 80-120 | 100
Sulfate as SO4 | " | 1.00 |  |  |  | 1.01 | " | 80-120 | 101
LCS | 8031903-BS2
Fluoride | 3/20/08 |  |  |  |  | 1.06 | mg/L | 80-120
Chloride | " |  |  |  |  | 1.01 | " | 80-120
Nitrite as N | " |  |  |  |  | 1.01 | " | 80-120
Nitrate as N | " |  |  |  |  | 0.902 | " | 80-120
Orthophosphate as P | " |  |  |  |  | 0.990 | " | 80-120
Sulfate as SO4 | " |  |  |  |  | 1.03 | " | 80-120
LCS Dup | 8031903-BSD1
Fluoride | 3/20/08 | 1.00 |  |  |  | 1.06 | mg/L | 80-120 | 106 |  | 20 | 5.13
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 13 of 25
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
LCS Dup (continued) | 8031903-BSD1
Chloride | 3/20/08 | 1.00 |  |  |  | 1.06 | mg/L | 80-120 | 106 |  | 20 | 5.05
Nitrite as N | " | 1.00 |  |  |  | 1.06 | " | 80-120 | 106 |  | 20 | 2.88
Nitrate as N | " | 1.00 |  |  |  | 0.898 | " | 80-120 | 89.8 |  | 20 | 1.33
Orthophosphate as P | " | 1.00 |  |  |  | 1.00 | " | 80-120 | 100 |  | 20 | 0.200
Sulfate as SO4 | " | 1.00 |  |  |  | 1.10 | " | 80-120 | 110 |  | 20 | 8.37
LCS Dup | 8031903-BSD2
Fluoride | 3/21/08 |  |  |  |  | 1.05 | mg/L | 80-120 |  |  | 20 | 1.14
Chloride | " |  |  |  |  | 0.922 | " | 80-120 |  |  | 20 | 8.91
Nitrite as N | " |  |  |  |  | 0.978 | " | 80-120 |  |  | 20 | 3.02
Nitrate as N | " |  |  |  |  | 0.900 | " | 80-120 |  |  | 20 | 0.222
Orthophosphate as P | " |  |  |  |  | 1.00 | " | 80-120 |  |  | 20 | 1.01
Sulfate as SO4 | " |  |  |  |  | 1.05 | " | 80-120 |  |  | 20 | 2.31
Calibration Check | 8031903-CCV1
Fluoride | 3/19/08 | 0.0100 |  |  |  | 0.134 | mg/L | 80-120 | NR |  |  |  | A-01a
Chloride | " | 0.0100 |  |  |  | 0.0420 | " | 80-120 | NR |  |  |  | A-01a
Nitrite as N | " | 0.0100 |  |  |  | 0.00700 | " | 80-120 | 70.0 |  |  |  | A-01a
Nitrate as N | " | 0.0100 |  |  |  | 0.00800 | " | 80-120 | 80.0
Orthophosphate as P | " | 0.0100 |  |  |  | 0.00 | " | 80-120 |  |  |  |  | A-01a
Sulfate as SO4 | " | 0.0100 |  |  |  | 0.00 | " | 80-120 |  |  |  |  | A-01a
Calibration Check | 8031903-CCV2
Fluoride | 3/19/08 | 0.0500 |  |  |  | 0.157 | mg/L | 80-120 | NR |  |  |  | A-01a
Chloride | " | 0.0500 |  |  |  | 0.0880 | " | 80-120 | 176 |  |  |  | A-01a
Nitrite as N | " | 0.0500 |  |  |  | 0.0450 | " | 80-120 | 90.0
Nitrate as N | " | 0.0500 |  |  |  | 0.0420 | " | 80-120 | 84.0
Orthophosphate as P | " | 0.0500 |  |  |  | 0.0620 | " | 80-120 | 124 |  |  |  | A-01a
Sulfate as SO4 | " | 0.0500 |  |  |  | 0.0690 | " | 80-120 | 138 |  |  |  | A-01b
Calibration Check | 8031903-CCV3
Fluoride | 3/19/08 | 1.00 |  |  |  | 0.985 | mg/L | 80-120 | 98.5
Chloride | " | 1.00 |  |  |  | 0.975 | " | 80-120 | 97.5
Nitrite as N | " | 1.00 |  |  |  | 1.02 | " | 80-120 | 102
Nitrate as N | " | 1.00 |  |  |  | 0.938 | " | 80-120 | 93.8
Orthophosphate as P | " | 1.00 |  |  |  | 1.00 | " | 80-120 | 100
Sulfate as SO4 | " | 1.00 |  |  |  | 1.01 | " | 80-120 | 101
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 14 of 25
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Calibration Check | 8031903-CCV4
Fluoride | 3/19/08 | 5.00 |  |  |  | 4.80 | mg/L | 80-120 | 96.1
Chloride | " | 5.00 |  |  |  | 4.93 | " | 80-120 | 98.7
Nitrite as N | " | 5.00 |  |  |  | 5.20 | " | 80-120 | 104
Nitrate as N | " | 5.00 |  |  |  | 5.06 | " | 80-120 | 101
Orthophosphate as P | " | 5.00 |  |  |  | 5.22 | " | 80-120 | 104
Sulfate as SO4 | " | 5.00 |  |  |  | 5.04 | " | 80-120 | 101
Duplicate | 8031903-DUP1 |  |  |  | B8C1801-01
Fluoride | 3/19/08 |  |  |  | 0.241 | 0.202 | mg/L |  |  |  | 10 | 17.6 | QR-01
Chloride | " |  |  |  | 1.30 | 1.30 | " |  |  |  | 10 | 0.539
Nitrite as N | " |  |  |  | ND | ND | " |  |  |  | 10
Nitrate as N | " |  |  |  | ND | 0.00900 | " |  |  |  | 10 |  | J
Orthophosphate as P | " |  |  |  | 0.0560 | 0.0730 | " |  |  |  | 10 | 26.4 | QR-01, J
Sulfate as SO4 | " |  |  |  | 0.739 | 0.790 | " |  |  |  | 10 | 6.67
Duplicate | 8031903-DUP2 |  |  |  | B8C1801-10
Fluoride | 3/20/08 |  |  |  | 0.249 | 0.240 | mg/L |  |  |  | 10 | 3.68
Chloride | " |  |  |  | 1.46 | 1.45 | " |  |  |  | 10 | 0.891
Nitrite as N | " |  |  |  | ND | ND | " |  |  |  | 10
Nitrate as N | " |  |  |  | 0.0150 | 0.0170 | " |  |  |  | 10 | 12.5 | QR-01, J
Orthophosphate as P | " |  |  |  | 0.0710 | 0.0650 | " |  |  |  | 10 | 8.82 | J
Sulfate as SO4 | " |  |  |  | 0.836 | 0.836 | " |  |  |  | 10 | 0.00
Duplicate | 8031903-DUP3 |  |  |  | B8C1701-01
Fluoride | 3/20/08 |  |  |  | 0.314 | 0.300 | mg/L |  |  |  | 10 | 4.56
Chloride | " |  |  |  | 1.78 | 1.75 | " |  |  |  | 10 | 1.42
Nitrite as N | " |  |  |  | ND | ND | " |  |  |  | 10
Nitrate as N | " |  |  |  | 0.283 | 0.274 | " |  |  |  | 10 | 3.23
Orthophosphate as P | " |  |  |  | 0.0580 | 0.0630 | " |  |  |  | 10 | 8.26 | J
Sulfate as SO4 | " |  |  |  | 1.30 | 1.35 | " |  |  |  | 10 | 3.32
Duplicate | 8031903-DUP4 |  |  |  | B8C1701-02
Fluoride | 3/20/08 |  |  |  | 0.274 | 0.253 | mg/L |  |  |  | 10 | 7.97
Chloride | " |  |  |  | 8.32 | 8.35 | " |  |  |  | 10 | 0.420
Nitrite as N | " |  |  |  | ND | ND | " |  |  |  | 10
Nitrate as N | " |  |  |  | 1.25 | 1.27 | " |  |  |  | 10 | 1.43
Orthophosphate as P | " |  |  |  | 0.157 | 0.153 | " |  |  |  | 10 | 2.58
Sulfate as SO4 | " |  |  |  | 4.12 | 4.13 | " |  |  |  | 10 | 0.291
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 15 of 25
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Duplicate | 8031903-DUP5 |  |  |  | B8C1701-03
Fluoride | 3/20/08 |  |  |  | 0.272 | 0.282 | mg/L |  |  |  | 10 | 3.61
Chloride | " |  |  |  | 5.57 | 5.56 | " |  |  |  | 10 | 0.0539
Nitrite as N | " |  |  |  | ND | ND | " |  |  |  | 10
Nitrate as N | " |  |  |  | 0.861 | 0.866 | " |  |  |  | 10 | 0.579
Orthophosphate as P | " |  |  |  | 0.105 | 0.130 | " |  |  |  | 10 | 21.3 | QR-01
Sulfate as SO4 | " |  |  |  | 3.00 | 3.02 | " |  |  |  | 10 | 0.664
Duplicate | 8031903-DUP6 |  |  |  | B8C1701-04
Fluoride | 3/20/08 |  |  |  | 0.277 | 0.270 | mg/L |  |  |  | 10 | 2.56
Chloride | " |  |  |  | 3.15 | 3.13 | " |  |  |  | 10 | 0.510
Nitrite as N | " |  |  |  | ND | ND | " |  |  |  | 10
Nitrate as N | " |  |  |  | 0.487 | 0.494 | " |  |  |  | 10 | 1.43
Orthophosphate as P | " |  |  |  | 0.115 | 0.110 | " |  |  |  | 10 | 4.44
Sulfate as SO4 | " |  |  |  | 2.27 | 2.30 | " |  |  |  | 10 | 1.22
Post Spike | 8031903-PS1 |  |  |  | B8C1801-02
Fluoride | 3/19/08 | 0.500 |  |  | 0.140 | 0.591 | mg/L | 80-120 | 90.1
Chloride | " | 0.500 |  |  | 0.775 | 1.19 | " | 80-120 | 83.4
Nitrite as N | " | 0.500 |  |  | ND | 0.490 | " | 80-120 | 98.0
Nitrate as N | " | 0.500 |  |  | 0.00600 | 0.466 | " | 80-120 | 92.0
Orthophosphate as P | " | 0.500 |  |  | 0.0380 | 0.535 | " | 80-120 | 99.4
Sulfate as SO4 | " | 0.500 |  |  | 0.440 | 0.924 | " | 80-120 | 96.9
Post Spike | 8031903-PS2 |  |  |  | B8C1801-11
Fluoride | 3/20/08 | 0.500 |  |  | 0.122 | 0.587 | mg/L | 80-120 | 92.9
Chloride | " | 0.500 |  |  | 0.753 | 1.19 | " | 80-120 | 87.4
Nitrite as N | " | 0.500 |  |  | ND | 0.497 | " | 80-120 | 99.4
Nitrate as N | " | 0.500 |  |  | 0.0115 | 0.473 | " | 80-120 | 92.3
Orthophosphate as P | " | 0.500 |  |  | 0.0390 | 0.534 | " | 80-120 | 99.0
Sulfate as SO4 | " | 0.500 |  |  | 0.434 | 0.930 | " | 80-120 | 99.2
Post Spike | 8031903-PS3 |  |  |  | B8C2402-06
Fluoride | 3/20/08 | 0.500 |  |  | 0.236 | 0.712 | mg/L | 80-120 | 95.1
Chloride | " | 0.500 |  |  | 22.8 | 24.1 | " | 80-120 | NR |  |  |  | QM-4X
Nitrite as N | " | 0.500 |  |  | ND | 0.580 | " | 80-120 | 116
Nitrate as N | " | 0.500 |  |  | 3.26 | 3.66 | " | 80-120 | 80.7
Orthophosphate as P | " | 0.500 |  |  | 0.952 | 1.44 | " | 80-120 | 97.0
Sulfate as SO4 | " | 0.500 |  |  | 10.4 | 10.8 | " | 80-120 | 80.8
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 16 of 25
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Reference | 8031903-SRM1
Fluoride | 3/20/08 | 1.00 |  |  |  | 0.949 | mg/L | 80-120 | 94.9
Chloride | " | 1.00 |  |  |  | 0.955 | " | 80-120 | 95.5
Nitrite as N | " | 1.00 |  |  |  | 1.04 | " | 80-120 | 104
Nitrate as N | " | 1.00 |  |  |  | 0.899 | " | 80-120 | 89.9
Orthophosphate as P | " | 1.00 |  |  |  | 0.979 | " | 80-120 | 97.9
Sulfate as SO4 | " | 1.00 |  |  |  | 0.986 | " | 80-120 | 98.6
Reference | 8031903-SRM2
Fluoride | 3/20/08 | 5.00 |  |  |  | 4.43 | mg/L | 80-120 | 88.6
Chloride | " | 20.0 |  |  |  | 19.5 | " | 80-120 | 97.7
Nitrite as N | " | 0.250 |  |  |  | 0.224 | " | 80-120 | 89.6
Nitrate as N | " | 5.00 |  |  |  | 4.68 | " | 80-120 | 93.7
Orthophosphate as P | " | 5.00 |  |  |  | 4.75 | " | 80-120 | 95.0
Sulfate as SO4 | " | 20.0 |  |  |  | 19.5 | " | 80-120 | 97.5
Reference | 8031903-SRM3
Fluoride | 3/20/08 | 1.00 |  |  |  | 0.907 | mg/L | 80-120 | 90.7
Chloride | " | 1.00 |  |  |  | 0.928 | " | 80-120 | 92.8
Nitrite as N | " | 1.00 |  |  |  | 1.00 | " | 80-120 | 100
Nitrate as N | " | 1.00 |  |  |  | 0.873 | " | 80-120 | 87.3
Orthophosphate as P | " | 1.00 |  |  |  | 0.931 | " | 80-120 | 93.1
Sulfate as SO4 | " | 1.00 |  |  |  | 0.947 | " | 80-120 | 94.7
Reference | 8031903-SRM4
Fluoride | 3/20/08 | 5.00 |  |  |  | 4.32 | mg/L | 80-120 | 86.3
Chloride | " | 20.0 |  |  |  | 19.3 | " | 80-120 | 96.7
Nitrite as N | " | 0.250 |  |  |  | 0.218 | " | 80-120 | 87.2
Nitrate as N | " | 5.00 |  |  |  | 4.63 | " | 80-120 | 92.5
Orthophosphate as P | " | 5.00 |  |  |  | 4.73 | " | 80-120 | 94.6
Sulfate as SO4 | " | 20.0 |  |  |  | 19.4 | " | 80-120 | 96.8
Reference | 8031903-SRM5
Fluoride | 3/20/08 | 1.00 |  |  |  | 0.897 | mg/L | 80-120 | 89.7
Chloride | " | 1.00 |  |  |  | 0.892 | " | 80-120 | 89.2
Nitrite as N | " | 1.00 |  |  |  | 0.991 | " | 80-120 | 99.1
Nitrate as N | " | 1.00 |  |  |  | 0.893 | " | 80-120 | 89.3
Orthophosphate as P | " | 1.00 |  |  |  | 0.967 | " | 80-120 | 96.7
Sulfate as SO4 | " | 1.00 |  |  |  | 0.967 | " | 80-120 | 96.7
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 17 of 25
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Reference | 8031903-SRM6
Fluoride | 3/20/08 | 5.00 |  |  |  | 4.34 | mg/L | 80-120 | 86.9
Chloride | " | 20.0 |  |  |  | 19.4 | " | 80-120 | 96.9
Nitrite as N | " | 0.250 |  |  |  | 0.222 | " | 80-120 | 88.8
Nitrate as N | " | 5.00 |  |  |  | 4.63 | " | 80-120 | 92.7
Orthophosphate as P | " | 5.00 |  |  |  | 4.72 | " | 80-120 | 94.3
Sulfate as SO4 | " | 20.0 |  |  |  | 19.4 | " | 80-120 | 96.8
Reference | 8031903-SRM7
Fluoride | 3/21/08 | 1.00 |  |  |  | 0.903 | mg/L | 80-120 | 90.3
Chloride | " | 1.00 |  |  |  | 0.891 | " | 80-120 | 89.1
Nitrite as N | " | 1.00 |  |  |  | 1.00 | " | 80-120 | 100
Nitrate as N | " | 1.00 |  |  |  | 0.889 | " | 80-120 | 88.9
Orthophosphate as P | " | 1.00 |  |  |  | 0.961 | " | 80-120 | 96.1
Sulfate as SO4 | " | 1.00 |  |  |  | 0.990 | " | 80-120 | 99.0
Reference | 8031903-SRM8
Fluoride | 3/21/08 | 5.00 |  |  |  | 4.33 | mg/L | 80-120 | 86.6
Chloride | " | 20.0 |  |  |  | 19.5 | " | 80-120 | 97.6
Nitrite as N | " | 0.250 |  |  |  | 0.315 | " | 80-120 | 126 |  |  |  | QR-01
Nitrate as N | " | 5.00 |  |  |  | 4.66 | " | 80-120 | 93.1
Orthophosphate as P | " | 5.00 |  |  |  | 4.77 | " | 80-120 | 95.5
Sulfate as SO4 | " | 20.0 |  |  |  | 19.4 | " | 80-120 | 96.8
Batch: 8032401 | Date Prepared: 2/7/08 | [5 empty] | Extraction Method: NO PREP
Reference | 8032401-SRM1
pH | 2/7/08 | 7.02 |  |  |  | 7.06 | pH Units | 93-107 | 101
Reference | 8032401-SRM2
Temperature | 2/7/08 | 10.1 |  |  |  | 10.1 | °C | 95-105 | 100
Dissolved Oxygen | " | 9.50 |  |  |  | 9.65 | mg/L | 89-111 | 102
Reference | 8032401-SRM3
Specific Conductance (EC) | 2/7/08 | 145 |  |  |  | 146 | umhos/cm | 85-115 | 101
Reference | 8032401-SRM7
Specific Conductance (EC) | 3/4/08 | 145 |  |  |  | 147 | umhos/cm | 85-115 | 101
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 18 of 25
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Reference | 8032401-SRM8
pH | 3/4/08 | 7.02 |  |  |  | 7.04 | pH Units | 93-107 | 100
Reference | 8032401-SRM9
Temperature | 3/4/08 | 12.1 |  |  |  | 12.1 | °C | 96-104 | 100
Dissolved Oxygen | " | 9.30 |  |  |  | 9.42 | mg/L | 89-111 | 101
Reference | 8032401-SRMD
Specific Conductance (EC) | 3/27/08 | 145 |  |  |  | 148 | umhos/cm | 85-115 | 102
Reference | 8032401-SRME
pH | 3/27/08 | 7.02 |  |  |  | 7.07 | pH Units | 93-107 | 101
Reference | 8032401-SRMF
Temperature | 3/27/08 | 11.6 |  |  |  | 11.6 | °C | 96-104 | 99.8
Dissolved Oxygen | " | 9.20 |  |  |  | 9.53 | mg/L | 89-111 | 104
Reference | 8032401-SRMJ
pH | 3/18/08 | 7.02 |  |  |  | 7.03 | pH Units | 93-107 | 100
Reference | 8032401-SRMK
pH | 3/19/08 | 7.02 |  |  |  | 6.98 | pH Units | 93-107 | 99.4
Batch: 8033101 | Date Prepared: 3/31/08 | [5 empty] | Extraction Method: NO PREP
Blank | 8033101-BLK1
Ammonia as N | 3/31/08 |  |  |  |  | ND | mg/L | 0.0220
Blank | 8033101-BLK2
Ammonia as N | 3/31/08 |  |  |  |  | ND | mg/L | 0.0220
Blank | 8033101-BLK3
Ammonia as N | 3/31/08 |  |  |  |  | ND | mg/L | 0.0220
Blank | 8033101-BLK4
Ammonia as N | 4/1/08 |  |  |  |  | ND | mg/L | 0.0220
Blank | 8033101-BLK5
Ammonia as N | 4/1/08 |  |  |  |  | ND | mg/L | 0.0220
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 19 of 25
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Blank | 8033101-BLK6
Ammonia as N | 4/1/08 |  |  |  |  | ND | mg/L | 0.0220
Blank | 8033101-BLK7
Ammonia as N | 4/1/08 |  |  |  |  | ND | mg/L | 0.0220
Blank | 8033101-BLK8
Ammonia as N | 4/1/08 |  |  |  |  | ND | mg/L | 0.0220
Blank | 8033101-BLK9
Ammonia as N | 4/1/08 |  |  |  |  | ND | mg/L | 0.0220
Blank | 8033101-BLKA
Ammonia as N | 4/1/08 |  |  |  |  | ND | mg/L | 0.0220
Blank | 8033101-BLKB
Ammonia as N | 4/1/08 |  |  |  |  | ND | mg/L | 0.0220
LCS | 8033101-BS1
Ammonia as N | 3/31/08 | 5.00 |  |  |  | 4.69 | mg/L | 80-120 | 93.7
LCS | 8033101-BS2
Ammonia as N | 3/31/08 | 2.00 |  |  |  | 2.27 | mg/L | 80-120 | 113
LCS Dup | 8033101-BSD1
Ammonia as N | 4/1/08 | 5.00 |  |  |  | 4.90 | mg/L | 80-120 | 98.0 |  | 10 | 4.48
LCS Dup | 8033101-BSD2
Ammonia as N | 4/1/08 | 2.00 |  |  |  | 2.40 | mg/L | 80-120 | 120 |  | 10 | 5.83
Calibration Check | 8033101-CCV1
Ammonia as N | 3/31/08 | 1.00 |  |  |  | 1.12 | mg/L | 80-120 | 112
Calibration Check | 8033101-CCV2
Ammonia as N | 3/31/08 | 2.00 |  |  |  | 2.06 | mg/L | 80-120 | 103
Duplicate | 8033101-DUP1 |  |  |  | B8C1001-01
Ammonia as N | 3/31/08 |  |  |  | ND | ND | mg/L |  |  |  | 10
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 20 of 25
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Duplicate | 8033101-DUP2 |  |  |  | B8C1801-01
Ammonia as N | 4/1/08 |  |  |  | ND | ND | mg/L |  |  |  | 10
Duplicate | 8033101-DUP3 |  |  |  | B8C1801-08
Ammonia as N | 4/1/08 |  |  |  | ND | ND | mg/L |  |  |  | 10
Post Spike | 8033101-PS1 |  |  |  | B8C1001-02
Ammonia as N | 3/31/08 | 1.00 |  |  | ND | 1.12 | mg/L | 80-120 | 112
Post Spike | 8033101-PS2 |  |  |  | B8C1801-02
Ammonia as N | 4/1/08 | 1.00 |  |  | ND | 1.13 | mg/L | 80-120 | 113
Post Spike | 8033101-PS3 |  |  |  | B8C1801-09
Ammonia as N | 4/1/08 | 1.00 |  |  | ND | 1.12 | mg/L | 80-120 | 112
Reference | 8033101-SRM1
Ammonia as N | 3/31/08 | 2.00 |  |  |  | 2.09 | mg/L | 80-120 | 104
Reference | 8033101-SRM2
Ammonia as N | 4/1/08 | 2.00 |  |  |  | 2.14 | mg/L | 80-120 | 107
Reference | 8033101-SRM3
Ammonia as N | 4/1/08 | 2.00 |  |  |  | 2.23 | mg/L | 80-120 | 111
Reference | 8033101-SRM4
Ammonia as N | 4/1/08 | 2.00 |  |  |  | 2.19 | mg/L | 80-120 | 109
Reference | 8033101-SRM5
Ammonia as N | 4/1/08 | 2.00 |  |  |  | 2.21 | mg/L | 80-120 | 111
Batch: 8040301 | Date Prepared: 4/1/08 | [5 empty] | Extraction Method: NO PREP
Blank | 8040301-BLK1
Total Kjeldahl Nitrogen | 4/10/08 |  |  |  |  | ND | mg/L | 0.250
Blank | 8040301-BLK2
Total Kjeldahl Nitrogen | 4/10/08 |  |  |  |  | ND | mg/L | 0.250
LCS | 8040301-BS1
Total Kjeldahl Nitrogen | 4/10/08 | 2.00 |  |  |  | 2.80 | mg/L | 80-120 | 140 |  |  |  | QM-05
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 21 of 25
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
LCS | 8040301-BS2
Total Kjeldahl Nitrogen | 4/10/08 | 2.00 |  |  |  | 1.96 | mg/L | 80-120 | 98.0
LCS | 8040301-BS3
Total Kjeldahl Nitrogen | 4/10/08 |  |  |  |  | 0.933 | mg/L | 80-120
LCS | 8040301-BS4
Total Kjeldahl Nitrogen | 4/10/08 |  |  |  |  | 0.882 | mg/L | 80-120
LCS | 8040301-BS5
Total Kjeldahl Nitrogen | 4/10/08 |  |  |  |  | 1.10 | mg/L | 80-120
Calibration Check | 8040301-CCV1
Total Kjeldahl Nitrogen | 4/10/08 | 1.00 |  |  |  | 0.989 | mg/L | 0-200 | 98.9
Calibration Check | 8040301-CCV2
Total Kjeldahl Nitrogen | 4/10/08 | 1.00 |  |  |  | 1.05 | mg/L | 0-200 | 105
Calibration Check | 8040301-CCV3
Total Kjeldahl Nitrogen | 4/10/08 | 1.00 |  |  |  | 1.10 | mg/L | 0-200 | 110
Duplicate | 8040301-DUP1 |  |  |  | B8C1102-01
Total Kjeldahl Nitrogen | 4/10/08 |  |  |  | 1.64 | 2.00 | mg/L |  |  |  | 20 | 19.8
Duplicate | 8040301-DUP2 |  |  |  | B8C1801-01
Total Kjeldahl Nitrogen | 4/10/08 |  |  |  | ND | ND | mg/L |  |  |  | 20
Duplicate | 8040301-DUP3 |  |  |  | B8C1801-13
Total Kjeldahl Nitrogen | 4/10/08 |  |  |  | ND | ND | mg/L |  |  |  | 20
Matrix Spike | 8040301-MS1 |  |  |  | B8C1102-02
Total Kjeldahl Nitrogen | 4/10/08 | 1.00 |  |  | 1.32 | 2.39 | mg/L | 80-120 | 107
Matrix Spike | 8040301-MS2 |  |  |  | B8C1801-02
Total Kjeldahl Nitrogen | 4/10/08 | 1.00 |  |  | ND | 0.728 | mg/L | 80-120 | 72.8 |  |  |  | QM-05
Matrix Spike | 8040301-MS3 |  |  |  | B8C1801-14
Total Kjeldahl Nitrogen | 4/10/08 | 1.00 |  |  | ND | 0.791 | mg/L | 80-120 | 79.1 |  |  |  | QM-05
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 22 of 25
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Reference | 8040301-SRM1
Total Kjeldahl Nitrogen | 4/10/08 | 3.00 |  |  |  | 2.55 | mg/L | 80-120 | 85.0
Reference | 8040301-SRM2
Total Kjeldahl Nitrogen | 4/10/08 | 3.00 |  |  |  | 3.13 | mg/L | 80-120 | 104
Reference | 8040301-SRM4
Total Kjeldahl Nitrogen | 4/10/08 | 12.0 |  |  |  | 11.6 | mg/L | 80-120 | 96.7
Reference | 8040301-SRM5
Total Kjeldahl Nitrogen | 4/10/08 | 12.0 |  |  |  | 10.3 | mg/L | 80-120 | 85.8
Batch: 8041504 | Date Prepared: 4/3/08 | [5 empty] | Extraction Method: NO PREP
Blank | 8041504-BLK1
Phosphorus-Total | 4/4/08 |  |  |  |  | ND | mg/L | 0.0200
Blank | 8041504-BLK2
Phosphorus-Total | 4/4/08 |  |  |  |  | ND | mg/L | 0.0200
LCS | 8041504-BS1
Phosphorus-Total | 4/4/08 | 1.00 |  |  |  | 0.979 | mg/L | 80-120 | 97.9
LCS | 8041504-BS2
Phosphorus-Total | 4/4/08 | 1.00 |  |  |  | 1.05 | mg/L | 80-120 | 105
Calibration Check | 8041504-CCV1
Phosphorus-Total | 4/4/08 | 1.00 |  |  |  | 1.03 | mg/L | 80-120 | 103
Calibration Check | 8041504-CCV2
Phosphorus-Total | 4/4/08 | 1.00 |  |  |  | 0.922 | mg/L | 80-120 | 92.2
Duplicate | 8041504-DUP1 |  |  |  | B8C1102-01
Phosphorus-Total | 4/15/08 |  |  |  | 3.26 | 3.34 | mg/L |  |  |  | 20 | 2.42
Duplicate | 8041504-DUP2 |  |  |  | B8C1801-01
Phosphorus-Total | 4/15/08 |  |  |  | 0.0640 | 0.0650 | mg/L |  |  |  | 20 | 1.55
Duplicate | 8041504-DUP3 |  |  |  | B8C1801-13
Phosphorus-Total | 4/15/08 |  |  |  | 0.0800 | 0.0810 | mg/L |  |  |  | 20 | 1.24
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 23 of 25
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Matrix Spike | 8041504-MS1 |  |  |  | B8C1102-02
Phosphorus-Total | 4/4/08 | 1.00 |  |  | 3.32 | 4.14 | mg/L | 80-120 | 82.0
Matrix Spike | 8041504-MS2 |  |  |  | B8C1801-02
Phosphorus-Total | 4/4/08 | 1.00 |  |  | 0.0730 | 1.19 | mg/L | 80-120 | 112
Matrix Spike | 8041504-MS3 |  |  |  | B8C1801-14
Phosphorus-Total | 4/15/08 | 1.00 |  |  | 0.0920 | 1.29 | mg/L | 80-120 | 120
Reference | 8041504-SRM1
Phosphorus-Total | 4/4/08 | 8.30 |  |  |  | 8.34 | mg/L | 80-120 | 100
Reference | 8041504-SRM2
Phosphorus-Total | 4/4/08 | 8.30 |  |  |  | 8.34 | mg/L | 80-120 | 100
Reference | 8041504-SRM3
Phosphorus-Total | 4/4/08 | 4.32 |  |  |  | 4.56 | mg/L | 80-120 | 106
Reference | 8041504-SRM4
Phosphorus-Total | 4/4/08 | 4.32 |  |  |  | 4.36 | mg/L | 80-120 | 101
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 24 of 25

## NOTES
City of Bend Water Quality Monitoring Program |  | Project: | Deschutes River Ambient Water Quality Monitoring | Sampled: | 3/18/08 to 3/19/08
575 NE 15th St. |  | Project Number: | [none] | Received: | 3/19/08
Bend, OR 97701 |  | Project Manager: | Steve Prazak | Reported: | 12/11/08 12:32
Notes and Definitions
# | Note
A-01 | 556 MPS pH probe malfunction, used Orion 710A #1 pH reading.
A-01a | CCV standard conc. below detection limit to be used for MDL study, not QC
A-01b | CCV standard conc. below detection limit to be used for MDL study, not QC purposes
J | Detected but below the Reporting Limit; therefore, result is an estimated concentration (CLP J-Flag).
QM-05 | The spike recovery was outside acceptance limits for the MS and/or MSD due to matrix interference. The LCS and/or LCSD were
within acceptance limits showing that the laboratory is in control and the data is acceptable.
QM-4X | The spike recovery was outside of QC acceptance limits for the MS and/or MSD due to analyte concentration at 4 times or greater
the spike concentration. The QC batch was accepted based on LCS and/or LCSD recoveries within the acceptance limits.
QR-01 | Analyses are not controlled on RPD values from sample concentrations less than 10 times the reporting limit. QC batch accepted
based on LCS and/or LCSD QC results.
DET | Analyte DETECTED
ND | Analyte NOT DETECTED at or above the reporting limit
NR | Not Reported
dry | Sample results reported on a dry weight basis
Recov. | Recovery
RPD | Relative Percent Difference
City of Bend Water Quality Laboratory
Page 25 of 25

## EXCEPTIONS
Report Exceptions List
(for internal use only)
Exception | Analysis or Specific Method | Lab Number | Analyte or General Method
J-Flags used | Anions by EPA 300.0 |  | (Water)
Result calculations based on MDL | Anions by EPA 300.0 |  | (Water)
No spike level | Anions by EPA 300.0 | 8031903-BS2 | Chloride
No spike level | Anions by EPA 300.0 | 8031903-BSD2 | Chloride
A-01a: CCV standard conc. below detection limit to be used for MDL study, not QC | Anions by EPA 300.0 | 8031903-CCV1 | Chloride
Exceeds upper control limit | Anions by EPA 300.0 | 8031903-CCV1 | Chloride
A-01a (A-01a) | Anions by EPA 300.0 | 8031903-CCV1 | Chloride
A-01a: CCV standard conc. below detection limit to be used for MDL study, not QC | Anions by EPA 300.0 | 8031903-CCV2 | Chloride
Exceeds upper control limit | Anions by EPA 300.0 | 8031903-CCV2 | Chloride
A-01a (A-01a) | Anions by EPA 300.0 | 8031903-CCV2 | Chloride
Exceeds upper control limit | Anions by EPA 300.0 | 8031903-PS3 | Chloride
QM-4X: The spike recovery was outside of QC acceptance limits for the MS and/or MSD due to analyte concentration at 4 times or greater the spike concentration. The QC batch was accepted based on LCS and/or LCSD recoveries within the acceptanc | Anions by EPA 300.0 | 8031903-PS3 | Chloride
QM-4X (QM-4X) | Anions by EPA 300.0 | 8031903-PS3 | Chloride
No spike level | Anions by EPA 300.0 | 8031903-BS2 | Fluoride
No spike level | Anions by EPA 300.0 | 8031903-BSD2 | Fluoride
A-01a: CCV standard conc. below detection limit to be used for MDL study, not QC | Anions by EPA 300.0 | 8031903-CCV1 | Fluoride
Exceeds upper control limit | Anions by EPA 300.0 | 8031903-CCV1 | Fluoride
A-01a (A-01a) | Anions by EPA 300.0 | 8031903-CCV1 | Fluoride
A-01a: CCV standard conc. below detection limit to be used for MDL study, not QC | Anions by EPA 300.0 | 8031903-CCV2 | Fluoride
Exceeds upper control limit | Anions by EPA 300.0 | 8031903-CCV2 | Fluoride
A-01a (A-01a) | Anions by EPA 300.0 | 8031903-CCV2 | Fluoride
Exceeds RPD control limit | Anions by EPA 300.0 | 8031903-DUP1 | Fluoride
QR-01: Analyses are not controlled on RPD values from sample concentrations less than 10 times the reporting limit. QC batch accepted based on LCS and/or LCSD QC results. | Anions by EPA 300.0 | 8031903-DUP1 | Fluoride
QR-01 (QR-01) | Anions by EPA 300.0 | 8031903-DUP1 | Fluoride
No spike level | Anions by EPA 300.0 | 8031903-BS2 | Nitrate as N
No spike level | Anions by EPA 300.0 | 8031903-BSD2 | Nitrate as N
J (J) | Anions by EPA 300.0 | 8031903-DUP1 | Nitrate as N
Exceeds RPD control limit | Anions by EPA 300.0 | 8031903-DUP2 | Nitrate as N
QR-01: Analyses are not controlled on RPD values from sample concentrations less than 10 times the reporting limit. QC batch accepted based on LCS and/or LCSD QC results. | Anions by EPA 300.0 | 8031903-DUP2 | Nitrate as N
J (J) | Anions by EPA 300.0 | 8031903-DUP2 | Nitrate as N
QR-01 (QR-01) | Anions by EPA 300.0 | 8031903-DUP2 | Nitrate as N
J (J) | Anions by EPA 300.0 | B8C1801-02 | Nitrate as N
J (J) | Anions by EPA 300.0 | B8C1801-06 | Nitrate as N
J (J) | Anions by EPA 300.0 | B8C1801-07 | Nitrate as N
J (J) | Anions by EPA 300.0 | B8C1801-08 | Nitrate as N
J (J) | Anions by EPA 300.0 | B8C1801-09 | Nitrate as N
J (J) | Anions by EPA 300.0 | B8C1801-10 | Nitrate as N
J (J) | Anions by EPA 300.0 | B8C1801-13 | Nitrate as N
No spike level | Anions by EPA 300.0 | 8031903-BS2 | Nitrite as N
No spike level | Anions by EPA 300.0 | 8031903-BSD2 | Nitrite as N
A-01a: CCV standard conc. below detection limit to be used for MDL study, not QC | Anions by EPA 300.0 | 8031903-CCV1 | Nitrite as N
Exceeds lower control limit | Anions by EPA 300.0 | 8031903-CCV1 | Nitrite as N
A-01a (A-01a) | Anions by EPA 300.0 | 8031903-CCV1 | Nitrite as N
Exceeds upper control limit | Anions by EPA 300.0 | 8031903-SRM8 | Nitrite as N
QR-01: Analyses are not controlled on RPD values from sample concentrations less than 10 times the reporting limit. QC batch accepted based on LCS and/or LCSD QC results. | Anions by EPA 300.0 | 8031903-SRM8 | Nitrite as N
QR-01 (QR-01) | Anions by EPA 300.0 | 8031903-SRM8 | Nitrite as N
No spike level | Anions by EPA 300.0 | 8031903-BS2 | Orthophosphate as P
No spike level | Anions by EPA 300.0 | 8031903-BSD2 | Orthophosphate as P
A-01a: CCV standard conc. below detection limit to be used for MDL study, not QC | Anions by EPA 300.0 | 8031903-CCV1 | Orthophosphate as P
A-01a (A-01a) | Anions by EPA 300.0 | 8031903-CCV1 | Orthophosphate as P
A-01a: CCV standard conc. below detection limit to be used for MDL study, not QC | Anions by EPA 300.0 | 8031903-CCV2 | Orthophosphate as P
Exceeds upper control limit | Anions by EPA 300.0 | 8031903-CCV2 | Orthophosphate as P
A-01a (A-01a) | Anions by EPA 300.0 | 8031903-CCV2 | Orthophosphate as P
Exceeds RPD control limit | Anions by EPA 300.0 | 8031903-DUP1 | Orthophosphate as P
QR-01: Analyses are not controlled on RPD values from sample concentrations less than 10 times the reporting limit. QC batch accepted based on LCS and/or LCSD QC results. | Anions by EPA 300.0 | 8031903-DUP1 | Orthophosphate as P
J (J) | Anions by EPA 300.0 | 8031903-DUP1 | Orthophosphate as P
QR-01 (QR-01) | Anions by EPA 300.0 | 8031903-DUP1 | Orthophosphate as P
J (J) | Anions by EPA 300.0 | 8031903-DUP2 | Orthophosphate as P
J (J) | Anions by EPA 300.0 | 8031903-DUP3 | Orthophosphate as P
Exceeds RPD control limit | Anions by EPA 300.0 | 8031903-DUP5 | Orthophosphate as P
QR-01: Analyses are not controlled on RPD values from sample concentrations less than 10 times the reporting limit. QC batch accepted based on LCS and/or LCSD QC results. | Anions by EPA 300.0 | 8031903-DUP5 | Orthophosphate as P
QR-01 (QR-01) | Anions by EPA 300.0 | 8031903-DUP5 | Orthophosphate as P
J (J) | Anions by EPA 300.0 | B8C1801-01 | Orthophosphate as P
J (J) | Anions by EPA 300.0 | B8C1801-02 | Orthophosphate as P
J (J) | Anions by EPA 300.0 | B8C1801-06 | Orthophosphate as P
J (J) | Anions by EPA 300.0 | B8C1801-08 | Orthophosphate as P
J (J) | Anions by EPA 300.0 | B8C1801-09 | Orthophosphate as P
J (J) | Anions by EPA 300.0 | B8C1801-10 | Orthophosphate as P
J (J) | Anions by EPA 300.0 | B8C1801-11 | Orthophosphate as P
J (J) | Anions by EPA 300.0 | B8C1801-12 | Orthophosphate as P
J (J) | Anions by EPA 300.0 | B8C1801-13 | Orthophosphate as P
J (J) | Anions by EPA 300.0 | B8C1801-14 | Orthophosphate as P
No spike level | Anions by EPA 300.0 | 8031903-BS2 | Sulfate as SO4
No spike level | Anions by EPA 300.0 | 8031903-BSD2 | Sulfate as SO4
A-01a: CCV standard conc. below detection limit to be used for MDL study, not QC | Anions by EPA 300.0 | 8031903-CCV1 | Sulfate as SO4
A-01a (A-01a) | Anions by EPA 300.0 | 8031903-CCV1 | Sulfate as SO4
A-01b: CCV standard conc. below detection limit to be used for MDL study, not QC purposes | Anions by EPA 300.0 | 8031903-CCV2 | Sulfate as SO4
Exceeds upper control limit | Anions by EPA 300.0 | 8031903-CCV2 | Sulfate as SO4
A-01b (A-01b) | Anions by EPA 300.0 | 8031903-CCV2 | Sulfate as SO4
Result calculations based on MDL | Coliform, Fecal as E.coli (QT2K) |  | (Water)
Result calculations based on MDL | Coliforms, Total (QT2K) |  | (Water)
J-Flags used | Nitrogen, Ammonia by EPA 300 |  | (Water)
Result calculations based on MDL | Nitrogen, Ammonia by EPA 300 |  | (Water)
Result calculations based on MDL | Nitrogen, TKN by EPA 351.2 |  | (Water)
RPD calculations based on %Recovery | Nitrogen, TKN by EPA 351.2 |  | (Water)
Exceeds upper control limit | Nitrogen, TKN by EPA 351.2 | 8040301-BS1 | Total Kjeldahl Nitrogen
QM-05: The spike recovery was outside acceptance limits for the MS and/or MSD due to matrix interference. The LCS and/or LCSD were within acceptance limits showing that the laboratory is in control and the data is acceptable. | Nitrogen, TKN by EPA 351.2 | 8040301-BS1 | Total Kjeldahl Nitrogen
QM-05 (QM-05) | Nitrogen, TKN by EPA 351.2 | 8040301-BS1 | Total Kjeldahl Nitrogen
No spike level | Nitrogen, TKN by EPA 351.2 | 8040301-BS3 | Total Kjeldahl Nitrogen
No spike level | Nitrogen, TKN by EPA 351.2 | 8040301-BS4 | Total Kjeldahl Nitrogen
No spike level | Nitrogen, TKN by EPA 351.2 | 8040301-BS5 | Total Kjeldahl Nitrogen
Exceeds lower control limit | Nitrogen, TKN by EPA 351.2 | 8040301-MS2 | Total Kjeldahl Nitrogen
QM-05: The spike recovery was outside acceptance limits for the MS and/or MSD due to matrix interference. The LCS and/or LCSD were within acceptance limits showing that the laboratory is in control and the data is acceptable. | Nitrogen, TKN by EPA 351.2 | 8040301-MS2 | Total Kjeldahl Nitrogen
QM-05 (QM-05) | Nitrogen, TKN by EPA 351.2 | 8040301-MS2 | Total Kjeldahl Nitrogen
Exceeds lower control limit | Nitrogen, TKN by EPA 351.2 | 8040301-MS3 | Total Kjeldahl Nitrogen
QM-05: The spike recovery was outside acceptance limits for the MS and/or MSD due to matrix interference. The LCS and/or LCSD were within acceptance limits showing that the laboratory is in control and the data is acceptable. | Nitrogen, TKN by EPA 351.2 | 8040301-MS3 | Total Kjeldahl Nitrogen
QM-05 (QM-05) | Nitrogen, TKN by EPA 351.2 | 8040301-MS3 | Total Kjeldahl Nitrogen
Result calculations based on MDL | Oxygen, Dissolved by EPA 360.1 |  | (Water)
Result calculations based on MDL | pH by EPA 150.1 |  | (Water)
A-01: 556 MPS pH probe malfunction, used Orion 710A #1 pH reading. | pH by EPA 150.1 | B8C1801-01 | pH
A-01 (A-01) | pH by EPA 150.1 | B8C1801-01 | pH
A-01: 556 MPS pH probe malfunction, used Orion 710A #1 pH reading. | pH by EPA 150.1 | B8C1801-02 | pH
A-01 (A-01) | pH by EPA 150.1 | B8C1801-02 | pH
A-01: 556 MPS pH probe malfunction, used Orion 710A #1 pH reading. | pH by EPA 150.1 | B8C1801-03 | pH
A-01 (A-01) | pH by EPA 150.1 | B8C1801-03 | pH
A-01: 556 MPS pH probe malfunction, used Orion 710A #1 pH reading. | pH by EPA 150.1 | B8C1801-06 | pH
A-01 (A-01) | pH by EPA 150.1 | B8C1801-06 | pH
A-01: 556 MPS pH probe malfunction, used Orion 710A #1 pH reading. | pH by EPA 150.1 | B8C1801-07 | pH
A-01 (A-01) | pH by EPA 150.1 | B8C1801-07 | pH
A-01: 556 MPS pH probe malfunction, used Orion 710A #1 pH reading. | pH by EPA 150.1 | B8C1801-08 | pH
A-01 (A-01) | pH by EPA 150.1 | B8C1801-08 | pH
A-01: 556 MPS pH probe malfunction, used Orion 710A #1 pH reading. | pH by EPA 150.1 | B8C1801-09 | pH
A-01 (A-01) | pH by EPA 150.1 | B8C1801-09 | pH
A-01: 556 MPS pH probe malfunction, used Orion 710A #1 pH reading. | pH by EPA 150.1 | B8C1801-10 | pH
A-01 (A-01) | pH by EPA 150.1 | B8C1801-10 | pH
A-01: 556 MPS pH probe malfunction, used Orion 710A #1 pH reading. | pH by EPA 150.1 | B8C1801-11 | pH
A-01 (A-01) | pH by EPA 150.1 | B8C1801-11 | pH
A-01: 556 MPS pH probe malfunction, used Orion 710A #1 pH reading. | pH by EPA 150.1 | B8C1801-12 | pH
A-01 (A-01) | pH by EPA 150.1 | B8C1801-12 | pH
A-01: 556 MPS pH probe malfunction, used Orion 710A #1 pH reading. | pH by EPA 150.1 | B8C1801-13 | pH
A-01 (A-01) | pH by EPA 150.1 | B8C1801-13 | pH
A-01: 556 MPS pH probe malfunction, used Orion 710A #1 pH reading. | pH by EPA 150.1 | B8C1801-14 | pH
A-01 (A-01) | pH by EPA 150.1 | B8C1801-14 | pH
Result calculations based on MDL | Phosphorous by EPA 365.3 |  | (Water)
RPD calculations based on %Recovery | Phosphorous by EPA 365.3 |  | (Water)
Result calculations based on MDL | Temperature by EPA 170.1 |  | (Water)
J-Flags used | Turbidity by EPA 180.1 |  | (Water)
Result calculations based on MDL | Turbidity by EPA 180.1 |  | (Water)
RPD calculations based on %Recovery | Turbidity by EPA 180.1 |  | (Water)
Default Report (not modified)
VERSION 5.85:2834