## month year sampled
|  | Source |  | state | state | state | state | state | state | state*
|  | Benficial use |  | aquatic | aquatic | aquatic | aquatic | aquatic | aquatic | aquatic
|  | Calculation |  | 7-day | acute | acute | acute | acute | acute | acute
|  | Criteria / guideline |  | 18C | 6.5 - 8.5 | 8.0 mg/L or 90% if temp/elev precludes | 110% | µS/cm | 500.0 mg/L | 6 NTU
Station ID | System | Description | date/time | temp | ph | DO | %Sat | Sp. Cond | calc TDS | Turb
WC 006.00 | Whychus Creek | Rd 6360 Crossing | 2008-06-25 14:47 | 13.68 | 6.04 | 10.33 | 99.5 | 31 | 20
WC 024.25 | Whychus Creek | City Park Gauge | 2008-06-25 16:42 | 12.1 | 6.3 | 10.45 | 97.1 | 23 | 20
WC 006.00 | Whychus Creek | Rd 6360 Crossing | 2008-06-26 14:15 | 12.57 | 6.47 | 10.73 | 101 | 30 | 20
WC 024.25 | Whychus Creek | City Park Gauge | 2008-06-26 16:15 | 11.92 | 6.02 | 10.58 | 98 | 23 | 20
WC 006.00 | Whychus Creek | Rd 6360 Crossing | 2008-06-30 12:30 | 10.73 | 6.54 | 11.26 | 102 | 25 | 20
WC 024.25 | Whychus Creek | City Park Gauge | 2008-06-30 11:23 | 7.78 | 5.11 | 12.41 | 104 | 20 | 10
DR 133.50 | Deschutes River | Lower Bridge | 2008-06-30 14:40 | 18.45 | 7.53 | 9.34 | 99.5 | 42 | 30
* fish: based on state summer background median NTU = 3, and activities = 20 / 30 days add 3 NTU. recreation: unsuitable is 3+ NTU Source: draft turbidity criteria DEQ

## master equipment audit
Organization | UDWC
Program Name | WQMP
Contact Name | Lesley Jones/Mike Logan
Number
Pre-sampling Field Equipment Check
Field equipment ID | YSI 556 MPS
Parameter | Audit reference | Audit value |  | Field equip. value |  | Grade
Date | Computer set to atomic time | 2008-06-25 |  | 2008-06-25 |  | A
Time | Computer set to atomic time | 12:04 |  | 12:04 |  | A
Temp (°C) | VWR NIST traceable surface water | 14.8 |  | 14.96 |  | A
DO (mg/L) | Winkler titration of surface water | 10.5 |  | 10.58 |  | A
SpC (uS/ml) | 148 µS/mL | 59 |  | 60 |  | A
ph (SU) | pH 7 standard solution | 7.78 |  | 6.75 |  | Fail
Turb (NTU) | Gelex secondary 0-5 NTU |  |  |  |  | A
Turb (NTU) | Gelex secondary 0-500 NTU |  |  |  |  | A
Turb (NTU) | Gelex secondary 0-1000 NTU |  |  |  |  | A
Post-sampling Field Equipment Check
Parameter | Audit reference | Audit value |  | Field equip. value |  | Grade
Date | Computer set to atomic time | 2008-06-30 |  | 2008-06-30 |  | A
Time | Computer set to atomic time | 14:40 |  | 14:40 |  | A
Temp (°C) | VWR NIST traceable surface water | 18.2 |  | 18.45 |  | A
DO (mg/L) | Winkler titration of surface water | 9.2 |  | 9.34 |  | A
SpC (uS/ml) | 148 µS/mL | 147 |  | 144 |  | A
ph (SU) | pH 7 standard solution | 7.02 |  | 7.23 |  | A
Turb (NTU) | Gelex secondary 0-5 NTU |  |  |  |  | A
Turb (NTU) | Gelex secondary 0-500 NTU |  |  |  |  | A
Turb (NTU) | Gelex secondary 0-1000 NTU |  |  |  |  | A
Comments: |  | Grade | Temp | DO | SpC | pH | Turb
|  |  | C | mg/L | µS/mL | SU | NTU
|  | A | <1.50 | <=0.3 | <=10% | <=0.30 | <=1.0
|  | B | 1.51 to 2.00 | 0.31 to 1.0 | 10.1% to 15% | 0.31 to 0.50 | 1.1 to 2.0
|  | Fail | >2.01 | >1.1 | >15.1% | >0.51 | >2.1

## Station ID 8
Organization | UDWC |  | Station ID |  | 0
Program Name | WQMP |  | System |  | 0
Contact Name | Lesley Jones/Mike Logan |  | Description |  | 0
Number | 0 |  | Latitude / Longitude
Pre-sampling Field Equipment Check
Field equipment ID | YSI 556 MPS
Parameter | Audit reference |  | Audit value |  | Field equip. value |  | Grade
Date | Computer set to atomic time |  | 2008-06-25 |  | 2008-06-25 |  | A
Time | Computer set to atomic time |  | 12:04 |  | 12:04 |  | A
Temp (°C) | VWR NIST traceable surface water |  | 14.8 |  | 14.96 |  | A
DO (mg/L) | Winkler titration of surface water |  | 10.5 |  | 10.58 |  | A
SpC (uS/ml) | 148 µS/mL |  | 59 |  | 60 |  | A
ph (SU) | pH 7 standard solution |  | 7.78 |  | 6.75 |  | Fail
Turb (NTU) | Gelex secondary 0-5 NTU |  | 0 |  | 0 |  | A
Turb (NTU) | Gelex secondary 0-500 NTU |  | 0 |  | 0 |  | A
Turb (NTU) | Gelex secondary 0-1000 NTU |  | 0 |  | 0 |  | A
Field Equipment Grab Sampling Results
| Date/time | Temp | pH | DO | %SAT | SpC | TDS | Turb
| 0 | 0 | 0 | 0 | 0 | 0 | 0
0
Post-sampling Field Equipment Check
Parameter | Audit reference |  | Audit value |  | Field equip. value |  | Grade
Date | Computer set to atomic time |  | 2008-06-30 |  | 2008-06-30 |  | A
Time | Computer set to atomic time |  | 14:40 |  | 14:40 |  | A
Temp (°C) | VWR NIST traceable surface water |  | 18.2 |  | 18.45 |  | A
DO (mg/L) | Winkler titration of surface water |  | 9.2 |  | 9.34 |  | A
SpC (uS/ml) | 148 µS/mL |  | 147 |  | 144 |  | A
ph (SU) | pH 7 standard solution |  | 7.02 |  | 7.23 |  | A
Turb (NTU) | Gelex secondary 0-5 NTU |  | 0 |  | 0 |  | A
Turb (NTU) | Gelex secondary 0-500 NTU |  | 0 |  | 0 |  | A
Turb (NTU) | Gelex secondary 0-1000 NTU |  | 0 |  | 0 |  | A
Comments: |  |  | Grade | Temp | DO | SpC | pH | Turb
|  |  |  | C | mg/L | µS/mL | SU | NTU
|  |  | A | <1.50 | <=0.3 | <=10% | <=0.30 | <=1.0
|  |  | B | 1.51 to 2.00 | 0.31 to 1.0 | 10.1% to 15% | 0.31 to 0.50 | 1.1 to 2.0
|  |  | Fail | >2.01 | >1.1 | >15.1% | >0.51 | >2.1

## Station ID 9
Organization | UDWC |  | Station ID |  | 0
Program Name | WQMP |  | System |  | 0
Contact Name | Lesley Jones/Mike Logan |  | Description |  | 0
Number | 0 |  | Latitude / Longitude
Pre-sampling Field Equipment Check
Field equipment ID | YSI 556 MPS
Parameter | Audit reference |  | Audit value |  | Field equip. value |  | Grade
Date | Computer set to atomic time |  | 2008-06-25 |  | 2008-06-25 |  | A
Time | Computer set to atomic time |  | 12:04 |  | 12:04 |  | A
Temp (°C) | VWR NIST traceable surface water |  | 14.8 |  | 14.96 |  | A
DO (mg/L) | Winkler titration of surface water |  | 10.5 |  | 10.58 |  | A
SpC (uS/ml) | 148 µS/mL |  | 59 |  | 60 |  | A
ph (SU) | pH 7 standard solution |  | 7.78 |  | 6.75 |  | Fail
Turb (NTU) | Gelex secondary 0-5 NTU |  | 0 |  | 0 |  | A
Turb (NTU) | Gelex secondary 0-500 NTU |  | 0 |  | 0 |  | A
Turb (NTU) | Gelex secondary 0-1000 NTU |  | 0 |  | 0 |  | A
Field Equipment Grab Sampling Results
| Date/time | Temp | pH | DO | %SAT | SpC | TDS | Turb
| 0 | 0 | 0 | 0 | 0 | 0 | 0
0
Post-sampling Field Equipment Check
Parameter | Audit reference |  | Audit value |  | Field equip. value |  | Grade
Date | Computer set to atomic time |  | 2008-06-30 |  | 2008-06-30 |  | A
Time | Computer set to atomic time |  | 14:40 |  | 14:40 |  | A
Temp (°C) | VWR NIST traceable surface water |  | 18.2 |  | 18.45 |  | A
DO (mg/L) | Winkler titration of surface water |  | 9.2 |  | 9.34 |  | A
SpC (uS/ml) | 148 µS/mL |  | 147 |  | 144 |  | A
ph (SU) | pH 7 standard solution |  | 7.02 |  | 7.23 |  | A
Turb (NTU) | Gelex secondary 0-5 NTU |  | 0 |  | 0 |  | A
Turb (NTU) | Gelex secondary 0-500 NTU |  | 0 |  | 0 |  | A
Turb (NTU) | Gelex secondary 0-1000 NTU |  | 0 |  | 0 |  | A
Comments: |  |  | Grade | Temp | DO | SpC | pH | Turb
|  |  |  | C | mg/L | µS/mL | SU | NTU
|  |  | A | <1.50 | <=0.3 | <=10% | <=0.30 | <=1.0
|  |  | B | 1.51 to 2.00 | 0.31 to 1.0 | 10.1% to 15% | 0.31 to 0.50 | 1.1 to 2.0
|  |  | Fail | >2.01 | >1.1 | >15.1% | >0.51 | >2.1