## LETTER
December 11, 2008
Steve Prazak
City of Bend Water Quality Monitoring Program
575 NE 15th St.
Bend, OR 97701
RE: Deschutes River Ambient Water Quality Monitoring
Dear Steve Prazak
Enclosed are the results of analyses for sample(s) received by the laboratory on October 22, 2008. If you have any questions concerning this report, please feel free to contact me.
Sincerely,
Drexel Barnes
Analyst

## SUMMARY
City of Bend Water Quality Monitoring Program |  | Project: | Deschutes River Ambient Water Quality Monitoring |  | Sampled: | 9/30/08 to 10/22/08
575 NE 15th St. |  | Project Number: | [none] |  | Received: | 10/22/08
Bend, OR 97701 |  | Project Manager: | Steve Prazak |  | Reported: | 12/11/08 15:02
ANALYTICAL REPORT FOR SAMPLES:
Sample Description | Laboratory Sample Number |  |  | Sample Matrix |  |  | Date Sampled
DR 160.00 DOWNSTREAM BOULDER FIELD | B8J2103-01 |  |  | Water |  |  | 10/22/08
DR 160.25 UPSTREAM TUMALO CREEK | B8J2103-02 |  |  | Water |  |  | 10/22/08
TC 000.25 MOUTH OF TUMALO CREEK | B8J2103-03 |  |  | Water |  |  | 10/22/08
TC 007.50 DOWNSTREAM 4606 ROAD | B8J2103-04 |  |  | Water |  |  | 10/21/08
TC 007.50 DOWNSTREAM ROAD 4606 DUPL. | B8J2103-05 |  |  | Water |  |  | 10/21/08
DR 163.25 FIREROCK FOOTBRIDGE | B8J2103-06 |  |  | Water |  |  | 10/21/08
DR 164.75 UPSTREAM RIVERHOUSE MOTEL | B8J2103-07 |  |  | Water |  |  | 10/21/08
DR 165.75 FIRST STREET RAPIDS | B8J2103-08 |  |  | Water |  |  | 10/21/08
DR 166.75 DRAKE PARK FOOTBRIDGE | B8J2103-09 |  |  | Water |  |  | 10/21/08
DR 166.75 DRAKE PARK FOOTBRIDGE DUPL. | B8J2103-10 |  |  | Water |  |  | 10/21/08
DR 167.25 COLUMBIA PARK FOOTBRIDGE | B8J2103-11 |  |  | Water |  |  | 10/21/08
DR 168.00 COLUMBIA ST. BRIDGE | B8J2103-12 |  |  | Water |  |  | 10/21/08
DR 169.00 UPSTREAM END MILL LOG POND | B8J2103-13 |  |  | Water |  |  | 10/21/08
DR 172.00 SOUTHERN UGB | B8J2103-14 |  |  | Water |  |  | 10/22/08
FB FIELD BLANK | B8J2103-15 |  |  | Water |  |  | 10/21/08
DR 172.00 SOUTHERN UGB | B8J2103-16 |  |  | Water |  |  | 9/30/08
DR 164.75 UPSTREAM RIVERHOUSE MOTEL | B8J2103-17 |  |  | Water |  |  | 10/8/08
TC 003.25 d/s TUMALO FEED CANAL | B8J2103-18 |  |  | Water |  |  | 10/8/08
DR 165.75 FIRST STREET RAPIDS | B8J2103-19 |  |  | Water |  |  | 10/8/08
TC 014.50 d/s SKYLINER BRIDGE | B8J2103-20 |  |  | Water |  |  | 10/13/08
City of Bend Water Quality Laboratory | [7 empty] | The results in this report apply to the samples
analyzed in accordance with the chain of custody document.
This analytical report must be reproduced in its entirety.
Drexel Barnes, Analyst | [7 empty] | Page 1 of 23
ANALYTICAL REPORT FOR SAMPLES:
Sample Description | Laboratory Sample Number |  |  | Sample Matrix |  |  | Date Sampled
TC 017.25 d/s BRIDGE CREEK | B8J2103-21 |  |  | Water |  |  | 10/13/08
City of Bend Water Quality Laboratory | [7 empty] | The results in this report apply to the samples
analyzed in accordance with the chain of custody document.
This analytical report must be reproduced in its entirety.
Drexel Barnes, Analyst | [7 empty] | Page 2 of 23

## SAMPLES
City of Bend Water Quality Monitoring Program |  |  | Project: | Deschutes River Ambient Water Quality Monitoring |  |  |  | Sampled: | 9/30/08 to 10/22/08
575 NE 15th St. |  |  | Project Number: | [none] |  |  |  | Received: | 10/22/08
Bend, OR 97701 |  |  | Project Manager: | Steve Prazak |  |  |  | Reported: | 12/11/08 15:02
Wet Chemistry
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 160.00 DOWNSTREAM BOULDER FIELD |  |  |  |  | B8J2103-01 |  |  |  | Water
Turbidity | 8110603 | 10/22/08 |  | 10/22/08 | EPA 180.1 | 0.40 | 1.1 |  | NTU
DR 160.25 UPSTREAM TUMALO CREEK |  |  |  |  | B8J2103-02 |  |  |  | Water
Turbidity | 8110603 | 10/22/08 |  | 10/22/08 | EPA 180.1 | 0.40 | 1.6 |  | NTU
TC 000.25 MOUTH OF TUMALO CREEK |  |  |  |  | B8J2103-03 |  |  |  | Water
Turbidity | 8110603 | 10/22/08 |  | 10/22/08 | EPA 180.1 | 0.40 | 0.50 |  | NTU
TC 007.50 DOWNSTREAM 4606 ROAD |  |  |  |  | B8J2103-04 |  |  |  | Water
Turbidity | 8110603 | 10/21/08 |  | 10/21/08 | EPA 180.1 | 0.40 | 0.36 |  | NTU | J
TC 007.50 DOWNSTREAM ROAD 4606 DUPL. |  |  |  |  | B8J2103-05 |  |  |  | Water
Turbidity | 8110603 | 10/21/08 |  | 10/21/08 | EPA 180.1 | 0.40 | 0.48 |  | NTU
DR 163.25 FIREROCK FOOTBRIDGE |  |  |  |  | B8J2103-06 |  |  |  | Water
Turbidity | 8110603 | 10/21/08 |  | 10/21/08 | EPA 180.1 | 0.40 | 1.8 |  | NTU
DR 164.75 UPSTREAM RIVERHOUSE MOTEL |  |  |  |  | B8J2103-07 |  |  |  | Water
Turbidity | 8110603 | 10/21/08 |  | 10/21/08 | EPA 180.1 | 0.40 | 1.9 |  | NTU
DR 165.75 FIRST STREET RAPIDS |  |  |  |  | B8J2103-08 |  |  |  | Water
Turbidity | 8110603 | 10/21/08 |  | 10/21/08 | EPA 180.1 | 0.40 | 1.6 |  | NTU
DR 166.75 DRAKE PARK FOOTBRIDGE |  |  |  |  | B8J2103-09 |  |  |  | Water
Turbidity | 8110603 | 10/21/08 |  | 10/21/08 | EPA 180.1 | 0.40 | 1.3 |  | NTU
DR 166.75 DRAKE PARK FOOTBRIDGE DUPL. |  |  |  |  | B8J2103-10 |  |  |  | Water
Turbidity | 8110603 | 10/21/08 |  | 10/21/08 | EPA 180.1 | 0.40 | 1.1 |  | NTU
DR 167.25 COLUMBIA PARK FOOTBRIDGE |  |  |  |  | B8J2103-11 |  |  |  | Water
Turbidity | 8110603 | 10/21/08 |  | 10/21/08 | EPA 180.1 | 0.40 | 1.2 |  | NTU
DR 168.00 COLUMBIA ST. BRIDGE |  |  |  |  | B8J2103-12 |  |  |  | Water
Turbidity | 8110603 | 10/21/08 |  | 10/21/08 | EPA 180.1 | 0.40 | 1.5 |  | NTU
DR 169.00 UPSTREAM END MILL LOG POND |  |  |  |  | B8J2103-13 |  |  |  | Water
Turbidity | 8110603 | 10/21/08 |  | 10/21/08 | EPA 180.1 | 0.40 | 1.6 |  | NTU
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 3 of 23
Wet Chemistry
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 172.00 SOUTHERN UGB |  |  |  |  | B8J2103-14 |  |  |  | Water
Turbidity | 8110603 | 10/22/08 |  | 10/22/08 | EPA 180.1 | 0.40 | 1.4 |  | NTU
DR 172.00 SOUTHERN UGB |  |  |  |  | B8J2103-16 |  |  |  | Water
Turbidity | 8110603 | 9/30/08 |  | 9/30/08 | EPA 180.1 | 0.40 | 1.4 |  | NTU
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 4 of 23
Microbiological Parameters by APHA Standard Methods
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 160.00 DOWNSTREAM BOULDER FIELD |  |  |  |  | B8J2103-01 |  |  |  | Water
Coliform, total | 8120326 | 10/22/08 |  | 10/23/08 | SM 9223B | 1.00 | 387 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 7.40 |  | "
DR 160.25 UPSTREAM TUMALO CREEK |  |  |  |  | B8J2103-02 |  |  |  | Water
Coliform, total | 8120326 | 10/22/08 |  | 10/23/08 | SM 9223B | 1.00 | 770 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 17.3 |  | "
TC 000.25 MOUTH OF TUMALO CREEK |  |  |  |  | B8J2103-03 |  |  |  | Water
Coliform, total | 8120326 | 10/22/08 |  | 10/23/08 | SM 9223B | 1.00 | 46.4 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 1.00 |  | "
TC 007.50 DOWNSTREAM 4606 ROAD |  |  |  |  | B8J2103-04 |  |  |  | Water
Coliform, total | 8120325 | 10/21/08 |  | 10/22/08 | SM 9223B | 1.00 | 45.5 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | ND |  | "
TC 007.50 DOWNSTREAM ROAD 4606 DUPL. |  |  |  |  | B8J2103-05 |  |  |  | Water
Coliform, total | 8120325 | 10/21/08 |  | 10/22/08 | SM 9223B | 1.00 | 85.7 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | ND |  | "
DR 163.25 FIREROCK FOOTBRIDGE |  |  |  |  | B8J2103-06 |  |  |  | Water
Coliform, total | 8120325 | 10/21/08 |  | 10/22/08 | SM 9223B | 1.00 | 488 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 16.0 |  | "
DR 164.75 UPSTREAM RIVERHOUSE MOTEL |  |  |  |  | B8J2103-07 |  |  |  | Water
Coliform, total | 8120325 | 10/21/08 |  | 10/22/08 | SM 9223B | 1.00 | 411 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 3.10 |  | "
DR 165.75 FIRST STREET RAPIDS |  |  |  |  | B8J2103-08 |  |  |  | Water
Coliform, total | 8120325 | 10/21/08 |  | 10/22/08 | SM 9223B | 1.00 | 133 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 6.30 |  | "
DR 166.75 DRAKE PARK FOOTBRIDGE |  |  |  |  | B8J2103-09 |  |  |  | Water
Coliform, total | 8120325 | 10/21/08 |  | 10/22/08 | SM 9223B | 1.00 | 190 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 6.30 |  | "
DR 166.75 DRAKE PARK FOOTBRIDGE DUPL. |  |  |  |  | B8J2103-10 |  |  |  | Water
Coliform, total | 8120325 | 10/21/08 |  | 10/22/08 | SM 9223B | 1.00 | 206 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 9.60 |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 5 of 23
Microbiological Parameters by APHA Standard Methods
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 167.25 COLUMBIA PARK FOOTBRIDGE |  |  |  |  | B8J2103-11 |  |  |  | Water
Coliform, total | 8120325 | 10/21/08 |  | 10/22/08 | SM 9223B | 1.00 | 178 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 13.4 |  | "
DR 168.00 COLUMBIA ST. BRIDGE |  |  |  |  | B8J2103-12 |  |  |  | Water
Coliform, total | 8120325 | 10/21/08 |  | 10/22/08 | SM 9223B | 1.00 | 117 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 12.1 |  | "
DR 169.00 UPSTREAM END MILL LOG POND |  |  |  |  | B8J2103-13 |  |  |  | Water
Coliform, total | 8120325 | 10/21/08 |  | 10/22/08 | SM 9223B | 1.00 | 146 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 2.00 |  | "
DR 172.00 SOUTHERN UGB |  |  |  |  | B8J2103-14 |  |  |  | Water
Coliform, total | 8120326 | 10/22/08 |  | 10/23/08 | SM 9223B | 1.00 | 93.2 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | ND |  | "
FB FIELD BLANK |  |  |  |  | B8J2103-15 |  |  |  | Water
Coliform, total | 8120325 | 10/21/08 |  | 10/22/08 | SM 9223B | 1.00 | ND |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | ND |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 6 of 23
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 160.00 DOWNSTREAM BOULDER FIELD |  |  |  |  | B8J2103-01 |  |  |  | Water
Specific Conductance (EC) | 8110603 | 10/22/08 |  | 10/22/08 | EPA 120.1 | 0.500 | 67.1 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.92 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 5.91 |  | °C
Ammonia as N | 8102903 | " |  | 10/30/08 | EPA 300 | 0.0260 | ND |  | mg/L
Fluoride | 8102703 | " |  | 10/22/08 | EPA 300.0 | 0.0160 | 0.208 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.0950 | 1.15 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0200 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.126 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.108 | 0.911 |  | "
Dissolved Oxygen | 8110603 | " |  | " | EPA 360.1 | 1.00 | 11.7 |  | "
Phosphorus-Total | 8110601 | 11/6/08 |  | 11/7/08 | EPA 365.3 | 0.0200 | 0.0690 |  | "
DR 160.25 UPSTREAM TUMALO CREEK |  |  |  |  | B8J2103-02 |  |  |  | Water
Specific Conductance (EC) | 8110603 | 10/22/08 |  | 10/22/08 | EPA 120.1 | 0.500 | 71.6 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.93 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 6.53 |  | °C
Ammonia as N | 8102903 | " |  | 10/30/08 | EPA 300 | 0.0260 | ND |  | mg/L
Fluoride | 8102703 | " |  | 10/22/08 | EPA 300.0 | 0.0160 | 0.203 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.0950 | 1.27 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0200 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.126 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.108 | 0.817 |  | "
Dissolved Oxygen | 8110603 | " |  | " | EPA 360.1 | 1.00 | 11.5 |  | "
Phosphorus-Total | 8110601 | 11/6/08 |  | 11/7/08 | EPA 365.3 | 0.0200 | 0.0750 |  | "
TC 000.25 MOUTH OF TUMALO CREEK |  |  |  |  | B8J2103-03 |  |  |  | Water
Specific Conductance (EC) | 8110603 | 10/22/08 |  | 10/22/08 | EPA 120.1 | 0.500 | 40.5 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.74 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 2.03 |  | °C
Ammonia as N | 8102903 | " |  | 10/30/08 | EPA 300 | 0.0260 | ND |  | mg/L
Fluoride | 8102703 | " |  | 10/22/08 | EPA 300.0 | 0.0160 | 0.189 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.0950 | 0.424 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0200 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.126 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.108 | 0.552 |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 7 of 23
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
TC 000.25 MOUTH OF TUMALO CREEK (continued) |  |  |  |  | B8J2103-03 |  |  |  | Water
Dissolved Oxygen | 8110603 | 10/22/08 |  | 10/22/08 | EPA 360.1 | 1.00 | 13.0 |  | mg/L
Phosphorus-Total | 8110601 | 11/6/08 |  | 11/7/08 | EPA 365.3 | 0.0200 | 0.0440 |  | "
TC 007.50 DOWNSTREAM 4606 ROAD |  |  |  |  | B8J2103-04 |  |  |  | Water
Specific Conductance (EC) | 8110603 | 10/21/08 |  | 10/21/08 | EPA 120.1 | 0.500 | 40.7 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.74 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 2.89 |  | °C
Ammonia as N | 8102903 | " |  | 10/30/08 | EPA 300 | 0.0260 | ND |  | mg/L
Fluoride | 8102703 | " |  | 10/22/08 | EPA 300.0 | 0.0160 | 0.184 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.0950 | 0.426 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0200 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.126 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.108 | 0.649 |  | "
Dissolved Oxygen | 8110603 | " |  | 10/21/08 | EPA 360.1 | 1.00 | 12.3 |  | "
Phosphorus-Total | 8110601 | 11/6/08 |  | 11/7/08 | EPA 365.3 | 0.0200 | 0.0440 |  | "
TC 007.50 DOWNSTREAM ROAD 4606 DUPL. |  |  |  |  | B8J2103-05 |  |  |  | Water
Specific Conductance (EC) | 8110603 | 10/21/08 |  | 10/21/08 | EPA 120.1 | 0.500 | 40.8 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.75 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 2.89 |  | °C
Ammonia as N | 8102903 | " |  | 10/30/08 | EPA 300 | 0.0260 | ND |  | mg/L
Fluoride | 8102703 | " |  | 10/22/08 | EPA 300.0 | 0.0160 | 0.171 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.0950 | 0.582 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0200 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.126 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.108 | 0.581 |  | "
Dissolved Oxygen | 8110603 | " |  | 10/21/08 | EPA 360.1 | 1.00 | 12.3 |  | "
Phosphorus-Total | 8110601 | 11/6/08 |  | 11/7/08 | EPA 365.3 | 0.0200 | 0.0430 |  | "
DR 163.25 FIREROCK FOOTBRIDGE |  |  |  |  | B8J2103-06 |  |  |  | Water
Specific Conductance (EC) | 8110603 | 10/21/08 |  | 10/21/08 | EPA 120.1 | 0.500 | 71.4 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.89 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 7.54 |  | °C
Ammonia as N | 8102903 | " |  | 10/30/08 | EPA 300 | 0.0260 | ND |  | mg/L
Fluoride | 8102703 | " |  | 10/22/08 | EPA 300.0 | 0.0160 | 0.206 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.0950 | 1.27 |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 8 of 23
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 163.25 FIREROCK FOOTBRIDGE (continued) |  |  |  |  | B8J2103-06 |  |  |  | Water
Nitrite as N | 8102703 | 10/21/08 |  | 10/22/08 | EPA 300.0 | 0.0200 | ND |  | mg/L
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.126 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.108 | 0.779 |  | "
Dissolved Oxygen | 8110603 | " |  | 10/21/08 | EPA 360.1 | 1.00 | 11.4 |  | "
Phosphorus-Total | 8110601 | 11/6/08 |  | 11/7/08 | EPA 365.3 | 0.0200 | 0.0770 |  | "
DR 164.75 UPSTREAM RIVERHOUSE MOTEL |  |  |  |  | B8J2103-07 |  |  |  | Water
Specific Conductance (EC) | 8110603 | 10/21/08 |  | 10/21/08 | EPA 120.1 | 0.500 | 71.2 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 8.00 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 7.27 |  | °C
Ammonia as N | 8102903 | " |  | 10/30/08 | EPA 300 | 0.0260 | ND |  | mg/L
Fluoride | 8102703 | " |  | 10/22/08 | EPA 300.0 | 0.0160 | 0.206 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.0950 | 1.26 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0200 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.126 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.108 | 0.801 |  | "
Dissolved Oxygen | 8110603 | " |  | 10/21/08 | EPA 360.1 | 1.00 | 11.1 |  | "
Phosphorus-Total | 8110601 | 11/6/08 |  | 11/7/08 | EPA 365.3 | 0.0200 | 0.0770 |  | "
DR 165.75 FIRST STREET RAPIDS |  |  |  |  | B8J2103-08 |  |  |  | Water
Specific Conductance (EC) | 8110603 | 10/21/08 |  | 10/21/08 | EPA 120.1 | 0.500 | 71.2 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.96 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 7.29 |  | °C
Ammonia as N | 8102903 | " |  | 10/30/08 | EPA 300 | 0.0260 | ND |  | mg/L
Fluoride | 8102703 | " |  | 10/22/08 | EPA 300.0 | 0.0160 | 0.209 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.0950 | 1.26 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0200 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.126 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.108 | 0.818 |  | "
Dissolved Oxygen | 8110603 | " |  | 10/21/08 | EPA 360.1 | 1.00 | 11.3 |  | "
Phosphorus-Total | 8110601 | 11/6/08 |  | 11/7/08 | EPA 365.3 | 0.0200 | 0.0760 |  | "
DR 166.75 DRAKE PARK FOOTBRIDGE |  |  |  |  | B8J2103-09 |  |  |  | Water
Specific Conductance (EC) | 8110603 | 10/21/08 |  | 10/21/08 | EPA 120.1 | 0.500 | 71.1 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.89 |  | pH Units
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 9 of 23
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 166.75 DRAKE PARK FOOTBRIDGE (continued) |  |  |  |  | B8J2103-09 |  |  |  | Water
Temperature | 8110603 | 10/21/08 |  | 10/21/08 | EPA 170.1 | 0.0500 | 6.97 |  | °C
Ammonia as N | 8102903 | " |  | 10/30/08 | EPA 300 | 0.0260 | ND |  | mg/L
Fluoride | 8102703 | " |  | 10/22/08 | EPA 300.0 | 0.0160 | 0.205 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.0950 | 1.24 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0200 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.126 | 0.0450 |  | " | J
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.108 | 0.815 |  | "
Dissolved Oxygen | 8110603 | " |  | 10/21/08 | EPA 360.1 | 1.00 | 11.2 |  | "
Phosphorus-Total | 8110601 | 11/6/08 |  | 11/7/08 | EPA 365.3 | 0.0200 | 0.0750 |  | "
DR 166.75 DRAKE PARK FOOTBRIDGE DUPL. |  |  |  |  | B8J2103-10 |  |  |  | Water
Specific Conductance (EC) | 8110603 | 10/21/08 |  | 10/21/08 | EPA 120.1 | 0.500 | 71.0 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.83 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 6.98 |  | °C
Ammonia as N | 8102903 | " |  | 10/30/08 | EPA 300 | 0.0260 | ND |  | mg/L
Fluoride | 8102703 | " |  | 10/22/08 | EPA 300.0 | 0.0160 | 0.218 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.0950 | 1.27 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0200 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.126 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.108 | 0.792 |  | "
Dissolved Oxygen | 8110603 | " |  | 10/21/08 | EPA 360.1 | 1.00 | 11.1 |  | "
Phosphorus-Total | 8110601 | 11/6/08 |  | 11/7/08 | EPA 365.3 | 0.0200 | 0.0770 |  | "
DR 167.25 COLUMBIA PARK FOOTBRIDGE |  |  |  |  | B8J2103-11 |  |  |  | Water
Specific Conductance (EC) | 8110603 | 10/21/08 |  | 10/21/08 | EPA 120.1 | 0.500 | 71.1 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.87 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 6.97 |  | °C
Ammonia as N | 8102903 | " |  | 10/30/08 | EPA 300 | 0.0260 | ND |  | mg/L
Fluoride | 8102703 | " |  | 10/22/08 | EPA 300.0 | 0.0160 | 0.199 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.0950 | 1.26 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0200 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.126 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.108 | 0.789 |  | "
Dissolved Oxygen | 8110603 | " |  | 10/21/08 | EPA 360.1 | 1.00 | 11.2 |  | "
Phosphorus-Total | 8110601 | 11/6/08 |  | 11/7/08 | EPA 365.3 | 0.0200 | 0.0800 |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 10 of 23
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 168.00 COLUMBIA ST. BRIDGE |  |  |  |  | B8J2103-12 |  |  |  | Water
Specific Conductance (EC) | 8110603 | 10/21/08 |  | 10/21/08 | EPA 120.1 | 0.500 | 71.0 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.84 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 7.01 |  | °C
Ammonia as N | 8102903 | " |  | 10/30/08 | EPA 300 | 0.0260 | ND |  | mg/L
Fluoride | 8102703 | " |  | 10/22/08 | EPA 300.0 | 0.0160 | 0.315 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.0950 | 1.51 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0200 | 0.0360 |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.126 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.108 | 0.784 |  | "
Dissolved Oxygen | 8110603 | " |  | 10/21/08 | EPA 360.1 | 1.00 | 11.0 |  | "
Phosphorus-Total | 8110601 | 11/6/08 |  | 11/7/08 | EPA 365.3 | 0.0200 | 0.0760 |  | "
DR 169.00 UPSTREAM END MILL LOG POND |  |  |  |  | B8J2103-13 |  |  |  | Water
Specific Conductance (EC) | 8110603 | 10/21/08 |  | 10/21/08 | EPA 120.1 | 0.500 | 70.9 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 8.05 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 6.96 |  | °C
Ammonia as N | 8102903 | " |  | 10/30/08 | EPA 300 | 0.0260 | ND |  | mg/L
Fluoride | 8102703 | " |  | 10/22/08 | EPA 300.0 | 0.0160 | 0.189 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.0950 | 1.27 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0200 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.126 | 0.0440 |  | " | J
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.108 | 0.875 |  | "
Dissolved Oxygen | 8110603 | " |  | 10/21/08 | EPA 360.1 | 1.00 | 10.7 |  | "
Phosphorus-Total | 8110601 | 11/6/08 |  | 11/7/08 | EPA 365.3 | 0.0200 | 0.0760 |  | "
DR 172.00 SOUTHERN UGB |  |  |  |  | B8J2103-14 |  |  |  | Water
Specific Conductance (EC) | 8110603 | 10/22/08 |  | 10/22/08 | EPA 120.1 | 0.500 | 70.5 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 8.21 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 7.40 |  | °C
Ammonia as N | 8102903 | " |  | 10/30/08 | EPA 300 | 0.0260 | ND |  | mg/L
Fluoride | 8102703 | " |  | 10/22/08 | EPA 300.0 | 0.0160 | 0.225 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.0950 | 1.30 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0200 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.126 | 0.0490 |  | " | J
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.108 | 0.829 |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 11 of 23
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 172.00 SOUTHERN UGB (continued) |  |  |  |  | B8J2103-14 |  |  |  | Water
Dissolved Oxygen | 8110603 | 10/22/08 |  | 10/22/08 | EPA 360.1 | 1.00 | 11.6 |  | mg/L
Phosphorus-Total | 8110601 | 11/6/08 |  | 11/7/08 | EPA 365.3 | 0.0200 | 0.0790 |  | "
FB FIELD BLANK |  |  |  |  | B8J2103-15 |  |  |  | Water
Ammonia as N | 8102903 | 10/21/08 |  | 10/30/08 | EPA 300 | 0.0260 | ND |  | mg/L
Fluoride | 8102703 | " |  | 10/22/08 | EPA 300.0 | 0.0160 | ND |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.0950 | ND |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0200 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.126 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.108 | ND |  | "
Phosphorus-Total | 8110601 | 11/6/08 |  | 11/7/08 | EPA 365.3 | 0.0200 | 0.00600 |  | "
DR 172.00 SOUTHERN UGB |  |  |  |  | B8J2103-16 |  |  |  | Water
Specific Conductance (EC) | 8110603 | 9/30/08 |  | 9/30/08 | EPA 120.1 | 0.500 | 60.9 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.90 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 11.5 |  | °C
Dissolved Oxygen | " | " |  | " | EPA 360.1 | 1.00 | 9.79 |  | mg/L
DR 164.75 UPSTREAM RIVERHOUSE MOTEL |  |  |  |  | B8J2103-17 |  |  |  | Water
Specific Conductance (EC) | 8110603 | 10/8/08 |  | 10/8/08 | EPA 120.1 | 0.500 | 62.9 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.91 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 9.34 |  | °C
Dissolved Oxygen | " | " |  | " | EPA 360.1 | 1.00 | 10.0 |  | mg/L
TC 003.25 d/s TUMALO FEED CANAL |  |  |  |  | B8J2103-18 |  |  |  | Water
Specific Conductance (EC) | 8110603 | 10/8/08 |  | 10/8/08 | EPA 120.1 | 0.500 | 39.9 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.66 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 4.05 |  | °C
Dissolved Oxygen | " | " |  | " | EPA 360.1 | 1.00 | 11.5 |  | mg/L
DR 165.75 FIRST STREET RAPIDS |  |  |  |  | B8J2103-19 |  |  |  | Water
Specific Conductance (EC) | 8110603 | 10/8/08 |  | 10/8/08 | EPA 120.1 | 0.500 | 62.2 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 8.25 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 10.1 |  | °C
Dissolved Oxygen | " | " |  | " | EPA 360.1 | 1.00 | 10.1 |  | mg/L
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 12 of 23
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
TC 014.50 d/s SKYLINER BRIDGE |  |  |  |  | B8J2103-20 |  |  |  | Water
Specific Conductance (EC) | 8110603 | 10/13/08 |  | 10/13/08 | EPA 120.1 | 0.500 | 40.5 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.67 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 2.84 |  | °C
Dissolved Oxygen | " | " |  | " | EPA 360.1 | 1.00 | 10.1 |  | mg/L
TC 017.25 d/s BRIDGE CREEK |  |  |  |  | B8J2103-21 |  |  |  | Water
Specific Conductance (EC) | 8110603 | 10/13/08 |  | 10/13/08 | EPA 120.1 | 0.500 | 36.9 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.91 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 3.03 |  | °C
Dissolved Oxygen | " | " |  | " | EPA 360.1 | 1.00 | 11.3 |  | mg/L
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 13 of 23

## QC
City of Bend Water Quality Monitoring Program |  |  | Project: | Deschutes River Ambient Water Quality Monitoring |  |  |  |  | Sampled: | 9/30/08 to 10/22/08
575 NE 15th St. |  |  | Project Number: | [none] |  |  |  |  | Received: | 10/22/08
Bend, OR 97701 |  |  | Project Manager: | Steve Prazak |  |  |  |  | Reported: | 12/11/08 15:02
Wet Chemistry/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Batch: 8110603 | Date Prepared: 9/24/08 | [5 empty] | Extraction Method: NO PREP
Reference | 8110603-SRM1
Turbidity | 9/24/08 | 5.85 |  |  |  | 5.87 | NTU | 80-120 | 100
Reference | 8110603-SRM2
Turbidity | 9/24/08 | 51.8 |  |  |  | 51.8 | NTU | 80-120 | 100
Reference | 8110603-SRM3
Turbidity | 9/24/08 | 503 |  |  |  | 503 | NTU | 80-120 | 100
Reference | 8110603-SRM9
Turbidity | 10/1/08 | 5.85 |  |  |  | 5.79 | NTU | 80-120 | 99.0
Reference | 8110603-SRMA
Turbidity | 10/1/08 | 51.8 |  |  |  | 51.1 | NTU | 80-120 | 98.6
Reference | 8110603-SRMB
Turbidity | 10/1/08 | 503 |  |  |  | 499 | NTU | 80-120 | 99.2
Reference | 8110603-SRMH
Turbidity | 10/20/08 | 5.85 |  |  |  | 5.71 | NTU | 80-120 | 97.6
Reference | 8110603-SRMI
Turbidity | 10/20/08 | 51.8 |  |  |  | 49.1 | NTU | 80-120 | 94.8
Reference | 8110603-SRMJ
Turbidity | 10/20/08 | 503 |  |  |  | 507 | NTU | 80-120 | 101
Reference | 8110603-SRMP
Turbidity | 10/28/08 | 5.85 |  |  |  | 5.92 | NTU | 80-120 | 101
Reference | 8110603-SRMQ
Turbidity | 10/28/08 | 51.8 |  |  |  | 52.8 | NTU | 80-120 | 102
Reference | 8110603-SRMR
Turbidity | 10/28/08 | 503 |  |  |  | 504 | NTU | 80-120 | 100
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 14 of 23
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Batch: 8102703 | Date Prepared: 10/22/08 | [5 empty] | Extraction Method: NO PREP
Blank | 8102703-BLK1
Fluoride | 10/22/08 |  |  |  |  | ND | mg/L | 0.0160
Chloride | " |  |  |  |  | 0.0530 | " | 0.0950 |  |  |  |  | J
Nitrite as N | " |  |  |  |  | 0.0160 | " | 0.0200 |  |  |  |  | J
Nitrate as N | " |  |  |  |  | 0.0590 | " | 0.0320 |  |  |  |  | A-01
Orthophosphate as P | " |  |  |  |  | ND | " | 0.126
Sulfate as SO4 | " |  |  |  |  | 0.0820 | " | 0.108 |  |  |  |  | J
Blank | 8102703-BLK2
Fluoride | 10/22/08 |  |  |  |  | ND | mg/L | 0.0160
Chloride | " |  |  |  |  | ND | " | 0.0950
Nitrite as N | " |  |  |  |  | ND | " | 0.0200
Nitrate as N | " |  |  |  |  | ND | " | 0.0320
Orthophosphate as P | " |  |  |  |  | ND | " | 0.126
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.108
Blank | 8102703-BLK3
Fluoride | 10/22/08 |  |  |  |  | ND | mg/L | 0.0160
Chloride | " |  |  |  |  | ND | " | 0.0950
Nitrite as N | " |  |  |  |  | ND | " | 0.0200
Nitrate as N | " |  |  |  |  | ND | " | 0.0320
Orthophosphate as P | " |  |  |  |  | ND | " | 0.126
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.108
Blank | 8102703-BLK4
Fluoride | 10/22/08 |  |  |  |  | ND | mg/L | 0.0160
Chloride | " |  |  |  |  | ND | " | 0.0950
Nitrite as N | " |  |  |  |  | ND | " | 0.0200
Nitrate as N | " |  |  |  |  | ND | " | 0.0320
Orthophosphate as P | " |  |  |  |  | ND | " | 0.126
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.108
Blank | 8102703-BLK5
Fluoride | 10/23/08 |  |  |  |  | ND | mg/L | 0.0160
Chloride | " |  |  |  |  | 0.0300 | " | 0.0950 |  |  |  |  | J
Nitrite as N | " |  |  |  |  | ND | " | 0.0200
Nitrate as N | " |  |  |  |  | ND | " | 0.0320
Orthophosphate as P | " |  |  |  |  | ND | " | 0.126
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 15 of 23
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Blank (continued) | 8102703-BLK5
Sulfate as SO4 | 10/23/08 |  |  |  |  | ND | mg/L | 0.108
LCS | 8102703-BS1
Fluoride | 10/22/08 | 1.00 |  |  |  | 1.05 | mg/L | 80-120 | 105
Chloride | " | 1.00 |  |  |  | 0.944 | " | 80-120 | 94.4
Nitrite as N | " | 1.00 |  |  |  | 0.972 | " | 80-120 | 97.2
Nitrate as N | " | 1.00 |  |  |  | 0.886 | " | 80-120 | 88.6
Orthophosphate as P | " | 1.00 |  |  |  | 1.02 | " | 80-120 | 102
Sulfate as SO4 | " | 1.00 |  |  |  | 1.18 | " | 80-120 | 118
LCS Dup | 8102703-BSD1
Fluoride | 10/22/08 | 1.00 |  |  |  | 1.02 | mg/L | 80-120 | 102 |  | 20 | 2.51
Chloride | " | 1.00 |  |  |  | 0.942 | " | 80-120 | 94.2 |  | 20 | 0.212
Nitrite as N | " | 1.00 |  |  |  | 0.980 | " | 80-120 | 98.0 |  | 20 | 0.820
Nitrate as N | " | 1.00 |  |  |  | 0.894 | " | 80-120 | 89.4 |  | 20 | 0.899
Orthophosphate as P | " | 1.00 |  |  |  | 0.982 | " | 80-120 | 98.2 |  | 20 | 3.99
Sulfate as SO4 | " | 1.00 |  |  |  | 1.13 | " | 80-120 | 113 |  | 20 | 4.33
Calibration Check | 8102703-CCV1
Fluoride | 10/22/08 | 1.00 |  |  |  | 0.931 | mg/L | 80-120 | 93.1
Chloride | " | 1.00 |  |  |  | 0.925 | " | 80-120 | 92.5
Nitrite as N | " | 1.00 |  |  |  | 0.980 | " | 80-120 | 98.0
Nitrate as N | " | 1.00 |  |  |  | 0.908 | " | 80-120 | 90.8
Orthophosphate as P | " | 1.00 |  |  |  | 1.03 | " | 80-120 | 103
Sulfate as SO4 | " | 1.00 |  |  |  | 1.06 | " | 80-120 | 106
Calibration Check | 8102703-CCV2
Fluoride | 10/22/08 | 5.00 |  |  |  | 4.72 | mg/L | 80-120 | 94.5
Chloride | " | 5.00 |  |  |  | 4.82 | " | 80-120 | 96.4
Nitrite as N | " | 5.00 |  |  |  | 4.99 | " | 80-120 | 99.7
Nitrate as N | " | 5.00 |  |  |  | 4.89 | " | 80-120 | 97.8
Orthophosphate as P | " | 5.00 |  |  |  | 5.33 | " | 80-120 | 107
Sulfate as SO4 | " | 5.00 |  |  |  | 5.20 | " | 80-120 | 104
Duplicate | 8102703-DUP1 |  |  |  | B8J2103-01
Fluoride | 10/22/08 |  |  |  | 0.208 | 0.206 | mg/L |  |  |  | 10 | 0.966
Chloride | " |  |  |  | 1.15 | 1.15 | " |  |  |  | 10 | 0.174
Nitrite as N | " |  |  |  | ND | ND | " |  |  |  | 10
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 16 of 23
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Duplicate (continued) | 8102703-DUP1 |  |  |  | B8J2103-01
Nitrate as N | 10/22/08 |  |  |  | ND | ND | mg/L |  |  |  | 10
Orthophosphate as P | " |  |  |  | ND | ND | " |  |  |  | 10
Sulfate as SO4 | " |  |  |  | 0.911 | 0.949 | " |  |  |  | 10 | 4.09
Duplicate | 8102703-DUP2 |  |  |  | B8J2103-02
Fluoride | 10/22/08 |  |  |  | 0.203 | 0.209 | mg/L |  |  |  | 10 | 2.91
Chloride | " |  |  |  | 1.27 | 1.29 | " |  |  |  | 10 | 1.64
Nitrite as N | " |  |  |  | ND | ND | " |  |  |  | 10
Nitrate as N | " |  |  |  | ND | ND | " |  |  |  | 10
Orthophosphate as P | " |  |  |  | ND | ND | " |  |  |  | 10
Sulfate as SO4 | " |  |  |  | 0.817 | 0.810 | " |  |  |  | 10 | 0.860
Post Spike | 8102703-PS1 |  |  |  | B8J2103-03
Fluoride | 10/22/08 | 0.500 |  |  | 0.0945 | 0.696 | mg/L | 80-120 | 120
Chloride | " | 0.500 |  |  | 0.212 | 0.746 | " | 80-120 | 107
Nitrite as N | " | 0.500 |  |  | ND | 0.490 | " | 80-120 | 98.0
Nitrate as N | " | 0.500 |  |  | ND | 0.448 | " | 80-120 | 89.6
Orthophosphate as P | " | 0.500 |  |  | 0.00100 | 0.522 | " | 80-120 | 104
Sulfate as SO4 | " | 0.500 |  |  | 0.276 | 0.812 | " | 80-120 | 107
Post Spike | 8102703-PS2 |  |  |  | B8J2103-14
Fluoride | 10/22/08 | 0.500 |  |  | 0.112 | 0.724 | mg/L | 80-120 | 122 |  |  |  | QM-07
Chloride | " | 0.500 |  |  | 0.649 | 1.25 | " | 80-120 | 120
Nitrite as N | " | 0.500 |  |  | ND | 0.490 | " | 80-120 | 98.0
Nitrate as N | " | 0.500 |  |  | ND | 0.455 | " | 80-120 | 91.0
Orthophosphate as P | " | 0.500 |  |  | 0.0245 | 0.531 | " | 80-120 | 101
Sulfate as SO4 | " | 0.500 |  |  | 0.414 | 0.977 | " | 80-120 | 112
Reference | 8102703-SRM1
Fluoride | 10/22/08 | 1.00 |  |  |  | 0.940 | mg/L | 80-120 | 94.0
Chloride | " | 1.00 |  |  |  | 0.952 | " | 80-120 | 95.2
Nitrite as N | " | 1.00 |  |  |  | 1.01 | " | 80-120 | 101
Nitrate as N | " | 1.00 |  |  |  | 0.932 | " | 80-120 | 93.2
Orthophosphate as P | " | 1.00 |  |  |  | 1.03 | " | 80-120 | 103
Sulfate as SO4 | " | 1.00 |  |  |  | 1.06 | " | 80-120 | 106
Reference | 8102703-SRM2
Fluoride | 10/23/08 | 5.00 |  |  |  | 4.80 | mg/L | 80-120 | 96.1
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 17 of 23
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Reference (continued) | 8102703-SRM2
Chloride | 10/23/08 | 20.0 |  |  |  | 21.9 | mg/L | 80-120 | 109
Nitrite as N | " | 0.250 |  |  |  | 0.261 | " | 80-120 | 104
Nitrate as N | " | 5.00 |  |  |  | 4.96 | " | 80-120 | 99.2
Orthophosphate as P | " | 5.00 |  |  |  | 5.37 | " | 80-120 | 107
Sulfate as SO4 | " | 20.0 |  |  |  | 21.0 | " | 80-120 | 105
Batch: 8102903 | Date Prepared: 10/29/08 | [5 empty] | Extraction Method: NO PREP
Blank | 8102903-BLK1
Ammonia as N | 10/29/08 |  |  |  |  | ND | mg/L | 0.0260
Blank | 8102903-BLK2
Ammonia as N | 10/30/08 |  |  |  |  | ND | mg/L | 0.0260
Blank | 8102903-BLK3
Ammonia as N | 10/30/08 |  |  |  |  | ND | mg/L | 0.0260
Blank | 8102903-BLK4
Ammonia as N | 10/30/08 |  |  |  |  | ND | mg/L | 0.0260
Blank | 8102903-BLK5
Ammonia as N | 10/30/08 |  |  |  |  | ND | mg/L | 0.0260
Blank | 8102903-BLK6
Ammonia as N | 10/30/08 |  |  |  |  | ND | mg/L | 0.0260
LCS | 8102903-BS1
Ammonia as N | 10/30/08 | 2.00 |  |  |  | 2.24 | mg/L | 80-120 | 112
LCS Dup | 8102903-BSD1
Ammonia as N | 10/30/08 | 2.00 |  |  |  | 2.27 | mg/L | 80-120 | 113 |  | 10 | 1.42
Calibration Check | 8102903-CCV1
Ammonia as N | 10/30/08 | 1.00 |  |  |  | 1.14 | mg/L | 80-120 | 114
Calibration Check | 8102903-CCV2
Ammonia as N | 10/30/08 | 2.00 |  |  |  | 2.08 | mg/L | 80-120 | 104
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 18 of 23
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Duplicate | 8102903-DUP1 |  |  |  | B8J1302-01
Ammonia as N | 10/29/08 |  |  |  | ND | ND | mg/L |  |  |  | 10
Duplicate | 8102903-DUP2 |  |  |  | B8J2103-01
Ammonia as N | 10/30/08 |  |  |  | ND | ND | mg/L |  |  |  | 10
Post Spike | 8102903-PS1 |  |  |  | B8J1302-02
Ammonia as N | 10/29/08 | 1.00 |  |  | 0.00200 | 0.942 | mg/L | 80-120 | 94.0
Post Spike | 8102903-PS2 |  |  |  | B8J2103-02
Ammonia as N | 10/30/08 | 1.00 |  |  | ND | 0.893 | mg/L | 80-120 | 89.3
Reference | 8102903-SRM1
Ammonia as N | 10/30/08 |  |  |  |  | 2.11 | mg/L | 80-120
Reference | 8102903-SRM2
Ammonia as N | 10/30/08 |  |  |  |  | 4.90 | mg/L | 80-120
Reference | 8102903-SRM3
Ammonia as N | 10/30/08 |  |  |  |  | 2.13 | mg/L | 80-120
Batch: 8110601 | Date Prepared: 11/6/08 | [5 empty] | Extraction Method: NO PREP
Blank | 8110601-BLK1
Phosphorus-Total | 11/7/08 |  |  |  |  | ND | mg/L | 0.0200
Blank | 8110601-BLK2
Phosphorus-Total | 11/7/08 |  |  |  |  | ND | mg/L | 0.0200
Blank | 8110601-BLK3
Phosphorus-Total | 11/7/08 |  |  |  |  | ND | mg/L | 0.0200
LCS | 8110601-BS1
Phosphorus-Total | 11/7/08 | 1.00 |  |  |  | 1.03 | mg/L | 80-120 | 103
LCS | 8110601-BS2
Phosphorus-Total | 11/7/08 | 1.00 |  |  |  | 1.00 | mg/L | 80-120 | 100
LCS | 8110601-BS3
Phosphorus-Total | 11/7/08 | 1.00 |  |  |  | 1.05 | mg/L | 80-120 | 105
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 19 of 23
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Calibration Check | 8110601-CCV1
Phosphorus-Total | 11/7/08 | 1.00 |  |  |  | 1.02 | mg/L | 80-120 | 102
Calibration Check | 8110601-CCV2
Phosphorus-Total | 11/7/08 | 1.00 |  |  |  | 1.14 | mg/L | 80-120 | 114
Calibration Check | 8110601-CCV3
Phosphorus-Total | 11/7/08 | 1.00 |  |  |  | 1.03 | mg/L | 80-120 | 103
Duplicate | 8110601-DUP1 |  |  |  | B8J1402-01
Phosphorus-Total | 11/7/08 |  |  |  | 3.27 | 3.27 | mg/L |  |  |  | 20 | 0.00
Duplicate | 8110601-DUP2 |  |  |  | B8J2103-01
Phosphorus-Total | 11/7/08 |  |  |  | 0.0690 | 0.0700 | mg/L |  |  |  | 20 | 1.44
Duplicate | 8110601-DUP3 |  |  |  | B8J2103-11
Phosphorus-Total | 11/7/08 |  |  |  | 0.0800 | 0.0760 | mg/L |  |  |  | 20 | 5.13
Matrix Spike | 8110601-MS1 |  |  |  | B8J1402-02
Phosphorus-Total | 11/7/08 | 1.00 |  |  | 3.27 | 4.14 | mg/L | 80-120 | 87.0
Matrix Spike | 8110601-MS2 |  |  |  | B8J2103-02
Phosphorus-Total | 11/7/08 | 1.00 |  |  | 0.0750 | 1.11 | mg/L | 80-120 | 104
Matrix Spike | 8110601-MS3 |  |  |  | B8J2103-12
Phosphorus-Total | 11/7/08 | 1.00 |  |  | 0.0760 | 1.11 | mg/L | 80-120 | 103
Reference | 8110601-SRM1
Phosphorus-Total | 11/7/08 | 4.32 |  |  |  | 4.39 | mg/L | 80-120 | 102
Reference | 8110601-SRM2
Phosphorus-Total | 11/7/08 | 4.32 |  |  |  | 4.36 | mg/L | 80-120 | 101
Reference | 8110601-SRM3
Phosphorus-Total | 11/7/08 | 8.30 |  |  |  | 8.29 | mg/L | 80-120 | 99.9
Reference | 8110601-SRM4
Phosphorus-Total | 11/7/08 | 8.30 |  |  |  | 8.40 | mg/L | 80-120 | 101
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 20 of 23
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Batch: 8110603 | Date Prepared: 9/24/08 | [5 empty] | Extraction Method: NO PREP
Reference | 8110603-SRM4
Specific Conductance (EC) | 9/24/08 | 149 |  |  |  | 146 | umhos/cm | 85-115 | 97.8
Reference | 8110603-SRM5
pH | 9/24/08 | 7.02 |  |  |  | 6.95 | pH Units | 93-107 | 99.0
Reference | 8110603-SRM6
Temperature | 9/24/08 | 15.4 |  |  |  | 15.5 | °C | 97-103 | 100
Dissolved Oxygen | " | 8.80 |  |  |  | 8.89 | mg/L | 89-111 | 101
Reference | 8110603-SRM7
pH | 9/24/08 | 7.02 |  |  |  | 7.06 | pH Units | 93-107 | 101
Reference | 8110603-SRM8
Temperature | 9/24/08 | 15.4 |  |  |  | 15.5 | °C | 97-103 | 101
Dissolved Oxygen | " | 8.80 |  |  |  | 8.64 | mg/L | 89-111 | 98.2
Reference | 8110603-SRMC
Specific Conductance (EC) | 10/1/08 | 149 |  |  |  | 146 | umhos/cm | 85-115 | 97.8
Reference | 8110603-SRMD
pH | 10/1/08 | 7.02 |  |  |  | 6.97 | pH Units | 93-107 | 99.3
Reference | 8110603-SRME
Temperature | 10/1/08 | 13.6 |  |  |  | 13.6 | °C | 96-104 | 100
Dissolved Oxygen | " | 8.90 |  |  |  | 9.39 | mg/L | 89-111 | 106
Reference | 8110603-SRMF
pH | 10/1/08 | 7.02 |  |  |  | 7.08 | pH Units | 93-107 | 101
Reference | 8110603-SRMG
Temperature | 10/1/08 | 13.6 |  |  |  | 13.7 | °C | 96-104 | 101
Dissolved Oxygen | " | 8.90 |  |  |  | 8.99 | mg/L | 89-111 | 101
Reference | 8110603-SRMK
Specific Conductance (EC) | 10/20/08 | 149 |  |  |  | 146 | umhos/cm | 85-115 | 97.8
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 21 of 23
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Reference | 8110603-SRML
pH | 10/20/08 | 7.02 |  |  |  | 6.98 | pH Units | 93-107 | 99.4
Reference | 8110603-SRMM
Temperature | 10/20/08 | 14.1 |  |  |  | 14.1 | °C | 96-104 | 99.9
Dissolved Oxygen | " | 9.10 |  |  |  | 9.32 | mg/L | 89-111 | 102
Reference | 8110603-SRMN
pH | 10/20/08 | 7.02 |  |  |  | 7.01 | pH Units | 93-107 | 99.9
Reference | 8110603-SRMO
Temperature | 10/20/08 | 14.1 |  |  |  | 14.1 | °C | 96-104 | 100
Dissolved Oxygen | " | 9.10 |  |  |  | 9.30 | mg/L | 89-111 | 102
Reference | 8110603-SRMS
Specific Conductance (EC) | 10/28/08 | 149 |  |  |  | 148 | umhos/cm | 85-115 | 99.1
Reference | 8110603-SRMT
pH | 10/28/08 | 7.02 |  |  |  | 6.97 | pH Units | 93-107 | 99.3
Reference | 8110603-SRMU
Temperature | 10/28/08 | 12.6 |  |  |  | 12.6 | °C | 96-104 | 99.9
Dissolved Oxygen | " | 9.30 |  |  |  | 9.91 | mg/L | 89-111 | 107
Reference | 8110603-SRMV
pH | 10/28/08 | 7.02 |  |  |  | 7.04 | pH Units | 93-107 | 100
Reference | 8110603-SRMW
Temperature | 10/28/08 | 12.6 |  |  |  | 12.6 | °C | 96-104 | 99.8
Dissolved Oxygen | " | 9.30 |  |  |  | 9.55 | mg/L | 89-111 | 103
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 22 of 23

## NOTES
City of Bend Water Quality Monitoring Program |  | Project: | Deschutes River Ambient Water Quality Monitoring | Sampled: | 9/30/08 to 10/22/08
575 NE 15th St. |  | Project Number: | [none] | Received: | 10/22/08
Bend, OR 97701 |  | Project Manager: | Steve Prazak | Reported: | 12/11/08 15:02
Notes and Definitions
# | Note
A-01 | Noisy baseline led to analytes in blank. DB investigating for upcoming IC runs.
J | Detected but below the Reporting Limit; therefore, result is an estimated concentration (CLP J-Flag).
QM-07 | The spike recovery was outside acceptance limits for the MS and/or MSD. The batch was accepted based on acceptable LCS recovery.
DET | Analyte DETECTED
ND | Analyte NOT DETECTED at or above the reporting limit
NR | Not Reported
dry | Sample results reported on a dry weight basis
Recov. | Recovery
RPD | Relative Percent Difference
City of Bend Water Quality Laboratory
Page 23 of 23

## EXCEPTIONS
Report Exceptions List
(for internal use only)
Exception | Analysis or Specific Method | Lab Number | Analyte or General Method
J-Flags used | Anions by EPA 300.0 |  | (Water)
Result calculations based on MDL | Anions by EPA 300.0 |  | (Water)
J (J) | Anions by EPA 300.0 | 8102703-BLK1 | Chloride
J (J) | Anions by EPA 300.0 | 8102703-BLK5 | Chloride
Exceeds upper control limit | Anions by EPA 300.0 | 8102703-PS2 | Fluoride
QM-07: The spike recovery was outside acceptance limits for the MS and/or MSD. The batch was accepted based on acceptable LCS recovery. | Anions by EPA 300.0 | 8102703-PS2 | Fluoride
QM-07 (QM-07) | Anions by EPA 300.0 | 8102703-PS2 | Fluoride
A-01: Noisy baseline led to analytes in blank. DB investigating for upcoming IC runs. | Anions by EPA 300.0 | 8102703-BLK1 | Nitrate as N
Blank >1 x MRL | Anions by EPA 300.0 | 8102703-BLK1 | Nitrate as N
A-01 (A-01) | Anions by EPA 300.0 | 8102703-BLK1 | Nitrate as N
J (J) | Anions by EPA 300.0 | 8102703-BLK1 | Nitrite as N
J (J) | Anions by EPA 300.0 | B8J2103-09 | Orthophosphate as P
J (J) | Anions by EPA 300.0 | B8J2103-13 | Orthophosphate as P
J (J) | Anions by EPA 300.0 | B8J2103-14 | Orthophosphate as P
J (J) | Anions by EPA 300.0 | 8102703-BLK1 | Sulfate as SO4
Result calculations based on MDL | Coliform, Fecal as E.coli (QT2K) |  | (Water)
Result calculations based on MDL | Coliforms, Total (QT2K) |  | (Water)
J-Flags used | Nitrogen, Ammonia by EPA 300 |  | (Water)
Result calculations based on MDL | Nitrogen, Ammonia by EPA 300 |  | (Water)
No spike level | Nitrogen, Ammonia by EPA 300 | 8102903-SRM1 | Ammonia as N
No spike level | Nitrogen, Ammonia by EPA 300 | 8102903-SRM2 | Ammonia as N
No spike level | Nitrogen, Ammonia by EPA 300 | 8102903-SRM3 | Ammonia as N
Result calculations based on MDL | Oxygen, Dissolved by EPA 360.1 |  | (Water)
Result calculations based on MDL | pH by EPA 150.1 |  | (Water)
Result calculations based on MDL | Phosphorous by EPA 365.3 |  | (Water)
RPD calculations based on %Recovery | Phosphorous by EPA 365.3 |  | (Water)
Result calculations based on MDL | Temperature by EPA 170.1 |  | (Water)
J-Flags used | Turbidity by EPA 180.1 |  | (Water)
Result calculations based on MDL | Turbidity by EPA 180.1 |  | (Water)
RPD calculations based on %Recovery | Turbidity by EPA 180.1 |  | (Water)
J (J) | Turbidity by EPA 180.1 | B8J2103-04 | Turbidity
Default Report (not modified)
Report recreated from: Y:\Report\B8J2103 FINAL 11 Dec 08 1502.mdb
VERSION 5.85:2834