## LETTER
December 11, 2008
Steve Prazak
City of Bend Water Quality Monitoring Program
575 NE 15th St.
Bend, OR 97701
RE: Deschutes River Ambient Water Quality Monitoring
Dear Steve Prazak
Enclosed are the results of analyses for sample(s) received by the laboratory on September 11, 2008. If you have any questions concerning this report, please feel free to contact me.
Sincerely,
Drexel Barnes
Analyst

## SUMMARY
City of Bend Water Quality Monitoring Program |  | Project: | Deschutes River Ambient Water Quality Monitoring |  | Sampled: | 8/28/08 to 9/30/08
575 NE 15th St. |  | Project Number: | [none] |  | Received: | 9/11/08
Bend, OR 97701 |  | Project Manager: | Steve Prazak |  | Reported: | 12/11/08 14:55
ANALYTICAL REPORT FOR SAMPLES:
Sample Description | Laboratory Sample Number |  |  | Sample Matrix |  |  | Date Sampled
DR 160.00 DOWNSTREAM BOULDER FIELD | B8I0901-01 |  |  | Water |  |  | 9/10/08
DR 160.25 UPSTREAM TUMALO CREEK | B8I0901-02 |  |  | Water |  |  | 9/10/08
TC 000.25 MOUTH OF TUMALO CREEK | B8I0901-03 |  |  | Water |  |  | 9/10/08
TC 007.50 DOWNSTREAM 4606 ROAD | B8I0901-04 |  |  | Water |  |  | 9/11/08
TC 007.50 DOWNSTREAM ROAD 4606 DUPL. | B8I0901-05 |  |  | Water |  |  | 9/11/08
DR 163.25 FIREROCK FOOTBRIDGE | B8I0901-06 |  |  | Water |  |  | 9/10/08
DR 164.75 UPSTREAM RIVERHOUSE MOTEL | B8I0901-07 |  |  | Water |  |  | 9/10/08
DR 165.75 FIRST STREET RAPIDS | B8I0901-08 |  |  | Water |  |  | 9/10/08
DR 166.75 DRAKE PARK FOOTBRIDGE | B8I0901-09 |  |  | Water |  |  | 9/10/08
DR 166.75 DRAKE PARK FOOTBRIDGE DUPL. | B8I0901-10 |  |  | Water |  |  | 9/10/08
DR 167.25 COLUMBIA PARK FOOTBRIDGE | B8I0901-11 |  |  | Water |  |  | 9/10/08
DR 168.00 COLUMBIA ST. BRIDGE | B8I0901-12 |  |  | Water |  |  | 9/10/08
DR 169.00 UPSTREAM END MILL LOG POND | B8I0901-13 |  |  | Water |  |  | 9/10/08
DR 172.00 SOUTHERN UGB | B8I0901-14 |  |  | Water |  |  | 9/11/08
FB FIELD BLANK | B8I0901-15 |  |  | Water |  |  | 9/11/08
DR166.75 DRAKE PARK FB DEQ SPLIT | B8I0901-16 |  |  | Water |  |  | 9/30/08
DR 166.75 DRAKE PARK FOOTBRIDGE | B8I0901-17 |  |  | Water |  |  | 8/28/08
DR 160.00 DOWNSTREAM BOULDER FIELD | B8I0901-18 |  |  | Water |  |  | 9/3/08
DR 172.00 SOUTHERN UGB | B8I0901-19 |  |  | Water |  |  | 9/4/08
TC 003.25 d/s TUMALO FEED CANAL | B8I0901-20 |  |  | Water |  |  | 9/9/08
City of Bend Water Quality Laboratory | [7 empty] | The results in this report apply to the samples
analyzed in accordance with the chain of custody document.
This analytical report must be reproduced in its entirety.
Drexel Barnes, Analyst | [7 empty] | Page 1 of 27
ANALYTICAL REPORT FOR SAMPLES:
Sample Description | Laboratory Sample Number |  |  | Sample Matrix |  |  | Date Sampled
TC 017.25 d/s BRIDGE CREEK | B8I0901-21 |  |  | Water |  |  | 9/16/08
TC 014.50 d/s SKYLINER BRIDGE | B8I0901-22 |  |  | Water |  |  | 9/16/08
DR 166.75 DRAKE PARK FOOTBRIDGE | B8I0901-23 |  |  | Water |  |  | 9/23/08
DR 166.75 DRAKE PARK FOOTBRIDGE | B8I0901-24 |  |  | Water |  |  | 9/30/08
City of Bend Water Quality Laboratory | [7 empty] | The results in this report apply to the samples
analyzed in accordance with the chain of custody document.
This analytical report must be reproduced in its entirety.
Drexel Barnes, Analyst | [7 empty] | Page 2 of 27

## SAMPLES
City of Bend Water Quality Monitoring Program |  |  | Project: | Deschutes River Ambient Water Quality Monitoring |  |  |  | Sampled: | 8/28/08 to 9/30/08
575 NE 15th St. |  |  | Project Number: | [none] |  |  |  | Received: | 9/11/08
Bend, OR 97701 |  |  | Project Manager: | Steve Prazak |  |  |  | Reported: | 12/11/08 14:55
Wet Chemistry
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 160.00 DOWNSTREAM BOULDER FIELD |  |  |  |  | B8I0901-01 |  |  |  | Water
Turbidity | 8100707 | 9/10/08 |  | 9/10/08 | EPA 180.1 | 0.40 | 2.1 |  | NTU
DR 160.25 UPSTREAM TUMALO CREEK |  |  |  |  | B8I0901-02 |  |  |  | Water
Turbidity | 8100707 | 9/10/08 |  | 9/10/08 | EPA 180.1 | 0.40 | 2.2 |  | NTU
TC 000.25 MOUTH OF TUMALO CREEK |  |  |  |  | B8I0901-03 |  |  |  | Water
Turbidity | 8100707 | 9/10/08 |  | 9/10/08 | EPA 180.1 | 0.40 | 0.53 |  | NTU
TC 007.50 DOWNSTREAM 4606 ROAD |  |  |  |  | B8I0901-04 |  |  |  | Water
Turbidity | 8100707 | 9/11/08 |  | 9/11/08 | EPA 180.1 | 0.40 | 0.35 |  | NTU | J
TC 007.50 DOWNSTREAM ROAD 4606 DUPL. |  |  |  |  | B8I0901-05 |  |  |  | Water
Turbidity | 8100707 | 9/11/08 |  | 9/11/08 | EPA 180.1 | 0.40 | 0.43 |  | NTU
DR 163.25 FIREROCK FOOTBRIDGE |  |  |  |  | B8I0901-06 |  |  |  | Water
Turbidity | 8100707 | 9/10/08 |  | 9/10/08 | EPA 180.1 | 0.40 | 1.7 |  | NTU
DR 164.75 UPSTREAM RIVERHOUSE MOTEL |  |  |  |  | B8I0901-07 |  |  |  | Water
Turbidity | 8100707 | 9/10/08 |  | 9/10/08 | EPA 180.1 | 0.40 | 2.2 |  | NTU
DR 165.75 FIRST STREET RAPIDS |  |  |  |  | B8I0901-08 |  |  |  | Water
Turbidity | 8100707 | 9/10/08 |  | 9/10/08 | EPA 180.1 | 0.40 | 2.4 |  | NTU
DR 166.75 DRAKE PARK FOOTBRIDGE |  |  |  |  | B8I0901-09 |  |  |  | Water
Turbidity | 8100707 | 9/10/08 |  | 9/10/08 | EPA 180.1 | 0.40 | 1.9 |  | NTU
DR 166.75 DRAKE PARK FOOTBRIDGE DUPL. |  |  |  |  | B8I0901-10 |  |  |  | Water
Turbidity | 8100707 | 9/10/08 |  | 9/10/08 | EPA 180.1 | 0.40 | 2.0 |  | NTU
DR 167.25 COLUMBIA PARK FOOTBRIDGE |  |  |  |  | B8I0901-11 |  |  |  | Water
Turbidity | 8100707 | 9/10/08 |  | 9/10/08 | EPA 180.1 | 0.40 | 2.0 |  | NTU
DR 168.00 COLUMBIA ST. BRIDGE |  |  |  |  | B8I0901-12 |  |  |  | Water
Turbidity | 8100707 | 9/10/08 |  | 9/10/08 | EPA 180.1 | 0.40 | 2.5 |  | NTU
DR 169.00 UPSTREAM END MILL LOG POND |  |  |  |  | B8I0901-13 |  |  |  | Water
Turbidity | 8100707 | 9/10/08 |  | 9/10/08 | EPA 180.1 | 0.40 | 1.8 |  | NTU
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 3 of 27
Wet Chemistry
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 172.00 SOUTHERN UGB |  |  |  |  | B8I0901-14 |  |  |  | Water
Turbidity | 8100707 | 9/11/08 |  | 9/11/08 | EPA 180.1 | 0.40 | 1.7 |  | NTU
DR166.75 DRAKE PARK FB DEQ SPLIT |  |  |  |  | B8I0901-16 |  |  |  | Water
Turbidity | 8100707 | 9/30/08 |  | 9/30/08 | EPA 180.1 | 0.40 | 1.0 |  | NTU
DR 160.00 DOWNSTREAM BOULDER FIELD |  |  |  |  | B8I0901-18 |  |  |  | Water
Turbidity | 8100707 | 9/3/08 |  | 9/3/08 | EPA 180.1 | 0.40 | 2.0 |  | NTU
DR 172.00 SOUTHERN UGB |  |  |  |  | B8I0901-19 |  |  |  | Water
Turbidity | 8100707 | 9/4/08 |  | 9/4/08 | EPA 180.1 | 0.40 | 1.4 |  | NTU
TC 003.25 d/s TUMALO FEED CANAL |  |  |  |  | B8I0901-20 |  |  |  | Water
Turbidity | 8100707 | 9/9/08 |  | 9/9/08 | EPA 180.1 | 0.40 | 1.5 |  | NTU
TC 014.50 d/s SKYLINER BRIDGE |  |  |  |  | B8I0901-22 |  |  |  | Water
Turbidity | 8100707 | 9/16/08 |  | 9/16/08 | EPA 180.1 | 0.40 | 0.43 |  | NTU
DR 166.75 DRAKE PARK FOOTBRIDGE |  |  |  |  | B8I0901-23 |  |  |  | Water
Turbidity | 8100707 | 9/23/08 |  | 9/23/08 | EPA 180.1 | 0.40 | 2.4 |  | NTU
DR 166.75 DRAKE PARK FOOTBRIDGE |  |  |  |  | B8I0901-24 |  |  |  | Water
Turbidity | 8100707 | 9/30/08 |  | 9/30/08 | EPA 180.1 | 0.40 | 2.1 |  | NTU
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 4 of 27
Microbiological Parameters by APHA Standard Methods
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 160.00 DOWNSTREAM BOULDER FIELD |  |  |  |  | B8I0901-01 |  |  |  | Water
Coliform, total | 8120320 | 9/10/08 |  | 9/11/08 | SM 9223B | 1.00 | 866 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 8.60 |  | "
DR 160.25 UPSTREAM TUMALO CREEK |  |  |  |  | B8I0901-02 |  |  |  | Water
Coliform, total | 8120320 | 9/10/08 |  | 9/11/08 | SM 9223B | 1.00 | 1120 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 3.10 |  | "
TC 000.25 MOUTH OF TUMALO CREEK |  |  |  |  | B8I0901-03 |  |  |  | Water
Coliform, total | 8120320 | 9/10/08 |  | 9/11/08 | SM 9223B | 1.00 | 579 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 40.4 |  | "
TC 007.50 DOWNSTREAM 4606 ROAD |  |  |  |  | B8I0901-04 |  |  |  | Water
Coliform, total | 8120321 | 9/11/08 |  | 9/12/08 | SM 9223B | 1.00 | 76.3 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 1.00 |  | "
TC 007.50 DOWNSTREAM ROAD 4606 DUPL. |  |  |  |  | B8I0901-05 |  |  |  | Water
Coliform, total | 8120321 | 9/11/08 |  | 9/12/08 | SM 9223B | 1.00 | 68.9 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 1.00 |  | "
DR 163.25 FIREROCK FOOTBRIDGE |  |  |  |  | B8I0901-06 |  |  |  | Water
Coliform, total | 8120320 | 9/10/08 |  | 9/11/08 | SM 9223B | 1.00 | 1050 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 35.0 |  | "
DR 164.75 UPSTREAM RIVERHOUSE MOTEL |  |  |  |  | B8I0901-07 |  |  |  | Water
Coliform, total | 8120320 | 9/10/08 |  | 9/11/08 | SM 9223B | 1.00 | 579 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 5.20 |  | "
DR 165.75 FIRST STREET RAPIDS |  |  |  |  | B8I0901-08 |  |  |  | Water
Coliform, total | 8120320 | 9/10/08 |  | 9/11/08 | SM 9223B | 1.00 | 517 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 3.00 |  | "
DR 166.75 DRAKE PARK FOOTBRIDGE |  |  |  |  | B8I0901-09 |  |  |  | Water
Coliform, total | 8120320 | 9/10/08 |  | 9/11/08 | SM 9223B | 1.00 | 517 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 4.10 |  | "
DR 166.75 DRAKE PARK FOOTBRIDGE DUPL. |  |  |  |  | B8I0901-10 |  |  |  | Water
Coliform, total | 8120320 | 9/10/08 |  | 9/11/08 | SM 9223B | 1.00 | 411 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 3.10 |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 5 of 27
Microbiological Parameters by APHA Standard Methods
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 167.25 COLUMBIA PARK FOOTBRIDGE |  |  |  |  | B8I0901-11 |  |  |  | Water
Coliform, total | 8120320 | 9/10/08 |  | 9/11/08 | SM 9223B | 1.00 | 308 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 3.10 |  | "
DR 168.00 COLUMBIA ST. BRIDGE |  |  |  |  | B8I0901-12 |  |  |  | Water
Coliform, total | 8120320 | 9/10/08 |  | 9/11/08 | SM 9223B | 1.00 | 272 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 11.0 |  | "
DR 169.00 UPSTREAM END MILL LOG POND |  |  |  |  | B8I0901-13 |  |  |  | Water
Coliform, total | 8120320 | 9/10/08 |  | 9/11/08 | SM 9223B | 1.00 | 210 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 2.00 |  | "
DR 172.00 SOUTHERN UGB |  |  |  |  | B8I0901-14 |  |  |  | Water
Coliform, total | 8120321 | 9/11/08 |  | 9/12/08 | SM 9223B | 1.00 | 687 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 3.10 |  | "
FB FIELD BLANK |  |  |  |  | B8I0901-15 |  |  |  | Water
Coliform, total | 8120321 | 9/11/08 |  | 9/12/08 | SM 9223B | 1.00 | ND |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | ND |  | "
DR166.75 DRAKE PARK FB DEQ SPLIT |  |  |  |  | B8I0901-16 |  |  |  | Water
Coliform, total | 8120323 | 9/30/08 |  | 10/1/08 | SM 9223B | 1.00 | 345 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 6.30 |  | "
DR 166.75 DRAKE PARK FOOTBRIDGE |  |  |  |  | B8I0901-24 |  |  |  | Water
Coliform, total | 8120323 | 9/30/08 |  | 10/1/08 | SM 9223B | 1.00 | 206 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 3.10 |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 6 of 27
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 160.00 DOWNSTREAM BOULDER FIELD |  |  |  |  | B8I0901-01 |  |  |  | Water
Specific Conductance (EC) | 8100707 | 9/10/08 |  | 9/10/08 | EPA 120.1 | 0.500 | 56.6 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.79 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 12.6 |  | °C
Ammonia as N | 8100601 | " |  | 10/6/08 | EPA 300 | 0.0260 | ND |  | mg/L
Fluoride | 8091101 | " |  | 9/11/08 | EPA 300.0 | 0.0250 | 0.191 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.129 | 0.824 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0190 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0430 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.116 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.126 | 0.429 |  | "
Dissolved Oxygen | 8100707 | " |  | 9/10/08 | EPA 360.1 | 1.00 | 9.32 |  | "
Phosphorus-Total | 8100702 | 10/7/08 |  | 10/8/08 | EPA 365.3 | 0.0200 | 0.0640 |  | "
DR 160.25 UPSTREAM TUMALO CREEK |  |  |  |  | B8I0901-02 |  |  |  | Water
Specific Conductance (EC) | 8100707 | 9/10/08 |  | 9/10/08 | EPA 120.1 | 0.500 | 57.9 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.96 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 13.3 |  | °C
Ammonia as N | 8100601 | " |  | 10/6/08 | EPA 300 | 0.0260 | ND |  | mg/L
Fluoride | 8091101 | " |  | 9/11/08 | EPA 300.0 | 0.0250 | 0.205 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.129 | 0.815 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0190 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0430 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.116 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.126 | 0.421 |  | "
Dissolved Oxygen | 8100707 | " |  | 9/10/08 | EPA 360.1 | 1.00 | 9.35 |  | "
Phosphorus-Total | 8100702 | 10/7/08 |  | 10/8/08 | EPA 365.3 | 0.0200 | 0.0590 |  | "
TC 000.25 MOUTH OF TUMALO CREEK |  |  |  |  | B8I0901-03 |  |  |  | Water
Specific Conductance (EC) | 8100707 | 9/10/08 |  | 9/10/08 | EPA 120.1 | 0.500 | 40.4 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.78 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 7.75 |  | °C
Ammonia as N | 8100601 | " |  | 10/6/08 | EPA 300 | 0.0260 | 0.0100 |  | mg/L | J
Fluoride | 8091101 | " |  | 9/11/08 | EPA 300.0 | 0.0250 | 0.193 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.129 | 0.410 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0190 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0430 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.116 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.126 | 0.705 |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 7 of 27
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
TC 000.25 MOUTH OF TUMALO CREEK (continued) |  |  |  |  | B8I0901-03 |  |  |  | Water
Dissolved Oxygen | 8100707 | 9/10/08 |  | 9/10/08 | EPA 360.1 | 1.00 | 10.6 |  | mg/L
Phosphorus-Total | 8100702 | 10/7/08 |  | 10/8/08 | EPA 365.3 | 0.0200 | 0.0420 |  | "
TC 007.50 DOWNSTREAM 4606 ROAD |  |  |  |  | B8I0901-04 |  |  |  | Water
Specific Conductance (EC) | 8100707 | 9/11/08 |  | 9/11/08 | EPA 120.1 | 0.500 | 39.8 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.74 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 6.61 |  | °C
Ammonia as N | 8100601 | " |  | 10/6/08 | EPA 300 | 0.0260 | 0.0100 |  | mg/L | J
Fluoride | 8091101 | " |  | 9/11/08 | EPA 300.0 | 0.0250 | 0.192 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.129 | 0.411 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0190 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0430 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.116 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.126 | 0.667 |  | "
Dissolved Oxygen | 8100707 | " |  | " | EPA 360.1 | 1.00 | 10.8 |  | "
Phosphorus-Total | 8100702 | 10/7/08 |  | 10/8/08 | EPA 365.3 | 0.0200 | 0.0390 |  | "
TC 007.50 DOWNSTREAM ROAD 4606 DUPL. |  |  |  |  | B8I0901-05 |  |  |  | Water
Specific Conductance (EC) | 8100707 | 9/11/08 |  | 9/11/08 | EPA 120.1 | 0.500 | 39.7 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.74 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 6.61 |  | °C
Ammonia as N | 8100601 | " |  | 10/6/08 | EPA 300 | 0.0260 | ND |  | mg/L
Fluoride | 8091101 | " |  | 9/11/08 | EPA 300.0 | 0.0250 | 0.191 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.129 | 0.402 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0190 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0430 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.116 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.126 | 0.666 |  | "
Dissolved Oxygen | 8100707 | " |  | " | EPA 360.1 | 1.00 | 10.8 |  | "
Phosphorus-Total | 8100702 | 10/7/08 |  | 10/8/08 | EPA 365.3 | 0.0200 | 0.0640 |  | "
DR 163.25 FIREROCK FOOTBRIDGE |  |  |  |  | B8I0901-06 |  |  |  | Water
Specific Conductance (EC) | 8100707 | 9/10/08 |  | 9/10/08 | EPA 120.1 | 0.500 | 57.2 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 8.11 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 14.0 |  | °C
Ammonia as N | 8100601 | " |  | 10/6/08 | EPA 300 | 0.0260 | ND |  | mg/L
Fluoride | 8091101 | " |  | 9/11/08 | EPA 300.0 | 0.0250 | 0.198 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.129 | 0.796 |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 8 of 27
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 163.25 FIREROCK FOOTBRIDGE (continued) |  |  |  |  | B8I0901-06 |  |  |  | Water
Nitrite as N | 8091101 | 9/10/08 |  | 9/11/08 | EPA 300.0 | 0.0190 | ND |  | mg/L
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0430 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.116 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.126 | 0.414 |  | "
Dissolved Oxygen | 8100707 | " |  | 9/10/08 | EPA 360.1 | 1.00 | 9.38 |  | "
Phosphorus-Total | 8100702 | 10/7/08 |  | 10/8/08 | EPA 365.3 | 0.0200 | 0.0610 |  | "
DR 164.75 UPSTREAM RIVERHOUSE MOTEL |  |  |  |  | B8I0901-07 |  |  |  | Water
Specific Conductance (EC) | 8100707 | 9/10/08 |  | 9/10/08 | EPA 120.1 | 0.500 | 57.5 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 8.05 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 14.0 |  | °C
Ammonia as N | 8100601 | " |  | 10/6/08 | EPA 300 | 0.0260 | ND |  | mg/L
Fluoride | 8091101 | " |  | 9/11/08 | EPA 300.0 | 0.0250 | 0.194 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.129 | 0.796 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0190 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0430 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.116 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.126 | 0.409 |  | "
Dissolved Oxygen | 8100707 | " |  | 9/10/08 | EPA 360.1 | 1.00 | 8.90 |  | "
Phosphorus-Total | 8100702 | 10/7/08 |  | 10/8/08 | EPA 365.3 | 0.0200 | 0.0890 |  | "
DR 165.75 FIRST STREET RAPIDS |  |  |  |  | B8I0901-08 |  |  |  | Water
Specific Conductance (EC) | 8100707 | 9/10/08 |  | 9/10/08 | EPA 120.1 | 0.500 | 57.7 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 8.29 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 13.9 |  | °C
Ammonia as N | 8100601 | " |  | 10/6/08 | EPA 300 | 0.0260 | ND |  | mg/L
Fluoride | 8091101 | " |  | 9/11/08 | EPA 300.0 | 0.0250 | 0.197 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.129 | 0.792 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0190 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0430 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.116 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.126 | 0.429 |  | "
Dissolved Oxygen | 8100707 | " |  | 9/10/08 | EPA 360.1 | 1.00 | 9.20 |  | "
Phosphorus-Total | 8100702 | 10/7/08 |  | 10/8/08 | EPA 365.3 | 0.0200 | 0.0620 |  | "
DR 166.75 DRAKE PARK FOOTBRIDGE |  |  |  |  | B8I0901-09 |  |  |  | Water
Specific Conductance (EC) | 8100707 | 9/10/08 |  | 9/10/08 | EPA 120.1 | 0.500 | 57.9 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 8.57 |  | pH Units
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 9 of 27
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 166.75 DRAKE PARK FOOTBRIDGE (continued) |  |  |  |  | B8I0901-09 |  |  |  | Water
Temperature | 8100707 | 9/10/08 |  | 9/10/08 | EPA 170.1 | 0.0500 | 14.3 |  | °C
Ammonia as N | 8100601 | " |  | 10/6/08 | EPA 300 | 0.0260 | ND |  | mg/L
Fluoride | 8091101 | " |  | 9/11/08 | EPA 300.0 | 0.0250 | 0.191 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.129 | 0.818 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0190 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0430 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.116 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.126 | 0.443 |  | "
Dissolved Oxygen | 8100707 | " |  | 9/10/08 | EPA 360.1 | 1.00 | 9.96 |  | "
Phosphorus-Total | 8100702 | 10/7/08 |  | 10/8/08 | EPA 365.3 | 0.0200 | 0.0640 |  | "
DR 166.75 DRAKE PARK FOOTBRIDGE DUPL. |  |  |  |  | B8I0901-10 |  |  |  | Water
Specific Conductance (EC) | 8100707 | 9/10/08 |  | 9/10/08 | EPA 120.1 | 0.500 | 57.9 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 8.56 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 14.3 |  | °C
Ammonia as N | 8100601 | " |  | 10/6/08 | EPA 300 | 0.0260 | ND |  | mg/L
Fluoride | 8091101 | " |  | 9/11/08 | EPA 300.0 | 0.0250 | 0.237 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.129 | 0.813 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0190 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0430 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.116 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.126 | 0.438 |  | "
Dissolved Oxygen | 8100707 | " |  | 9/10/08 | EPA 360.1 | 1.00 | 9.91 |  | "
Phosphorus-Total | 8100702 | 10/7/08 |  | 10/8/08 | EPA 365.3 | 0.0200 | 0.0640 |  | "
DR 167.25 COLUMBIA PARK FOOTBRIDGE |  |  |  |  | B8I0901-11 |  |  |  | Water
Specific Conductance (EC) | 8100707 | 9/10/08 |  | 9/10/08 | EPA 120.1 | 0.500 | 58.0 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 8.55 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 14.5 |  | °C
Ammonia as N | 8100601 | " |  | 10/6/08 | EPA 300 | 0.0260 | ND |  | mg/L
Fluoride | 8091101 | " |  | 9/11/08 | EPA 300.0 | 0.0250 | 0.195 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.129 | 0.800 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0190 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0430 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.116 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.126 | 0.432 |  | "
Dissolved Oxygen | 8100707 | " |  | 9/10/08 | EPA 360.1 | 1.00 | 9.75 |  | "
Phosphorus-Total | 8100702 | 10/7/08 |  | 10/8/08 | EPA 365.3 | 0.0200 | 0.0610 |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 10 of 27
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 168.00 COLUMBIA ST. BRIDGE |  |  |  |  | B8I0901-12 |  |  |  | Water
Specific Conductance (EC) | 8100707 | 9/10/08 |  | 9/10/08 | EPA 120.1 | 0.500 | 58.2 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 8.52 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 14.6 |  | °C
Ammonia as N | 8100601 | " |  | 10/6/08 | EPA 300 | 0.0260 | ND |  | mg/L
Fluoride | 8091101 | " |  | 9/11/08 | EPA 300.0 | 0.0250 | 0.190 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.129 | 0.821 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0190 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0430 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.116 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.126 | 0.594 |  | "
Dissolved Oxygen | 8100707 | " |  | 9/10/08 | EPA 360.1 | 1.00 | 10.0 |  | "
Phosphorus-Total | 8100702 | 10/7/08 |  | 10/8/08 | EPA 365.3 | 0.0200 | 0.0590 |  | "
DR 169.00 UPSTREAM END MILL LOG POND |  |  |  |  | B8I0901-13 |  |  |  | Water
Specific Conductance (EC) | 8100707 | 9/10/08 |  | 9/10/08 | EPA 120.1 | 0.500 | 57.9 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 8.24 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 14.5 |  | °C
Ammonia as N | 8100601 | " |  | 10/7/08 | EPA 300 | 0.0260 | ND |  | mg/L
Fluoride | 8091101 | " |  | 9/11/08 | EPA 300.0 | 0.0250 | 0.195 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.129 | 0.798 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0190 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0430 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.116 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.126 | 0.422 |  | "
Dissolved Oxygen | 8100707 | " |  | 9/10/08 | EPA 360.1 | 1.00 | 8.71 |  | "
Phosphorus-Total | 8100702 | 10/7/08 |  | 10/8/08 | EPA 365.3 | 0.0200 | 0.0600 |  | "
DR 172.00 SOUTHERN UGB |  |  |  |  | B8I0901-14 |  |  |  | Water
Specific Conductance (EC) | 8100707 | 9/11/08 |  | 9/11/08 | EPA 120.1 | 0.500 | 57.6 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.27 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 12.7 |  | °C
Ammonia as N | 8100601 | " |  | 10/7/08 | EPA 300 | 0.0260 | ND |  | mg/L
Fluoride | 8091101 | " |  | 9/11/08 | EPA 300.0 | 0.0250 | 0.194 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.129 | 0.807 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0190 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0430 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.116 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.126 | 0.481 |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 11 of 27
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 172.00 SOUTHERN UGB (continued) |  |  |  |  | B8I0901-14 |  |  |  | Water
Dissolved Oxygen | 8100707 | 9/11/08 |  | 9/11/08 | EPA 360.1 | 1.00 | 9.60 |  | mg/L
Phosphorus-Total | 8100702 | 10/7/08 |  | 10/8/08 | EPA 365.3 | 0.0200 | 0.0610 |  | "
FB FIELD BLANK |  |  |  |  | B8I0901-15 |  |  |  | Water
Ammonia as N | 8100601 | 9/11/08 |  | 10/7/08 | EPA 300 | 0.0260 | ND |  | mg/L
Fluoride | 8091101 | " |  | 9/11/08 | EPA 300.0 | 0.0250 | ND |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.129 | 0.0520 |  | " | J
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0190 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0430 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.116 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.126 | ND |  | "
Phosphorus-Total | 8100702 | 10/7/08 |  | 10/8/08 | EPA 365.3 | 0.0200 | ND |  | "
DR166.75 DRAKE PARK FB DEQ SPLIT |  |  |  |  | B8I0901-16 |  |  |  | Water
Specific Conductance (EC) | 8100707 | 9/30/08 |  | 9/30/08 | EPA 120.1 | 0.500 | 64.0 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.50 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 11.4 |  | °C
Ammonia as N | 8100601 | " |  | 10/7/08 | EPA 300 | 0.0260 | ND |  | mg/L
Fluoride | 8093003 | " |  | 9/30/08 | EPA 300.0 | 0.0160 | 0.190 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.0950 | 1.08 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0200 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0320 | 0.0140 |  | " | J
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.126 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.108 | 0.644 |  | "
Dissolved Oxygen | 8100707 | " |  | " | EPA 360.1 | 1.00 | 9.30 |  | "
Phosphorus-Total | 8100702 | 10/7/08 |  | 10/8/08 | EPA 365.3 | 0.0200 | 0.0680 |  | "
DR 166.75 DRAKE PARK FOOTBRIDGE |  |  |  |  | B8I0901-17 |  |  |  | Water
Specific Conductance (EC) | 8100707 | 8/28/08 |  | 8/28/08 | EPA 120.1 | 0.500 | 59.1 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 8.87 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 16.3 |  | °C
Dissolved Oxygen | " | " |  | " | EPA 360.1 | 1.00 | 10.5 |  | mg/L
DR 160.00 DOWNSTREAM BOULDER FIELD |  |  |  |  | B8I0901-18 |  |  |  | Water
Specific Conductance (EC) | 8100707 | 9/3/08 |  | 9/3/08 | EPA 120.1 | 0.500 | 58.6 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 8.29 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 15.2 |  | °C
Dissolved Oxygen | " | " |  | " | EPA 360.1 | 1.00 | 9.10 |  | mg/L
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 12 of 27
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 172.00 SOUTHERN UGB |  |  |  |  | B8I0901-19 |  |  |  | Water
Specific Conductance (EC) | 8100707 | 9/4/08 |  | 9/4/08 | EPA 120.1 | 0.500 | 58.2 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.99 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 15.0 |  | °C
Dissolved Oxygen | " | " |  | " | EPA 360.1 | 1.00 | 9.31 |  | mg/L
TC 003.25 d/s TUMALO FEED CANAL |  |  |  |  | B8I0901-20 |  |  |  | Water
Specific Conductance (EC) | 8100707 | 9/9/08 |  | 9/9/08 | EPA 120.1 | 0.500 | 39.6 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.74 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 10.8 |  | °C
Dissolved Oxygen | " | " |  | " | EPA 360.1 | 1.00 | 9.89 |  | mg/L
TC 017.25 d/s BRIDGE CREEK |  |  |  |  | B8I0901-21 |  |  |  | Water
Specific Conductance (EC) | 8100707 | 9/16/08 |  | 9/16/08 | EPA 120.1 | 0.500 | 36.2 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.80 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 8.20 |  | °C
Dissolved Oxygen | " | " |  | " | EPA 360.1 | 1.00 | 9.99 |  | mg/L
TC 014.50 d/s SKYLINER BRIDGE |  |  |  |  | B8I0901-22 |  |  |  | Water
Specific Conductance (EC) | 8100707 | 9/16/08 |  | 9/16/08 | EPA 120.1 | 0.500 | 40.0 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.76 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 10.8 |  | °C
Dissolved Oxygen | " | " |  | " | EPA 360.1 | 1.00 | 9.23 |  | mg/L
DR 166.75 DRAKE PARK FOOTBRIDGE |  |  |  |  | B8I0901-23 |  |  |  | Water
Specific Conductance (EC) | 8100707 | 9/23/08 |  | 9/23/08 | EPA 120.1 | 0.500 | 59.1 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.70 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 11.3 |  | °C
Dissolved Oxygen | " | " |  | " | EPA 360.1 | 1.00 | 9.53 |  | mg/L
DR 166.75 DRAKE PARK FOOTBRIDGE |  |  |  |  | B8I0901-24 |  |  |  | Water
Specific Conductance (EC) | 8100707 | 9/30/08 |  | 9/30/08 | EPA 120.1 | 0.500 | 60.3 |  | umhos/cm
pH | " | " |  | " | EPA 150.1 |  | 7.62 |  | pH Units
Temperature | " | " |  | " | EPA 170.1 | 0.0500 | 11.7 |  | °C
Ammonia as N | 8100601 | " |  | 10/7/08 | EPA 300 | 0.0260 | ND |  | mg/L
Fluoride | 8093003 | " |  | 9/30/08 | EPA 300.0 | 0.0160 | 0.239 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.0950 | 1.22 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0200 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 13 of 27
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 166.75 DRAKE PARK FOOTBRIDGE (continued) |  |  |  |  | B8I0901-24 |  |  |  | Water
Orthophosphate as P | 8093003 | 9/30/08 |  | 9/30/08 | EPA 300.0 | 0.126 | ND |  | mg/L
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.108 | 0.488 |  | "
Dissolved Oxygen | 8100707 | " |  | " | EPA 360.1 | 1.00 | 9.35 |  | "
Phosphorus-Total | 8100702 | 10/7/08 |  | 10/8/08 | EPA 365.3 | 0.0200 | 0.0690 |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 14 of 27

## QC
City of Bend Water Quality Monitoring Program |  |  | Project: | Deschutes River Ambient Water Quality Monitoring |  |  |  |  | Sampled: | 8/28/08 to 9/30/08
575 NE 15th St. |  |  | Project Number: | [none] |  |  |  |  | Received: | 9/11/08
Bend, OR 97701 |  |  | Project Manager: | Steve Prazak |  |  |  |  | Reported: | 12/11/08 14:55
Wet Chemistry/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Batch: 8100707 | Date Prepared: 9/3/08 | [5 empty] | Extraction Method: NO PREP
Reference | 8100707-SRM1
Turbidity | 9/3/08 | 5.85 |  |  |  | 5.94 | NTU | 80-120 | 102
Reference | 8100707-SRM2
Turbidity | 9/3/08 | 51.8 |  |  |  | 52.6 | NTU | 80-120 | 102
Reference | 8100707-SRM3
Turbidity | 9/3/08 | 503 |  |  |  | 503 | NTU | 80-120 | 100
Reference | 8100707-SRM9
Turbidity | 9/24/08 | 5.85 |  |  |  | 5.87 | NTU | 80-120 | 100
Reference | 8100707-SRMA
Turbidity | 9/24/08 | 51.8 |  |  |  | 51.8 | NTU | 80-120 | 100
Reference | 8100707-SRMB
Turbidity | 9/24/08 | 503 |  |  |  | 503 | NTU | 80-120 | 100
Reference | 8100707-SRMH
Turbidity | 10/1/08 | 5.85 |  |  |  | 5.79 | NTU | 80-120 | 99.0
Reference | 8100707-SRMI
Turbidity | 10/1/08 | 51.8 |  |  |  | 51.1 | NTU | 80-120 | 98.6
Reference | 8100707-SRMJ
Turbidity | 10/1/08 | 503 |  |  |  | 499 | NTU | 80-120 | 99.2
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 15 of 27
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Batch: 8091101 | Date Prepared: 9/8/08 | [5 empty] | Extraction Method: NO PREP
Blank | 8091101-BLK1
Fluoride | 9/8/08 |  |  |  |  | ND | mg/L | 0.0250
Chloride | " |  |  |  |  | ND | " | 0.129
Nitrite as N | " |  |  |  |  | ND | " | 0.0190
Nitrate as N | " |  |  |  |  | ND | " | 0.0430
Orthophosphate as P | " |  |  |  |  | ND | " | 0.116
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.126
Blank | 8091101-BLK2
Fluoride | 9/8/08 |  |  |  |  | ND | mg/L | 0.0250
Chloride | " |  |  |  |  | ND | " | 0.129
Nitrite as N | " |  |  |  |  | ND | " | 0.0190
Nitrate as N | " |  |  |  |  | ND | " | 0.0430
Orthophosphate as P | " |  |  |  |  | ND | " | 0.116
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.126
Blank | 8091101-BLK3
Fluoride | 9/9/08 |  |  |  |  | ND | mg/L | 0.0250
Chloride | " |  |  |  |  | ND | " | 0.129
Nitrite as N | " |  |  |  |  | ND | " | 0.0190
Nitrate as N | " |  |  |  |  | ND | " | 0.0430
Orthophosphate as P | " |  |  |  |  | ND | " | 0.116
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.126
Blank | 8091101-BLK4
Fluoride | 9/9/08 |  |  |  |  | ND | mg/L | 0.0250
Chloride | " |  |  |  |  | ND | " | 0.129
Nitrite as N | " |  |  |  |  | ND | " | 0.0190
Nitrate as N | " |  |  |  |  | ND | " | 0.0430
Orthophosphate as P | " |  |  |  |  | ND | " | 0.116
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.126
Blank | 8091101-BLK5
Fluoride | 9/11/08 |  |  |  |  | ND | mg/L | 0.0250
Chloride | " |  |  |  |  | ND | " | 0.129
Nitrite as N | " |  |  |  |  | ND | " | 0.0190
Nitrate as N | " |  |  |  |  | ND | " | 0.0430
Orthophosphate as P | " |  |  |  |  | ND | " | 0.116
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 16 of 27
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Blank (continued) | 8091101-BLK5
Sulfate as SO4 | 9/11/08 |  |  |  |  | ND | mg/L | 0.126
Blank | 8091101-BLK6
Fluoride | 9/11/08 |  |  |  |  | ND | mg/L | 0.0250
Chloride | " |  |  |  |  | ND | " | 0.129
Nitrite as N | " |  |  |  |  | ND | " | 0.0190
Nitrate as N | " |  |  |  |  | ND | " | 0.0430
Orthophosphate as P | " |  |  |  |  | ND | " | 0.116
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.126
Blank | 8091101-BLK7
Fluoride | 9/11/08 |  |  |  |  | ND | mg/L | 0.0250
Chloride | " |  |  |  |  | ND | " | 0.129
Nitrite as N | " |  |  |  |  | ND | " | 0.0190
Nitrate as N | " |  |  |  |  | ND | " | 0.0430
Orthophosphate as P | " |  |  |  |  | ND | " | 0.116
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.126
Blank | 8091101-BLK8
Fluoride | 9/11/08 |  |  |  |  | ND | mg/L | 0.0250
Chloride | " |  |  |  |  | ND | " | 0.129
Nitrite as N | " |  |  |  |  | 0.0260 | " | 0.0190 |  |  |  |  | QR-01
Nitrate as N | " |  |  |  |  | ND | " | 0.0430
Orthophosphate as P | " |  |  |  |  | ND | " | 0.116
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.126
LCS | 8091101-BS1
Fluoride | 9/9/08 | 1.00 |  |  |  | 1.07 | mg/L | 80-120 | 107
Chloride | " | 1.00 |  |  |  | 0.950 | " | 80-120 | 95.0
Nitrite as N | " | 1.00 |  |  |  | 0.982 | " | 80-120 | 98.2
Nitrate as N | " | 1.00 |  |  |  | 0.916 | " | 80-120 | 91.6
Orthophosphate as P | " | 1.00 |  |  |  | 0.992 | " | 80-120 | 99.2
Sulfate as SO4 | " | 1.00 |  |  |  | 1.12 | " | 80-120 | 112
LCS Dup | 8091101-BSD1
Fluoride | 9/11/08 | 1.00 |  |  |  | 1.20 | mg/L | 80-120 | 120 |  | 20 | 11.4
Chloride | " | 1.00 |  |  |  | 1.08 | " | 80-120 | 108 |  | 20 | 12.8
Nitrite as N | " | 1.00 |  |  |  | 1.14 | " | 80-120 | 114 |  | 20 | 15.2
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 17 of 27
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
LCS Dup (continued) | 8091101-BSD1
Nitrate as N | 9/11/08 | 1.00 |  |  |  | 0.974 | mg/L | 80-120 | 97.4 |  | 20 | 6.14
Orthophosphate as P | " | 1.00 |  |  |  | 1.11 | " | 80-120 | 111 |  | 20 | 11.0
Sulfate as SO4 | " | 1.00 |  |  |  | 1.14 | " | 80-120 | 114 |  | 20 | 1.06
Calibration Check | 8091101-CCV1
Fluoride | 9/9/08 |  |  |  |  | 0.962 | mg/L | 80-120
Chloride | " |  |  |  |  | 0.936 | " | 80-120
Nitrite as N | " |  |  |  |  | 0.979 | " | 80-120
Nitrate as N | " |  |  |  |  | 0.946 | " | 80-120
Orthophosphate as P | " |  |  |  |  | 1.03 | " | 80-120
Sulfate as SO4 | " |  |  |  |  | 1.03 | " | 80-120
Calibration Check | 8091101-CCV2
Fluoride | 9/9/08 |  |  |  |  | 4.86 | mg/L | 80-120
Chloride | " |  |  |  |  | 4.81 | " | 80-120
Nitrite as N | " |  |  |  |  | 4.98 | " | 80-120
Nitrate as N | " |  |  |  |  | 4.89 | " | 80-120
Orthophosphate as P | " |  |  |  |  | 5.38 | " | 80-120
Sulfate as SO4 | " |  |  |  |  | 5.17 | " | 80-120
Duplicate | 8091101-DUP1 |  |  |  | B8I0901-06
Fluoride | 9/11/08 |  |  |  | 0.198 | 0.195 | mg/L |  |  |  | 10 | 1.53
Chloride | " |  |  |  | 0.796 | 0.804 | " |  |  |  | 10 | 1.00
Nitrite as N | " |  |  |  | ND | ND | " |  |  |  | 10
Nitrate as N | " |  |  |  | ND | ND | " |  |  |  | 10
Orthophosphate as P | " |  |  |  | ND | ND | " |  |  |  | 10
Sulfate as SO4 | " |  |  |  | 0.414 | 0.446 | " |  |  |  | 10 | 7.44
Duplicate | 8091101-DUP2 |  |  |  | B8I0901-11
Fluoride | 9/11/08 |  |  |  | 0.195 | 0.193 | mg/L |  |  |  | 10 | 1.03
Chloride | " |  |  |  | 0.800 | 0.824 | " |  |  |  | 10 | 2.96
Nitrite as N | " |  |  |  | ND | ND | " |  |  |  | 10
Nitrate as N | " |  |  |  | ND | ND | " |  |  |  | 10
Orthophosphate as P | " |  |  |  | ND | ND | " |  |  |  | 10
Sulfate as SO4 | " |  |  |  | 0.432 | 0.439 | " |  |  |  | 10 | 1.61
Post Spike | 8091101-PS1 |  |  |  | B8I0901-07
Fluoride | 9/11/08 | 0.500 |  |  | 0.0970 | 0.555 | mg/L | 80-120 | 91.6
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 18 of 27
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Post Spike (continued) | 8091101-PS1 |  |  |  | B8I0901-07
Chloride | 9/11/08 | 0.500 |  |  | 0.398 | 0.880 | mg/L | 80-120 | 96.4
Nitrite as N | " | 0.500 |  |  | ND | 0.491 | " | 80-120 | 98.2
Nitrate as N | " | 0.500 |  |  | ND | 0.463 | " | 80-120 | 92.6
Orthophosphate as P | " | 0.500 |  |  | ND | 0.516 | " | 80-120 | 103
Sulfate as SO4 | " | 0.500 |  |  | 0.204 | 0.756 | " | 80-120 | 110
Post Spike | 8091101-PS2 |  |  |  | B8I0901-12
Fluoride | 9/11/08 | 0.500 |  |  | 0.0950 | 0.554 | mg/L | 80-120 | 91.8
Chloride | " | 0.500 |  |  | 0.410 | 0.879 | " | 80-120 | 93.7
Nitrite as N | " | 0.500 |  |  | ND | 0.494 | " | 80-120 | 98.8
Nitrate as N | " | 0.500 |  |  | ND | 0.461 | " | 80-120 | 92.2
Orthophosphate as P | " | 0.500 |  |  | 0.0100 | 0.523 | " | 80-120 | 103
Sulfate as SO4 | " | 0.500 |  |  | 0.297 | 0.844 | " | 80-120 | 109
Reference | 8091101-SRM1
Fluoride | 9/9/08 | 1.00 |  |  |  | 1.16 | mg/L | 80-120 | 116
Chloride | " | 1.00 |  |  |  | 0.957 | " | 80-120 | 95.7
Nitrite as N | " | 1.00 |  |  |  | 1.00 | " | 80-120 | 100
Nitrate as N | " | 1.00 |  |  |  | 0.949 | " | 80-120 | 94.9
Orthophosphate as P | " | 1.00 |  |  |  | 1.06 | " | 80-120 | 106
Sulfate as SO4 | " | 1.00 |  |  |  | 1.06 | " | 80-120 | 106
Reference | 8091101-SRM2
Fluoride | 9/9/08 | 5.00 |  |  |  | 4.98 | mg/L | 80-120 | 99.6
Chloride | " | 20.0 |  |  |  | 21.7 | " | 80-120 | 109
Nitrite as N | " | 0.250 |  |  |  | 0.237 | " | 80-120 | 94.8
Nitrate as N | " | 5.00 |  |  |  | 4.92 | " | 80-120 | 98.4
Orthophosphate as P | " | 5.00 |  |  |  | 5.35 | " | 80-120 | 107
Sulfate as SO4 | " | 20.0 |  |  |  | 20.8 | " | 80-120 | 104
Reference | 8091101-SRM3
Fluoride | 9/11/08 | 1.00 |  |  |  | 0.956 | mg/L | 80-120 | 95.6
Chloride | " | 1.00 |  |  |  | 0.965 | " | 80-120 | 96.5
Nitrite as N | " | 1.00 |  |  |  | 1.01 | " | 80-120 | 101
Nitrate as N | " | 1.00 |  |  |  | 0.934 | " | 80-120 | 93.4
Orthophosphate as P | " | 1.00 |  |  |  | 1.05 | " | 80-120 | 105
Sulfate as SO4 | " | 1.00 |  |  |  | 1.06 | " | 80-120 | 106
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 19 of 27
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Reference | 8091101-SRM4
Fluoride | 9/11/08 | 5.00 |  |  |  | 4.92 | mg/L | 80-120 | 98.3
Chloride | " | 20.0 |  |  |  | 21.2 | " | 80-120 | 106
Nitrite as N | " | 0.250 |  |  |  | 0.237 | " | 80-120 | 94.8
Nitrate as N | " | 5.00 |  |  |  | 5.08 | " | 80-120 | 102
Orthophosphate as P | " | 5.00 |  |  |  | 5.42 | " | 80-120 | 108
Sulfate as SO4 | " | 20.0 |  |  |  | 21.0 | " | 80-120 | 105
Batch: 8093003 | Date Prepared: 9/30/08 | [5 empty] | Extraction Method: NO PREP
Blank | 8093003-BLK1
Fluoride | 9/30/08 |  |  |  |  | ND | mg/L | 0.0160
Chloride | " |  |  |  |  | ND | " | 0.0950
Nitrite as N | " |  |  |  |  | ND | " | 0.0200
Nitrate as N | " |  |  |  |  | ND | " | 0.0320
Orthophosphate as P | " |  |  |  |  | ND | " | 0.126
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.108
Blank | 8093003-BLK2
Fluoride | 9/30/08 |  |  |  |  | ND | mg/L | 0.0160
Chloride | " |  |  |  |  | ND | " | 0.0950
Nitrite as N | " |  |  |  |  | ND | " | 0.0200
Nitrate as N | " |  |  |  |  | ND | " | 0.0320
Orthophosphate as P | " |  |  |  |  | ND | " | 0.126
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.108
Blank | 8093003-BLK3
Fluoride | 9/30/08 |  |  |  |  | ND | mg/L | 0.0160
Chloride | " |  |  |  |  | ND | " | 0.0950
Nitrite as N | " |  |  |  |  | ND | " | 0.0200
Nitrate as N | " |  |  |  |  | ND | " | 0.0320
Orthophosphate as P | " |  |  |  |  | ND | " | 0.126
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.108
LCS | 8093003-BS1
Fluoride | 9/30/08 | 1.00 |  |  |  | 1.04 | mg/L | 80-120 | 104
Chloride | " | 1.00 |  |  |  | 0.972 | " | 80-120 | 97.2
Nitrite as N | " | 1.00 |  |  |  | 0.978 | " | 80-120 | 97.8
Nitrate as N | " | 1.00 |  |  |  | 0.910 | " | 80-120 | 91.0
Orthophosphate as P | " | 1.00 |  |  |  | 1.05 | " | 80-120 | 105
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 20 of 27
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
LCS (continued) | 8093003-BS1
Sulfate as SO4 | 9/30/08 | 1.00 |  |  |  | 1.15 | mg/L | 80-120 | 115
LCS Dup | 8093003-BSD1
Fluoride | 9/30/08 | 1.00 |  |  |  | 1.05 | mg/L | 80-120 | 105 |  | 20 | 0.766
Chloride | " | 1.00 |  |  |  | 0.972 | " | 80-120 | 97.2 |  | 20 | 0.00
Nitrite as N | " | 1.00 |  |  |  | 0.980 | " | 80-120 | 98.0 |  | 20 | 0.204
Nitrate as N | " | 1.00 |  |  |  | 0.914 | " | 80-120 | 91.4 |  | 20 | 0.439
Orthophosphate as P | " | 1.00 |  |  |  | 0.998 | " | 80-120 | 99.8 |  | 20 | 5.27
Sulfate as SO4 | " | 1.00 |  |  |  | 1.15 | " | 80-120 | 115 |  | 20 | 0.348
Calibration Check | 8093003-CCV1
Fluoride | 9/30/08 | 1.00 |  |  |  | 0.961 | mg/L | 80-120 | 96.1
Chloride | " | 1.00 |  |  |  | 0.943 | " | 80-120 | 94.3
Nitrite as N | " | 1.00 |  |  |  | 0.980 | " | 80-120 | 98.0
Nitrate as N | " | 1.00 |  |  |  | 0.925 | " | 80-120 | 92.5
Orthophosphate as P | " | 1.00 |  |  |  | 1.05 | " | 80-120 | 105
Sulfate as SO4 | " | 1.00 |  |  |  | 1.09 | " | 80-120 | 109
Duplicate | 8093003-DUP1 |  |  |  | B8I0901-16
Fluoride | 9/30/08 |  |  |  | 0.190 | 0.197 | mg/L |  |  |  | 10 | 3.62
Chloride | " |  |  |  | 1.08 | 1.07 | " |  |  |  | 10 | 1.02
Nitrite as N | " |  |  |  | ND | ND | " |  |  |  | 10
Nitrate as N | " |  |  |  | 0.0140 | 0.0110 | " |  |  |  | 10 | 24.0 | QR-01, J
Orthophosphate as P | " |  |  |  | ND | ND | " |  |  |  | 10
Sulfate as SO4 | " |  |  |  | 0.644 | 0.617 | " |  |  |  | 10 | 4.28
Post Spike | 8093003-PS1 |  |  |  | B8I0901-24
Fluoride | 9/30/08 | 0.500 |  |  | 0.120 | 0.572 | mg/L | 80-120 | 90.5
Chloride | " | 0.500 |  |  | 0.608 | 0.925 | " | 80-120 | 63.3 |  |  |  | QM-05
Nitrite as N | " | 0.500 |  |  | ND | 0.486 | " | 80-120 | 97.2
Nitrate as N | " | 0.500 |  |  | ND | 0.464 | " | 80-120 | 92.8
Orthophosphate as P | " | 0.500 |  |  | -0.00200 | 0.535 | " | 80-120 | 107
Sulfate as SO4 | " | 0.500 |  |  | 0.244 | 0.820 | " | 80-120 | 115
Reference | 8093003-SRM1
Fluoride | 9/30/08 | 1.00 |  |  |  | 0.969 | mg/L | 80-120 | 96.9
Chloride | " | 1.00 |  |  |  | 0.957 | " | 80-120 | 95.7
Nitrite as N | " | 1.00 |  |  |  | 1.01 | " | 80-120 | 101
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 21 of 27
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Reference (continued) | 8093003-SRM1
Nitrate as N | 9/30/08 | 1.00 |  |  |  | 0.928 | mg/L | 80-120 | 92.8
Orthophosphate as P | " | 1.00 |  |  |  | 1.06 | " | 80-120 | 106
Sulfate as SO4 | " | 1.00 |  |  |  | 1.08 | " | 80-120 | 108
Reference | 8093003-SRM2
Fluoride | 9/30/08 | 5.00 |  |  |  | 4.87 | mg/L | 80-120 | 97.3
Chloride | " | 20.0 |  |  |  | 21.0 | " | 80-120 | 105
Nitrite as N | " | 0.250 |  |  |  | 0.235 | " | 80-120 | 94.0
Nitrate as N | " | 5.00 |  |  |  | 4.92 | " | 80-120 | 98.4
Orthophosphate as P | " | 5.00 |  |  |  | 5.36 | " | 80-120 | 107
Sulfate as SO4 | " | 20.0 |  |  |  | 20.8 | " | 80-120 | 104
Batch: 8100601 | Date Prepared: 10/6/08 | [5 empty] | Extraction Method: NO PREP
Blank | 8100601-BLK1
Ammonia as N | 10/6/08 |  |  |  |  | ND | mg/L | 0.0260
Blank | 8100601-BLK2
Ammonia as N | 10/6/08 |  |  |  |  | ND | mg/L | 0.0260
Blank | 8100601-BLK3
Ammonia as N | 10/6/08 |  |  |  |  | ND | mg/L | 0.0260
Blank | 8100601-BLK4
Ammonia as N | 10/7/08 |  |  |  |  | ND | mg/L | 0.0260
Blank | 8100601-BLK5
Ammonia as N | 10/7/08 |  |  |  |  | ND | mg/L | 0.0260
Blank | 8100601-BLK6
Ammonia as N | 10/8/08 |  |  |  |  | ND | mg/L | 0.0260
Blank | 8100601-BLK7
Ammonia as N | 10/8/08 |  |  |  |  | 0.00800 | mg/L | 0.0260 |  |  |  |  | J
LCS | 8100601-BS1
Ammonia as N | 10/7/08 | 1.00 |  |  |  | 1.14 | mg/L | 80-120 | 114
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 22 of 27
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
LCS Dup | 8100601-BSD1
Ammonia as N | 10/7/08 | 1.00 |  |  |  | 1.20 | mg/L | 80-120 | 120 |  | 10 | 4.97
Calibration Check | 8100601-CCV1
Ammonia as N | 10/6/08 |  |  |  |  | 1.12 | mg/L | 80-120
Calibration Check | 8100601-CCV2
Ammonia as N | 10/6/08 |  |  |  |  | 2.02 | mg/L | 80-120
Duplicate | 8100601-DUP1 |  |  |  | B8I0901-07
Ammonia as N | 10/6/08 |  |  |  | ND | ND | mg/L |  |  |  | 10
Duplicate | 8100601-DUP2 |  |  |  | B8I0801-01
Ammonia as N | 10/7/08 |  |  |  | ND | 0.00800 | mg/L |  |  |  | 10 |  | J
Post Spike | 8100601-PS1 |  |  |  | B8I0901-08
Ammonia as N | 10/6/08 | 0.500 |  |  | ND | 0.487 | mg/L | 80-120 | 97.4
Post Spike | 8100601-PS2 |  |  |  | B8I0801-02
Ammonia as N | 10/7/08 | 0.500 |  |  | ND | 0.523 | mg/L | 80-120 | 105
Reference | 8100601-SRM1
Ammonia as N | 10/7/08 |  |  |  |  | 2.08 | mg/L | 80-120
Reference | 8100601-SRM2
Ammonia as N | 10/8/08 |  |  |  |  | 2.12 | mg/L | 80-120
Reference | 8100601-SRM3
Ammonia as N | 10/8/08 |  |  |  |  | 4.97 | mg/L | 80-120
Batch: 8100702 | Date Prepared: 10/7/08 | [5 empty] | Extraction Method: NO PREP
Blank | 8100702-BLK1
Phosphorus-Total | 10/8/08 |  |  |  |  | ND | mg/L | 0.0200
Blank | 8100702-BLK2
Phosphorus-Total | 10/8/08 |  |  |  |  | ND | mg/L | 0.0200
Blank | 8100702-BLK3
Phosphorus-Total | 10/8/08 |  |  |  |  | ND | mg/L | 0.0200
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 23 of 27
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
LCS | 8100702-BS1
Phosphorus-Total | 10/8/08 | 1.00 |  |  |  | 1.01 | mg/L | 80-120 | 101
LCS | 8100702-BS2
Phosphorus-Total | 10/8/08 | 1.00 |  |  |  | 1.00 | mg/L | 80-120 | 100
LCS | 8100702-BS3
Phosphorus-Total | 10/8/08 | 1.00 |  |  |  | 0.995 | mg/L | 80-120 | 99.5
Calibration Check | 8100702-CCV1
Phosphorus-Total | 10/8/08 | 1.00 |  |  |  | 0.983 | mg/L | 80-120 | 98.3
Calibration Check | 8100702-CCV2
Phosphorus-Total | 10/8/08 | 1.00 |  |  |  | 0.974 | mg/L | 80-120 | 97.4
Calibration Check | 8100702-CCV3
Phosphorus-Total | 10/8/08 | 1.00 |  |  |  | 0.979 | mg/L | 80-120 | 97.9
Duplicate | 8100702-DUP1 |  |  |  | B8I0901-01
Phosphorus-Total | 10/8/08 |  |  |  | 0.0640 | 0.0570 | mg/L |  |  |  | 20 | 11.6
Duplicate | 8100702-DUP2 |  |  |  | B8I0901-11
Phosphorus-Total | 10/8/08 |  |  |  | 0.0610 | 0.0610 | mg/L |  |  |  | 20 | 0.00
Duplicate | 8100702-DUP3 |  |  |  | B8I1602-01
Phosphorus-Total | 10/8/08 |  |  |  | 3.86 | 3.75 | mg/L |  |  |  | 20 | 2.89
Matrix Spike | 8100702-MS1 |  |  |  | B8I0901-02
Phosphorus-Total | 10/8/08 | 1.00 |  |  | 0.0590 | 1.04 | mg/L | 80-120 | 98.1
Matrix Spike | 8100702-MS2 |  |  |  | B8I0901-12
Phosphorus-Total | 10/8/08 | 1.00 |  |  | 0.0590 | 1.03 | mg/L | 80-120 | 97.1
Matrix Spike | 8100702-MS3 |  |  |  | B8I1602-02
Phosphorus-Total | 10/8/08 | 1.00 |  |  | 3.79 | 4.96 | mg/L | 80-120 | 117
Reference | 8100702-SRM1
Phosphorus-Total | 10/14/08 | 4.32 |  |  |  | 4.34 | mg/L | 80-120 | 100
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 24 of 27
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Reference | 8100702-SRM2
Phosphorus-Total | 10/14/08 | 4.32 |  |  |  | 4.39 | mg/L | 80-120 | 102
Reference | 8100702-SRM3
Phosphorus-Total | 10/14/08 | 8.30 |  |  |  | 9.00 | mg/L | 80-120 | 108
Reference | 8100702-SRM4
Phosphorus-Total | 10/14/08 | 8.30 |  |  |  | 8.25 | mg/L | 80-120 | 99.4
Batch: 8100707 | Date Prepared: 9/3/08 | [5 empty] | Extraction Method: NO PREP
Reference | 8100707-SRM4
pH | 9/3/08 | 7.02 |  |  |  | 7.06 | pH Units | 93-107 | 101
Reference | 8100707-SRM5
Temperature | 9/3/08 | 14.6 |  |  |  | 14.6 | °C | 97-103 | 100
Dissolved Oxygen | " | 9.00 |  |  |  | 9.59 | mg/L | 88-112 | 107
Reference | 8100707-SRM6
Specific Conductance (EC) | 9/3/08 | 149 |  |  |  | 148 | umhos/cm | 85-115 | 99.1
Reference | 8100707-SRM7
pH | 9/3/08 | 7.02 |  |  |  | 7.03 | pH Units | 93-107 | 100
Reference | 8100707-SRM8
Temperature | 9/3/08 | 14.6 |  |  |  | 14.6 | °C | 97-103 | 100
Dissolved Oxygen | " | 9.00 |  |  |  | 9.12 | mg/L | 88-112 | 101
Reference | 8100707-SRMC
pH | 9/24/08 | 7.02 |  |  |  | 6.95 | pH Units | 93-107 | 99.0
Reference | 8100707-SRMD
Temperature | 9/24/08 | 15.4 |  |  |  | 15.5 | °C | 97-103 | 100
Dissolved Oxygen | " | 8.80 |  |  |  | 8.89 | mg/L | 89-111 | 101
Reference | 8100707-SRME
Specific Conductance (EC) | 9/24/08 | 149 |  |  |  | 146 | umhos/cm | 85-115 | 97.8
Reference | 8100707-SRMF
pH | 9/24/08 | 7.02 |  |  |  | 7.06 | pH Units | 93-107 | 101
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 25 of 27
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Reference | 8100707-SRMG
Temperature | 9/24/08 | 15.4 |  |  |  | 15.5 | °C | 97-103 | 101
Dissolved Oxygen | " | 8.80 |  |  |  | 8.64 | mg/L | 89-111 | 98.2
Reference | 8100707-SRMK
pH | 10/1/08 | 7.02 |  |  |  | 6.97 | pH Units | 93-107 | 99.3
Reference | 8100707-SRML
Temperature | 10/1/08 | 13.6 |  |  |  | 13.6 | °C | 96-104 | 100
Dissolved Oxygen | " | 8.90 |  |  |  | 9.39 | mg/L | 89-111 | 106
Reference | 8100707-SRMM
Specific Conductance (EC) | 10/1/08 | 149 |  |  |  | 146 | umhos/cm | 85-115 | 97.8
Reference | 8100707-SRMN
pH | 10/1/08 | 7.02 |  |  |  | 7.08 | pH Units | 93-107 | 101
Reference | 8100707-SRMO
Temperature | 10/1/08 | 13.6 |  |  |  | 13.7 | °C | 96-104 | 101
Dissolved Oxygen | " | 8.90 |  |  |  | 8.99 | mg/L | 89-111 | 101
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 26 of 27

## NOTES
City of Bend Water Quality Monitoring Program |  | Project: | Deschutes River Ambient Water Quality Monitoring | Sampled: | 8/28/08 to 9/30/08
575 NE 15th St. |  | Project Number: | [none] | Received: | 9/11/08
Bend, OR 97701 |  | Project Manager: | Steve Prazak | Reported: | 12/11/08 14:55
Notes and Definitions
# | Note
J | Detected but below the Reporting Limit; therefore, result is an estimated concentration (CLP J-Flag).
QM-05 | The spike recovery was outside acceptance limits for the MS and/or MSD due to matrix interference. The LCS and/or LCSD were
within acceptance limits showing that the laboratory is in control and the data is acceptable.
QR-01 | Analyses are not controlled on RPD values from sample concentrations less than 10 times the reporting limit. QC batch accepted
based on LCS and/or LCSD QC results.
DET | Analyte DETECTED
ND | Analyte NOT DETECTED at or above the reporting limit
NR | Not Reported
dry | Sample results reported on a dry weight basis
Recov. | Recovery
RPD | Relative Percent Difference
City of Bend Water Quality Laboratory
Page 27 of 27

## EXCEPTIONS
Report Exceptions List
(for internal use only)
Exception | Analysis or Specific Method | Lab Number | Analyte or General Method
J-Flags used | Anions by EPA 300.0 |  | (Water)
Result calculations based on MDL | Anions by EPA 300.0 |  | (Water)
Exceeds lower control limit | Anions by EPA 300.0 | 8093003-PS1 | Chloride
QM-05: The spike recovery was outside acceptance limits for the MS and/or MSD due to matrix interference. The LCS and/or LCSD were within acceptance limits showing that the laboratory is in control and the data is acceptable. | Anions by EPA 300.0 | 8093003-PS1 | Chloride
QM-05 (QM-05) | Anions by EPA 300.0 | 8093003-PS1 | Chloride
J (J) | Anions by EPA 300.0 | B8I0901-15 | Chloride
Exceeds RPD control limit | Anions by EPA 300.0 | 8093003-DUP1 | Nitrate as N
QR-01: Analyses are not controlled on RPD values from sample concentrations less than 10 times the reporting limit. QC batch accepted based on LCS and/or LCSD QC results. | Anions by EPA 300.0 | 8093003-DUP1 | Nitrate as N
J (J) | Anions by EPA 300.0 | 8093003-DUP1 | Nitrate as N
QR-01 (QR-01) | Anions by EPA 300.0 | 8093003-DUP1 | Nitrate as N
J (J) | Anions by EPA 300.0 | B8I0901-16 | Nitrate as N
Blank >1 x MRL | Anions by EPA 300.0 | 8091101-BLK8 | Nitrite as N
QR-01: Analyses are not controlled on RPD values from sample concentrations less than 10 times the reporting limit. QC batch accepted based on LCS and/or LCSD QC results. | Anions by EPA 300.0 | 8091101-BLK8 | Nitrite as N
QR-01 (QR-01) | Anions by EPA 300.0 | 8091101-BLK8 | Nitrite as N
Result calculations based on MDL | Coliform, Fecal as E.coli (QT2K) |  | (Water)
Result calculations based on MDL | Coliforms, Total (QT2K) |  | (Water)
J-Flags used | Nitrogen, Ammonia by EPA 300 |  | (Water)
Result calculations based on MDL | Nitrogen, Ammonia by EPA 300 |  | (Water)
J (J) | Nitrogen, Ammonia by EPA 300 | 8100601-BLK7 | Ammonia as N
J (J) | Nitrogen, Ammonia by EPA 300 | 8100601-DUP2 | Ammonia as N
No spike level | Nitrogen, Ammonia by EPA 300 | 8100601-SRM1 | Ammonia as N
No spike level | Nitrogen, Ammonia by EPA 300 | 8100601-SRM2 | Ammonia as N
No spike level | Nitrogen, Ammonia by EPA 300 | 8100601-SRM3 | Ammonia as N
J (J) | Nitrogen, Ammonia by EPA 300 | B8I0901-03 | Ammonia as N
J (J) | Nitrogen, Ammonia by EPA 300 | B8I0901-04 | Ammonia as N
Result calculations based on MDL | Oxygen, Dissolved by EPA 360.1 |  | (Water)
Result calculations based on MDL | pH by EPA 150.1 |  | (Water)
Result calculations based on MDL | Phosphorous by EPA 365.3 |  | (Water)
RPD calculations based on %Recovery | Phosphorous by EPA 365.3 |  | (Water)
Result calculations based on MDL | Temperature by EPA 170.1 |  | (Water)
J-Flags used | Turbidity by EPA 180.1 |  | (Water)
Result calculations based on MDL | Turbidity by EPA 180.1 |  | (Water)
RPD calculations based on %Recovery | Turbidity by EPA 180.1 |  | (Water)
J (J) | Turbidity by EPA 180.1 | B8I0901-04 | Turbidity
Default Report (not modified)
Report recreated from: Y:\Report\B8I0901 FINAL 11 Dec 08 1455.mdb
VERSION 5.85:2834