## LETTER
December 11, 2008
Steve Prazak
City of Bend Water Quality Monitoring Program
575 NE 15th St.
Bend, OR 97701
RE: Deschutes River Ambient Water Quality Monitoring
Dear Steve Prazak
Enclosed are the results of analyses for sample(s) received by the laboratory on May 8, 2008. If you have any questions concerning this report, please feel free to contact me.
Sincerely,
Drexel Barnes
Analyst

## SUMMARY
City of Bend Water Quality Monitoring Program |  | Project: | Deschutes River Ambient Water Quality Monitoring |  | Sampled: | 5/5/08 to 5/8/08
575 NE 15th St. |  | Project Number: | [none] |  | Received: | 5/8/08
Bend, OR 97701 |  | Project Manager: | Steve Prazak |  | Reported: | 12/11/08 12:58
ANALYTICAL REPORT FOR SAMPLES:
Sample Description | Laboratory Sample Number |  |  | Sample Matrix |  |  | Date Sampled
DR 160.00 DOWNSTREAM BOULDER FIELD | B8E0501-01 |  |  | Water |  |  | 5/7/08
DR 160.25 UPSTREAM TUMALO CREEK | B8E0501-02 |  |  | Water |  |  | 5/8/08
TC 000.25 MOUTH OF TUMALO CREEK | B8E0501-03 |  |  | Water |  |  | 5/8/08
TC 007.50 DOWNSTREAM 4606 ROAD | B8E0501-04 |  |  | Water |  |  | 5/8/08
TC 007.50 DOWNSTREAM ROAD 4606 DUPL. | B8E0501-05 |  |  | Water |  |  | 5/8/08
DR 163.25 FIREROCK FOOTBRIDGE | B8E0501-06 |  |  | Water |  |  | 5/7/08
DR 164.75 UPSTREAM RIVERHOUSE MOTEL | B8E0501-07 |  |  | Water |  |  | 5/7/08
DR 165.75 FIRST STREET RAPIDS | B8E0501-08 |  |  | Water |  |  | 5/7/08
DR 166.75 DRAKE PARK FOOTBRIDGE | B8E0501-09 |  |  | Water |  |  | 5/5/08
DR 166.75 DRAKE PARK FOOTBRIDGE DUPL. | B8E0501-10 |  |  | Water |  |  | 5/5/08
DR 167.25 COLUMBIA PARK FOOTBRIDGE | B8E0501-11 |  |  | Water |  |  | 5/7/08
DR 168.00 COLUMBIA ST. BRIDGE | B8E0501-12 |  |  | Water |  |  | 5/7/08
DR 169.00 UPSTREAM END MILL LOG POND | B8E0501-13 |  |  | Water |  |  | 5/7/08
DR 172.00 SOUTHERN UGB | B8E0501-14 |  |  | Water |  |  | 5/7/08
FB FIELD BLANK | B8E0501-15 |  |  | Water |  |  | 5/5/08
DR166.75 DRAKE PARK FB DEQ SPLIT | B8E0501-16 |  |  | Water |  |  | 5/5/08
City of Bend Water Quality Laboratory | [7 empty] | The results in this report apply to the samples
analyzed in accordance with the chain of custody document.
This analytical report must be reproduced in its entirety.
Drexel Barnes, Analyst | [7 empty] | Page 1 of 22

## SAMPLES
City of Bend Water Quality Monitoring Program |  |  | Project: | Deschutes River Ambient Water Quality Monitoring |  |  |  | Sampled: | 5/5/08 to 5/8/08
575 NE 15th St. |  |  | Project Number: | [none] |  |  |  | Received: | 5/8/08
Bend, OR 97701 |  |  | Project Manager: | Steve Prazak |  |  |  | Reported: | 12/11/08 12:58
Wet Chemistry
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 160.00 DOWNSTREAM BOULDER FIELD |  |  |  |  | B8E0501-01 |  |  |  | Water
Turbidity | 8052902 | 5/7/08 |  | 5/7/08 | EPA 180.1 | 0.40 | 3.7 |  | NTU
DR 160.25 UPSTREAM TUMALO CREEK |  |  |  |  | B8E0501-02 |  |  |  | Water
Turbidity | 8052902 | 5/8/08 |  | 5/8/08 | EPA 180.1 | 0.40 | 4.6 |  | NTU
TC 000.25 MOUTH OF TUMALO CREEK |  |  |  |  | B8E0501-03 |  |  |  | Water
Turbidity | 8052902 | 5/8/08 |  | 5/8/08 | EPA 180.1 | 0.40 | 1.7 |  | NTU
TC 007.50 DOWNSTREAM 4606 ROAD |  |  |  |  | B8E0501-04 |  |  |  | Water
Turbidity | 8052902 | 5/8/08 |  | 5/8/08 | EPA 180.1 | 0.40 | 1.4 |  | NTU
TC 007.50 DOWNSTREAM ROAD 4606 DUPL. |  |  |  |  | B8E0501-05 |  |  |  | Water
Turbidity | 8052902 | 5/8/08 |  | 5/8/08 | EPA 180.1 | 0.40 | 1.8 |  | NTU
DR 163.25 FIREROCK FOOTBRIDGE |  |  |  |  | B8E0501-06 |  |  |  | Water
Turbidity | 8052902 | 5/7/08 |  | 5/7/08 | EPA 180.1 | 0.40 | 5.0 |  | NTU
DR 164.75 UPSTREAM RIVERHOUSE MOTEL |  |  |  |  | B8E0501-07 |  |  |  | Water
Turbidity | 8052902 | 5/7/08 |  | 5/7/08 | EPA 180.1 | 0.40 | 8.0 |  | NTU
DR 165.75 FIRST STREET RAPIDS |  |  |  |  | B8E0501-08 |  |  |  | Water
Turbidity | 8052902 | 5/7/08 |  | 5/7/08 | EPA 180.1 | 0.40 | 8.8 |  | NTU
DR 166.75 DRAKE PARK FOOTBRIDGE |  |  |  |  | B8E0501-09 |  |  |  | Water
Turbidity | 8052902 | 5/5/08 |  | 5/5/08 | EPA 180.1 | 0.40 | 6.7 |  | NTU
DR 166.75 DRAKE PARK FOOTBRIDGE DUPL. |  |  |  |  | B8E0501-10 |  |  |  | Water
Turbidity | 8052902 | 5/5/08 |  | 5/5/08 | EPA 180.1 | 0.40 | 6.3 |  | NTU
DR 167.25 COLUMBIA PARK FOOTBRIDGE |  |  |  |  | B8E0501-11 |  |  |  | Water
Turbidity | 8052902 | 5/7/08 |  | 5/7/08 | EPA 180.1 | 0.40 | 9.0 |  | NTU
DR 168.00 COLUMBIA ST. BRIDGE |  |  |  |  | B8E0501-12 |  |  |  | Water
Turbidity | 8052902 | 5/7/08 |  | 5/7/08 | EPA 180.1 | 0.40 | 8.2 |  | NTU
DR 169.00 UPSTREAM END MILL LOG POND |  |  |  |  | B8E0501-13 |  |  |  | Water
Turbidity | 8052902 | 5/7/08 |  | 5/7/08 | EPA 180.1 | 0.40 | 10 |  | NTU
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 2 of 22
Wet Chemistry
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 172.00 SOUTHERN UGB |  |  |  |  | B8E0501-14 |  |  |  | Water
Turbidity | 8052902 | 5/7/08 |  | 5/7/08 | EPA 180.1 | 0.40 | 11 |  | NTU
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 3 of 22
Microbiological Parameters by APHA Standard Methods
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 160.00 DOWNSTREAM BOULDER FIELD |  |  |  |  | B8E0501-01 |  |  |  | Water
Coliform, total | 8120308 | 5/7/08 |  | 5/8/08 | SM 9223B | 1.00 | 548 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 10.9 |  | "
DR 160.25 UPSTREAM TUMALO CREEK |  |  |  |  | B8E0501-02 |  |  |  | Water
Coliform, total | 8120309 | 4/8/08 |  | 4/10/08 | SM 9223B | 1.00 | 866 |  | MPN/100 mL | A-01
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 4.10 |  | " | A-01
TC 000.25 MOUTH OF TUMALO CREEK |  |  |  |  | B8E0501-03 |  |  |  | Water
Coliform, total | 8120309 | 4/8/08 |  | 4/10/08 | SM 9223B | 1.00 | 161 |  | MPN/100 mL | A-01
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 10.9 |  | " | A-01
TC 007.50 DOWNSTREAM 4606 ROAD |  |  |  |  | B8E0501-04 |  |  |  | Water
Coliform, total | 8120309 | 4/8/08 |  | 4/10/08 | SM 9223B | 1.00 | 52.9 |  | MPN/100 mL | A-01
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 4.10 |  | " | A-01
TC 007.50 DOWNSTREAM ROAD 4606 DUPL. |  |  |  |  | B8E0501-05 |  |  |  | Water
Coliform, total | 8120309 | 4/8/08 |  | 4/10/08 | SM 9223B | 1.00 | 45.0 |  | MPN/100 mL | A-01
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 4.10 |  | " | A-01
DR 163.25 FIREROCK FOOTBRIDGE |  |  |  |  | B8E0501-06 |  |  |  | Water
Coliform, total | 8120308 | 5/7/08 |  | 5/8/08 | SM 9223B | 1.00 | 387 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 9.70 |  | "
DR 164.75 UPSTREAM RIVERHOUSE MOTEL |  |  |  |  | B8E0501-07 |  |  |  | Water
Coliform, total | 8120308 | 5/7/08 |  | 5/8/08 | SM 9223B | 1.00 | 461 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 8.50 |  | "
DR 165.75 FIRST STREET RAPIDS |  |  |  |  | B8E0501-08 |  |  |  | Water
Coliform, total | 8120308 | 5/7/08 |  | 5/8/08 | SM 9223B | 1.00 | 461 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 6.30 |  | "
DR 166.75 DRAKE PARK FOOTBRIDGE |  |  |  |  | B8E0501-09 |  |  |  | Water
Coliform, total | 8120307 | 5/5/08 |  | 5/6/08 | SM 9223B | 1.00 | 214 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 8.60 |  | "
DR 166.75 DRAKE PARK FOOTBRIDGE DUPL. |  |  |  |  | B8E0501-10 |  |  |  | Water
Coliform, total | 8120307 | 5/5/08 |  | 5/6/08 | SM 9223B | 1.00 | 261 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 6.30 |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 4 of 22
Microbiological Parameters by APHA Standard Methods
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 167.25 COLUMBIA PARK FOOTBRIDGE |  |  |  |  | B8E0501-11 |  |  |  | Water
Coliform, total | 8120308 | 5/7/08 |  | 5/8/08 | SM 9223B | 1.00 | 166 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 7.50 |  | "
DR 168.00 COLUMBIA ST. BRIDGE |  |  |  |  | B8E0501-12 |  |  |  | Water
Coliform, total | 8120308 | 5/7/08 |  | 5/8/08 | SM 9223B | 1.00 | 328 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 21.1 |  | "
DR 169.00 UPSTREAM END MILL LOG POND |  |  |  |  | B8E0501-13 |  |  |  | Water
Coliform, total | 8120308 | 5/7/08 |  | 5/8/08 | SM 9223B | 1.00 | 186 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 4.10 |  | "
DR 172.00 SOUTHERN UGB |  |  |  |  | B8E0501-14 |  |  |  | Water
Coliform, total | 8120308 | 5/7/08 |  | 5/8/08 | SM 9223B | 1.00 | 248 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 2.00 |  | "
FB FIELD BLANK |  |  |  |  | B8E0501-15 |  |  |  | Water
Coliform, total | 8120307 | 5/5/08 |  | 5/6/08 | SM 9223B | 1.00 | ND |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | ND |  | "
DR166.75 DRAKE PARK FB DEQ SPLIT |  |  |  |  | B8E0501-16 |  |  |  | Water
Coliform, total | 8120307 | 5/5/08 |  | 5/6/08 | SM 9223B | 1.00 | 236 |  | MPN/100 mL
Fecal Coliform as E. coli (QT2K) | " | " |  | " | SM 9223B | 1.00 | 8.50 |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 5 of 22
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 160.00 DOWNSTREAM BOULDER FIELD |  |  |  |  | B8E0501-01 |  |  |  | Water
Specific Conductance (EC) | 8052903 | 5/7/08 |  | 5/7/08 | EPA 120.1 | 0.500 | 56.3 |  | umhos/cm
pH | 8052901 | " |  | " | EPA 150.1 |  | 7.86 |  | pH Units
Temperature | 8052903 | " |  | " | EPA 170.1 | 0.0500 | 8.71 |  | °C
Ammonia as N | 8052002 | " |  | 5/20/08 | EPA 300 | 0.0220 | ND |  | mg/L
Fluoride | 8051204 | " |  | 5/7/08 | EPA 300.0 | 0.0960 | 0.195 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.188 | 0.822 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0220 | 0.0100 |  | " | J
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.104 | 0.0530 |  | " | J
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.140 | 0.643 |  | "
Dissolved Oxygen | 8052903 | " |  | " | EPA 360.1 | 1.00 | 10.8 |  | "
Phosphorus-Total | 8051402 | 5/14/08 |  | 5/27/08 | EPA 365.3 | 0.0200 | 0.0480 |  | "
DR 160.25 UPSTREAM TUMALO CREEK |  |  |  |  | B8E0501-02 |  |  |  | Water
Specific Conductance (EC) | 8052903 | 5/8/08 |  | 5/8/08 | EPA 120.1 | 0.500 | 57.6 |  | umhos/cm
pH | 8052901 | " |  | " | EPA 150.1 |  | 8.18 |  | pH Units
Temperature | 8052903 | " |  | " | EPA 170.1 | 0.0500 | 10.8 |  | °C
Ammonia as N | 8052002 | " |  | 5/20/08 | EPA 300 | 0.0220 | 0.0160 |  | mg/L | J
Fluoride | 8051204 | " |  | 5/8/08 | EPA 300.0 | 0.0960 | 0.220 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.188 | 0.821 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0220 | 0.0110 |  | " | J
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.104 | 0.0590 |  | " | J
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.140 | 0.472 |  | "
Dissolved Oxygen | 8052903 | " |  | " | EPA 360.1 | 1.00 | 11.2 |  | "
Phosphorus-Total | 8051402 | 5/14/08 |  | 5/27/08 | EPA 365.3 | 0.0200 | 0.0950 |  | "
TC 000.25 MOUTH OF TUMALO CREEK |  |  |  |  | B8E0501-03 |  |  |  | Water
Specific Conductance (EC) | 8052903 | 5/8/08 |  | 5/8/08 | EPA 120.1 | 0.500 | 40.4 |  | umhos/cm
pH | 8052901 | " |  | " | EPA 150.1 |  | 7.72 |  | pH Units
Temperature | 8052903 | " |  | " | EPA 170.1 | 0.0500 | 6.82 |  | °C
Ammonia as N | 8052002 | " |  | 5/20/08 | EPA 300 | 0.0220 | 0.0480 |  | mg/L
Fluoride | 8051204 | " |  | 5/8/08 | EPA 300.0 | 0.0960 | 0.216 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.188 | 0.381 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0220 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.104 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.140 | 0.425 |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 6 of 22
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
TC 000.25 MOUTH OF TUMALO CREEK (continued) |  |  |  |  | B8E0501-03 |  |  |  | Water
Dissolved Oxygen | 8052903 | 5/8/08 |  | 5/8/08 | EPA 360.1 | 1.00 | 11.3 |  | mg/L
Phosphorus-Total | 8051402 | 5/14/08 |  | 5/27/08 | EPA 365.3 | 0.0200 | 0.0160 |  | "
TC 007.50 DOWNSTREAM 4606 ROAD |  |  |  |  | B8E0501-04 |  |  |  | Water
Specific Conductance (EC) | 8052903 | 5/8/08 |  | 5/8/08 | EPA 120.1 | 0.500 | 39.2 |  | umhos/cm
pH | 8052901 | " |  | " | EPA 150.1 |  | 7.63 |  | pH Units
Temperature | 8052903 | " |  | " | EPA 170.1 | 0.0500 | 3.04 |  | °C
Ammonia as N | 8052002 | " |  | 5/20/08 | EPA 300 | 0.0220 | ND |  | mg/L
Fluoride | 8051204 | " |  | 5/8/08 | EPA 300.0 | 0.0960 | 0.217 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.188 | 0.413 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0220 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.104 | 0.0500 |  | " | J
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.140 | 0.430 |  | "
Dissolved Oxygen | 8052903 | " |  | " | EPA 360.1 | 1.00 | 13.4 |  | "
Phosphorus-Total | 8051402 | 5/14/08 |  | 5/27/08 | EPA 365.3 | 0.0200 | 0.0170 |  | "
TC 007.50 DOWNSTREAM ROAD 4606 DUPL. |  |  |  |  | B8E0501-05 |  |  |  | Water
Specific Conductance (EC) | 8052903 | 5/8/08 |  | 5/8/08 | EPA 120.1 | 0.500 | 39.1 |  | umhos/cm
pH | 8052901 | " |  | " | EPA 150.1 |  | 7.62 |  | pH Units
Temperature | 8052903 | " |  | " | EPA 170.1 | 0.0500 | 3.04 |  | °C
Ammonia as N | 8052002 | " |  | 5/20/08 | EPA 300 | 0.0220 | 0.0150 |  | mg/L | J
Fluoride | 8051204 | " |  | 5/8/08 | EPA 300.0 | 0.0960 | 0.214 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.188 | 0.442 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0220 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.104 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.140 | 0.429 |  | "
Dissolved Oxygen | 8052903 | " |  | " | EPA 360.1 | 1.00 | 13.3 |  | "
Phosphorus-Total | 8051402 | 5/14/08 |  | 5/27/08 | EPA 365.3 | 0.0200 | 0.0170 |  | "
DR 163.25 FIREROCK FOOTBRIDGE |  |  |  |  | B8E0501-06 |  |  |  | Water
Specific Conductance (EC) | 8052903 | 5/7/08 |  | 5/7/08 | EPA 120.1 | 0.500 | 58.1 |  | umhos/cm
pH | 8052901 | " |  | " | EPA 150.1 |  | 7.26 |  | pH Units
Temperature | 8052903 | " |  | " | EPA 170.1 | 0.0500 | 10.2 |  | °C
Ammonia as N | 8052002 | " |  | 5/20/08 | EPA 300 | 0.0220 | 0.0400 |  | mg/L
Fluoride | 8051204 | " |  | 5/8/08 | EPA 300.0 | 0.0960 | 0.218 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.188 | 0.829 |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 7 of 22
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 163.25 FIREROCK FOOTBRIDGE (continued) |  |  |  |  | B8E0501-06 |  |  |  | Water
Nitrite as N | 8051204 | 5/7/08 |  | 5/8/08 | EPA 300.0 | 0.0320 | ND |  | mg/L
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0220 | 0.0150 |  | " | J
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.104 | 0.0650 |  | " | J
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.140 | 0.518 |  | "
Dissolved Oxygen | 8052903 | " |  | 5/7/08 | EPA 360.1 | 1.00 | 10.5 |  | "
Phosphorus-Total | 8051402 | 5/14/08 |  | 5/27/08 | EPA 365.3 | 0.0200 | 0.0670 |  | "
DR 164.75 UPSTREAM RIVERHOUSE MOTEL |  |  |  |  | B8E0501-07 |  |  |  | Water
Specific Conductance (EC) | 8052903 | 5/7/08 |  | 5/7/08 | EPA 120.1 | 0.500 | 58.1 |  | umhos/cm
pH | 8052901 | " |  | " | EPA 150.1 |  | 7.68 |  | pH Units
Temperature | 8052903 | " |  | " | EPA 170.1 | 0.0500 | 10.4 |  | °C
Ammonia as N | 8052002 | " |  | 5/20/08 | EPA 300 | 0.0220 | ND |  | mg/L
Fluoride | 8051204 | " |  | 5/8/08 | EPA 300.0 | 0.0960 | 0.223 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.188 | 0.828 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0220 | 0.0160 |  | " | J
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.104 | 0.0540 |  | " | J
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.140 | 0.511 |  | "
Dissolved Oxygen | 8052903 | " |  | 5/7/08 | EPA 360.1 | 1.00 | 10.3 |  | "
Phosphorus-Total | 8051402 | 5/14/08 |  | 5/27/08 | EPA 365.3 | 0.0200 | 0.0620 |  | "
DR 165.75 FIRST STREET RAPIDS |  |  |  |  | B8E0501-08 |  |  |  | Water
Specific Conductance (EC) | 8052903 | 5/7/08 |  | 5/7/08 | EPA 120.1 | 0.500 | 56.5 |  | umhos/cm
pH | 8052901 | " |  | " | EPA 150.1 |  | 7.93 |  | pH Units
Temperature | 8052903 | " |  | " | EPA 170.1 | 0.0500 | 10.5 |  | °C
Ammonia as N | 8052002 | " |  | 5/20/08 | EPA 300 | 0.0220 | ND |  | mg/L
Fluoride | 8051204 | " |  | 5/7/08 | EPA 300.0 | 0.0960 | 0.216 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.188 | 0.876 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0220 | 0.0160 |  | " | J
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.104 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.140 | 0.558 |  | "
Dissolved Oxygen | 8052903 | " |  | " | EPA 360.1 | 1.00 | 10.4 |  | "
Phosphorus-Total | 8051402 | 5/14/08 |  | 5/27/08 | EPA 365.3 | 0.0200 | 0.0710 |  | "
DR 166.75 DRAKE PARK FOOTBRIDGE |  |  |  |  | B8E0501-09 |  |  |  | Water
Specific Conductance (EC) | 8051403 | 5/5/08 |  | 5/5/08 | EPA 120.1 | 0.500 | 67.3 |  | umhos/cm
pH | 8052901 | " |  | " | EPA 150.1 |  | 7.76 |  | pH Units
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 8 of 22
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 166.75 DRAKE PARK FOOTBRIDGE (continued) |  |  |  |  | B8E0501-09 |  |  |  | Water
Temperature | 8052903 | 5/5/08 |  | 5/5/08 | EPA 170.1 | 0.0500 | 9.34 |  | °C
Ammonia as N | 8052002 | " |  | 5/20/08 | EPA 300 | 0.0220 | 0.0190 |  | mg/L | J
Fluoride | 8051204 | " |  | 5/5/08 | EPA 300.0 | 0.0960 | 0.223 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.188 | 0.841 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0220 | 0.0150 |  | " | J
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.104 | 0.0720 |  | " | J
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.140 | 0.520 |  | "
Dissolved Oxygen | 8052903 | " |  | " | EPA 360.1 | 1.00 | 9.61 |  | "
Phosphorus-Total | 8051402 | 5/14/08 |  | 5/27/08 | EPA 365.3 | 0.0200 | 0.0670 |  | "
DR 166.75 DRAKE PARK FOOTBRIDGE DUPL. |  |  |  |  | B8E0501-10 |  |  |  | Water
Specific Conductance (EC) | 8051403 | 5/5/08 |  | 5/5/08 | EPA 120.1 | 0.500 | 64.7 |  | umhos/cm
pH | 8052901 | " |  | " | EPA 150.1 |  | 7.75 |  | pH Units
Temperature | 8052903 | " |  | " | EPA 170.1 | 0.0500 | 9.33 |  | °C
Ammonia as N | 8052002 | " |  | 5/20/08 | EPA 300 | 0.0220 | ND |  | mg/L
Fluoride | 8051204 | " |  | 5/5/08 | EPA 300.0 | 0.0960 | 0.222 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.188 | 0.847 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0220 | 0.0130 |  | " | J
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.104 | 0.0650 |  | " | J
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.140 | 0.520 |  | "
Dissolved Oxygen | 8052903 | " |  | " | EPA 360.1 | 1.00 | 9.64 |  | "
Phosphorus-Total | 8051402 | 5/14/08 |  | 5/27/08 | EPA 365.3 | 0.0200 | 0.0750 |  | "
DR 167.25 COLUMBIA PARK FOOTBRIDGE |  |  |  |  | B8E0501-11 |  |  |  | Water
Specific Conductance (EC) | 8052903 | 5/7/08 |  | 5/7/08 | EPA 120.1 | 0.500 | 57.9 |  | umhos/cm
pH | 8052901 | " |  | " | EPA 150.1 |  | 8.04 |  | pH Units
Temperature | 8052903 | " |  | " | EPA 170.1 | 0.0500 | 10.9 |  | °C
Ammonia as N | 8052002 | " |  | 5/20/08 | EPA 300 | 0.0220 | ND |  | mg/L
Fluoride | 8051204 | " |  | 5/7/08 | EPA 300.0 | 0.0960 | 0.199 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.188 | 0.868 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0220 | 0.0150 |  | " | J
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.104 | 0.0730 |  | " | J
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.140 | 0.560 |  | "
Dissolved Oxygen | 8052903 | " |  | " | EPA 360.1 | 1.00 | 10.9 |  | "
Phosphorus-Total | 8051402 | 5/14/08 |  | 5/27/08 | EPA 365.3 | 0.0200 | 0.0780 |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 9 of 22
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 168.00 COLUMBIA ST. BRIDGE |  |  |  |  | B8E0501-12 |  |  |  | Water
Specific Conductance (EC) | 8052903 | 5/7/08 |  | 5/7/08 | EPA 120.1 | 0.500 | 59.0 |  | umhos/cm
pH | 8052901 | " |  | " | EPA 150.1 |  | 8.07 |  | pH Units
Temperature | 8052903 | " |  | " | EPA 170.1 | 0.0500 | 10.9 |  | °C
Ammonia as N | 8052002 | " |  | 5/20/08 | EPA 300 | 0.0220 | ND |  | mg/L
Fluoride | 8051204 | " |  | 5/7/08 | EPA 300.0 | 0.0960 | 0.277 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.188 | 0.861 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0220 | 0.0180 |  | " | J
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.104 | 0.0610 |  | " | J
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.140 | 0.533 |  | "
Dissolved Oxygen | 8052903 | " |  | " | EPA 360.1 | 1.00 | 10.3 |  | "
Phosphorus-Total | 8051402 | 5/14/08 |  | 5/27/08 | EPA 365.3 | 0.0200 | 0.0820 |  | "
DR 169.00 UPSTREAM END MILL LOG POND |  |  |  |  | B8E0501-13 |  |  |  | Water
Specific Conductance (EC) | 8052903 | 5/7/08 |  | 5/7/08 | EPA 120.1 | 0.500 | 57.6 |  | umhos/cm
pH | 8052901 | " |  | " | EPA 150.1 |  | 8.02 |  | pH Units
Temperature | 8052903 | " |  | " | EPA 170.1 | 0.0500 | 10.8 |  | °C
Ammonia as N | 8052002 | " |  | 5/20/08 | EPA 300 | 0.0220 | ND |  | mg/L
Fluoride | 8051204 | " |  | 5/7/08 | EPA 300.0 | 0.0960 | 0.327 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.188 | 1.19 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0220 | 0.0170 |  | " | J
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.104 | 0.0600 |  | " | J
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.140 | 0.544 |  | "
Dissolved Oxygen | 8052903 | " |  | " | EPA 360.1 | 1.00 | 10.5 |  | "
Phosphorus-Total | 8051402 | 5/14/08 |  | 5/27/08 | EPA 365.3 | 0.0200 | 0.0740 |  | "
DR 172.00 SOUTHERN UGB |  |  |  |  | B8E0501-14 |  |  |  | Water
Specific Conductance (EC) | 8052903 | 5/7/08 |  | 5/7/08 | EPA 120.1 | 0.500 | 57.6 |  | umhos/cm
pH | 8052901 | " |  | " | EPA 150.1 |  | 8.00 |  | pH Units
Temperature | 8052903 | " |  | " | EPA 170.1 | 0.0500 | 10.8 |  | °C
Ammonia as N | 8052002 | " |  | 5/20/08 | EPA 300 | 0.0220 | 0.0530 |  | mg/L
Fluoride | 8051204 | " |  | 5/7/08 | EPA 300.0 | 0.0960 | 0.220 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.188 | 0.821 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0220 | 0.0150 |  | " | J
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.104 | 0.0490 |  | " | J
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.140 | 0.556 |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 10 of 22
Classical Chemistry Parameters
City of Bend Water Quality Laboratory
| Batch | Date |  | Date | Specific | Reporting
Analyte | Number | Prepared |  | Analyzed | Method | Limit | Result |  | Units | Notes*
DR 172.00 SOUTHERN UGB (continued) |  |  |  |  | B8E0501-14 |  |  |  | Water
Dissolved Oxygen | 8052903 | 5/7/08 |  | 5/7/08 | EPA 360.1 | 1.00 | 10.5 |  | mg/L
Phosphorus-Total | 8051402 | 5/14/08 |  | 5/27/08 | EPA 365.3 | 0.0200 | 0.0900 |  | "
FB FIELD BLANK |  |  |  |  | B8E0501-15 |  |  |  | Water
Specific Conductance (EC) | 8051403 | 5/5/08 |  | 5/5/08 | EPA 120.1 | 0.500 | 1.48 |  | umhos/cm
Ammonia as N | 8052002 | " |  | 5/20/08 | EPA 300 | 0.0220 | 0.0200 |  | mg/L | J
Fluoride | 8051204 | " |  | 5/5/08 | EPA 300.0 | 0.0960 | ND |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.188 | ND |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0220 | ND |  | "
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.104 | ND |  | "
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.140 | ND |  | "
Phosphorus-Total | 8051402 | 5/14/08 |  | 5/27/08 | EPA 365.3 | 0.0200 | ND |  | "
DR166.75 DRAKE PARK FB DEQ SPLIT |  |  |  |  | B8E0501-16 |  |  |  | Water
Specific Conductance (EC) | 8051403 | 5/5/08 |  | 5/5/08 | EPA 120.1 | 0.500 | 65.1 |  | umhos/cm
pH | 8052901 | " |  | " | EPA 150.1 |  | 7.51 |  | pH Units
Ammonia as N | 8052002 | " |  | 5/20/08 | EPA 300 | 0.0220 | 0.0180 |  | mg/L | J
Fluoride | 8051204 | " |  | 5/5/08 | EPA 300.0 | 0.0960 | 0.221 |  | "
Chloride | " | " |  | " | EPA 300.0 | 0.188 | 1.01 |  | "
Nitrite as N | " | " |  | " | EPA 300.0 | 0.0320 | ND |  | "
Nitrate as N | " | " |  | " | EPA 300.0 | 0.0220 | 0.0160 |  | " | J
Orthophosphate as P | " | " |  | " | EPA 300.0 | 0.104 | 0.0610 |  | " | J
Sulfate as SO4 | " | " |  | " | EPA 300.0 | 0.140 | 0.703 |  | "
Phosphorus-Total | 8051402 | 5/14/08 |  | 5/27/08 | EPA 365.3 | 0.0200 | 0.0750 |  | "
City of Bend Water Quality Laboratory | [10 empty] | *Refer to end of report for text of notes and definitions.
Page 11 of 22

## QC
City of Bend Water Quality Monitoring Program |  |  | Project: | Deschutes River Ambient Water Quality Monitoring |  |  |  |  | Sampled: | 5/5/08 to 5/8/08
575 NE 15th St. |  |  | Project Number: | [none] |  |  |  |  | Received: | 5/8/08
Bend, OR 97701 |  |  | Project Manager: | Steve Prazak |  |  |  |  | Reported: | 12/11/08 12:58
Wet Chemistry/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Batch: 8052902 | Date Prepared: 4/21/08 | [5 empty] | Extraction Method: NO PREP
Reference | 8052902-SRM1
Turbidity | 4/21/08 | 503 |  |  |  | 504 | NTU | 80-120 | 100
Reference | 8052902-SRM2
Turbidity | 4/21/08 | 51.8 |  |  |  | 52.9 | NTU | 80-120 | 102
Reference | 8052902-SRM3
Turbidity | 4/21/08 | 5.85 |  |  |  | 5.96 | NTU | 80-120 | 102
Reference | 8052902-SRM4
Turbidity | 4/30/08 | 503 |  |  |  | 503 | NTU | 80-120 | 100
Reference | 8052902-SRM5
Turbidity | 4/30/08 | 51.8 |  |  |  | 51.9 | NTU | 80-120 | 100
Reference | 8052902-SRM6
Turbidity | 4/30/08 | 5.85 |  |  |  | 5.74 | NTU | 80-120 | 98.1
Reference | 8052902-SRM7
Turbidity | 5/14/08 | 503 |  |  |  | 509 | NTU | 80-120 | 101
Reference | 8052902-SRM8
Turbidity | 5/14/08 | 51.8 |  |  |  | 52.4 | NTU | 80-120 | 101
Reference | 8052902-SRM9
Turbidity | 5/14/08 | 5.85 |  |  |  | 5.76 | NTU | 80-120 | 98.5
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 12 of 22
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Batch: 8051204 | Date Prepared: 5/5/08 | [5 empty] | Extraction Method: NO PREP
Blank | 8051204-BLK1
Fluoride | 5/5/08 |  |  |  |  | ND | mg/L | 0.0960
Chloride | " |  |  |  |  | ND | " | 0.188
Nitrite as N | " |  |  |  |  | ND | " | 0.0320
Nitrate as N | " |  |  |  |  | ND | " | 0.0220
Orthophosphate as P | " |  |  |  |  | ND | " | 0.104
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.140
Blank | 8051204-BLK2
Fluoride | 5/5/08 |  |  |  |  | ND | mg/L | 0.0960
Chloride | " |  |  |  |  | ND | " | 0.188
Nitrite as N | " |  |  |  |  | ND | " | 0.0320
Nitrate as N | " |  |  |  |  | ND | " | 0.0220
Orthophosphate as P | " |  |  |  |  | ND | " | 0.104
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.140
Blank | 8051204-BLK3
Fluoride | 5/5/08 |  |  |  |  | ND | mg/L | 0.0960
Chloride | " |  |  |  |  | ND | " | 0.188
Nitrite as N | " |  |  |  |  | ND | " | 0.0320
Nitrate as N | " |  |  |  |  | ND | " | 0.0220
Orthophosphate as P | " |  |  |  |  | ND | " | 0.104
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.140
Blank | 8051204-BLK4
Fluoride | 5/5/08 |  |  |  |  | ND | mg/L | 0.0960
Chloride | " |  |  |  |  | ND | " | 0.188
Nitrite as N | " |  |  |  |  | ND | " | 0.0320
Nitrate as N | " |  |  |  |  | ND | " | 0.0220
Orthophosphate as P | " |  |  |  |  | ND | " | 0.104
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.140
Blank | 8051204-BLK5
Fluoride | 5/6/08 |  |  |  |  | ND | mg/L | 0.0960
Chloride | " |  |  |  |  | ND | " | 0.188
Nitrite as N | " |  |  |  |  | ND | " | 0.0320
Nitrate as N | " |  |  |  |  | ND | " | 0.0220
Orthophosphate as P | " |  |  |  |  | ND | " | 0.104
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 13 of 22
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Blank (continued) | 8051204-BLK5
Sulfate as SO4 | 5/6/08 |  |  |  |  | ND | mg/L | 0.140
Blank | 8051204-BLK6
Fluoride | 5/6/08 |  |  |  |  | ND | mg/L | 0.0960
Chloride | " |  |  |  |  | ND | " | 0.188
Nitrite as N | " |  |  |  |  | ND | " | 0.0320
Nitrate as N | " |  |  |  |  | ND | " | 0.0220
Orthophosphate as P | " |  |  |  |  | ND | " | 0.104
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.140
Blank | 8051204-BLK7
Fluoride | 5/7/08 |  |  |  |  | ND | mg/L | 0.0960
Chloride | " |  |  |  |  | ND | " | 0.188
Nitrite as N | " |  |  |  |  | ND | " | 0.0320
Nitrate as N | " |  |  |  |  | ND | " | 0.0220
Orthophosphate as P | " |  |  |  |  | ND | " | 0.104
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.140
Blank | 8051204-BLK8
Fluoride | 5/7/08 |  |  |  |  | ND | mg/L | 0.0960
Chloride | " |  |  |  |  | ND | " | 0.188
Nitrite as N | " |  |  |  |  | ND | " | 0.0320
Nitrate as N | " |  |  |  |  | ND | " | 0.0220
Orthophosphate as P | " |  |  |  |  | ND | " | 0.104
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.140
Blank | 8051204-BLK9
Fluoride | 5/7/08 |  |  |  |  | ND | mg/L | 0.0960
Chloride | " |  |  |  |  | ND | " | 0.188
Nitrite as N | " |  |  |  |  | ND | " | 0.0320
Nitrate as N | " |  |  |  |  | ND | " | 0.0220
Orthophosphate as P | " |  |  |  |  | ND | " | 0.104
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.140
Blank | 8051204-BLKA
Fluoride | 5/8/08 |  |  |  |  | ND | mg/L | 0.0960
Chloride | " |  |  |  |  | ND | " | 0.188
Nitrite as N | " |  |  |  |  | ND | " | 0.0320
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 14 of 22
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Blank (continued) | 8051204-BLKA
Nitrate as N | 5/8/08 |  |  |  |  | ND | mg/L | 0.0220
Orthophosphate as P | " |  |  |  |  | ND | " | 0.104
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.140
Blank | 8051204-BLKB
Fluoride | 5/8/08 |  |  |  |  | ND | mg/L | 0.0960
Chloride | " |  |  |  |  | ND | " | 0.188
Nitrite as N | " |  |  |  |  | ND | " | 0.0320
Nitrate as N | " |  |  |  |  | ND | " | 0.0220
Orthophosphate as P | " |  |  |  |  | ND | " | 0.104
Sulfate as SO4 | " |  |  |  |  | ND | " | 0.140
LCS | 8051204-BS1
Fluoride | 5/5/08 | 1.00 |  |  |  | 1.05 | mg/L | 80-120 | 105
Chloride | " | 1.00 |  |  |  | 0.914 | " | 80-120 | 91.4
Nitrite as N | " | 1.00 |  |  |  | 0.954 | " | 80-120 | 95.4
Nitrate as N | " | 1.00 |  |  |  | 0.898 | " | 80-120 | 89.8
Orthophosphate as P | " | 1.00 |  |  |  | 0.940 | " | 80-120 | 94.0
Sulfate as SO4 | " | 1.00 |  |  |  | 1.01 | " | 80-120 | 101
Calibration Check | 8051204-CCV1
Fluoride | 5/5/08 | 1.00 |  |  |  | 1.11 | mg/L | 80-120 | 111
Chloride | " | 1.00 |  |  |  | 1.03 | " | 80-120 | 103
Nitrite as N | " | 1.00 |  |  |  | 1.17 | " | 80-120 | 117
Nitrate as N | " | 1.00 |  |  |  | 1.04 | " | 80-120 | 104
Orthophosphate as P | " | 1.00 |  |  |  | 1.02 | " | 80-120 | 102
Sulfate as SO4 | " | 1.00 |  |  |  | 0.980 | " | 80-120 | 98.0
Calibration Check | 8051204-CCV2
Fluoride | 5/5/08 | 5.00 |  |  |  | 4.37 | mg/L | 80-120 | 87.4
Chloride | " | 5.00 |  |  |  | 4.58 | " | 80-120 | 91.6
Nitrite as N | " | 5.00 |  |  |  | 4.81 | " | 80-120 | 96.3
Nitrate as N | " | 5.00 |  |  |  | 4.92 | " | 80-120 | 98.4
Orthophosphate as P | " | 5.00 |  |  |  | 4.63 | " | 80-120 | 92.5
Sulfate as SO4 | " | 5.00 |  |  |  | 4.68 | " | 80-120 | 93.7
Duplicate | 8051204-DUP1 |  |  |  | B8E0501-09
Fluoride | 5/5/08 |  |  |  | 0.223 | 0.278 | mg/L |  |  |  | 10 | 22.0 | QR-01
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 15 of 22
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Duplicate (continued) | 8051204-DUP1 |  |  |  | B8E0501-09
Chloride | 5/5/08 |  |  |  | 0.841 | 0.878 | mg/L |  |  |  | 10 | 4.30
Nitrite as N | " |  |  |  | ND | ND | " |  |  |  | 10
Nitrate as N | " |  |  |  | 0.0150 | 0.0170 | " |  |  |  | 10 | 12.5 | QR-01, J
Orthophosphate as P | " |  |  |  | 0.0720 | 0.0680 | " |  |  |  | 10 | 5.71 | J
Sulfate as SO4 | " |  |  |  | 0.520 | 0.541 | " |  |  |  | 10 | 3.96
Duplicate | 8051204-DUP2 |  |  |  | B8E0703-01
Fluoride | 5/7/08 |  |  |  | 0.233 | 0.234 | mg/L |  |  |  | 10 | 0.428
Chloride | " |  |  |  | 1.86 | 1.84 | " |  |  |  | 10 | 1.24
Nitrite as N | " |  |  |  | ND | ND | " |  |  |  | 10
Nitrate as N | " |  |  |  | 0.0440 | 0.0440 | " |  |  |  | 10 | 0.00
Orthophosphate as P | " |  |  |  | 0.0890 | 0.0890 | " |  |  |  | 10 | 0.00 | J
Sulfate as SO4 | " |  |  |  | 0.559 | 0.552 | " |  |  |  | 10 | 1.26
Post Spike | 8051204-PS1 |  |  |  | B8E0501-10
Fluoride | 5/5/08 | 0.500 |  |  | 0.111 | 0.548 | mg/L | 80-120 | 87.4
Chloride | " | 0.500 |  |  | 0.424 | 0.847 | " | 80-120 | 84.7
Nitrite as N | " | 0.500 |  |  | ND | 0.473 | " | 80-120 | 94.6
Nitrate as N | " | 0.500 |  |  | 0.00650 | 0.447 | " | 80-120 | 88.1
Orthophosphate as P | " | 0.500 |  |  | 0.0325 | 0.471 | " | 80-120 | 87.7
Sulfate as SO4 | " | 0.500 |  |  | 0.260 | 0.727 | " | 80-120 | 93.4
Post Spike | 8051204-PS2 |  |  |  | B8E0703-02
Fluoride | 5/7/08 | 0.500 |  |  | 0.113 | 0.526 | mg/L | 80-120 | 82.6
Chloride | " | 0.500 |  |  | 0.888 | 1.43 | " | 80-120 | 108
Nitrite as N | " | 0.500 |  |  | ND | 0.399 | " | 80-120 | 79.8 |  |  |  | QM-05
Nitrate as N | " | 0.500 |  |  | 0.0165 | 0.529 | " | 80-120 | 102
Orthophosphate as P | " | 0.500 |  |  | 0.0405 | 0.530 | " | 80-120 | 97.9
Sulfate as SO4 | " | 0.500 |  |  | 0.266 | 0.752 | " | 80-120 | 97.2
Reference | 8051204-SRM1
Fluoride | 5/5/08 | 1.00 |  |  |  | 0.848 | mg/L | 80-120 | 84.8
Chloride | " | 1.00 |  |  |  | 0.806 | " | 80-120 | 80.6
Nitrite as N | " | 1.00 |  |  |  | 0.937 | " | 80-120 | 93.7
Nitrate as N | " | 1.00 |  |  |  | 0.834 | " | 80-120 | 83.4
Orthophosphate as P | " | 1.00 |  |  |  | 0.862 | " | 80-120 | 86.2
Sulfate as SO4 | " | 1.00 |  |  |  | 0.894 | " | 80-120 | 89.4
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 16 of 22
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Reference | 8051204-SRM2
Fluoride | 5/5/08 | 5.00 |  |  |  | 4.03 | mg/L | 80-120 | 80.6
Chloride | " | 20.0 |  |  |  | 18.2 | " | 80-120 | 90.9
Nitrite as N | " | 0.250 |  |  |  | 0.221 | " | 80-120 | 88.4
Nitrate as N | " | 5.00 |  |  |  | 4.47 | " | 80-120 | 89.4
Orthophosphate as P | " | 5.00 |  |  |  | 4.30 | " | 80-120 | 86.1
Sulfate as SO4 | " | 20.0 |  |  |  | 17.4 | " | 80-120 | 87.2
Reference | 8051204-SRM3
Fluoride | 5/7/08 | 1.00 |  |  |  | 0.845 | mg/L | 80-120 | 84.5
Chloride | " | 1.00 |  |  |  | 0.831 | " | 80-120 | 83.1
Nitrite as N | " | 1.00 |  |  |  | 0.950 | " | 80-120 | 95.0
Nitrate as N | " | 1.00 |  |  |  | 0.853 | " | 80-120 | 85.3
Orthophosphate as P | " | 1.00 |  |  |  | 0.935 | " | 80-120 | 93.5
Sulfate as SO4 | " | 1.00 |  |  |  | 0.909 | " | 80-120 | 90.9
Reference | 8051204-SRM4
Fluoride | 5/7/08 | 5.00 |  |  |  | 4.83 | mg/L | 80-120 | 96.6
Chloride | " | 20.0 |  |  |  | 19.5 | " | 80-120 | 97.5
Nitrite as N | " | 0.250 |  |  |  | 0.261 | " | 80-120 | 104
Nitrate as N | " | 5.00 |  |  |  | 4.59 | " | 80-120 | 91.8
Orthophosphate as P | " | 5.00 |  |  |  | 4.64 | " | 80-120 | 92.8
Sulfate as SO4 | " | 20.0 |  |  |  | 18.6 | " | 80-120 | 92.9
Batch: 8051402 | Date Prepared: 5/14/08 | [5 empty] | Extraction Method: Micro Prep
Blank | 8051402-BLK1
Phosphorus-Total | 5/27/08 |  |  |  |  | ND | mg/L | 0.0200
Blank | 8051402-BLK2
Phosphorus-Total | 5/27/08 |  |  |  |  | ND | mg/L | 0.0200
Blank | 8051402-BLK3
Phosphorus-Total | 5/27/08 |  |  |  |  | ND | mg/L | 0.0200
LCS | 8051402-BS1
Phosphorus-Total | 5/27/08 | 1.00 |  |  |  | 1.03 | mg/L | 80-120 | 103
LCS | 8051402-BS2
Phosphorus-Total | 5/27/08 | 1.00 |  |  |  | 1.04 | mg/L | 80-120 | 104
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 17 of 22
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
LCS | 8051402-BS3
Phosphorus-Total | 5/27/08 | 1.00 |  |  |  | 1.00 | mg/L | 80-120 | 100
Duplicate | 8051402-DUP1 |  |  |  | B8E0501-01
Phosphorus-Total | 5/27/08 |  |  |  | 0.0480 | 0.0490 | mg/L |  |  |  | 20 | 2.06
Duplicate | 8051402-DUP2 |  |  |  | B8E0501-08
Phosphorus-Total | 5/27/08 |  |  |  | 0.0710 | 0.0690 | mg/L |  |  |  | 20 | 2.86
Duplicate | 8051402-DUP3 |  |  |  | B8E1302-01
Phosphorus-Total | 5/27/08 |  |  |  | 3.45 | 3.49 | mg/L |  |  |  | 20 | 1.15
Matrix Spike | 8051402-MS1 |  |  |  | B8E0501-02
Phosphorus-Total | 5/27/08 | 1.00 |  |  | 0.0950 | 1.17 | mg/L | 80-120 | 108
Matrix Spike | 8051402-MS2 |  |  |  | B8E0501-09
Phosphorus-Total | 5/27/08 | 1.00 |  |  | 0.0670 | 1.12 | mg/L | 80-120 | 105
Matrix Spike | 8051402-MS3 |  |  |  | B8E1302-02
Phosphorus-Total | 5/27/08 | 1.00 |  |  | 3.49 | 4.30 | mg/L | 80-120 | 81.0
Reference | 8051402-SRM1
Phosphorus-Total | 5/27/08 | 4.32 |  |  |  | 4.52 | mg/L | 80-120 | 105
Reference | 8051402-SRM2
Phosphorus-Total | 5/27/08 | 4.32 |  |  |  | 4.38 | mg/L | 80-120 | 101
Reference | 8051402-SRM3
Phosphorus-Total | 5/27/08 | 8.30 |  |  |  | 8.39 | mg/L | 80-120 | 101
Reference | 8051402-SRM4
Phosphorus-Total | 5/27/08 | 8.30 |  |  |  | 8.41 | mg/L | 80-120 | 101
Batch: 8052002 | Date Prepared: 5/20/08 | [5 empty] | Extraction Method: NO PREP
Blank | 8052002-BLK1
Ammonia as N | 5/20/08 |  |  |  |  | ND | mg/L | 0.0220
Blank | 8052002-BLK2
Ammonia as N | 5/20/08 |  |  |  |  | ND | mg/L | 0.0220
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 18 of 22
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Blank | 8052002-BLK3
Ammonia as N | 5/20/08 |  |  |  |  | ND | mg/L | 0.0220
Blank | 8052002-BLK4
Ammonia as N | 5/20/08 |  |  |  |  | ND | mg/L | 0.0220
Blank | 8052002-BLK5
Ammonia as N | 5/21/08 |  |  |  |  | ND | mg/L | 0.0220
Blank | 8052002-BLK6
Ammonia as N | 5/21/08 |  |  |  |  | ND | mg/L | 0.0220
Blank | 8052002-BLK7
Ammonia as N | 5/21/08 |  |  |  |  | ND | mg/L | 0.0220
Blank | 8052002-BLK8
Ammonia as N | 5/21/08 |  |  |  |  | ND | mg/L | 0.0220
LCS | 8052002-BS1
Ammonia as N | 5/20/08 | 1.00 |  |  |  | 1.25 | mg/L | 80-120 | 125 |  |  |  | QL-01
LCS Dup | 8052002-BSD1
Ammonia as N | 5/21/08 | 1.00 |  |  |  | 1.18 | mg/L | 80-120 | 118 |  | 10 | 5.74
Calibration Check | 8052002-CCV1
Ammonia as N | 5/20/08 | 1.00 |  |  |  | 1.17 | mg/L | 80-120 | 117
Calibration Check | 8052002-CCV2
Ammonia as N | 5/20/08 | 2.00 |  |  |  | 2.14 | mg/L | 80-120 | 107
Duplicate | 8052002-DUP1 |  |  |  | B8E0501-01
Ammonia as N | 5/20/08 |  |  |  | ND | ND | mg/L |  |  |  | 10
Duplicate | 8052002-DUP2 |  |  |  | B8E0901-01
Ammonia as N | 5/20/08 |  |  |  | ND | ND | mg/L |  |  |  | 10
Post Spike | 8052002-PS1 |  |  |  | B8E0501-02
Ammonia as N | 5/20/08 | 0.500 |  |  | 0.00800 | 0.569 | mg/L | 80-120 | 112
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 19 of 22
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Post Spike | 8052002-PS2 |  |  |  | B8E0901-02
Ammonia as N | 5/20/08 | 0.500 |  |  | ND | 0.579 | mg/L | 80-120 | 116
Reference | 8052002-SRM1
Ammonia as N | 5/20/08 | 2.00 |  |  |  | 2.17 | mg/L | 80-120 | 109
Reference | 8052002-SRM2
Ammonia as N | 5/20/08 | 5.00 |  |  |  | 4.92 | mg/L | 80-120 | 98.3
Reference | 8052002-SRM3
Ammonia as N | 5/21/08 | 2.00 |  |  |  | 2.12 | mg/L | 80-120 | 106
Reference | 8052002-SRM4
Ammonia as N | 5/21/08 | 5.00 |  |  |  | 4.76 | mg/L | 80-120 | 95.2
Reference | 8052002-SRM5
Ammonia as N | 5/21/08 | 2.00 |  |  |  | 2.12 | mg/L | 80-120 | 106
Reference | 8052002-SRM6
Ammonia as N | 5/21/08 | 5.00 |  |  |  | 4.86 | mg/L | 80-120 | 97.2
Batch: 8052903 | Date Prepared: 4/21/08 | [5 empty] | Extraction Method: NO PREP
Reference | 8052903-SRM1
Specific Conductance (EC) | 4/21/08 | 145 |  |  |  | 142 | umhos/cm | 85-115 | 97.9
Reference | 8052903-SRM2
Temperature | 4/21/08 | 12.4 |  |  |  | 12.4 | °C | 96-104 | 99.8
Dissolved Oxygen | " | 9.10 |  |  |  | 9.43 | mg/L | 89-111 | 104
Reference | 8052903-SRM3
Specific Conductance (EC) | 4/30/08 | 145 |  |  |  | 141 | umhos/cm | 85-115 | 97.2
Reference | 8052903-SRM4
Temperature | 4/30/08 | 13.0 |  |  |  | 13.0 | °C | 96-104 | 99.9
Dissolved Oxygen | " | 8.60 |  |  |  | 9.36 | mg/L | 88-112 | 109
Reference | 8052903-SRM5
Specific Conductance (EC) | 5/5/08 | 145 |  |  |  | 147 | umhos/cm | 85-115 | 101
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 20 of 22
Classical Chemistry Parameters/Quality Control
City of Bend Water Quality Laboratory
| Date | Spike |  |  | Sample | QC |  | Reporting Limit | Recov. |  | RPD | RPD
Analyte | Analyzed | Level |  |  | Result | Result | Units | Recov. Limits | % |  | Limit | % | Notes*
Reference | 8052903-SRM6
Temperature | 5/5/08 | 12.5 |  |  |  | 12.5 | °C | 96-104 | 100
Dissolved Oxygen | " | 9.00 |  |  |  | 9.44 | mg/L | 89-111 | 105
Reference | 8052903-SRM7
Specific Conductance (EC) | 5/14/08 | 145 |  |  |  | 147 | umhos/cm | 85-115 | 101
Reference | 8052903-SRM8
Temperature | 5/14/08 | 13.7 |  |  |  | 13.7 | °C | 96-104 | 100
Dissolved Oxygen | " | 9.10 |  |  |  | 9.20 | mg/L | 89-111 | 101
City of Bend Water Quality Laboratory | [12 empty] | *Refer to end of report for text of notes and definitions.
Page 21 of 22

## NOTES
City of Bend Water Quality Monitoring Program |  | Project: | Deschutes River Ambient Water Quality Monitoring | Sampled: | 5/5/08 to 5/8/08
575 NE 15th St. |  | Project Number: | [none] | Received: | 5/8/08
Bend, OR 97701 |  | Project Manager: | Steve Prazak | Reported: | 12/11/08 12:58
Notes and Definitions
# | Note
A-01 | Samples incubated over 28 hours. Test and results not valid.
J | Detected but below the Reporting Limit; therefore, result is an estimated concentration (CLP J-Flag).
QL-01 | Sample results for the QC batch were accepted based on LCS/LCSD percent recoveries and RPD values.
QM-05 | The spike recovery was outside acceptance limits for the MS and/or MSD due to matrix interference. The LCS and/or LCSD were
within acceptance limits showing that the laboratory is in control and the data is acceptable.
QR-01 | Analyses are not controlled on RPD values from sample concentrations less than 10 times the reporting limit. QC batch accepted
based on LCS and/or LCSD QC results.
DET | Analyte DETECTED
ND | Analyte NOT DETECTED at or above the reporting limit
NR | Not Reported
dry | Sample results reported on a dry weight basis
Recov. | Recovery
RPD | Relative Percent Difference
City of Bend Water Quality Laboratory
Page 22 of 22

## EXCEPTIONS
Report Exceptions List
(for internal use only)
Exception | Analysis or Specific Method | Lab Number | Analyte or General Method
J-Flags used | Anions by EPA 300.0 |  | (Water)
Result calculations based on MDL | Anions by EPA 300.0 |  | (Water)
Exceeds RPD control limit | Anions by EPA 300.0 | 8051204-DUP1 | Fluoride
QR-01: Analyses are not controlled on RPD values from sample concentrations less than 10 times the reporting limit. QC batch accepted based on LCS and/or LCSD QC results. | Anions by EPA 300.0 | 8051204-DUP1 | Fluoride
QR-01 (QR-01) | Anions by EPA 300.0 | 8051204-DUP1 | Fluoride
Exceeds RPD control limit | Anions by EPA 300.0 | 8051204-DUP1 | Nitrate as N
QR-01: Analyses are not controlled on RPD values from sample concentrations less than 10 times the reporting limit. QC batch accepted based on LCS and/or LCSD QC results. | Anions by EPA 300.0 | 8051204-DUP1 | Nitrate as N
J (J) | Anions by EPA 300.0 | 8051204-DUP1 | Nitrate as N
QR-01 (QR-01) | Anions by EPA 300.0 | 8051204-DUP1 | Nitrate as N
J (J) | Anions by EPA 300.0 | B8E0501-01 | Nitrate as N
J (J) | Anions by EPA 300.0 | B8E0501-02 | Nitrate as N
J (J) | Anions by EPA 300.0 | B8E0501-06 | Nitrate as N
J (J) | Anions by EPA 300.0 | B8E0501-07 | Nitrate as N
J (J) | Anions by EPA 300.0 | B8E0501-08 | Nitrate as N
J (J) | Anions by EPA 300.0 | B8E0501-09 | Nitrate as N
J (J) | Anions by EPA 300.0 | B8E0501-10 | Nitrate as N
J (J) | Anions by EPA 300.0 | B8E0501-11 | Nitrate as N
J (J) | Anions by EPA 300.0 | B8E0501-12 | Nitrate as N
J (J) | Anions by EPA 300.0 | B8E0501-13 | Nitrate as N
J (J) | Anions by EPA 300.0 | B8E0501-14 | Nitrate as N
J (J) | Anions by EPA 300.0 | B8E0501-16 | Nitrate as N
Exceeds lower control limit | Anions by EPA 300.0 | 8051204-PS2 | Nitrite as N
QM-05: The spike recovery was outside acceptance limits for the MS and/or MSD due to matrix interference. The LCS and/or LCSD were within acceptance limits showing that the laboratory is in control and the data is acceptable. | Anions by EPA 300.0 | 8051204-PS2 | Nitrite as N
QM-05 (QM-05) | Anions by EPA 300.0 | 8051204-PS2 | Nitrite as N
J (J) | Anions by EPA 300.0 | 8051204-DUP1 | Orthophosphate as P
J (J) | Anions by EPA 300.0 | 8051204-DUP2 | Orthophosphate as P
J (J) | Anions by EPA 300.0 | B8E0501-01 | Orthophosphate as P
J (J) | Anions by EPA 300.0 | B8E0501-02 | Orthophosphate as P
J (J) | Anions by EPA 300.0 | B8E0501-04 | Orthophosphate as P
J (J) | Anions by EPA 300.0 | B8E0501-06 | Orthophosphate as P
J (J) | Anions by EPA 300.0 | B8E0501-07 | Orthophosphate as P
J (J) | Anions by EPA 300.0 | B8E0501-09 | Orthophosphate as P
J (J) | Anions by EPA 300.0 | B8E0501-10 | Orthophosphate as P
J (J) | Anions by EPA 300.0 | B8E0501-11 | Orthophosphate as P
J (J) | Anions by EPA 300.0 | B8E0501-12 | Orthophosphate as P
J (J) | Anions by EPA 300.0 | B8E0501-13 | Orthophosphate as P
J (J) | Anions by EPA 300.0 | B8E0501-14 | Orthophosphate as P
J (J) | Anions by EPA 300.0 | B8E0501-16 | Orthophosphate as P
Result calculations based on MDL | Coliform, Fecal as E.coli (QT2K) |  | (Water)
A-01: Samples incubated over 28 hours. Test and results not valid. | Coliform, Fecal as E.coli (QT2K) | B8E0501-02 | Fecal Coliform as E. coli (QT2K)
A-01 (A-01) | Coliform, Fecal as E.coli (QT2K) | B8E0501-02 | Fecal Coliform as E. coli (QT2K)
A-01: Samples incubated over 28 hours. Test and results not valid. | Coliform, Fecal as E.coli (QT2K) | B8E0501-03 | Fecal Coliform as E. coli (QT2K)
A-01 (A-01) | Coliform, Fecal as E.coli (QT2K) | B8E0501-03 | Fecal Coliform as E. coli (QT2K)
A-01: Samples incubated over 28 hours. Test and results not valid. | Coliform, Fecal as E.coli (QT2K) | B8E0501-04 | Fecal Coliform as E. coli (QT2K)
A-01 (A-01) | Coliform, Fecal as E.coli (QT2K) | B8E0501-04 | Fecal Coliform as E. coli (QT2K)
A-01: Samples incubated over 28 hours. Test and results not valid. | Coliform, Fecal as E.coli (QT2K) | B8E0501-05 | Fecal Coliform as E. coli (QT2K)
A-01 (A-01) | Coliform, Fecal as E.coli (QT2K) | B8E0501-05 | Fecal Coliform as E. coli (QT2K)
Analysis Date before Sampled Date | Coliform, Fecal as E.coli (QT2K) | B8E0501-02
Prep Date before Sampled Date | Coliform, Fecal as E.coli (QT2K) | B8E0501-02
Sampled->Analyzed [Day] > 1 days | Coliform, Fecal as E.coli (QT2K) | B8E0501-02
Analysis Date before Sampled Date | Coliform, Fecal as E.coli (QT2K) | B8E0501-03
Prep Date before Sampled Date | Coliform, Fecal as E.coli (QT2K) | B8E0501-03
Sampled->Analyzed [Day] > 1 days | Coliform, Fecal as E.coli (QT2K) | B8E0501-03
Analysis Date before Sampled Date | Coliform, Fecal as E.coli (QT2K) | B8E0501-04
Prep Date before Sampled Date | Coliform, Fecal as E.coli (QT2K) | B8E0501-04
Sampled->Analyzed [Day] > 1 days | Coliform, Fecal as E.coli (QT2K) | B8E0501-04
Analysis Date before Sampled Date | Coliform, Fecal as E.coli (QT2K) | B8E0501-05
Prep Date before Sampled Date | Coliform, Fecal as E.coli (QT2K) | B8E0501-05
Sampled->Analyzed [Day] > 1 days | Coliform, Fecal as E.coli (QT2K) | B8E0501-05
Result calculations based on MDL | Coliforms, Total (QT2K) |  | (Water)
A-01: Samples incubated over 28 hours. Test and results not valid. | Coliforms, Total (QT2K) | B8E0501-02 | Coliform, total
A-01 (A-01) | Coliforms, Total (QT2K) | B8E0501-02 | Coliform, total
A-01: Samples incubated over 28 hours. Test and results not valid. | Coliforms, Total (QT2K) | B8E0501-03 | Coliform, total
A-01 (A-01) | Coliforms, Total (QT2K) | B8E0501-03 | Coliform, total
A-01: Samples incubated over 28 hours. Test and results not valid. | Coliforms, Total (QT2K) | B8E0501-04 | Coliform, total
A-01 (A-01) | Coliforms, Total (QT2K) | B8E0501-04 | Coliform, total
A-01: Samples incubated over 28 hours. Test and results not valid. | Coliforms, Total (QT2K) | B8E0501-05 | Coliform, total
A-01 (A-01) | Coliforms, Total (QT2K) | B8E0501-05 | Coliform, total
Analysis Date before Sampled Date | Coliforms, Total (QT2K) | B8E0501-02
Prep Date before Sampled Date | Coliforms, Total (QT2K) | B8E0501-02
Sampled->Analyzed [Day] > 1 days | Coliforms, Total (QT2K) | B8E0501-02
Analysis Date before Sampled Date | Coliforms, Total (QT2K) | B8E0501-03
Prep Date before Sampled Date | Coliforms, Total (QT2K) | B8E0501-03
Sampled->Analyzed [Day] > 1 days | Coliforms, Total (QT2K) | B8E0501-03
Analysis Date before Sampled Date | Coliforms, Total (QT2K) | B8E0501-04
Prep Date before Sampled Date | Coliforms, Total (QT2K) | B8E0501-04
Sampled->Analyzed [Day] > 1 days | Coliforms, Total (QT2K) | B8E0501-04
Analysis Date before Sampled Date | Coliforms, Total (QT2K) | B8E0501-05
Prep Date before Sampled Date | Coliforms, Total (QT2K) | B8E0501-05
Sampled->Analyzed [Day] > 1 days | Coliforms, Total (QT2K) | B8E0501-05
J-Flags used | Nitrogen, Ammonia by EPA 300 |  | (Water)
Result calculations based on MDL | Nitrogen, Ammonia by EPA 300 |  | (Water)
Exceeds upper control limit | Nitrogen, Ammonia by EPA 300 | 8052002-BS1 | Ammonia as N
QL-01: Sample results for the QC batch were accepted based on LCS/LCSD percent recoveries and RPD values. | Nitrogen, Ammonia by EPA 300 | 8052002-BS1 | Ammonia as N
QL-01 (QL-01) | Nitrogen, Ammonia by EPA 300 | 8052002-BS1 | Ammonia as N
J (J) | Nitrogen, Ammonia by EPA 300 | B8E0501-02 | Ammonia as N
J (J) | Nitrogen, Ammonia by EPA 300 | B8E0501-05 | Ammonia as N
J (J) | Nitrogen, Ammonia by EPA 300 | B8E0501-09 | Ammonia as N
J (J) | Nitrogen, Ammonia by EPA 300 | B8E0501-15 | Ammonia as N
J (J) | Nitrogen, Ammonia by EPA 300 | B8E0501-16 | Ammonia as N
Result calculations based on MDL | Oxygen, Dissolved by EPA 360.1 |  | (Water)
Result calculations based on MDL | pH by EPA 150.1 |  | (Water)
Result calculations based on MDL | Phosphorous by EPA 365.3 |  | (Water)
RPD calculations based on %Recovery | Phosphorous by EPA 365.3 |  | (Water)
Result calculations based on MDL | Temperature by EPA 170.1 |  | (Water)
J-Flags used | Turbidity by EPA 180.1 |  | (Water)
Result calculations based on MDL | Turbidity by EPA 180.1 |  | (Water)
RPD calculations based on %Recovery | Turbidity by EPA 180.1 |  | (Water)
Default Report (not modified)
VERSION 5.85:2834